## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2010 | Food | 1305967 | 343526 | FAZOLIS-PANAMA CITY | SHIV 10 INVESTMENT OF PANAMA CITY LLC | 2219 MLK BLVD , PANAMA CITY 32405 | 3577296 | 12/27/2024 | Complaint Full | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed extinguisher next to back door in red zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1504398 | 101130 | FLAMINGOS RESTAURANT | COCOA BEACH MOTEL INC | 8701 ASTRONAUT BLVD , CAPE CANAVERAL 04307 | 3488485 | 01/03/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tanks in storage room of tiki bar. Operator removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337032 | 366402 | MR PORK BELLY | CUBA NOSTALGIA LLC | 9420 NW 41 ST UNIT 105 , DORAL 33178 | 3575712 | 01/03/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 boilers at the time of the inspection with no certification. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2337181 | 366413 | FOOD JOINT | FOOD JOINT INC | 9420 NW 41 S UNIT 108 , DORAL 33178 | 3577746 | 01/03/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 boilers without boiler certification. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2014 | Food | 2360588 | 58443 | ZUAREPA | CHICKEN STACK USA CORPORATION | 16776 SW 88 ST , MIAMI 33196 | 1295819 | 01/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2327855 | 341065 | WENDY'S #02339 | WENDY'S INTERNATIONAL INC | 6720 SW 8 ST , MIAMI 33144 | 3502494 | 01/02/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed exit blocked by boxes. Operator removed boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2331655 | 223128 | NEW PIMENT BOUK RESTAURANT | NEW PIMENT BOUK RESTAURANT | 5961 NE 2 AVE , MIAMI 33137 | 3429218 | 01/03/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed light by the front entrance. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336996 | 335276 | CARROT EXPRESS | CARROT LOVE BRICKELL OPERATING LLC | 1111 BRICKELL AVE UNIT 155 , MIAMI 33131 | 3492903 | 12/30/2024 | Routine - Food | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Dade | 2010 | Food | 2332464 | 366217 | CRAFT BRICKELL | CRAFT BRICKELL LLC | 947 BRICKELL AVE , MIAMI 33131 | 3573926 | 01/03/2025 | Routine - Food | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Dade | 2010 | Food | 2331522 | 206828 | KNIFE STEAK HOUSE | CARMACUATRO LLC | 1455 1455 NW 107 AVE , DORAL 33172 | 3576929 | 01/02/2025 | Complaint Full | Call Back - Admin. complaint recommended | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed a 500000 BTU boiler and not certificate available. - From follow-up inspection 2025-01-02: At time of callback inspection observed a 500000 BTU boiler and not certificate available. **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2608852 | 312504 | CHELSEA'S BAR & GRILLE | FORTUNA JACKSONVILLE LLC | 9300 BAYMEADOWS RD , JACKSONVILLE 32256 | 3461669 | 01/03/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certificate expired 11.16.24. Was reinspected 12.2024 per person in charge has yet to issue new certificate. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2612961 | 340861 | KFC # L518064 | TASTY CHICK'N SOUTHEAST LLC | 9551 REGENCY SQUARE BLVD N , JACKSONVILLE 32225 | 3577301 | 01/02/2025 | Complaint Full | Inspection Completed - No Further Action | 49-05-4 | Flammables stored near a source of ignition. For reporting purposes only. Blue cloth stored on top of water heater, moved by manager **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615250 | 366424 | TACOS DONA MARIA 2 | TACOS DONA MARIA TWO CORP | 12192 BEACH BLVD SUITE 3 , JACKSONVILLE 32246 | 3575683 | 01/02/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Two propane tanks larger than 2.7 stored in kitchen/ prep areas. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2613943 | 313932 | SHERATON JACKSONVILLE HOTEL | RBHV JACKSONVILLE LLC | 10605 DEERWOOD PARK BLVD , JACKSONVILLE 32256 | 3443291 | 12/27/2024 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed three propane tanks in chemical room off of kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811860 | 271796 | KFC SAUCY | KFC CORPORATION | 502 S ALAFAYA TRL , ORLANDO 32828 | 3577419 | 12/30/2024 | Complaint Full | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. With a lot of trash . | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812242 | 223163 | PARADISO 37 | LA DOLBE LLC | 1590 E BUENA VISTA DR , LAKE BUENA VISTA 32830 | 3577470 | 01/03/2025 | Complaint Full | Warning Issued | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed a green extension cord used on the cook line near the grill. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812426 | 310921 | NIFTY'S SANDWICHES AND SMOOTHIES | MARQUE DEVELOPMENT GROUP CORPORATION | 145 S ORANGE AVE , ORLANDO 32801 | 3487490 | 01/03/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Gas can inside closet of storage room.operator immediately removed to outside establishment. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5803361 | 350600 | BASEMENT GRILLE | PAPI'S SMASH BURGERS, LLC | 66 E PINE ST , ORLANDO 32801 | 3577283 | 01/02/2025 | Complaint Full | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 tanks inside under storage shelf | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815835 | 353285 | CITY BEAUTIFUL CAFE | CITY BEAUTIFUL CAFE LLC | 400 S ORANGE AVE , ORLANDO 32801 | 3488056 | 01/03/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Backed exit door blocked by cart with empty boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6011076 | 137667 | DENNY'S REST | W D I RESTAURANT GROUP | 300 CIVIC CENTER WAY , ROYAL PALM BEACH 11663 | 3495880 | 01/02/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back door exit blocked by trash can and cardboard boxes- operator removed. **Corrected On-Site** **Warning** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6200468 | 191219 | SAFETY HARBOR RESORT& KITCHEN | SHS RESORT LLC | 105 N BAYSHORE DR , SAFETY HARBOR 34695 | 3472257 | 12/30/2024 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 121767 expired 10/14/2024 134756 expired 10/14/2024 121766 expired 10/14/2024, 121769 expired 10/14/2024 both state "removed" on DIVISION OF STATE FIRE MARSHAL The Bureau of Fire Prevention BOILER SAFETY SECTION website. Manager of hotel states inspections were completed in October and the certificates have not been processed as they are behind on issuing certificates. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6212133 | 191292 | SAFETY HARBOR RESORT CONF. CENTER (TIKI BAR) | SHS RESORT LLC | 105 N BAYSHORE DR. , SAFETY HARBOR 34695 | 3458446 | 01/03/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 121767 expired 10/14/2024 134756 expired 10/14/2024 121766 expired 10/14/2024, 121769 expired 10/14/2024 both state "removed" on DIVISION OF STATE FIRE MARSHAL The Bureau of Fire Prevention BOILER SAFETY SECTION website. Manager of hotel states inspections were completed in October and the certificates have not been processed as they are behind on issuing. Used the division of state fire Marshall website to look up boiler numbers. There are 3 boilers that are active with an expiration date 10/18/25, but the file numbers are different than the boilers at the establishment. The engineer at the establishment is going to call and either get reinspected or see if the error can be fixed, as an inspection was conducted on all boilers in October of 2024 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6218406 | 339983 | CITY'S BISTRO | CITY'S BISTRO LLC | 3451 4TH ST N , SAINT PETERSBURG 33704 | 3458104 | 01/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Establishment has table top deep fryer in kitchen used for fries with no hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6200468 | 191219 | SAFETY HARBOR RESORT& KITCHEN | SHS RESORT LLC | 105 N BAYSHORE DR , SAFETY HARBOR 34695 | 3472257 | 01/03/2025 | Routine - Food | Call Back - Extension given, pending | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 121767 expired 10/14/2024 134756 expired 10/14/2024 121766 expired 10/14/2024, 121769 expired 10/14/2024 both state "removed" on DIVISION OF STATE FIRE MARSHAL The Bureau of Fire Prevention BOILER SAFETY SECTION website. Manager of hotel states inspections were completed in October and the certificates have not been processed as they are behind on issuing certificates. - From follow-up inspection 2025-01-03: Used the division of state fire Marshall website to look up boiler numbers. There are 3 boilers that are active with an expiration date 10/18/25, but the file numbers are different than the boilers at the establishment. The engineer at the establishment is going to call and either get reinspected or see if the error can be fixed, as an inspection was conducted on all boilers in October of 2024 **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6217900 | 317496 | CHANNELS SEAFOOD MARKET | MCCLUSTER, DAMION | 640 49TH STREET SOUTH , SAINT PETERSBURG 33707 | 3478738 | 01/03/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Putnam | 2010 | Food | 6400926 | 350912 | HOMETOWN HEROS | D.C.L.S. OF FLORIDA | 103 CHEYENNE AVE 1&2 , INTERLACHEN 32148 | 3481163 | 01/03/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Flat top grill used for heating deli meats, Philly steaks with no hood system. Operator has available hood system in box not connected. **Corrective Action Taken** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6600876 | 213472 | SUBWAY #2979 | AB & VRAJ INC | 4890 KINGS HWY , FORT PIERCE 12244 | 3577617 | 01/03/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. In back by rear exit **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sumter | 2010 | Food | 7000164 | 215122 | HOWIE'S FAMILY RESTAURANT | HOWIES LLC | 840 N MAIN ST , BUSHNELL 33513 | 3478243 | 12/27/2024 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Large tank inside near back door. Manager moved outside during this inspection. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Taylor | 2010 | Food | 7200317 | 289491 | STEINHATCHEE LANDING RESORT CONFERENCE CENTER & CHAPEL | ZANEY FOODS INC | 228 NE HWY 51 , STEINHATCHEE 32359 | 3455402 | 01/03/2025 | Routine - Food | Inspection Completed - No Further Action | 49-05-4 | Flammables stored near a source of ignition. For reporting purposes only. Paper and tiki fuel stored by gas water heater. Items removed and Properly stored during inspection. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406377 | 360872 | DICK'S LAST RESORT | DLR DAYTONA LLC | 250 N ATLANTIC #220 & 240 , DAYTONA BEACH 32118 | 3577619 | 01/03/2025 | Complaint Full | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no functional hood suppression system. Notified Fire AHJ. For reporting purposes only. -hood system not functioning during inspection. Establishment preparing grilled hot dogs/burgers/chicken breast cooking on grill without hood system running. Stated due to ongoing electrical problems. -manager stated recent quote given for new hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406042 | 311087 | BOSTON'S FISH HOUSE | TEAM 1414 SOUTH ATLANTIC JV | 1414 S ATLANTIC AVE , NEW SMYRNA BEACH 32169 | 3484842 | 01/03/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Next to back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407319 | 298586 | RICE BISTRO LLC | RICE BISTRO LLC | 3751 S. CLYDE MORRIS BLVD UNIT 2 , PORT ORANGE 32129 | 3577441 | 01/02/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -type K extinguisher on wall inside kitchen across from ice machine | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407125 | 288157 | BAHAMA BREEZE #3056 | BAHAMA BREEZE HOLDINGS LLC | 1786 W INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 3577597 | 01/02/2025 | Complaint Full | Inspection Completed - No Further Action | 49-03-4 | Flammables stored/debris present in water heater room. For reporting purposes only. -box stored in water heater room | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.
Volusia | 2010 | Food | 7405512 | 257051 | APPLEBEES NEIGHBORHOOD GRILL & BAR | NEIGHBORHOOD RESTAURANT PARTNERS FLORIDA LLC | 1390 DUNLAWTON AVE , PORT ORANGE 32127 | 3444698 | 01/02/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. -near back door - From follow-up inspection 2025-01-02: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406442 | 323562 | PACINO'S PIZZERIA | STEWIE'S PIZZA 2 LLC | 2120 SAXON BLVD SUITE 206A , DELTONA 32725 | 3437698 | 12/30/2024 | Routine - Food | Call Back - Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. -marked exit door blocked by wooden beam, operator removed **Corrected On-Site** - From follow-up inspection 2024-12-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Walton | 2010 | Food | 7601874 | 344657 | LA CREAMERIA | POPCORN KINGDOM LL INC | 134 FISHERMENS COVE , DESTIN 32550 | 3457835 | 12/27/2024 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. 1 stored on floor by ice cream display and 1 stored on floor under hand wash sink near walk in cooler. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.