## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2014 | Food | 1150248 | 41802 | EIM THAI | EIM THAI LLC | 213 NW 10 AVE , GAINESVILLE 32601 | 1299466 | 01/25/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher on the wall in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103532 | 327142 | CREEKS 19TH | CREEK'S 19TH LLC | 11440 TURKEY CREEK BLVD , ALACHUA 32615 | 3498929 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Portable fire extinguisher next to dish machine. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2014 | Food | 1150277 | 46773 | LA MARACUCHA FOOD & SERVICES | LA MARACUCHA FOOD & SERVICES LLC | 1025 W UNIVERSITY AVE , GAINESVILLE 32601 | 1297778 | 01/24/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher by reach in freezer in the red recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305809 | 310558 | BEEF O'BRADY'S | COTTONS COOKIN INC | 11226 HUTCHISON BLVD , PANAMA CITY BEACH 32407 | 3487043 | 01/31/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed large LP gas tank by side door to dining area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506340 | 362818 | YAAKUZA JAPANESE THAI SAKE BAR | THAI CUISINE FL | 925 N COURTENAY PKWY #8 , MERRITT ISLAND 32953 | 3482844 | 01/27/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Operator built a wall near restroom to block access to rear exit door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1505555 | 101891 | TASTE OF INDIA | RAJS INC | 606 N WICKHAM RD , MELBOURNE 32935 | 3492646 | 01/30/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Several lp tanks stored in banquet room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1505717 | 331719 | PANERA BREAD STORE 2782 | PANADERIAS LLC | 275 E EAU GALLIE BLVD , INDIAN HARBOUR BEACH 32937 | 3558059 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Gauge in recharge by back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506931 | 346657 | POKE POKE | ANN'S BAKERY LLC | 66 S ORLANDO AVE , COCOA BEACH 32931 | 3494991 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank in rear storage area **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506340 | 362818 | YAAKUZA JAPANESE THAI SAKE BAR | THAI CUISINE FL | 925 N COURTENAY PKWY #8 , MERRITT ISLAND 32953 | 3482844 | 01/30/2025 | Routine - Food | Call Back - Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. Operator built a wall near restroom to block access to rear exit door - From follow-up inspection 2025-01-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1624717 | 351469 | PETER'S ICE CREAM | PETER'S ICE CREAM | 6333 MIRAMAR PKWY , MIRAMAR 33023 | 3558092 | 01/31/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed fryers not under a hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625559 | 352047 | LOLORESTAURANT | LOLORESTAURANT | 2708 WEST OAKLAND PARK BLVD , OAKLAND PARK 33311 | 3503186 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed new cover for electrical panel too short to cover entire exposed wiring. 5-6 inches of wiring exposed. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625188 | 326405 | FT LAUDERDALE HOME2 | 315 FLAGLER QOZB OWNER LLC | 315 NW 1 AVENUE , FORT LAUDERDALE 33301 | 3450542 | 01/31/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1623090 | 257671 | CHIMNEY HOUSE | CHIMNEY HOUSE CO | 701 W LAS OLAS BLVD , FORT LAUDERDALE 33312 | 3503022 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. At the front line | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1622356 | 264095 | EL PATIO COLOMBIAN RESTAURANT | OLIMAR FASHION & DESIGN SOLUTIONS LLC | 5416 S SR 7 (US 441) , HOLLYWOOD 33314 | 3558296 | 01/29/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. The silver extinguisher on the cook line. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1620474 | 107075 | BIG CITY TAVERN | LAS OLAS TAVERN LTD | 609 E LAS OLAS BLVD , FORT LAUDERDALE 33301 | 3441752 | 01/29/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 12 by office door. Inspector will email inspection report to fire marshal for review. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Citrus | 2010 | Food | 1901407 | 280960 | HARDEE'S | PHASE THREE STAR LLC | 16 NE US 19 , CRYSTAL RIVER 34429 | 3486204 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in front counter area next to tea machines | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001271 | 258802 | TIJUANA FLATS BURRITO CO | TIJUANA FLATS #184 LLC | 1647 CR 220 #103 , FLEMING ISLAND 32003 | 3488989 | 01/29/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher under front counter is in the recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103190 | 265019 | PATINELLA'S CHICKEN GRILL | PATINELLAS CHICKEN GRILL NORTH NAPLES LLC | 1201 PIPERS BLVD #16 , NAPLES 34110 | 3502114 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed electrical outlet covers missing in restrooms. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2101657 | 326743 | MIRAMARE RISTORANTE LLC | MIRAMARE RISTORANTE LLC | 4236 GULF SHORE BLVD N , NAPLES 34103 | 3456524 | 01/30/2025 | Routine - Food | Call Back - Complied | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. In preparation area near ice machines, observed electrical switches exposed and not secure. - From follow-up inspection 2025-01-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337590 | 344673 | MASTER CREPES | MASTER CREPES LLC | 3905 NW 107 AVE STE 106 , DORAL 33178 | 3494451 | 01/29/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher near exit of front counter in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328086 | 115184 | BLUE MATISSE RESTAURANT | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 3483323 | 01/30/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 059615 11/17/24. 021243 01/09/25. As per chief engineer units had been inspected and pending certificates to be issued. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328087 | 115185 | IHC BALLROOM & MEETING ROOMS | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 3559055 | 01/30/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. As per chief engineer units had been inspected and pending certificates to be issued. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2332613 | 234263 | SOHO HOUSE CECCONIS RESTAURANT | SOHO HOUSE BEACH HOUSE LLC | 4385 COLLINS AVE , MIAMI 33140 | 3492439 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2332615 | 235237 | 8TH FLOOR BAR | SOHO HOUSE BEACH HOUSE LLC | 4385 COLLINS AVE , MIAMI BEACH 33140 | 3492232 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2333644 | 254382 | COURTYARD BY MARRIOTT SOUTH HOMESTEAD | COURTYARD BY MARRIOTT SOUTH HOMESTEAD | 2905 NE 9 ST , HOMESTEAD 33033 | 3496820 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed expired certificate. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334410 | 276806 | BAR FLAMENCO | PROCACCI DOLPHIN LLC | 1695 NW 111 AVE , SWEETWATER 33172 | 3485702 | 01/31/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 4 boiler certificates expire 08/22/2024. As per chief engineering inspection for all four units performed on 09/06/2024 by Hartford steam boiler and certificates has been delayed. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2336808 | 321596 | HOTEL INDIGO MIAMI BRICKELL/ ATWELL SUITES MIAMI BRICKELL | WEST BRICKELL HOTEL LLC | 145 SW 11 STREET , MIAMI 33130 | 3489704 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler with 700 BTU no certificate provided. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2013 | Food | 2329736 | 9511 | SOHO BEACH HOUSE | SOHO HOUSE BEACH HOUSE LLC | 4385 COLLINS AVE , MIAMI BEACH 33140 | 1129045 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Expired boiler certificates. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2332801 | 364370 | LA SANTA TAQUERIA BRICKELL LLC | LA SANTA TAQUERIA BRICKELL LLC | 1250 S MIAMI AVE UNIT 107 , MIAMI 33130 | 3502250 | 01/29/2025 | Routine - Food | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Duval | 2014 | Food | 2652832 | 67136 | EL MESÓN COLOMBIANO | EL MESÓN COLOMBIANO | 7244 BLANDING BLVD , JACKSONVILLE 32244 | 1313479 | 01/31/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Duval | 2010 | Food | 2615770 | 325622 | MOES SOUTHWEST GRILL #243 | QUALITY FRESCA I LLC | 10478 SAN JOSE BLVD UNIT 1 , JACKSONVILLE 32257 | 3501903 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Rear exit blocked by boxes. Moved by manager. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615487 | 336044 | STONER'S PIZZA JOINT NORTH JACKSONVILLE | PIE EMPIRE LLC | 11565 N MAIN ST STE 200 , JACKSONVILLE 32218 | 3496307 | 01/29/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. At back door, wood plank over door. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2614901 | 363277 | SEÑORITAS MEXICAN KITCHEN | SENORITAS LLC | 6426 BOWDEN RD #206 , JACKSONVILLE 32216 | 3564994 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back kitchen exit door blocked with food delivery from today. Employee moving items **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2603805 | 361846 | ENKELANA CAFFE | ENKELANA CAFFE INC | 3861 BAYMEADOWS RD , JACKSONVILLE 32217 | 3502695 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Large propane tank in rear kitchen. Removed by manger. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2600573 | 116273 | SAN JOSE CO CLUB D R | SAN JOSE COUNTRY CLUB INC | 7529 SAN JOSE BLVD , JACKSONVILLE 73524 | 3496109 | 01/31/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. No current is a boiler certificate . (Per website , Establishment certificate is current.) **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2616289 | 347296 | GEMMA FISH + OYSTER | GEMMA GREY LLC | 2039 HENDRICKS AVE UNIT 111 , JACKSONVILLE 32207 | 3489480 | 01/24/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 5 by side entrance | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800714 | 230611 | BED AND BREAKFAST BY THE SEA | FAGAN EARLE D | 1536 S OCEANSHORE DR , FLAGLER BEACH 32136 | 3498353 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Missing electrical cover on outlet beside hand washing sink in dry storage. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800721 | 352042 | BARNHILLS | BARNHILLS CAFE BAR AND GRILL LLC | 202 S CENTRAL AVE , FLAGLER BEACH 32136 | 3496493 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Electrical outlet is missing cover in storage area of kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2014 | Food | 3650076 | 58315 | PEREZ FRUIT CUP AND MORE LLC | PEREZ FRUIT CUP AND MORE LLC | 420 E COWBOY WAY , LABELLE 33935 | 1299698 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800804 | 261714 | DIMITRI'S FAMILY RESTAURANT | PALM DINER LLC | 2710 KENILWORTH BLVD , SEBRING 33870 | 3455525 | 01/28/2025 | Routine - Food | Emergency order recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher located towards back of kitchen in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800804 | 261714 | DIMITRI'S FAMILY RESTAURANT | PALM DINER LLC | 2710 KENILWORTH BLVD , SEBRING 33870 | 3455525 | 01/28/2025 | Routine - Food | Emergency order recommended | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Observed in kitchen next to reach in cooler, scorch marks on top of electrical outlet. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800981 | 356313 | SUNSET GRILLE | GDN FOODS | 2650 US HWY 27 S , SEBRING 33870 | 3440437 | 01/29/2025 | Routine - Food | Emergency order recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed approximately 4 propane tanks inside their dry storage area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800804 | 261714 | DIMITRI'S FAMILY RESTAURANT | PALM DINER LLC | 2710 KENILWORTH BLVD , SEBRING 33870 | 3455525 | 01/29/2025 | Routine - Food | Emergency Order Callback Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher located towards back of kitchen in the red. - From follow-up inspection 2025-01-29: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3918377 | 316936 | POKEWORKS 004 | ANASTASIA RESTAURANT GROUP LLC | 2223 N WEST SHORE BLVD STE 230-B , TAMPA 33607 | 3491659 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed at fire extinguisher located on wall next to 3-compartment sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3919169 | 355965 | PALIHOUSE HYDE PARK VILLAGE | WS TAMPA OWNER LLC | 1509 W SWANN AVE , TAMPA 33606 | 3491781 | 01/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Counter top grill added to kitchen without a hood system. Manager unplugged grill and discontinued use of grill. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3905611 | 319078 | APOLLO BEACH DINER | APOLLO BEACH DINER LLC | 6048 N US HWY 41 , APOLLO BEACH 33572 | 3496489 | 01/30/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door blocked with racks of bread. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3916677 | 363892 | LA ESQUINA SABROSA RESTAURANT | LA ESQUINA SABROSA OF TAMPA LLC | 2730 W WATERS AVE , TAMPA 33614 | 3495871 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Kitchen exit blocked by a speed cart and trash can. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2010 | Food | 4100961 | 344751 | NETTIES ROADSIDE RESTAURANT | MAGEE BY THE SEA LLC | 2555 27 AVE , VERO BEACH 32960 | 3445459 | 01/29/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Grill top across from hood system. Heavy build up of grease on wall and electrical outlets | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2010 | Food | 4101020 | 124023 | CHILI'S RESTAURANT #394 | BRINKER FLORIDA INC | 940 US HWY 1 , VERO BEACH 05950 | 3489707 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. At front counter next to small flip top cooler | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2010 | Food | 4100961 | 344751 | NETTIES ROADSIDE RESTAURANT | MAGEE BY THE SEA LLC | 2555 27 AVE , VERO BEACH 32960 | 3445459 | 01/30/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Grill top across from hood system. Heavy build up of grease on wall and electrical outlets - From follow-up inspection 2025-01-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lafayette | 2010 | Food | 4400071 | 349199 | MI VIEJO LLC | MI VIEJO LLC | 530 S FLETCHER AVE , MAYO 32066 | 3500220 | 01/31/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher on wall in back of kitchen, near back door gauge in red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4509077 | 357603 | LONGHORN STEAKHOUSE | RARE HOSPITALITY INTERNATIONAL INC | 1275 E HWY 50 , CLERMONT 34711 | 3493961 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -extinguisher beside hand sink by dish area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4509034 | 347361 | JERSEY MIKE'S SUB SHOP | BUMBLY LLC | 1685 N HANCOCK RD UNIT 104 , MINNEOLA 34715 | 3458581 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -back door, multiple boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4605263 | 322264 | WENDY'S | QFRM 7, LLC | 8661 COMMONS WAY , ESTERO 33928 | 3580003 | 01/27/2025 | Complaint Full | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed wiring box for 3 compartment sink rusting thru. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607759 | 356168 | ICE SSSSCREAMIN | UNCLE Z LLC | 1017 CAPE CORAL PKY E STE A , CAPE CORAL 33904 | 3580014 | 01/27/2025 | Complaint Full | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2014 | Food | 4651544 | 63981 | BEAU'S TEX MEX | BEAU'S BBQ | 16371 CORPORATE COMMERCE WAY , FORT MYERS 33913 | 1297847 | 01/31/2025 | Routine - Food | Inspection Completed - No Further Action | 45-01-4 | No portable fire extinguisher present. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4605719 | 314997 | BURGER KING #15194 | BRAVOFLORIDA LLC | 4738 COLONIAL BLVD , FORT MYERS 33966 | 3491195 | 01/29/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Kitchen exit/path blocked wi5 garbage bin. Operator removed the garbage bin. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2014 | Food | 4651544 | 63981 | BEAU'S TEX MEX | BEAU'S BBQ | 16371 CORPORATE COMMERCE WAY , FORT MYERS 33913 | 1297847 | 01/31/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Outlet left of entrance to vehicle with exposed wiring. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2014 | Food | 4650736 | 33270 | ARIAS'S PUPUSAS | MARIA ARIAS | 1501 ORTIZ AVE , FORT MYERS 33905 | 1292113 | 01/25/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed propane tanks stored within structure. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Levy | 2010 | Food | 4800167 | 283502 | HARDEE'S | PHASE THREE STAR LLC | 1024 N YOUNG BLVD , CHIEFLAND 32626 | 3483324 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher on wall at front counter gauge in red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5203090 | 318843 | HARDEE'S OF DUNNELLON | ARBOR CAPITAL PARTNERS LLC | 11564 N WILLIAMS ST , DUNNELLON 34432 | 3502267 | 01/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Gauge on fire extinguisher on wall by office in red zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811356 | 240100 | BORDER GRILL FRESH-MEX | BORDER GRILL FRESH-MEX INC | 5695 WEST VINELAND RD STE A , ORLANDO 32819 | 3491163 | 01/24/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By back door by restrooms. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811703 | 347243 | CARIBBEAN SHACK LLC | CARIBBEAN SHACK LLC | 805 S KIRKMAN RD SUITE 106 , ORLANDO 32811 | 3504327 | 01/27/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. One in back kitchen area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5816243 | 360040 | B1305 | UNIVERSAL CITY DEVELOPMENT PARTNERS LTD | 4700 W SAND LAKE RD , ORLANDO 32819 | 3422234 | 01/31/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. BTU 400,000 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5811588 | 217571 | CHIPOTLE MEXICAN GRILL #821 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 464 N ALAFAYA TRL STE 111 , ORLANDO 32828 | 3488019 | 01/31/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Boxes all the way to the exit door . Operator removed it . **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5807114 | 238430 | HAVANNA'S #2 RESTAURANT | JEREZ RESTAURANT INC | 1325 W WASHINGTON ST STE-A1 , ORLANDO 32805 | 3484668 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Push cart blocking exit door. Operator removed. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5810149 | 134448 | BOMA FLAVORS OF AFRICA AT DAKL | WALT DISNEY WORLD HOSP AND REC CORP | 2901 OSCEOLA PKWY , BAY LAKE 01000 | 3571078 | 01/30/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only.Expired 1/18/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5815736 | 360347 | PESTANA ORLANDO SUITES LAKE BUENA VISTA | PESTANA ORLANDO LLC | 11942 RAVALLO RESORT DR , ORLANDO 32836 | 3484783 | 01/31/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed no copy of boiler certificates, Person in charge did not know concerning boilers. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5805044 | 179371 | KRES RESTAURANT | KRES RESTAURANT LLC | 17 W CHURCH ST , ORLANDO 32801 | 3495302 | 01/30/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 Gas cans stored in downstairs storage area. Operator immediately removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5804437 | 233040 | MILLENIA CAFE & CATERING | C L ENTERPRISE OF ORLANDO LLC | 4303 VINELAND ROAD #F18 , ORLANDO 32811 | 3494788 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 3 gas tanks in back storage area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815853 | 354009 | SCHWEINI'S DELICATESSEN | SCHWEINI'S DELICATESSEN LLC | 108 S MAIN ST , WINTER GARDEN 34787 | 3446342 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814679 | 323143 | OSPHERE | OSPHERE LLC | 407 E CENTRAL BLVD , ORLANDO 32801 | 3484765 | 01/29/2025 | Routine - Food | Call Back - Complied | 48-04-4 | - From initial inspection : Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Operator immediately removed - From follow-up inspection 2025-01-22: **Time Extended** - From follow-up inspection 2025-01-29: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5904844 | 304423 | HOKKAIDO CHINESE & JAPANESE | HOKKAIDO CHINESE AND JAPANESE LLC | 5737 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 3579992 | 01/30/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Dry storage | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6009055 | 136883 | FOUR SEASONS RESORT PALM BEACH BANQUET KITCHEN | PB HOTEL PROPERTY LLC | 2800 S OCEAN BLVD , PALM BEACH 05540 | 3490523 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6009436 | 136969 | FOUR SEASONS RESORT PALM BEACH EMPLOYEE CAFE | PB HOTEL PROPERTY LLC | 2800 S OCEAN BLVD , PALM BEACH 05540 | 3490436 | 01/27/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6218152 | 319764 | KOGI GRILL | SNOWFLAKE DESSERTS INC | 7500 49 ST N , PINELLAS PARK 33781 | 3494594 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguishers across restrooms yellow gauge in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217275 | 281753 | WAREHOUSE DELI | JILL REARDON | 141 STEVENS AVE STE 8 , OLDSMAR 34677 | 3488453 | 01/31/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Operator is cooking bacon on a small table top flat top griddle with no hood system. Smoke is present in establishment. Discussed with operator to discontinue use of flat top griddle. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6218152 | 319764 | KOGI GRILL | SNOWFLAKE DESSERTS INC | 7500 49 ST N , PINELLAS PARK 33781 | 3494594 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Stainless steel push cart with equipment stored on it blocking pathway to back door exit. Manager moved items to unblock area. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6216306 | 306926 | TAQUITOS MEXICAN | SANCA-MEX LLC | 9617 BAY PINES BLVD , ST PETERSBURG 33708 | 3491094 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 15 lb propane tanks in rear storage room, relocated outside **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2014 | Food | 6251427 | 24217 | C & J BBQ | GARDNER CHARLIE OR MCCLENDON BENNIE | 13255 118 ST N , LARGO 33778 | 1291375 | 01/24/2025 | Routine - Food | Call Back - Complied | 45-01-4 | - From initial inspection : No portable fire extinguisher present by exit door . For reporting purposes only. - From follow-up inspection 2025-01-24: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Putnam | 2010 | Food | 6400924 | 341896 | VELCHOFF'S CORNER | VELCHOFF'S CORNER LLC | 105 N 2 ST STE D , PALATKA 32177 | 3482626 | 01/29/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Inside the prep area, table top fryer turned on with no hood system present. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Putnam | 2010 | Food | 6400934 | 356210 | LA RAZA SNACKS LLC | LA RAZA SNACKS LLC | 234 S SUMMIT ST , CRESCENT CITY 32112 | 3440210 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed a one burner and a pot of hot oil on table by 3 compartment sink with no hood. Operator stated that she cooks chips in oil. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6804971 | 340591 | GIUSEPPE'S RISTORANTE AND PIZZERIA | JOSEPH NOVIELLI | 103 TRIPLE DIAMOND BLVD UNIT 2 , NORTH VENICE 34275 | 3502054 | 01/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher near the wait station gauge in red zone. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805733 | 305305 | ART OVATION HOTEL | PALM AVENUE HOSPITALITY HOLDINGS LLC | 1255 N PALM AVE , SARASOTA 34236 | 3493661 | 01/27/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 5 propane tank stored in the hallway next to the back exit. Manager placed the tanks outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2014 | Food | 6550211 | 46917 | AREPA LIFE | CESAR E DIAZ | 121 YACHT CLUB DR , SAINT AUGUSTINE 32084 | 1296420 | 01/29/2025 | Routine - Food | Warning Issued | 45-01-4 | No portable fire extinguisher present. For reporting purposes only. Observed no portable fire extinguisher on truck. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2014 | Food | 6550211 | 46917 | AREPA LIFE | CESAR E DIAZ | 121 YACHT CLUB DR , SAINT AUGUSTINE 32084 | 1296420 | 01/29/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed hood system in truck not on and not functioning per person in charge. Person in charge is using fryers and flat top grill that is producing grease laden vapors and smoke. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2010 | Food | 6501723 | 366046 | BRONX HOUSE PIZZA | FORT HILL HOSPITALITY LLC | 880 SR A1A S #8 , PONTE VEDRA BEACH 32082 | 3574407 | 01/28/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
St. Lucie | 2010 | Food | 6603087 | 323418 | FUSION CUISINE RESTAURANT A INC | FUSION CUISINE RESTAURANT A INC | 1721 AVE D , FORT PIERCE 34950 | 3495683 | 01/28/2025 | Routine - Food | Emergency order recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Table top commercial fryer not rated for suppression system. Spoke with fire department and must remove fryer and partial board and use commercial fryer as intended for suppression system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6603087 | 323418 | FUSION CUISINE RESTAURANT A INC | FUSION CUISINE RESTAURANT A INC | 1721 AVE D , FORT PIERCE 34950 | 3495683 | 01/28/2025 | Routine - Food | Emergency order recommended | 49-01-4 | Flammables stored/debris present in storage room. For reporting purposes only. Generator stored in storage area, cannot be stored in building. | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.
St. Lucie | 2010 | Food | 6603087 | 323418 | FUSION CUISINE RESTAURANT A INC | FUSION CUISINE RESTAURANT A INC | 1721 AVE D , FORT PIERCE 34950 | 3495683 | 01/29/2025 | Routine - Food | Emergency Order Callback Time Extension | 49-01-4 | - From initial inspection : Flammables stored/debris present in storage room. For reporting purposes only. Generator stored in storage area, cannot be stored in building. - From follow-up inspection 2025-01-29: Power washer stored inside **Time Extended** | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.
Volusia | 2010 | Food | 7407046 | 351524 | BRUNOS PIZZA | BRUNO'S PIZZA ORMOND BEACH LLC | 1254 OCEAN SHORE BLVD , ORMOND BEACH 32176 | 3579848 | 01/27/2025 | Complaint Full | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -full size fryer and table top flat grill in back kitchen area. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407616 | 366909 | KNUCKLE SANDWICH DELI AND CATERING PIERSON FL | WARD'S DELI AND CATERING LLC | 138 E SR 40 , PIERSON 32180 | 3579398 | 01/31/2025 | Food-Licensing Inspection | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -table top fryers -flat grill in use to cook burgers. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7401545 | 236846 | PIZZA HUT | CFL PIZZA LLC | 500 S ATLANTIC AVE , DAYTONA BEACH 32118 | 3483716 | 01/27/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. -marked fire exit next to restrooms, locked and unable to be opened. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407497 | 326411 | JACKIES JAMAICA POT | JACKIES JAMAICA POT | 996 DERBYSHIRE RD , DAYTONA BEACH 32117 | 3486407 | 01/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -table top fryer in use. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407539 | 309429 | BLAZE PIZZA #1302 | MRG PIZZA N CENTRAL FLORIDA LLC | 1405 CORNERSTONE BLVD RETAIL D , DAYTONA BEACH 32117 | 3470582 | 01/28/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit double door in disrepair. Per manager west door of the double door is locked because it will fall off and they have a new door coming next week to be installed. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407216 | 266468 | IHOP RESTAURANT #36-221 | SUNSHINE RESTAURANT MERGER SUB LLC | 155 BILL FRANCE BLVD , DAYTONA BEACH 32114 | 3490460 | 01/30/2025 | Routine - Food | Inspection Completed - No Further Action | 49-01-4 | Wood stored in water heater room. For reporting purposes only. | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.
Volusia | 2010 | Food | 7407841 | 345590 | AVANU ON FLAGLER | AVANU LLC | 392 FLAGLER AVE , NEW SMYRNA BEACH 32169 | 3491102 | 01/31/2025 | Routine - Food | Call Back - Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. Back exit near stairs. High chair in front of door inside; beer keg and cart laden with propane tanks obstructing door on the outside. For reporting purposes only. - From follow-up inspection 2025-01-31: Large platform truck cart outside behind exterior outward swinging door **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407491 | 327066 | ROCK BOTTOM RESTAURANT & BREWERY | ROCK BOTTOM GROUP LLC | 1864 VICTORY CIRCLE , DAYTONA BEACH 32114 | 3494761 | 01/29/2025 | Routine - Food | Administrative complaint recommended | 49-01-4 | 2 LP tanks stored in on bottom floor of stairway near marked exit.For reporting purposes only. | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.