## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1103113 | 289133 | DUNKIN DONUTS/BASKIN ROBBINS | AC ORLANDO MANAGEMENT INC | 3710 NW 13 ST , GAINESVILLE 32609 | 3457190 | 02/13/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher next to back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103422 | 288872 | CHIPOTLE MEXICAN GRILL #2735 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 2231 NW 13 ST #100 , GAINESVILLE 32609 | 3468755 | 02/13/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher next to back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103400 | 302864 | TOWNEPLACE SUITES BY MARRIOTT | PHVIF GAINESVILLE LLC | 7451 W NEWBERRY RD , GAINESVILLE 32605 | 3455276 | 02/12/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in the recharge zone in the kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305348 | 229250 | POMPANO JOE'S BAY COUNTY | SOUTHERN RESTAURANT GROUP LLC | 16202 FRONT BEACH RD , PANAMA CITY BEACH 32413 | 3580936 | 02/07/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher in expo area in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1304205 | 358804 | PATCHES PUB AND GRILL | TT&D ENTERPRISES LLC | 4723 THOMAS DR , PANAMA CITY BEACH 32408 | 3580244 | 02/11/2025 | Complaint Full | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed gas tank by ice machine. Operator removed gas tank at time of inspection. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625088 | 328745 | JUST 1 MORE | PIERCE STREET ANNEX POOL BAR INC | 3074 NE 33 AVE , FORT LAUDERDALE 33308 | 3469208 | 02/14/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -Hallway on wall next to women's rest room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1624507 | 300339 | TARPON RIVER BREWING | DOWNTOWN FORT LAUDERDALE BREWERY LLC | 280 SW 6 ST , FORT LAUDERDALE 33301 | 3444655 | 02/10/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1619854 | 106637 | FIELD (THE) | 3281 COMPANY INC | 3281 GRIFFIN RD , DANIA BEACH 33312 | 3560415 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By the end of the line with a table with a chair. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1622973 | 253379 | CHIPOTLE | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 2110 S UNIVERSITY DR , DAVIE 33324 | 3456590 | 02/13/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Next to ice machine. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1624758 | 316742 | MAMA TOFU & MORE | MAMA TOFU & MORE LLC | 6467 STIRLING ROAD , DAVIE 33314 | 3562771 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. At the back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625833 | 340852 | FIRST WATCH #658 | FIRST WATCH RESTAURANTS INC | 3900 N UNIVERSITY DR , COOPER CITY 33024 | 3558573 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by back door in red undercharged zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2014 | Food | 1653795 | 65806 | WINGZ ON WHEELZ LLC | WINGZ ON WHEELZ LLC | 1103 S ANDREWS AVE , FORT LAUDERDALE 33316 | 1311141 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher gauge on empty; located next to hand wash sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1619331 | 333305 | HOTOLOS HOLLYWOOD | HOTOLOS HOLLYWOOD LLC | 2520 STIRLING RD , HOLLYWOOD 33020 | 3444502 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed at rear exit behind bar | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1607220 | 308032 | 4900 POWERLINE LLC | 4900 POWERLINE LLC | 4900 POWERLINE RD , OAKLAND PARK 33309 | 3580929 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1624567 | 319563 | QUICKLY BOBA TEA | KIM LE BOBA TEA LLC | 6013 STIRLING RD , DAVIE 33314 | 3475037 | 02/13/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1624717 | 351469 | PETER'S ICE CREAM | PETER'S ICE CREAM | 6333 MIRAMAR PKWY , MIRAMAR 33023 | 3558092 | 02/10/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed fryers not under a hood system. - From follow-up inspection 2025-02-10: Same- **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1600225 | 261047 | LAS OLAS CO - RIVERSIDE HOTEL | LAS OLAS CO., INC | 620 E LAS OLAS BLVD , FORT LAUDERDALE 33301 | 3572073 | 02/14/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. - From follow-up inspection 2025-02-14: Observed same. **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1600225 | 261047 | LAS OLAS CO - RIVERSIDE HOTEL | LAS OLAS CO., INC | 620 E LAS OLAS BLVD , FORT LAUDERDALE 33301 | 3572073 | 02/13/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1624900 | 315486 | IT! ITALY | CAFÉ INTERNATIONAL HOLDING COMPANY LLC | 500 E LAS OLAS BLVD SUITE 200 , FORT LAUDERDALE 33301 | 3456500 | 02/11/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 4 tanks in upstairs storage room. Inspector will email inspection report to fire Marshall for review. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000224 | 301232 | SHORES LIQUOR & THE ROADHOUSE | AARUSH ONE LLC | 231 BLANDING BLVD , ORANGE PARK 32073 | 3489017 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by back walk in cooler is in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001118 | 193265 | LITTLE CAESARS PIZZA | SBB ENTERPRISES INC | 661 BLANDING BLVD #514 , ORANGE PARK 32073 | 3453671 | 02/12/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher on shelf to left of mop sink is in the recharge zone and missing from designated hook to left of back exit. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000952 | 283340 | METRO DINER | MD ORANGE PARK LLC | 2034 KINGSLEY AVE , ORANGE PARK 32073 | 3498589 | 02/13/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at back exit door in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001352 | 320468 | DUNKIN DONUTS | ORANGE PARK FOODS LLC | 373 BLANDING BLVD , ORANGE PARK 32073 | 3431181 | 02/10/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at drive thru area is in the recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2317295 | 338918 | BISTRO 103 | JK HIALEAH LLC | 7707 NW 103 ST , HIALEAH GARDENS 33016 | 3562603 | 02/11/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2338212 | 346940 | LOS JALAPENOS TAQUERIA KILLIAN | LOS JALAPENOS TAQUERIA KILLIAN CORP | 10848 SW 104 ST , MIAMI 33176 | 3565615 | 02/12/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed 3 propane tanks stored inside establishment next to mop sink and 2 propane tanks stored under flat top grill. Operator removed tanks from inside establishment. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2323956 | 255389 | MAIA'S CAFE BISTRO | LACERDA AND SILVA CORP | 6100 BLUE LAGOON DR STE# 135 , MIAMI 33126 | 3562765 | 02/11/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed the use of mini fryers in kitchen area, no hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2325142 | 113251 | POLLO TROPICAL 21 | POLLO OPERATIONS INC | 11670 SW 152 STREET , MIAMI 71100 | 3576179 | 02/11/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed back door marked as exit blocked by accumulation of boxes. Operator cleared the path. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328617 | 296052 | RINCONCITO CUBANO OF KENDALL | RINCONCITO CUBANO OF KENDALL INC | 12061 SW 117 AVE , MIAMI 33186 | 3496373 | 02/11/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed back exit door blocked. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328386 | 115465 | DAVE & BUSTERS | DAVE & BUSTERS OF FLORIDA LP | 11481 NW 12 ST STE E622 , MIAMI 33172 | 3493092 | 02/13/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed two new boilers installed and not FL tags to match current certificates. . | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328500 | 115567 | LIGHT KEEPERS | RITZ CARLTON HOTEL CO | 455 GRAND BAY DR , KEY BISCAYNE 33149 | 3482573 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Fl 095056; 095057; 095045; 095044 all expired on 12/09/24. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328501 | 115568 | EMPLOYEE CAFETERIA | RITZ CARLTON HOTEL CO | 455 GRAND BAY DR , KEY BISCAYNE 33149 | 3482447 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Fl 095056; 095057; 095045; 095044 all expired on 12/09/24. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328504 | 115571 | CANTINA BEACH/ BAR | RITZ CARLTON HOTEL CO | 455 GRAND BAY DR , KEY BISCAYNE 33149 | 3482572 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Fl 095056; 095057; 095045; 095044 all expired on 12/09/24. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2331966 | 217178 | LA CARRETA MIA C-26-A | GLOBAL MIAMI JOINT VENTURE | 4200 NW 21 ST CONC D-37 , MIAMI 33122 | 3558823 | 02/11/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler 127174 with no certification. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334532 | 283022 | GRAB & GO | RITZ-CARLTON HOTEL COMPANY LLC | 455 GRAND BAY DR , KEY BISCAYNE 33149 | 3482499 | 02/10/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Fl 095056; 095057; 095045; 095044 all expired 12/09/2024. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2337172 | 341153 | SHAHS OF KABOB | SULTAN BY SHAHS OF KABOB LLC | 9420 NW 41 ST # 13 , DORAL 33178 | 3494015 | 02/11/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2014 | Food | 2356262 | 31732 | VIVES CAFETERIA BBQ | VIVES YOLANDA | 2517 NW 21 TERR , MIAMI 33142 | 1313775 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed two propane tanks inside MFDV. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2334963 | 289059 | KOMODO - 2ND FLOOR & MEZZANINE | CG BRICKELL LLC | 801 BRICKELL AVE STE L60 , MIAMI 33131 | 3496765 | 02/13/2025 | Routine - Food | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Dade | 2010 | Food | 2337691 | 354121 | BATTUBELIN DOWNTOWN | FARINATA FLAGLER LLC | 200 E FLAGER UNIT 203 , MIAMI 33131 | 3579356 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Dade | 2010 | Food | 2317295 | 338918 | BISTRO 103 | JK HIALEAH LLC | 7707 NW 103 ST , HIALEAH GARDENS 33016 | 3469751 | 02/11/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certificate expired since 2022. - From follow-up inspection 2025-02-11: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2613110 | 365529 | RUZ BUKHARI AFGHAN CUISINE & COFFEE HOUSE | KABOB BOWLS LLC | 9041 SOUTHSIDE BLVD STE 180 , JACKSONVILLE 32256 | 3565037 | 02/13/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Gyro cone spinner stored outside of hood. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615527 | 348609 | JIMMY HULAS | HULAS NORTH FL LLC | 9711 APPLECROSS RD , JACKSONVILLE 32222 | 3489283 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by back door in storage room in red zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615260 | 303151 | AKELS DELI | JM FOOD SERVICES OF FLORIDA INC | 50 N LAURA ST STE #125 , JACKSONVILLE 32202 | 3501812 | 02/11/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Cooking eggs on grill **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2616248 | 353783 | REGGAE ROOTS ALKALINE SMOOTHIE JUICE TEA | REGGAE ROOTS ALKALINE SMOOTHIE JUICE TEA LIC | 2262 ATLANTIC BLVD , JACKSONVILLE 33207 | 3480075 | 02/14/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Cooking mushrooms with avocado oil | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615479 | 297773 | CELESTIA'S | EXECUTIVE CHEF CELESTIA MOBLEY,LLC | 6765 DUNN AVE, SUITE 202 , JACKSONVILLE 32219 | 3500126 | 02/13/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank located by back door near bathroom. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800745 | 328858 | WENDY'S 11329 | SOUTHEAST RESTAURANT GROUP WEN FL, LLC | 2570 COMMERCE PKWY , BUNNELL 32110 | 3500287 | 02/11/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back door, which is exit door , is blocked by empty boxes. Person in charge removed boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800754 | 331728 | PANERA BREAD STORE 2790 | PANADERIAS LLC | 5880 SR 100 , PALM COAST 32164 | 3484852 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By empty boxes. Person in charge removed boxes. **Corrected On-Site** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3801036 | 255492 | HUNGRY HOWIES #3037 | SOUTHGATE PIZZA INC | 2934 US HWY 27 S , SEBRING 33870 | 3466669 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher by hand washing sink in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3916377 | 298024 | JAMAICA JAMAICA ISLAND CUISINE | JAMAICA JAMAICA ISLAND CUISINE INC | 8206 W WATERS AVE #116 , TAMPA 33615 | 3570280 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small fryer under microwave in back kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3918188 | 308558 | SOFRESH | SF4WESTCHASEFL LLC | 10712 COUNTRYWAY BLVD UNIT 211 , TAMPA 33626 | 3568966 | 02/10/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Sandwich press machine stored on prep table adjacent to hand sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3918334 | 313300 | LA CREACION BAKERY | LA CREACION BAKERY INC | 11258 W HILLSBOROUGH AVE , TAMPA 33625 | 3565910 | 02/11/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small fryer and sandwich press machine stored on prep table on cookline. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3902954 | 336466 | CARIBBEAN SANDWICH SHOP AND BAKERY | CARIBBEAN SANDWICH SHOP AND BAKERY INC | 8240 W WATERS AVE , TAMPA 33615 | 3558987 | 02/11/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Sandwich press machine stored on prep counter. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3916048 | 199587 | SUBWAY #28970 | BBSS INC | 13174 HWY 301 , RIVERVIEW 33578 | 3472942 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back door blocked by cart. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3906049 | 335574 | MAIKELS BAKERY | MAIKELS KITCHEN LLC | 7331 W WATERS , TAMPA 33634 | 3492142 | 02/10/2025 | Routine - Food | Emergency order recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. 1 Sandwich press machine stored on prep table on cookline. 1 sandwich press machine on service line next to espresso machine. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3906049 | 335574 | MAIKELS BAKERY | MAIKELS KITCHEN LLC | 7331 W WATERS , TAMPA 33634 | 3492142 | 02/10/2025 | Routine - Food | Emergency Order Callback Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. 1 Sandwich press machine stored on prep table on cookline. 1 sandwich press machine on service line next to espresso machine. - From follow-up inspection 2025-02-10: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606897 | 288024 | TAKE OUT CAFETERIA | LAS DELICIAS RANCH & CAFETERIA LLC | 21870 PALM BEACH BLVD , ALVA 33920 | 3505048 | 02/12/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Observed fire exit door in dining area locked. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607882 | 355167 | SAI GON BAGUETTE | ATD MANGEMENT LLC | 11609 S CLEVELAND AVE UNIT 30 , FORT MYERS 33907 | 3566523 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4605061 | 324965 | EDISON'S LAB AT THE HOLIDAY INN | JASSAS CAPITAL LLC | 2431 CLEVELAND AVE , FORT MYERS 33901 | 3492418 | 02/07/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed propane tank near back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2010 | Food | 4703903 | 346243 | SLIM CHICKENS | KRG SLIMS PARKWAY LLC | 2329 APALACHEE PKWY , TALLAHASSEE 32301 | 3446411 | 02/14/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by the back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2014 | Food | 5150455 | 41758 | TAQUERIA MI REINA | MARIANA DOMINGA AGUILERA CASTILLO | 1880 63RD AVE E , BRADENTON 34203 | 1311983 | 02/07/2025 | Routine - Food | Emergency Order Callback Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed: Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. As a repeat violation the importance of following proper protocol with this violation was reinforced with the employee. - From follow-up inspection 2025-02-07: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5805534 | 363142 | SHAKERS AMERICAN CAFE | SHAKERS RESTAURANT GROUP LLC | 1308 EDGEWATER DR , ORLANDO 32804 | 3560002 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Reach in cooler blocking exit door on cooks line. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5803639 | 342450 | AC HOTEL ORLANDO LAKE BUENA VISTA | AVISTA PROPERTIES V, LLC | 12799 S APOPKA VINELAND RD , ORLANDO 32836 | 3496614 | 02/10/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificates expired 122058, 135762 9/2/2024. General Manager will notify insurance company. **Corrective Action Taken** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5813633 | 335919 | LA CAMPANA MEXICAN AND SEAFOOD RESTAURANT | MENDOZA RESTAURANT ENTERPRISES LLC | 820 LEE RD , ORLANDO 32810 | 3568206 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Gas stored inside foods storage shed | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812948 | 358285 | PHO 2 TO | MUM MUM LLC | 1206 E COLONIAL DR , ORLANDO 32803 | 3559747 | 02/10/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Large propane tank in use in kitchen Operator moved tank outside **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812362 | 310742 | HILTON GARDEN INN | OSSA - LBV OWNER LLC | 11400 MARBELLA PALM CT , ORLANDO 32836 | 3580742 | 02/07/2025 | Complaint Full | Call Back - Complied | 45-06-4 | - From initial inspection : Portable fire extinguisher is inaccessible. For reporting purposes only. Observed two fire extinguishers located on the floor near the Dishmachine area, spoke to Manager at time of inspection. - From follow-up inspection 2025-02-07: Checked two fire extinguishers located on the floor near the Dishmachine area, recommend to Manager to have engineering install on wall both fire extinguishers **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5911807 | 334026 | CARINOS COFFEE SHOP (BACK KITCHEN) | CARINOS COFFEE SHOP LLC | 214 BROADWAY , KISSIMMEE 34741 | 3488893 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank in kitchen by storage area. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6007667 | 136599 | OLD MARSH GOLF CLUB MENS GRILL | OLD MARSH GOLF CLUB INC | 7500 OLD MARSH RD , PALM BEACH GARDENS 87501 | 3572519 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Not available at time of inspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6007668 | 136600 | OLD MARSH GOLF CLUB DINING RM | OLD MARSH GOLF CLUB INC | 7500 OLD MARSH RD , PALM BEACH GARDENS 87501 | 3564931 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Not available at time of inspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6010918 | 137572 | HALF WAY HOUSE | OLD MARSH GOLF CLUB INC | 7500 OLD MARSH RD , PALM BEACH GARDENS 87501 | 3460404 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Not available at time of inspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6021582 | 292939 | FEDERATION CCRC OPERATIONS CORP- BISTRO | FEDERATION CCRC OPERATIONS CORP | 21036 95TH AVENUE SOUTH , BOCA RATON 33428 | 3488887 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. All certificates provided were expired. #132962 (expired 8/25/2023), #132961 (expired 8/25/2023), #132963 (expired 8/25/2023). For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6022635 | 342475 | SINAI RESIDENCES BOCA RATON | FEDERATION CCRC OPERATIONS CORP | 21048 95 AVE S , BOCA RATON 33428 | 3488897 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. All boiler certificates provided were expired. #132962 (expired 8/25/2023), #132961 (expired 8/25/2023), #132963 (expired 8/25/2023) For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6022202 | 321153 | GSJ BAKERY AND BON RESTO LLC | GSJ BAKERY LLC | 7108 S MILITARY TRAIL , LAKE WORTH 33463 | 3488806 | 02/14/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. In kitchen 4 deep fryers with no hood or fryer suppression system. In kitchen 2 Separate propane stoves in middle of kitchen no hood or fire suppression system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6022202 | 321153 | GSJ BAKERY AND BON RESTO LLC | GSJ BAKERY LLC | 7108 S MILITARY TRAIL , LAKE WORTH 33463 | 3488806 | 02/14/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Inside kitchen in dish storage area 4x 20lb propane tanks. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6218701 | 361269 | DRIFT KITCHEN & BAR | TRIPROP CLEARWATER LLC | 400 CORONADO DR , CLEARWATER BEACH 33767 | 3567716 | 02/11/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. New units, have not received certificate. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6218702 | 361320 | AUXILARY KITCHEN - BANQUET KITCHEN | TRIPROP CLEARWATER LLC | 400 CORONADO DR , CLEARWATER BEACH 33767 | 3427128 | 02/11/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. New units, no certificates . | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6218703 | 361324 | BEACH MARKET CAFE | TRIPROP CLEARWATER LLC | 400 CORONADO DR , CLEARWATER BEACH 33767 | 3426705 | 02/11/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. New units, no certificates yet. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6212615 | 280952 | CARAMBOLA | CP CLEARWATER LLC | 400 MANDALAY AVE , CLEARWATER 33767 | 3495449 | 02/13/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Fl 098791,098793,098795,098786,056656 all expire 11/10/2024 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6214048 | 280954 | SAND BAR & GRILL | CP CLEARWATER LLC | 400 MANDALAY AVE , CLEARWATER 33767 | 3497277 | 02/13/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Fl 098791,098793,098795,098786,056656 all expire 11/10/2024 expired. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6217684 | 312592 | VINOY RESORT AND GOLF CLUB - PAUL'S LANDING | SCG HOTEL LLC | 501 FIFTH AVE NE , ST. PETERSBURG 33701 | 3451831 | 02/14/2025 | Routine - Food | Call Back - Extension given, pending | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. B00079720 & B00079690 expired on a 08/10/2024 Inspection completed on 12/03/2024, certificate has not been issued yet. - From follow-up inspection 2025-02-14: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Sarasota | 2010 | Food | 6801249 | 146426 | SNIKI TIKI | CAPT CURTS CRAB & OYSTER BAR INC | 1204 OLD STICKNEY POINT RD , SARASOTA 23407 | 3488984 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only.Observed on wall in kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805593 | 286150 | CHIPOTLE MEXICAN GRILL #2697 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 17019 S TAMIAMI TRL STE A , NORTH PORT 34287 | 3487095 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed exit blocked at back door with three trash containers. Observed trash containers being moved to un block door **Corrective Action Taken** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6904421 | 355812 | FIRST WATCH #1051 | FIRST WATCH RESTAURANTS INC | 5723 RED BUG LAKE RD , WINTER SPRINGS 32708 | 3566493 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear exit door blocked by trash cart **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6601931 | 355936 | MAMAS PIZZERIA | MAMAS PIZZERIA LLC | 9128 S FEDERAL HWY , PORT ST LUCIE 34952 | 3482099 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked by storage dish rack in back of kitchen. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7403925 | 288066 | MAIN KITCHEN/DON RICO/DOC BALES/ | DAYTONA BEACH OWNER OPCO LLC | 100 N ATLANTIC AVE , DAYTONA BEACH 32118 | 3494854 | 02/07/2025 | Routine - Food | Warning Issued | 45-04-4 | Nozzles at hood suppression system not properly aligned with cooking equipment. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407870 | 348911 | WILD AND RAW | WILD AND RAW WILD SMOOTHIES AND MORE LLC | 1930 W GRANADA BLVD STE 3 , ORMOND BEACH 32174 | 3500108 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-01-4 | No portable fire extinguisher present. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406811 | 344121 | PHO SAIGON VIETNAMESE RESTAURANT | GENSKY VIETNAMESE QUISINE, LLC | 312 S PENINSULA DR , DAYTONA BEACH 32118 | 3498141 | 02/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed above equipment. Notified Fire AHJ. For reporting purposes only. -tabletop deep fryer placed on table next to microwave | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407870 | 348911 | WILD AND RAW | WILD AND RAW WILD SMOOTHIES AND MORE LLC | 1930 W GRANADA BLVD STE 3 , ORMOND BEACH 32174 | 3500108 | 02/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7403925 | 288066 | MAIN KITCHEN/DON RICO/DOC BALES/ | DAYTONA BEACH OWNER OPCO LLC | 100 N ATLANTIC AVE , DAYTONA BEACH 32118 | 3494854 | 02/10/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Nozzles at hood suppression system not properly aligned with cooking equipment. Notified Fire AHJ. For reporting purposes only. - From follow-up inspection 2025-02-10: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.