## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1102823 | 305931 | KENTUCKY FRIED CHICKEN | DE FOODS LLC | 3750 NW 13 ST , GAINESVILLE 32609 | 3500601 | 02/17/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher next to three compartment sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103015 | 356085 | CHINA 88 FOOD INC | CHINA 88 FOOD INC | 4217 NW 16 BLVD , GAINESVILLE 32605 | 3505047 | 02/20/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. In the recharge zone by the back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103063 | 315442 | BAYMONT INN & SUITES | GAINESVILLE HOTEL INVESTMENT LLC | 6901 NW 4 BLVD , GAINESVILLE 32607 | 3474392 | 02/17/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. No current boiler certificate available. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Bradford | 2010 | Food | 1400045 | 364359 | GS BBQ | GS BBQ INC | 915 N TEMPLE AVE , STARKE 32091 | 3504263 | 02/19/2025 | Routine - Food | Warning Issued | 49-05-4 | Flammables stored near a source of ignition. For reporting purposes only. Propane tanks stored in smoker area directly next to smoker. Operator relocated the propane tanks. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1507092 | 341705 | DOLPHINS WATERFRONT BAR & GRILL AT CAPE CROSSING | CAPE CROSSING TIKI HUT RESTAURANT LLC | 310 LAGOON WAY , MERRITT ISLAND 32953 | 3558632 | 02/18/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tanks under covering | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1621115 | 250117 | PAL RANCHO | PAL' RANCHO INC | 5637 CORAL RIDGE DR , CORAL SPRINGS 33076 | 3581637 | 02/18/2025 | Complaint Full | Warning Issued | 46-01-4 | Path to marked exit left of main kitchen cook line blocked by multiple food racks. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625088 | 328745 | JUST 1 MORE | PIERCE STREET ANNEX POOL BAR INC | 3074 NE 33 AVE , FORT LAUDERDALE 33308 | 3469208 | 02/14/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -Hallway on wall next to women's rest room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1613419 | 188016 | VUE KITCHEN | DSI SUNRISE LLC | 2670 E SUNRISE BLVD , FORT LAUDERDALE 33304 | 3499212 | 02/19/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1624758 | 316742 | MAMA TOFU & MORE | MAMA TOFU & MORE LLC | 6467 STIRLING ROAD , DAVIE 33314 | 3562771 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. At the back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1619331 | 333305 | HOTOLOS HOLLYWOOD | HOTOLOS HOLLYWOOD LLC | 2520 STIRLING RD , HOLLYWOOD 33020 | 3444502 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed at rear exit behind bar | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625497 | 342687 | HONEY FITZ | FTLFS HOTEL PROPERTY LP | 525 N FORT LAUDERDALE BEACH BLVD , FORT LAUDERDALE 33304 | 3490530 | 02/17/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Common areas - 139138, 139137 plus one unlabeled. No certificates. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1620714 | 315178 | CHINA HOUSE | DONG SHENG INC | 5984 CORAL RIDGE DR , CORAL SPRINGS 33076 | 3503922 | 02/19/2025 | Routine - Food | Inspection Completed - No Further Action | 49-05-4 | Retention cables for gas appliances on wheels, not secured to the wall. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1600225 | 261047 | LAS OLAS CO - RIVERSIDE HOTEL | LAS OLAS CO., INC | 620 E LAS OLAS BLVD , FORT LAUDERDALE 33301 | 3572073 | 02/14/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. - From follow-up inspection 2025-02-14: Observed same. **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Clay | 2010 | Food | 2001328 | 343919 | LA CATRINA TACOS AND TEQUILA BAR | LA CATRINA 2 INC | 2710 BLANDING BLVD STE 15-16 , MIDDLEBURG 32068 | 3581867 | 02/20/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. For extinguisher at kitchen entrance in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000224 | 301232 | SHORES LIQUOR & THE ROADHOUSE | AARUSH ONE LLC | 231 BLANDING BLVD , ORANGE PARK 32073 | 3489017 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by back walk in cooler is in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000851 | 347860 | KELLY’S COUNTRY KITCHEN | MORGAN KELLY | 2216 S MIMOSA AVE , MIDDLEBURG 32068 | 3495343 | 02/19/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit to right of three compartment sink blocked by trash can. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2320234 | 365375 | HEART OF INDIA | PANJAB INDIAN CAFE RESTAURANT LLC | 7950 SW 8TH STREET , MIAMI 33144 | 3565101 | 02/19/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed back exit blocked by multiple items. Operator moved to have clear exit path. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335992 | 351310 | LA QUINTA MIAMI AIRPORT EAST | RORE MANAGEMENT 3501 LLC | 3501 NW 42 AVE , MIAMI 33142 | 3488997 | 02/17/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed expired certificate for boiler. Observed 135426 7/1/2024 & 135427 7/1/24. EXPIRED. As per operator, they have an inspection set for the ending of this month. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2335572 | 302624 | FORNO ITALIANO PIZZERIA | KAPXHIU INC | 1403 SUNSET DR , CORAL GABLES 33146 | 3430346 | 02/21/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed next to pizza oven, connected to stove. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337174 | 367499 | CHICK N JONES | LUV LIFESTYLE ENTERPRISES LLC | 9420 NW 41 ST UNIT 101 , DORAL 33178 | 3581225 | 02/21/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 gas boilers with 650,000 BTUs next to ice machines / SN #1 2145126818071 and SN #2 Not visible. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2336603 | 350080 | PURA VIDA MIAMI | PURA VIDA DOWNTOWN DORAL LLC | 8400 NW 53 ST UNIT F108 , DORAL 33166 | 3504770 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed extinguisher in recharge zone located by kitchen back entrance. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2317823 | 111020 | PABLOS CAFE | PALISADE GROUP INC | 8061 NW 66 ST , MIAMI 62729 | 3502434 | 02/20/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed inside dry storage. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2326775 | 114329 | ISSABELLA'S | BALANS LC | 1022 LINCOLN RD , MIAMI BEACH 33139 | 3493400 | 02/19/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2318480 | 367865 | AINHOA CAFE CORP | AINHOA CAFE CORP | 1666 W 31 PL , HIALEAH 33012 | 3581778 | 02/19/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed at kitchen, employee stored outside the building. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2334215 | 268403 | 3 CHEFS AT BRICKELL | 3 CHEFS AT BRICKELL | 48 SW 12 ST , MIAMI 33130 | 3558115 | 02/17/2025 | Routine - Food | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Duval | 2010 | Food | 2615767 | 337419 | PALMAYRA CAFE & LOUNGE | DAMASCUS KITCHEN LLC | 3615 DUPONT AVE SUITE 100, JACKSONVILLE 32217 | 3432790 | 02/18/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 20 lb propane tank in kitchen . Moved by manager to car. **Corrected On-Site** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2612400 | 351113 | CHINA BUFFET | ORANGE PARK RESTAURANT LLC | 6001 ARGYLE FOREST BVLD STE 32 , JACKSONVILLE 32244 | 3495464 | 02/21/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. In server station under counter, fire extinguisher gauge in red zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2616248 | 353783 | REGGAE ROOTS ALKALINE SMOOTHIE JUICE TEA | REGGAE ROOTS ALKALINE SMOOTHIE JUICE TEA LIC | 2262 ATLANTIC BLVD , JACKSONVILLE 33207 | 3480075 | 02/14/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Cooking mushrooms with avocado oil | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800879 | 325600 | RED KOI | PELLEGRINO, JENNIFER | 101 PALM HARBOR PKWY UNIT B-118, PALM COAST 32137 | 3502048 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By empty boxes at back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800812 | 300752 | WHAAM! | COLE AND OLIVER CO LLC | 400 S OCEANSHORE BLVD , FLAGLER BEACH 32136 | 3501714 | 02/20/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Cover is missing on outlet by hand washing sink in back. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800726 | 364260 | RED CLOVER | RED KOI HOSPITALITY GROUP LLC | 101 PALM HARBOR PKWY C132 , PALM COAST 32137 | 3502279 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 5 gallon tanks inside of building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2014 | Food | 3953468 | 62429 | FOOD PARADISE TRUCK | FOOD PARADISE TRUCK LLC | 6501 W HILLSBOROUGH AVE , TAMPA 33634 | 1311285 | 02/18/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Sandwich press machine stored on prep counter. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3915566 | 254240 | 2 ALEX'S | TWO ALEX'S ENTERTAINMENT INC | 7049 W WATERS AVE , TAMPA 33634 | 3572868 | 02/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Sandwich press machine stored on prep table on cookline. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2014 | Food | 3953008 | 49610 | CALI BURGER | CALI BURGER LLC | 8320 W HILLSBOROUGH AVE , TAMPA 33615 | 1298647 | 02/19/2025 | Routine - Food | Emergency order recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small fryer stores next to 3-compartment sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2014 | Food | 3953008 | 49610 | CALI BURGER | CALI BURGER LLC | 8320 W HILLSBOROUGH AVE , TAMPA 33615 | 1298647 | 02/20/2025 | Routine - Food | Emergency Order Callback Not Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small fryer stores next to 3-compartment sink. - From follow-up inspection 2025-02-20: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2014 | Food | 3953008 | 49610 | CALI BURGER | CALI BURGER LLC | 8320 W HILLSBOROUGH AVE , TAMPA 33615 | 1298647 | 02/20/2025 | Routine - Food | Emergency Order Callback Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small fryer stores next to 3-compartment sink. - From follow-up inspection 2025-02-20: **Time Extended** - From follow-up inspection 2025-02-20: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4603693 | 218024 | POTTS SPORTS CAFE | JRMZ ENTERPRISES INC | 6900 DANIELS PKWY # 26 , FT MYERS 33912 | 3581746 | 02/21/2025 | Complaint Full | Warning Issued | 47-03-4 | Observed electrical wiring in disrepair, and with excessive grease/food debris inbetween reach-in coolers middle of cook line on floor.. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607152 | 302940 | EL MERCADO DE SAN CARLOS | EL MERCADO DE SAN CARLOS | 17597 ROCKEFELLER CIR STE 1, FORT MYERS 33967 | 3503224 | 02/18/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Rear exit door blocked with 5 gallon buckets. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607069 | 331157 | PIRATE HOOK SEAFOOD AND CHICKEN | PIRATE HOOK SEAFOOD AND CHICKEN INC | 4065 FOWLER ST , FORT MYERS 33901 | 3500170 | 02/17/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only at kitchen entrance. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606338 | 337768 | PU THAI RESTAURANT | PU THAI LLC | 4085 HANCOCK BRIDGE PKWY UNIT 118 , NORTH FORT MYERS 33903 | 3491769 | 02/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed rear exit door in kitchen blocked with trash can and mop bucket. Operator removed items from exit path during inspection. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2014 | Food | 4651615 | 65839 | WOKIN N ROLLIN | STEPHEN SLIFER | 16371 CORPORATE COMMERCE WAY , FORT MYERS 33913 | 1299828 | 02/19/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in standing water under triple sink, left side. Surge protector and plugs around dripping water, in standing water. Operator removed cords from standing water. For reporting purposes only. **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4604412 | 216184 | OVER EASY CAFE | YELLOW DOGZ LLC | 630 TARPON BAY RD #1 , SANIBEL 33957 | 3565882 | 02/19/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 20# lp gas tank in dry storage area. Operator removed tank to outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2010 | Food | 4703903 | 346243 | SLIM CHICKENS | KRG SLIMS PARKWAY LLC | 2329 APALACHEE PKWY , TALLAHASSEE 32301 | 3446411 | 02/14/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by the back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Levy | 2010 | Food | 4800599 | 261557 | MAMA SALLY'S | MAMA SALLY'S NORTH INC | 137 S US HWY 19 , INGLIS 34449 | 3504012 | 02/19/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher non shelf near mop sink gauge in red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2014 | Food | 5150815 | 65940 | HABIBI BOWLS | HALAL BOWLS LLC | 5640 15 ST E , BRADENTON 34203 | 1310592 | 02/19/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2014 | Food | 5150815 | 65940 | HABIBI BOWLS | HALAL BOWLS LLC | 5640 15 ST E , BRADENTON 34203 | 1310592 | 02/20/2025 | Routine - Food | Call Back - Extension given, pending | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. - From follow-up inspection 2025-02-20: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202884 | 273789 | WAFFLE HOUSE | EAST COAST WAFFLES, INC. | 22 NW 34TH AVENUE , OCALA 34475 | 3581599 | 02/17/2025 | Complaint Full | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Near office. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2010 | Food | 5428290 | 288153 | ANGLER AND ALE | KEYS HOTEL OPERATOR, INC | 540 DUCK KEY DRIVE , DUCK KEY 03756 | 3558107 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5805534 | 363142 | SHAKERS AMERICAN CAFE | SHAKERS RESTAURANT GROUP LLC | 1308 EDGEWATER DR , ORLANDO 32804 | 3560002 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Reach in cooler blocking exit door on cooks line. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814183 | 298767 | OLD CUBAN CAFÉ | JCPEREZ FOODS INC | 12014 E COLONIAL DR STE 180 , ORLANDO 32826 | 3564157 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Exit door in prep kitchen locked. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5805663 | 132468 | EMPLOYEES CAFETERIA | SWAN HOTEL ASSOCIATES | 1200 EPCOT RESORT BLVD , LAKE BUENA VISTA 32830 | 3442298 | 02/20/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificate expired 122670 11/06/2024 Engineering notify. **Corrective Action Taken** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5815675 | 352711 | DRURY PLAZA HOTEL-ORLANDO/LBV - 1ST FLOOR AMENITY DINING | DRURY PLAZA HOTEL ORLANDO LAKE BUENA VISTA LLLP | 2000 HOTEL PLAZA BLVD , LAKE BUENA VISTA 32830 | 3501335 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificates 113788 and 1377987 expired 11/19/2024 Spoke to Manager concerning status. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Osceola | 2010 | Food | 5909038 | 351650 | NEW YORK BRICKED UP PIZZA | ANTOJOS EL NORTENO LLC | 5407 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 3470839 | 02/21/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. Silver - From follow-up inspection 2024-12-19: **Time Extended** - From follow-up inspection 2025-02-21: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6019475 | 189844 | HOUSE OF BREAD & COFFEE INC | HOUSE OF BREAD & COFFEE INC | 22829 SR 7 , BOCA RATON 33428 | 3559262 | 02/20/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge right of cook line in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6010309 | 350852 | SERIOUS DUMPLINGS | SERIOUS DUMPLINGS BOCA RATON LLC | 9845 GLADES RD , BOCA RATON 33434 | 3495244 | 02/19/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6006741 | 254886 | TACO BELL #2595 | TACO BELL OF AMERICA LLC | 22953 SANDALFOOT PLAZA DR , BOCA RATON 33428 | 3503252 | 02/19/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked by trashcan and broken down boxes. Operator moved. For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6022781 | 349369 | CARMELA COFFEE | HAZELNUT LLC | 5560 N MILITARY TRL , BOCA RATON 33431 | 3558010 | 02/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. A rag rack was blocking the rear exit door. Chef moved the rack out of the way of the exit door **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6021705 | 310297 | LA TROPICANA LLC | LA TROPICANA LLC | 901 N DIXIE HWY #1 , LAKE WORTH 33460 | 3559947 | 02/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Back door exit blocked by table. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6007667 | 136599 | OLD MARSH GOLF CLUB MENS GRILL | OLD MARSH GOLF CLUB INC | 7500 OLD MARSH RD , PALM BEACH GARDENS 87501 | 3572519 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Not available at time of inspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6007668 | 136600 | OLD MARSH GOLF CLUB DINING RM | OLD MARSH GOLF CLUB INC | 7500 OLD MARSH RD , PALM BEACH GARDENS 87501 | 3564931 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Not available at time of inspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6010918 | 137572 | HALF WAY HOUSE | OLD MARSH GOLF CLUB INC | 7500 OLD MARSH RD , PALM BEACH GARDENS 87501 | 3460404 | 02/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Not available at time of inspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6019475 | 189844 | HOUSE OF BREAD & COFFEE INC | HOUSE OF BREAD & COFFEE INC | 22829 SR 7 , BOCA RATON 33428 | 3559262 | 02/21/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge right of cook line in red zone. For reporting purposes only. - From follow-up inspection 2025-02-21: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6022202 | 321153 | GSJ BAKERY AND BON RESTO LLC | GSJ BAKERY LLC | 7108 S MILITARY TRAIL , LAKE WORTH 33463 | 3488806 | 02/14/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. In kitchen 4 deep fryers with no hood or fryer suppression system. In kitchen 2 Separate propane stoves in middle of kitchen no hood or fire suppression system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6022202 | 321153 | GSJ BAKERY AND BON RESTO LLC | GSJ BAKERY LLC | 7108 S MILITARY TRAIL , LAKE WORTH 33463 | 3488806 | 02/14/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Inside kitchen in dish storage area 4x 20lb propane tanks. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pasco | 2010 | Food | 6113811 | 334421 | PROVISIONS COFFEE & KITCHEN | BUTTERMILK PROVISIONS LLC | 5862 GOLDVIEW PARKWAY UNIT 102 , WESLEY CHAPEL 33544 | 3574754 | 02/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Fire extinguisher on floor in rear of kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217035 | 270128 | MINGMING TEA | MINGMINGTEA LLC | 7218 CENTRAL AVE , ST. PETERSBURG 33707 | 3574311 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Establishment has deep fryer on rear counter of sushi bar with no hood system **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217684 | 312592 | VINOY RESORT AND GOLF CLUB - PAUL'S LANDING | SCG HOTEL LLC | 501 FIFTH AVE NE , ST. PETERSBURG 33701 | 3451831 | 02/14/2025 | Routine - Food | Call Back - Extension given, pending | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. B00079720 & B00079690 expired on a 08/10/2024 Inspection completed on 12/03/2024, certificate has not been issued yet. - From follow-up inspection 2025-02-14: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Putnam | 2010 | Food | 6400324 | 302308 | OAKS GOLF CLUB | LUPPLACE ENTERPRISES LLC | 1264 CR 309 , CRESCENT CITY 32112 | 3502526 | 02/20/2025 | Routine - Food | Inspection Completed - No Further Action | 45-01-4 | No portable fire extinguisher present. For reporting purposes only. Observed extinguisher for hood suppression system, no tag visible. Buildup of chemical on extinguisher and piping. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805717 | 305915 | CHICK-FIL-A "PELICAN PLAZA" FSU #4072 | VICTORY OPERATIONS LLC | 8420 S TAMIAMI TRL , SARASOTA 34238 | 3581635 | 02/19/2025 | Complaint Full | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed extinguisher on floor outside walk in cooler. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805924 | 329821 | SUSHI BAY KITCHEN&SAKE BAR | SUSHI BAY FLORIDA INC | 3957 CATTLEMEN ROAD , SARASOTA 34233 | 3581574 | 02/18/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed shelving and supplies partially blocking narrow passage of hallway near soda box station to sidewalk. As a repeat violation the importance of following proper protocol with this violation was reinforced with the Manager. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805736 | 305324 | METRO DINER | MD WEST FLORIDA LLC | 2053 S TAMIAMI TRAIL , VENICE 34292 | 3563878 | 02/19/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed the rear exit partially blocked by discarded cardboard boxes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6903982 | 357408 | MEXICAN RESTAURANT LOS MONDRAGON | MEXICAN RESTAURANT LOS MONDRAGON INC | 2960 W SR.426 # 1000 , OVIEDO 32765 | 3440491 | 02/18/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. -15lbs propane tank stored under 3 compartment sink | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6603069 | 278176 | PAPPY'S PIZZA | PAPPY'S PIZZA LLC | 6945 OKEECHOBEE RD , FORT PIERCE 34945 | 3491651 | 02/20/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Table top fryer being used for personal foods on cook line by walk in cooler | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6602856 | 305074 | WASABI THAI SUSHI | WASABI GROUP LLC | 217 ORANGE AVE , FORT PIERCE 34950 | 3484921 | 02/18/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Bar lounge dining area on the opposite side of sushi bar. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.