## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1103492 | 325720 | ZERO DEGREE | ZERO DEGREE LLC | 3033 SW 34 ST , GAINESVILLE 32608 | 3458994 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed the back door is blocked by a reach-in freezer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1102889 | 172637 | SATCHEL'S PIZZA | SATCHEL'S PIZZA INC | 1800 NE 23 AVENUE , GAINESVILLE 32609 | 3566159 | 02/26/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher next across from soda box station in dry storage room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1301344 | 211641 | PINEAPPLE WILLIES | PINEAPPLE WILLIES INC | 9875 S THOMAS DR , PANAMA CITY BEACH 32408 | 3562497 | 02/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher behind bar area by back door in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506278 | 301501 | DEBBIES DINER | JEREMIAH 29 11-13 LLC | 118 E MERRITT ISLAND CSWY , MERRITT ISLAND 32952 | 3495709 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Next to rear exit by men's restroom | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506940 | 321587 | WAFFLE HOUSE | WAFFLE HOUSE INC. | 4005 W EAU GALLIE BLVD , MELBOURNE 32934 | 3494218 | 02/27/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in recharge, next to back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1624750 | 334492 | VISH HOLLYWOOD | GOOD DAYS MALIHA LLC | 2893 STIRLING ROAD , FORT LAUDERDALE 33312 | 3563911 | 02/27/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Silver extinguisher in the kitchen **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1611233 | 354974 | KWONG MING CHINA KITCHEN | LI'S CHINA KITCHEN LLC | 3001 JOHNSON ST , HOLLYWOOD 33021 | 3570889 | 02/26/2025 | Routine - Food | Emergency order recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed at cook line fire extinguisher **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1623066 | 304485 | 17 ST THAI SUSHI | JACKPOT GROUP LLC | 1515 SE 17 STREET STE 100 , FORTLAUDERDALE 33316 | 3570309 | 02/26/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher gauge in red recharge zone, located next to walk in cooler. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1620244 | 329778 | FRITANGA FRITANGON NICARAGUAN RESTAURANT | FRITANGA FRITANGON NICARAGUAN FOOD INC | 6799 STIRLING RD , DAVIE 33314 | 3562788 | 02/24/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. By the back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Calhoun | 2010 | Food | 1700142 | 338165 | YUM BERRY | YUM BERRY | 4009 OAKWOOD BLVD , HOLLYWOOD 33020 | 3558090 | 02/25/2025 | Routine - Food | Administrative complaint recommended | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Observed at outlet next to oven on cook line | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Charlotte | 2010 | Food | 1801933 | 323660 | BIG BAMBOO ASIAN FUSION | BIG BAMBOO ASIAN FUSION INC | 4104 EL JOBEAN RD , PORT CHARLOTTE 33953 | 3491765 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed back exit door by restrooms locked. Observed operator un lock door. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000861 | 340368 | GOLDEN CORRAL | LADYT AND MS FLOSSI LLC | 582 BLANDING BLVD , ORANGE PARK 32073 | 3582123 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at back prep in recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000751 | 363854 | LITTLE SAIGON CAFE | LITTLE SAIGON CUISINE & CAFE LLC | 1975 WELLS RD STE 4 , ORANGE PARK 32073 | 3501457 | 02/25/2025 | Routine - Food | Emergency order recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguishers at kitchen entrance and at back exit door are in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103583 | 316505 | DIMENSION | MIAMISTYLE PROMOTIONS CORP | 2634 TAMIAMI TRL E , NAPLES 34112 | 3566236 | 02/26/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Operator has a flat top grill and deep fryer with no hood system/fire suppression. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335572 | 302624 | FORNO ITALIANO PIZZERIA | KAPXHIU INC | 1403 SUNSET DR , CORAL GABLES 33146 | 3430346 | 02/21/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed next to pizza oven, connected to stove. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337174 | 367499 | CHICK N JONES | LUV LIFESTYLE ENTERPRISES LLC | 9420 NW 41 ST UNIT 101 , DORAL 33178 | 3581225 | 02/21/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 gas boilers with 650,000 BTUs next to ice machines / SN #1 2145126818071 and SN #2 Not visible. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2315735 | 296628 | DENNY'S OF 36TH ST 7459 | PHOENIX DINING OF 36TH ST LLC | 7411 NW 36 ST , MIAMI 33166 | 3503609 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed extinguisher in recharge zone by ice machine in back kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336603 | 350080 | PURA VIDA MIAMI | PURA VIDA DOWNTOWN DORAL LLC | 8400 NW 53 ST UNIT F108 , DORAL 33166 | 3504770 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed extinguisher in recharge zone located by kitchen back entrance. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2014 | Food | 2359417 | 48312 | OCHIO ISLAND GRILL RESTAURANT AND CATERING | OCHIO ISLAND GRILL RESTAURANT AND CATERING LLC | 10470 SW 187 ST , CUTLER BAY 33157 | 1293294 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher in the recharge area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328667 | 195450 | EL TIO COIN LAUNDRY & CAFETERIA | DIAZ COIN LAUNDRY & CAFETERIA INC | 1664 NW 17 AVE , MIAMI 33125 | 3498782 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed the establishment has a double-side portable gas fryer on a table not under the hood system. Observed employee fry empanadas during the inspection | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2330929 | 353076 | EL JAGUA BAR - CAFETERIA - RESTAURANT | EL JAGUA, CORP | 4665 NW 7 ST , MIAMI 33126 | 3569644 | 02/25/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed exit blocked by garbage can. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335712 | 303211 | CASA TUA CUCINA | CASA TUA CUCINA (MIAMI) ASSOCIATES LLC | 70 SW 7 ST , MIAMI 33130 | 3461678 | 02/27/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. At the time of the inspection observed water heating device with a total gallon capacity of 300 gallons. No boiler certificate provided. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2337176 | 360086 | AMOR DI PASTA | AMOR DI PASTA LLC | 9420 NW 41 ST UNIT 109 , DORAL 33178 | 3570927 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed two boilers SN1 2415126818071 SN2 Not visible, with no boiler certificate. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2330049 | 265001 | OASIS LOUNGE | PFOH COMPANIES LLC | 2977 MCFARLANE RD STE 100A , MIAMI 33133 | 3442064 | 02/25/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2614521 | 318678 | MAIN EVENT JACKSONVILLE | MAIN EVENT ENTERTAINMENT INC | 103070 PHILLIPS HWY , JACKSONVILLE 32256 | 3500324 | 02/26/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in red zone at back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2014 | Food | 2652726 | 64360 | JLB HOT DOG N MORE | JIMMY RIVERA / JAYLE CLAUDIO | 9865 BEACH BLVD STE 2 , JACKSONVILLE 32246 | 1296371 | 02/26/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. CO2 tanks not secured stored inside built shed with hot dog cart & stored food equipments, stored food & supplies | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2608566 | 295742 | J J'S CAFE | HANNA & SONS INC | 6622 SOUTHPOINT DR S , JACKSONVILLE 32216 | 3501117 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Operator cooking on flat top grill with no hood suppression system **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2014 | Food | 2652726 | 64360 | JLB HOT DOG N MORE | JIMMY RIVERA / JAYLE CLAUDIO | 9865 BEACH BLVD STE 2 , JACKSONVILLE 32246 | 1296371 | 02/27/2025 | Routine - Food | Call Back - Admin. complaint recommended | 48-04-4 | - From initial inspection : Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. CO2 tanks not secured stored inside built shed with hot dog cart & stored food equipments, stored food & supplies - From follow-up inspection 2025-02-27: Still the same **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2612400 | 351113 | CHINA BUFFET | ORANGE PARK RESTAURANT LLC | 6001 ARGYLE FOREST BVLD STE 32 , JACKSONVILLE 32244 | 3495464 | 02/21/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. In server station under counter, fire extinguisher gauge in red zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800616 | 255281 | GIUSEPPES NY PIZZA EXPRESS | GIUSEPPES NY PIZZA EXPRESS INC | 2245 S OLD DIXIE HWY , BUNNELL 32110 | 3559172 | 02/27/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked by mop bucket. Person in charge moved mop bucket. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800781 | 294374 | 5TH ELEMENT INDIAN CUISINE | 5TH ELEMENT INDIAN CATERING LLC | 101 PALM HARBOUR PKWY 126 , PALM COAST 32137 | 3501290 | 02/25/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door in back side of bar is blocked by storage of miscellaneous items. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800879 | 325600 | RED KOI | PELLEGRINO, JENNIFER | 101 PALM HARBOR PKWY UNIT B-118, PALM COAST 32137 | 3502048 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By empty boxes at back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800726 | 364260 | RED CLOVER | RED KOI HOSPITALITY GROUP LLC | 101 PALM HARBOR PKWY C132 , PALM COAST 32137 | 3502279 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 5 gallon tanks inside of building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hardee | 2010 | Food | 3500201 | 119985 | PANDA REST (THE) | TSAIS REST INC | 806 S 6 AVE , WAUCHULA 33873 | 3435093 | 02/26/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed back exit door from the banquet room is blocked. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800701 | 322716 | SPRING LAKE GOLF RESORT | NEW SPRING LAKE PARTNERS LLC | 100 CLUBHOUSE LN , SEBRING 33876 | 3431351 | 02/24/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only at dry storage. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4502373 | 361270 | HOLIDAY INN EXPRESS & SUITES - CLERMONT SE - WEST ORLANDO | GANESH PARVATI XXIV LLC | 105 SUMMER BAY BLVD , CLERMONT 34711 | 3581632 | 02/21/2025 | Complaint Full | Inspection Completed - No Further Action | 48-01-5 | 48-01-5 Observed: No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Priority: Reporting | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Lee | 2010 | Food | 4603693 | 218024 | POTTS SPORTS CAFE | JRMZ ENTERPRISES INC | 6900 DANIELS PKWY # 26 , FT MYERS 33912 | 3581746 | 02/21/2025 | Complaint Full | Warning Issued | 47-03-4 | Observed electrical wiring in disrepair, and with excessive grease/food debris inbetween reach-in coolers middle of cook line on floor.. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606734 | 360649 | POPEYES LOUISIANA KITCHEN OPERATED BY TICE | TICE CHICKEN FL, LLC | 81 HANCOCK BRIDGE PKWY WEST , CAPE CORAL 33991 | 3564610 | 02/26/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only by boxes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606749 | 271041 | CAPONES COAL FIRED PIZZA | CAPONES COAL FIRED PIZZA LLC | 2225 FIRST ST , FORT MYERS 33901 | 3499501 | 02/25/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed 2 propane tanks in building by office area. Operator moved tanks outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2010 | Food | 4703838 | 330183 | CASA GRANDE BAR & GRILL MIDTOWN | CASA GRANDE BAR AND GRILL MIDTOWN LLC | 1800 THOMASVILLE ROAD STE 21 , TALLAHASSEE 32303 | 3558756 | 02/26/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher by produce cooler. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2010 | Food | 4703462 | 252099 | DUNKIN DONUTS | SC&D CAPITAL CIRCLE NW LLC | 1594 CAPITAL CIR NW , TALLAHASSEE 32304 | 3456498 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2010 | Food | 5428290 | 288153 | ANGLER AND ALE | KEYS HOTEL OPERATOR, INC | 540 DUCK KEY DRIVE , DUCK KEY 03756 | 3558107 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Nassau | 2010 | Food | 5500811 | 130404 | INDIGO | LE CLOS OF AMELIA ISLAND INC | 20 S 2 ST , FERNANDINA BEACH 32034 | 3559323 | 02/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in outside storage area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okeechobee | 2010 | Food | 5700413 | 342766 | WENDY'S 4201 | WENCO HOLDINGS LLC | 502 NE PARK ST , OKEECHOBEE 34972 | 3565864 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only at walk in freezer. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2014 | Food | 5856431 | 66958 | CHICK N' WAFFLES | CHICK N' WAFFLES LLC | 929 W MICHIGAN ST VIN # 0284, ORLANDO 32805 | 1314009 | 02/22/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -small deep fryers located inside trailer for fried chicken, no hood system/ansul unit | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814183 | 298767 | OLD CUBAN CAFÉ | JCPEREZ FOODS INC | 12014 E COLONIAL DR STE 180 , ORLANDO 32826 | 3564157 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Exit door in prep kitchen locked. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815675 | 352711 | DRURY PLAZA HOTEL-ORLANDO/LBV - 1ST FLOOR AMENITY DINING | DRURY PLAZA HOTEL ORLANDO LAKE BUENA VISTA LLLP | 2000 HOTEL PLAZA BLVD , LAKE BUENA VISTA 32830 | 3501335 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificates 113788 and 1377987 expired 11/19/2024 Spoke to Manager concerning status. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5811231 | 345153 | CIELITO LINDO MEXICAN GRILL | CIELITO LINDO MEXICAN GRILL INC | 1701 ROCK SPRINGS RD , APOPKA 32712 | 3563973 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 3 propane tanks inside building by ice machine, operator removed from building **Corrected On-Site** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5909038 | 351650 | NEW YORK BRICKED UP PIZZA | ANTOJOS EL NORTENO LLC | 5407 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 3470839 | 02/21/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. Silver - From follow-up inspection 2024-12-19: **Time Extended** - From follow-up inspection 2025-02-21: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6010065 | 361518 | ROTELLI PIZZA AND PASTA | TWO MANY TACOS LLC | 21747 SR 7 , BOCA RATON 33428 | 3487240 | 02/28/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher by water heater gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6021926 | 305089 | PIZZA DISTRICT | PIZZA DISTRICT LLC | 6919 SW 18TH STREET , BOCA RATON 33433 | 3564239 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Tank in back room by rear exit door. Manager moved outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6019475 | 189844 | HOUSE OF BREAD & COFFEE INC | HOUSE OF BREAD & COFFEE INC | 22829 SR 7 , BOCA RATON 33428 | 3559262 | 02/21/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge right of cook line in red zone. For reporting purposes only. - From follow-up inspection 2025-02-21: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6205893 | 140629 | SHERATON RUSTYS | SAND KEY ASSOCIATES | 1160 GULF BLVD , CLEARWATER BCH 33767 | 3496793 | 02/25/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Fl134124,Fl139161,Fl130108 all exp 7/13/2024 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6215761 | 203122 | MARISCOS EL PULPO II | SACRULLI DANIEL EDUARDO | 8740 SEMINOLE BLVD , SEMINOLE 33772 | 3489107 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Electric deep fryer in kitchen not under hood system **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217035 | 270128 | MINGMING TEA | MINGMINGTEA LLC | 7218 CENTRAL AVE , ST. PETERSBURG 33707 | 3574311 | 02/21/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Establishment has deep fryer on rear counter of sushi bar with no hood system **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6218611 | 358657 | CHINA BOI HIBACHI | CHINA BOI HIBACHI LLC | 401 49 ST S , ST PETERSBURG 33707 | 3576477 | 02/26/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6218611 | 358657 | CHINA BOI HIBACHI | CHINA BOI HIBACHI LLC | 401 49 ST S , ST PETERSBURG 33707 | 3576477 | 02/26/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6213800 | 172504 | CERTEGY CAFE | COMPASS GROUP USA INC | 11601 ROOSEVELT BLVD , ST. PETERSBURG 33716 | 3571836 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Per tag on boiler Max water temp 240 500,000 BTU Max pressure 160 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
St. Johns | 2010 | Food | 6502268 | 308719 | SOUTH KITCHEN & SPIRITS | SKS ST JOHNS LLC | 150 PINE LAKE DR , PONTE VEDRA 32081 | 3582408 | 02/28/2025 | Complaint Full | Call Back - Extension given, pending | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Loose , bare , exposed wires above ice machine. Kitchen - From follow-up inspection 2025-02-28: At callback :time needed to fix. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2010 | Food | 6502268 | 308719 | SOUTH KITCHEN & SPIRITS | SKS ST JOHNS LLC | 150 PINE LAKE DR , PONTE VEDRA 32081 | 3582408 | 02/27/2025 | Complaint Full | Administrative complaint recommended | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Loose , bare , exposed wires above ice machine. Kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2010 | Food | 6501790 | 197751 | TROPICAL SMOOTHIE CAFE | FIRST COAST SMOOTHIE INC | 104 BARTRAM OAKS WALK #106 , SAINT JOHNS 32259 | 3449475 | 02/27/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher under front counter. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6605212 | 352563 | LA GRANJA CHICKEN STEAK AND SEAFOOD | LA GRANJA PSL TRADITION CORP | 10814 SW TRADITION PKWY , PORT ST. LUCIE 34987 | 3563405 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Manager notified. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Suwannee | 2010 | Food | 7100360 | 343986 | PIZZA STONE | SCAT32062, LLC | 9929 170 TERR STE 106 , MCALPIN 32062 | 3503548 | 02/26/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank stored in storage area inside building, directly next to the water heater. Manager placed the propane tank outside during this inspection. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407627 | 316403 | CHIPOTLE #3241 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 1425 A CORNERSTONE BLVD , DAYTONA BEACH 32117 | 3581974 | 02/24/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -boxes in front of rear door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407569 | 335560 | CITY OF DAYTONA BEACH (CONCESSION 3 SOUTHEAST) | CITY OF DAYTONA BEACH | 3917 LPGA BLVD , DAYTONA BEACH 32124 | 3457416 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. -boiler report expired 10/27/2024 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Volusia | 2010 | Food | 7407570 | 335562 | CITY OF DAYTONA BEACH (CONCESSION 2 SOUTHWEST) | CITY OF DAYTONA BEACH | 3917 LPGA BLVD , DAYTONA BEACH 32124 | 3457435 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Volusia | 2010 | Food | 7403744 | 149189 | SUNGLOW PIER CRABBY JOE'S | BLICKMAN PROPERTIES INC | 3701 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 3497940 | 02/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407570 | 335562 | CITY OF DAYTONA BEACH (CONCESSION 2 SOUTHWEST) | CITY OF DAYTONA BEACH | 3917 LPGA BLVD , DAYTONA BEACH 32124 | 3457435 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 49-03-4 | Flammables stored/debris present in boiler room. For reporting purposes only, operator removed. **Corrected On-Site** | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.