## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2014 | Food | 1150380 | 62274 | MI SAZON LATINO CENTRO AMERICA | ALONZO PEREZ, JUANA | 12210 SW ARCHER RD , GAINESVILLE 32608 | 1298965 | 03/03/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher next to back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103440 | 350068 | JIMMY JOHN'S 2645 | JSIX SUBS INC | 3205 CLARK BUTLER BLVD STE 10 , GAINESVILLE 32608 | 3458771 | 03/03/2025 | Routine - Food | Administrative complaint recommended | 49-05-4 | Flammables stored near a source of ignition. For reporting purposes only. Observed: by the back door aprons and jackets stored touching the circuit breaker boxes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1304089 | 298254 | MOSEY'S DOWTOWN | MOSEYS DOWNTOWN LLC | 425 GRACE AVE , PANAMA CITY 32401 | 3498360 | 03/04/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. K class extinguisher in kitchen gauge in recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1622616 | 241482 | OAKWOOD STADIUM 18 | RC COBB II LLC | 2800 OAKWOOD BLVD , HOLLYWOOD 33020 | 3460431 | 03/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed at kitchen fire extinguisher | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1610753 | 341054 | WENDY'S 1949 | WENDY'S INTERNATIONAL INC | 3535 HOLLYWOOD BLVD , HOLLYWOOD 33021 | 3563401 | 03/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by hand sink at dish washing area in red under charged zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001281 | 280407 | CHICK-FIL-A MIDDLEBURG | JTAJE LLC | 1710 BLANDING BLVD , MIDDLEBURG 32068 | 3500301 | 03/04/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at catering area is in the recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2323259 | 292916 | ROASTERS N TOASTERS | BITES SOUTH DIXIE, LLC | 9465 S DIXIE HWY , PINECREST 33156 | 3503663 | 03/06/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Observed at exit door next to cook line blocked with bags of potatoes, emulsion blender and storage rack. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2333307 | 249758 | FIRST HONG KONG CAFE | BG BROTHERS LLC | 117 SE 2 STREET , MIAMI 33131 | 3565267 | 03/04/2025 | Routine - Food | Warning Issued | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Dade | 2010 | Food | 2337510 | 339777 | FIRST WATCH RESTAURANT #0499 | FIRST WATCH RESTAURANTS INC | 3737 NW 87TH AVE STE 108 , DORAL 33166 | 3559201 | 03/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed extinguisher in recharge zone located inside kitchen. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2333491 | 341440 | ELEMENT MIAMI INTERNATIONAL AIRPORT- THE SALON | PALM ELEMENT MIAMI, LTD | 3525 NW 25 ST , MIAMI 33142 | 3489141 | 03/06/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher inside kitchen in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2320006 | 111633 | WHITNEY'S RESTAURANT | MDM HOTEL GROUP LTD | 9090 S DADELAND BLVD , MIAMI 67820 | 3560321 | 03/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. FL98799, FL98798,FL 123243, FL123244 with not boiler certification | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2332379 | 227978 | CALDER CASINO | CALDER RACE COURSE INC | 21001 NW 27 AVE , MIAMI GARDENS 33056 | 3505061 | 03/04/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boilers in the back room with a holding capacity of 135G. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2337176 | 360086 | AMOR DI PASTA | AMOR DI PASTA LLC | 9420 NW 41 ST UNIT 109 , DORAL 33178 | 3570927 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed two boilers SN1 2415126818071 SN2 Not visible, with no boiler certificate. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2013 | Food | 2326862 | 12760 | HEALTHY KITCHEN MIAMI | CHOOSE THK LLC | 8765 SW 132 ST , MIAMI 33176 | 1131374 | 03/04/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed two propane tanks stored inside establishment. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800731 | 239764 | OLIVE GARDEN ITALIAN RESTAURANT #5802 | FLORIDA SE LLC | 5294 E HWY 100 , PALM COAST 32164 | 3565812 | 03/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By boxes. Per person in charge they had a delivery. Person in charge has boxes taken out to bin. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2014 | Food | 3650049 | 36278 | EL AUTENTICO SABOR ZACATECANO | EL AUTENTICO SABOR ZACATECANO | 420 E. COWBOY WAY , LABELLE 33935 | 1292372 | 03/04/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2010 | Food | 3600502 | 226960 | FORTUNE COOKIE | WANG JIAN GANG | 505 W HICKPOCHEE AVE UNIT 1000 , LABELLE 33935 | 3563683 | 03/04/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed fire exit door between the bathrooms is blocked by a ladder and various stored supplies. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3801238 | 367793 | CELLAR GRILL AND WINE BAR | ADONIS I | 3750 US HWY 27 N STE 2A , SEBRING 33870 | 3582024 | 03/05/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800701 | 322716 | SPRING LAKE GOLF RESORT | NEW SPRING LAKE PARTNERS LLC | 100 CLUBHOUSE LN , SEBRING 33876 | 3431351 | 03/05/2025 | Routine - Food | Call Back - Extension given, pending | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only at dry storage. - From follow-up inspection 2025-03-05: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3909652 | 349827 | ZIOS NY BAGEL & DELI CO | TWO CS BAGEL CO LLC | 19651 BRUCE B DOWNS BLVD STE B 2 , TAMPA 33647 | 3576866 | 03/04/2025 | Routine - Food | Warning Issued | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3916478 | 359597 | NCG CINEMA | NCG CITRUS LP | 7999 CITRUS PARK TOWN CENTER MALL , TAMPA 33625 | 3453141 | 03/06/2025 | Routine - Food | Warning Issued | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Stored on floor adjacent to 3-compartment sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2013 | Food | 3913520 | 11876 | EL FOGONCITO CATERING | EL FOGONCITO CATERING LLC | 301 S FRONTAGE RD , PLANT CITY 33563 | 1131251 | 03/05/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed propane tanks in building | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3900727 | 120767 | SILKS CARD ROOM 3RD FLOOR EAST | TAMPA BAY DOWNS INC | 11225 RACETRACK RD , TAMPA 33626 | 3450915 | 03/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Sandwich press machine stored on prep table. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3911046 | 122290 | ROCKY POINT GOLF COURSE | CITY OF TAMPA & TAMPA SPORTS AUTHORITY | 4151 DANA SHORES DR , TAMPA 47410 | 3566514 | 03/04/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Sandwich press machine. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3912829 | 123627 | METRO DELI | TAMPA BAY DOWNS INC | 11225 RACE TRACK RD , TAMPA 33626 | 3428836 | 03/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. 3 sandwich press machines stored on prep counter on service line. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3909652 | 349827 | ZIOS NY BAGEL & DELI CO | TWO CS BAGEL CO LLC | 19651 BRUCE B DOWNS BLVD STE B 2 , TAMPA 33647 | 3576866 | 03/05/2025 | Routine - Food | Call Back - Complied | 45-05-4 | - From initial inspection : Portable fire extinguisher missing from its designated location. For reporting purposes only. - From follow-up inspection 2025-03-05: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Levy | 2010 | Food | 4800293 | 343768 | DRIFTWOOD BAR AND GRILL | FTD RESTAURANT GROUP | 253 HWY 40 W , INGLIS 34449 | 3567689 | 03/05/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Gauge on fire extinguisher hanging from wall at kitchen entrance in the red. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105498 | 256514 | TIJUANA FLATS BURRITO CO | TIJUANA FLATS #183 LLC | 5215 UNIVERSITY PKWY #106 , UNIVERSITY PARK 34201 | 3503516 | 03/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed the rear exit door locked shut and blocked. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202834 | 284254 | MOJO GRILL & CATERING COMPANY | MOJO GRILL SOUTH LLC | 4496 SE 100 PL , BELLEVIEW 34420 | 3503869 | 03/05/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Near back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202043 | 257456 | CHICKEN TIME | CHICKEN TIME CUBAN FOOD INC | 10819 SE US HWY 441 , BELLEVIEW 34420 | 3503951 | 03/05/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Near back door in reach in cooler storage room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2010 | Food | 5501217 | 364698 | GEORGIA SMOKE | MISSION CULINARY LLC | 820 SADLER RD , FERNANDINA BEACH 32034 | 3563356 | 03/04/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Two (2) large propane tanks on floor near rear exit door. Manager states tanks will be moved. **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2010 | Food | 5500935 | 340910 | KFC # L518079 | TASTY CHICK'N SOUTHEAST LLC | 76106 SIDNEY PL , YULEE 32097 | 3565272 | 03/06/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher near rear exit door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okeechobee | 2010 | Food | 5700413 | 342766 | WENDY'S 4201 | WENCO HOLDINGS LLC | 502 NE PARK ST , OKEECHOBEE 34972 | 3565864 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only at walk in freezer. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5809973 | 328320 | MAY PEN CUISINE | MAY PEN CUISINE LLC | 6115 SILVER STAR ROAD , ORLANDO 32808 | 3492734 | 03/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812347 | 229775 | BONEFISH GRILL | BONEFISH GRILL LLC | 5463 ORLANDO GATEWAY CIR #101 , ORLANDO 32812 | 3502519 | 03/05/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back door blocked with a lot of boxes and trash can completely blocked. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5810204 | 276128 | RED LOBSTER #6246 | RED LOBSTER HOSPITALITY LLC | 617 N ALAFAYA TRL , ORLANDO 32828 | 3558679 | 03/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked with boxes all around the floor . Operator removed it . **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815204 | 329540 | MR & MRS CRAB COLONIAL | MR & MRS CRAB COLONIAL INC | 9467 WEST COLONIAL DRIVE , OCOEE 34761 | 3505004 | 03/05/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Gas can inside kitchen, operator immediately removed to outside **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811342 | 319431 | EL PILON AREPAS GRILL | EL PILON AREPAS GRILL LLC | 12720 S ORANGE BLOSSOM TRL STE 19 , ORLANDO 32837 | 3496998 | 03/06/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank inside of facility by exit door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6009926 | 336637 | PERSIS INDIAN GRILL | SIERRA INVESTMENTS OF SOUTH FLORIDA LLC | 1100 LINTON BLVD SUITE C3-C4 , DELRAY BEACH 33444 | 3582768 | 03/05/2025 | Complaint Full | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observe 15 lb propane tank in kitchen. Operator placed outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6010065 | 361518 | ROTELLI PIZZA AND PASTA | TWO MANY TACOS LLC | 21747 SR 7 , BOCA RATON 33428 | 3487240 | 02/28/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher by water heater gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6022174 | 319557 | FORE EAST | CLUB AT ADMIRALS COVE | 153 ADMIRALS COVE BLVD , JUPITER 33477 | 3559801 | 03/05/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6023076 | 357396 | PALM HOUSE | LR PALM HOUSE LLC | 160 ROYAL PALM WAY , PALM BEACH 33480 | 3571015 | 03/03/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6023077 | 358947 | PALM HOUSE - BASEMENT | LR PALM HOUSE LLC | 160 ROYAL PALM WAY , PALM BEACH 33480 | 3571016 | 03/03/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6021926 | 305089 | PIZZA DISTRICT | PIZZA DISTRICT LLC | 6919 SW 18TH STREET , BOCA RATON 33433 | 3564239 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Tank in back room by rear exit door. Manager moved outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6021501 | 286387 | FORE WEST | CLUB AT ADMIRALS COVE INC | 149 GOLF VILLAGE BLVD , JUPITER 33477 | 3569565 | 03/06/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed small propane burner used to cook eggs by convention oven ; advised to move under the hood **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6020146 | 329211 | SONIC DRIVE-IN 5784 | QUALITY DRIVE-IN I LLC | 201 N CONGRESS AVE , LAKE PARK 33403 | 3444798 | 03/06/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pasco | 2014 | Food | 6151047 | 67445 | LATTE VINO | LATTE VINO | 10509 LAND O LAKES BLVD , LAND O LAKES 34638 | 1313851 | 03/05/2025 | Food-Licensing Inspection | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small griddle on prep table. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6211863 | 332134 | WENTWORTH GOLF CLUB | TROPICAL GOLF PROPERTIES LLC | 2990 WENTWORTH WAY , TARPON SPRINGS 88428 | 3582860 | 03/06/2025 | Complaint Full | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Two propane tanks inside kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6215972 | 194863 | CHIPOTLE MEXICAN GRILL #762 | CHIPOTLE MEXICAN GRILL | 2662 GULF TO BAY BLVD , CLEARWATER 33759 | 3460766 | 03/01/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone near back exit and walk in cooler . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217929 | 319634 | ISLAND BAGELS AND MORE LLC | ISLAND BAGELS AND MORE LLC | 7100 CENTRAL AVE , ST. PETERSBURG 33707 | 3568022 | 03/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217654 | 327699 | RED TIKI BAR AND GRILL | VASSAN GROUP LLC | 7361 46 AVE N , ST. PETERSBURG 33709 | 3582628 | 03/04/2025 | Complaint Full | Emergency order recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Fryers on cook line. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217654 | 327699 | RED TIKI BAR AND GRILL | VASSAN GROUP LLC | 7361 46 AVE N , ST. PETERSBURG 33709 | 3582628 | 03/05/2025 | Complaint Full | Emergency Order Callback Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Fryers on cook line. - From follow-up inspection 2025-03-05: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6205893 | 140629 | SHERATON RUSTYS | SAND KEY ASSOCIATES | 1160 GULF BLVD , CLEARWATER BCH 33767 | 3496793 | 03/05/2025 | Routine - Food | Call Back - Admin. complaint recommended | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Fl134124,Fl139161,Fl130108 all exp 7/13/2024 - From follow-up inspection 2025-03-05: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Sarasota | 2010 | Food | 6804918 | 197225 | VALENTINO PIZZERIA TRATTORIA | MIO LLC | 4045 CLARK RD , SARASOTA 34233 | 3497685 | 03/06/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed fire extinguisher on floor next to mop sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905026 | 264724 | JERSEY MIKE'S SUBS | PRESTIGE WORLDWIDE S&A III LLC | 5697 RED BUG LAKE RD #14 , WINTER SPRINGS 32708 | 3460708 | 03/03/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear exit door blocked by speed racks and boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6903982 | 357408 | MEXICAN RESTAURANT LOS MONDRAGON | MEXICAN RESTAURANT LOS MONDRAGON INC | 2960 W SR.426 # 1000 , OVIEDO 32765 | 3440491 | 03/04/2025 | Routine - Food | Call Back - Extension given, pending | 48-04-4 | - From initial inspection : Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. -15lbs propane tank stored under 3 compartment sink - From follow-up inspection 2025-03-04: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2010 | Food | 6502268 | 308719 | SOUTH KITCHEN & SPIRITS | SKS ST JOHNS LLC | 150 PINE LAKE DR , PONTE VEDRA 32081 | 3582408 | 02/28/2025 | Complaint Full | Call Back - Extension given, pending | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Loose , bare , exposed wires above ice machine. Kitchen - From follow-up inspection 2025-02-28: At callback :time needed to fix. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6603041 | 268483 | ANTOJITOS MEXICANOS | ANTOJITOS MEXICANOS | 936 S US 1 , FORT PIERCE 34950 | 3495165 | 03/03/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Storage rack in bathroom. Informed staff to place in a different location in order to no block door to outside. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406492 | 310315 | SLIMS | SLIMS LLC | 5279 S NOVA RD , PORT ORANGE 32127 | 3504246 | 03/04/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -small tabletop fryer in use near back door of establishment without a hood/fire suppression system in place. Operator is leaving back door open for ventilation | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407098 | 257906 | DUNKIN DONUTS OF PORT ORANGE/NOVA | DJH ENTERPRISES INC | 3817 S NOVA RD , PORT ORANGE 32127 | 3457270 | 03/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -cardboard boxes obstructing egress to back door **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407569 | 335560 | CITY OF DAYTONA BEACH (CONCESSION 3 SOUTHEAST) | CITY OF DAYTONA BEACH | 3917 LPGA BLVD , DAYTONA BEACH 32124 | 3457416 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. -boiler report expired 10/27/2024 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Volusia | 2010 | Food | 7407570 | 335562 | CITY OF DAYTONA BEACH (CONCESSION 2 SOUTHWEST) | CITY OF DAYTONA BEACH | 3917 LPGA BLVD , DAYTONA BEACH 32124 | 3457435 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Volusia | 2010 | Food | 7407570 | 335562 | CITY OF DAYTONA BEACH (CONCESSION 2 SOUTHWEST) | CITY OF DAYTONA BEACH | 3917 LPGA BLVD , DAYTONA BEACH 32124 | 3457435 | 02/28/2025 | Routine - Food | Inspection Completed - No Further Action | 49-03-4 | Flammables stored/debris present in boiler room. For reporting purposes only, operator removed. **Corrected On-Site** | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.
Volusia | 2010 | Food | 7406126 | 240662 | BETHUNE BLVD GRILL | HINES SHANNON | 731 MARY MCLEOD BETHUNE BLVD , DAYTONA BEACH 32114 | 3499688 | 03/03/2025 | Routine - Food | Emergency order recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -in new dining room area tables blocking marked exit. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.