## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2010 | Food | 1305504 | 271953 | SANDPIPER BEACON BEACH RESORT'S COCONUTS | HUNDUR LTD | 17458 FRONT BEACH RD , PANAMA CITY BEACH 32413 | 3578441 | 03/10/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher in server station I recharge zone. Operator replaced with a new extinguisher. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1306045 | 360167 | FORD'S GARAGE | FORD'S GARAGE PIER PARK LLC | 601 S PIER PARK SR STE 103 , PANAMA CITY BEACH 32413 | 3499840 | 03/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. K class by back door in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1501684 | 313323 | CROWNE PLAZA | DAD 2605 N HIGHWAY A1A MELBOURNE OWNER LLC | 2605 N HWY A1A , MELBOURNE 32903 | 3558953 | 03/11/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Silver extinguisher in kitchen next to cold side. **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1617982 | 341061 | WENDY'S #02077 | WENDY'S PROPERITIES LLC | 10265 STERLING RD , COOPER CITY 33330 | 3571528 | 03/12/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -Observed exit door blocked with cardboard boxes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1624693 | 350721 | SHIPUDIM | LIAMS GROUP LLC | 5650 STIRLING RD STE 6 , HOLLYWOOD 33021 | 3583373 | 03/12/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Rear exit door blocked | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1623007 | 353798 | 595 TIKI BAR AND GRILL | 595 BILLIARDS LLC | 2775 BURRIS RD 2A , DAVIE 33314 | 3567269 | 03/13/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Near bathrooms | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1619969 | 211383 | SAKE THAI & SUSHI BAR | NSBC GROUP LLC | 4401 SHERIDAN ST #1 , HOLLYWOOD 33021 | 3466190 | 03/11/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed at fire extinguisher in prep area near back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1622616 | 241482 | OAKWOOD STADIUM 18 | RC COBB II LLC | 2800 OAKWOOD BLVD , HOLLYWOOD 33020 | 3460431 | 03/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed at kitchen fire extinguisher | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1610753 | 341054 | WENDY'S 1949 | WENDY'S INTERNATIONAL INC | 3535 HOLLYWOOD BLVD , HOLLYWOOD 33021 | 3563401 | 03/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by hand sink at dish washing area in red under charged zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1626142 | 359687 | YIP | YIP FORT LAUDERDALE LLC | 849 SEABREEZE BLVD STE K107 , FORT LAUDERDALE 33316 | 3560432 | 03/10/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone, next to hand wash sink. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1623384 | 362694 | LEMONICA | RESTOBC LLC | 1817 NORTH YOUNG CIRCLE , HOLLYWOOD 33020 | 3434654 | 03/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. On cook line induction burner used to cook shrimp. Not under hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625680 | 366349 | SUSHI HOUSE | LUBA SUSHI LLC | 5818 STIRLING RD , HOLLYWOOD 33021 | 3576781 | 03/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Table top fryers in use no hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1623007 | 353798 | 595 TIKI BAR AND GRILL | 595 BILLIARDS LLC | 2775 BURRIS RD 2A , DAVIE 33314 | 3567269 | 03/14/2025 | Routine - Food | Call Back - Complied | 48-04-4 | - From initial inspection : Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Near bathrooms - From follow-up inspection 2025-03-14: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103380 | 280465 | FELIPE'S MEXICAN TAQUERIA | FV FIVE LLC | 4255 9 ST N , NAPLES 34103 | 3497084 | 03/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone near by cook line. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2319651 | 333939 | EL SARTEN RESTAURANT & LOUNGE | BAMBOO RESTAURANT AND LOUNGE LLC | 5904 W 20 AVE , HIALEAH 33016 | 3492735 | 03/10/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335732 | 299394 | TOPGOLF USA MIAMI GARDENS | TOPGOLF USA MIAMI GARDENS LLC | 17321 NW 7 AVE , MIAMI GARDENS 33169 | 3560117 | 03/11/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. At the time of the inspection observed water heating device with a maximum input of 499990 btu. No boiler certificate provided. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2337510 | 339777 | FIRST WATCH RESTAURANT #0499 | FIRST WATCH RESTAURANTS INC | 3737 NW 87TH AVE STE 108 , DORAL 33166 | 3559201 | 03/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed extinguisher in recharge zone located inside kitchen. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336904 | 327751 | SEEME CAFE | ALFREDNEV CORPORATION | 180 NW 183 ST STE 103 , MIAMI GARDENS 33169 | 3488513 | 03/10/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed pot with cooking oil on a 3 burner stove attached to a propane tank next to the 3 compartment sink with no hood system. Operator removed burner, and propane tank from the establishment. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2332046 | 344849 | ALOFT MIAMI DADELAND | MIAMI DADELAND HOTEL, LLC | 7600 N KENDALL DR , MIAMI 33156 | 3567228 | 03/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed countertop fryer on prep table not under hood system. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2320006 | 111633 | WHITNEY'S RESTAURANT | MDM HOTEL GROUP LTD | 9090 S DADELAND BLVD , MIAMI 67820 | 3560321 | 03/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. FL98799, FL98798,FL 123243, FL123244 with not boiler certification | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2335951 | 311837 | TOPGOLF USA DORAL | TOPGOLF USA LLC | 11850 NW 22 ST , MIAMI 33182 | 3560640 | 03/10/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2336904 | 327751 | SEEME CAFE | ALFREDNEV CORPORATION | 180 NW 183 ST STE 103 , MIAMI GARDENS 33169 | 3488513 | 03/10/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
DeSoto | 2010 | Food | 2400327 | 360531 | YIYI'S BARS, BEERS, CIGARS AND DELI SHOP | YIYI'S PC FLOWERS CORP | 11 W MAGNOLIA ST , ARCADIA 34266 | 3453184 | 03/13/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed a flat top grill and fryer on the counter without a hood suppression system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615014 | 365013 | AL SHAMI | 2MAH LLC | 8606 BAYMEADOWS RD STE 22-23 , JACKSONVILLE 32256 | 3582433 | 03/12/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Two tabletop fryers observed on prep table not under hood in kitchen. Observed grease buildup on wall. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2014 | Food | 2652718 | 64249 | FOOD WOW OF JAX | FOOD WOW OF JAX INC | 5960 RICHARD ST , JACKSONVILLE 32216 | 1291894 | 03/13/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) . For reporting purposes only. Propane tanks hooked up to food truck not in cages or secure to truck. Tanks on floor near truck | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2613391 | 242139 | UNCLE GENES SOUL & SEAFOOD CAFE | UNCLE GENES SOUL & SEAFOOD LLC | 5123-4 TIMUQUANA RD , JACKSONVILLE 32210 | 3499589 | 03/13/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher with gauge in overcharge zone on wall by rear exit of establishment. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615074 | 274567 | TIMUQUANA COUNTRY CLUB - THE GROVE | TIMUQUANA COUNTRY CLUB | 4028 TIMUQUANA RD , JACKSONVILLE 32210 | 3440777 | 03/12/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher with gauge in recharge zone by kitchen entrance. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615383 | 291725 | LA NOPALERA MEXICAN RESTAURANT | LA NOPALERA MEXICANO 2 INC | 1434 HENDRICKS AVE , JACKSONVILLE 32207 | 3566054 | 03/11/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By cook line **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800821 | 289486 | METRO DINER | MD PALM COAST LLC | 250 PALM COAST PKWY NE STE 205 , PALM COAST 32137 | 3499301 | 03/10/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By cart. Person in charge moved cart. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800632 | 231849 | OUTBACK STEAKHOUSE #1040 | OUTBACK STEAKHOUSE OF FLORIDA LLC | 45 PLAZA DR , PALM COAST 32137 | 3564623 | 03/13/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By boxes. Person in charge removed all boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2010 | Food | 3600523 | 259468 | CACTUS MEX | CACTUS MEX INC | 512 COWBOY WAY , LABELLE 33935 | 3494580 | 03/14/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed emergency fire exit doors locked. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3905946 | 207034 | MANDY'S RESTAURANT | PIPOS COUSIN RESTAURANT INC | 4025 W WATERS AVE STE 101 , TAMPA 33614 | 3568618 | 03/11/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Sandwich press machine not under hood suppressing system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3913010 | 312229 | PHO QUYEN VIETNAMESE CUISINE | DAI PHAT INC | 8404 W HILLSBOROUGH AVE , TAMPA 33615 | 3488803 | 03/10/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small fryer on cookline prep table. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606909 | 284915 | WALLY'S DELI | CRANE GROUP LLC | 8024 ALICO ROAD UNIT B , FORT MYERS 33912 | 3559596 | 03/14/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. In back of kitchen , marked exit blocked with trash bin and clean rag bin. Operator cleared the exit. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607082 | 300861 | DRURY INN & SUITES - FORT MYERS | DDC HOTELS INC | 9950 UNIVERSITY PLAZA DR , FORT MYERS 33913 | 3452068 | 03/12/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certification expired, 124540 05/18/2023. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Lee | 2010 | Food | 4607058 | 358655 | JIMMIE THE BEEF GUY | JIMMIE THE BEEF GUY 2 CORP | 3664 CLEVELAND AVE , FORT MYERS 33901 | 3568985 | 03/13/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Operator moved item outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Levy | 2010 | Food | 4800125 | 351091 | WILLARDS | NT WILLARDS | 3490 SE CR 337 , MORRISTON 32668 | 3566844 | 03/12/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher gauge in red in back of kitchen, near bar entrance. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202067 | 128730 | GOLDEN CORRAL | METRO CORRAL PARTNERS INC | 2111 SW COLLEGE RD , OCALA 34471 | 3582965 | 03/13/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Emergency exit in back of kitchen blocked with empty boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2010 | Food | 5501104 | 257501 | SEAGLASS | OMNI AMELIA ISLAND LLC | 41 BEACH LAGOON RD , AMELIA ISLAND 32034 | 3500053 | 03/10/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler jurisdiction #131447 expired on 12/02/2024. Establishment has invoice showing that new certificate has been paid and are awaiting new certificate. **Corrective Action Taken** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Nassau | 2010 | Food | 5501185 | 326591 | COASTAL PIZZA | COASTAL PIZZA OF NORTHEAST FLORIDA LLC | 1916 S 14 ST , FERNANDINA BEACH 32034 | 3568903 | 03/13/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Entrance door by booths blocked by chairs. Chairs moved. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2010 | Food | 5500835 | 243241 | FLORA BELLE | OMNI AMELIA ISLAND LLC | 41 BEACH LAGOON RD , FERNANDINA BEACH 32034 | 3499801 | 03/10/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler jurisdiction #131447 expired on 12/02/2024. Establishment has invoice showing that new certificate has been paid and are awaiting new certificate. **Corrective Action Taken** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Nassau | 2010 | Food | 5501102 | 257500 | OCEAN SIDE GRILL | OMNI AMELIA ISLAND LLC | 51 BEACH LAGOON RD , AMELIA ISLAND 32034 | 3500212 | 03/10/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler jurisdiction #131447 expired on 12/02/2024. Establishment has invoice showing that new certificate has been paid and are awaiting new certificate. **Corrective Action Taken** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5814274 | 302908 | LA CARRAIA | RAZE GELATO LLC | 7600 DR PHILLIPS BLVD SUITE #38 , ORLANDO 32819 | 3450499 | 03/11/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. **Corrected On-Site** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2014 | Food | 5856471 | 67919 | BAYSIDE BITES | LWP CYPRESS PM LLC | 1590 EVERMORE WAY , ORLANDO 32836 | 1314194 | 03/11/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-01-4 | portable fire extinguisher present. For reporting purposes only. Observed no tag classification 3A40BC must be inspected and dated before mobile unit in operation. Spoke to Chef concerning fire extinguisher. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5809223 | 313259 | UNIVERSAL CINEMARK | UNIVERSAL CITY DEVELOPMENT PARTNERS LTD | 6000 UNIVERSAL BLVD STE 740 , ORLANDO 32819 | 3461882 | 03/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Under per lock machine outside beer cooler **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814155 | 352804 | BLU CAFE | BLU CAFE 1 | 9401 W COLONIAL DR STE 546 , OCOEE 34761 | 3558813 | 03/11/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Operator immediately removed to outside **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5900434 | 295232 | WENDY'S #3482 | WENDY'S PROPERTIES LLC | 915 W VINE ST , KISSIMMEE 34741 | 3461933 | 03/12/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door at back of kitchen blocked with empty boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6010556 | 259532 | THAI BASIL | THAI BASIL RESTAURANT INC | 10311 SOUTHERN BLVD , ROYAL PALM BEACH 33411 | 3571789 | 03/11/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door blocked by mop sink and rice container. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6021448 | 285453 | POLLO TROPICAL #168 | POLLO OPERATIONS INC | 21852 S SR 7 , BOCA RATON 33428 | 3583455 | 03/13/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge at back door in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217242 | 278708 | CEDARS GRILL | OMAR YOUNES | 6549 54 AVE N , ST.PETERSBURG 33709 | 3505206 | 03/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Table top vertical broiler for cooking gyro cones on prep table in kitchen with grease laden vapors not located under a hood system **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217413 | 363957 | BUFFET CITY | ICHIBAN BUFFET ST PETERSBURG INC | 1030 58 ST N , ST PETERSBURG 33710 | 3558607 | 03/10/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. In front separate dining room area blocked with high chairs. And a piece of wood panel nailed to doorway in dry storage area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217413 | 363957 | BUFFET CITY | ICHIBAN BUFFET ST PETERSBURG INC | 1030 58 ST N , ST PETERSBURG 33710 | 3558607 | 03/10/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6806191 | 366765 | JANIES AMMAN | MALIK ISMAIL LLC | 1400 DR MLK JR WAY UNIT 107 , SARASOTA 34234 | 3583387 | 03/13/2025 | Complaint Full | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed two out of their three fire exit doors not unlocked. Operator states he has to get the key from their landlord. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805580 | 361933 | CUBA 1958 | CUBA 1958 | 1766 MAIN ST , SARASOTA 34236 | 3566784 | 03/11/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 5 propane tanks stored in the kitchen area. Owner placed the tanks outside the establishment. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905177 | 368165 | BREWLANDO SANFORD | BREWLANDO LLC | 400 S SANFORD AVE , SANFORD 32771 | 3582954 | 03/11/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-02-5 | Insurance inspector boiler report not posted in boiler room. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Seminole | 2010 | Food | 6904634 | 346109 | DAYS INN | LD HOSPITALITY INC | 8245 S US HWY 17-92 , FERN PARK 32730 | 3447009 | 03/11/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. -per State Fire Marshall website, boiler certificate expired 11/18/24. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
St. Johns | 2010 | Food | 6502245 | 297679 | TIJUANA FLATS | TIJUANA FLATS #246 LLC | 41 SETTLEMENT DR STE 501 , PONTE VEDRA 32081 | 3483271 | 03/12/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Rear exit door blocked by garbage can. Moved by manager. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6605149 | 336091 | HAVANA GEORGE CAFE | AAJ&Q INVESTMENTS LLC | 100 SOUTH 2 STREET SUITE 102 , FORT PIERCE 34950 | 3496867 | 03/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Counter top fryer in preparation room. Employee they have good system in a box, waiting for approval from landlord to install. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.