## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Broward | 2010 | Food | 1620521 | 341801 | RENAISSANCE FORT LAUDERDALE-PLANTATION HOTEL | RLJ II - RH PLANTATION LESSEE LLC | 1230 S PINE ISLAND RD , PLANTATION 33324 | 3565016 | 03/21/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificate expired on 09/15/2024 **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Lee | 2010 | Food | 4607733 | 353443 | BAHAMA BAR | ESPLANADE LAKE CLUB HOMEOWNERS ASSOCIATION INC | 11501 CANAL GRANDE DR , FORT MYERS 33913 | 3502136 | 03/21/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 by back door of kitchen. Operator moved outside building. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607612 | 342846 | EBENEZER RESTAURANT | EBENEZER RESTAURANT | 2247 FOWLER ST , FORT MYERS 33901 | 3575960 | 03/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed propane tank in kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5100126 | 127622 | BRADENTON COUNTRY CLUB | BRADENTON CO CLUB INC | 4646 W 9 AVE , BRADENTON 93993 | 3564190 | 03/21/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed no current boiler certificate. **Repeat Violation** **Admin Complaint** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6022180 | 342074 | OLIVE U MEDITERRENEAN GRILL PARK PLACE LLC | OLIVE U MEDITERRENEAN GRILL PARK PLACE LLC | 5560 N MILITARY TRL STE 324 , BOCA RATON 33487 | 3558222 | 03/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No properly installed retention cables on wheel mounted gas cooking appliances. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6020133 | 287268 | LA BENDICION CAFETERIA | CASTANON SERGIO | 1132 SOUTH J STREET , LAKE WORTH 33460 | 3583834 | 03/21/2025 | Routine - Food | Inspection Completed - No Further Action | 49-02-4 | Flammables stored ( 5 gallon gas containers in dry food storage room ) explained and manager removed the gas container. For reporting purposes only. **Corrected On-Site** | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.
Pinellas | 2010 | Food | 6217241 | 343453 | STAFF CAFETERIA & PANTRY | JEMB POCONO LLC | 100 CORONADO DR , CLEARWATER 33767 | 3485564 | 03/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Fl124576-fl124575-fl124574, fl136693, all exp 1/30/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6217238 | 343455 | PREP KITCHEN | JEMB POCONO LLC | 100 CORONADO DR , CLEARWATER 33767 | 3485563 | 03/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Fl124576-fl124575-fl124574, fl136693, all exp 1/30/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6218380 | 344302 | NEW YORK SEAFOOD MARKET & RESTAURANT | NEW YORK SEAFOOD MARKET LLC | 2801 34 ST S , ST. PETERSBURG 33711 | 3577696 | 03/21/2025 | Routine - Food | Emergency Order Callback Time Extension | 47-03-4 | Observed - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Multiple taped electrical sockets throughout establishment. - From follow-up inspection 2025-03-21: **Time Extended** - From follow-up inspection 2025-03-21: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6218380 | 344302 | NEW YORK SEAFOOD MARKET & RESTAURANT | NEW YORK SEAFOOD MARKET LLC | 2801 34 ST S , ST. PETERSBURG 33711 | 3577696 | 03/21/2025 | Routine - Food | Emergency Order Callback Not Complied | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Multiple taped electrical sockets throughout establishment. - From follow-up inspection 2025-03-21: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.