## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Duval | 2010 | Food | 2613429 | 226832 | SAVOR JACKSONVILLE ARENA CLUB | SMG FOOD & BEVERAGE LLC | 300 A PHILIP RANDOLPH BLVD , JACKSONVILLE 32202 | 3429247 | 04/05/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 099864, mgr showed me the inspection from 10/31/24 but no certification yet, the fire marshal website still shows it expired on 11/8/24 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2613432 | 226833 | SAVOR JACKSONVILLE MAIN COMMISSARY | SMG FOOD & BEVERAGE LLC | 300 A PHILIP RANDOLPH BLVD , JACKSONVILLE 32202 | 3569818 | 04/05/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 099864, mgr showed me the inspection from 10/31/24 but no certification yet, the fire marshal website still shows it expired on 11/8/24 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2613424 | 226839 | SAVOR STAND 109 | SMG FOOD & BEVERAGE LLC | 300 A PHILIP RANDOLPH BLVD , JACKSONVILLE 32202 | 3474232 | 04/05/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 099864, mgr showed me the inspection from 10/31/24 but no certification yet, the fire marshal website still shows it expired on 11/8/24 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2613420 | 226840 | SAVOR JACKSONVILLE 7 BRIDGES PIZZA 305 | SMG FOOD & BEVERAGE LLC | 300 A PHILIP RANDOLPH BLVD , JACKSONVILLE 32202 | 3466327 | 04/05/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 099864, mgr showed me the inspection from 10/31/24 but no certification yet, the fire marshal website still shows it expired on 11/8/24 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2613421 | 226841 | SAVOR JACKSONVILLE GATEWAY GRILL #320 | SMG FOOD & BEVERAGE LLC | 300 A PHILIP RANDOLPH GATEWAY BLVD , JACKSONVILLE 32202 | 3472487 | 04/05/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 099864, mgr showed me the inspection from 10/31/24 but no certification yet, the fire marshal website still shows it expired on 11/8/24 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2613422 | 226842 | SAVOR JACKSONVILLE GATEWAY GRILL 302 | SMG FOOD & BEVERAGE LLC | 300 A PHILIP RANDOLPH BLVD , JACKSONVILLE 32202 | 3429256 | 04/05/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 099864, mgr showed me the inspection from 10/31/24 but no certification yet, the fire marshal website still shows it expired on 11/8/24 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2614808 | 365614 | CONFETTIS | ABRAHAM SALEM | 301 W BAY ST STE 220 , JACKSONVILLE 32202 | 3568085 | 04/04/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By mop sink | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okeechobee | 2014 | Food | 5750077 | 67154 | MA DEL REFUGIO BERUMEN NIETO | MA DEL REFUGIO BERUMEN NIETO | 1600 HWY 70 E , OKEECHOBEE 34972 | 1314625 | 04/04/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.