## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2010 | Food | 1305378 | 319920 | SHAN KISHI CUISINE INC | SHAN KISHI CUISINE INC | 13800 PANAMA CITY BEACH PARKWAY SUITE 101D, PANAMA CITY BEACH 32407 | 3579018 | 04/25/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit near dry storage blocked by CO2 tanks and dry storage goods. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506508 | 301582 | ESTAMPA GAUCHA | ESTAMPA GAUCHA LLC | 1700 W NEW HAVEN AVE STE 285 , MELBOURNE 32904 | 3569330 | 04/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher by back door in recharge | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625088 | 328745 | JUST 1 MORE | PIERCE STREET ANNEX POOL BAR INC | 3074 NE 33 AVE , FORT LAUDERDALE 33308 | 3581515 | 04/23/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -Back area near restrooms **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1622326 | 279737 | WAVES BAR & GRILL | DIAMONDROCK FL TENANT LLC | 321 N FORT LAUDERDALE BEACH BLVD , FORT LAUDERDALE 33304 | 3585458 | 04/18/2025 | Complaint Full | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Operator provided invoice for North Tower boiler. **Corrective Action Taken** **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1625731 | 359510 | DREAM HOOKAH LOUNGE | 64 GROUP LLC | 1015 N FEDERAL HWY , HOLLYWOOD 33020 | 3477868 | 04/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Flat top on table no hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1622244 | 336645 | DIXIE BBQ 1, LLC | DIXIE BBQ 1, LLC | 2790 STERLING RD , HOLLYWOOD 33020 | 3579086 | 04/21/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Rear exit blocked by multiple items. Operator cleared path **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1622244 | 336645 | DIXIE BBQ 1, LLC | DIXIE BBQ 1, LLC | 2790 STERLING RD , HOLLYWOOD 33020 | 3579086 | 04/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Operator removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625088 | 328745 | JUST 1 MORE | PIERCE STREET ANNEX POOL BAR INC | 3074 NE 33 AVE , FORT LAUDERDALE 33308 | 3469208 | 04/23/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. -Hallway on wall next to women's rest room. - From follow-up inspection 2025-04-23: Observed same **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1613419 | 188016 | VUE KITCHEN | DSI SUNRISE LLC | 2670 E SUNRISE BLVD , FORT LAUDERDALE 33304 | 3499212 | 04/22/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. - From follow-up inspection 2025-04-22: Observed same. **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Clay | 2010 | Food | 2001136 | 197897 | CHILI'S GRILL & BAR | BRINKER FLORIDA, INC | 2005 E WEST PKWY , FLEMING ISLAND 32003 | 3497869 | 04/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-02-5 | Insurance inspector boiler report not posted in boiler room. For reporting purposes only. Boiler report not posted in riser/boiler room. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Collier | 2010 | Food | 2103340 | 365916 | MAINE SHACK | NAPLES CATERING SHACK LLC | 6434 NAPLES BLVD STE 404 , NAPLES 34109 | 3575243 | 04/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed two fire extinguishers away from designated location. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103536 | 358839 | LUCKY DAWGS 2 | LUCKY DAWGS 2 LLC | 12435 COLLIER BLVD UNIT 101 , NAPLES 34116 | 3440711 | 04/22/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Two 20-pound propane tanks were located in the kitchen. Operator moved outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335079 | 291965 | LEMON PEPPERS | LEMON PEPPERS INC | 2701 NW 54TH ST , MIAMI 33142 | 3562853 | 04/18/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By the office. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2014 | Food | 2360520 | 66277 | LECHONA TRUCK 2 | SBC305 KENDALL LLC | 860 NE 79 TH STREET, SUITE B , MIAMI 33138 | 1311069 | 04/23/2025 | Routine - Food | Warning Issued | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337316 | 369227 | EMILY AND PHILLIP'S CREPERIE | GASTRONOMY GLOBAL LLC | 9420 NW 41 ST UNIT 111 , DORAL 33178 | 3585706 | 04/18/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334447 | 369020 | LA MAMUCHI RESTAURANT | LA MAMUCHI RESTAURANT LLC | 3610 NW 183 ST , MIAMI GARDENS 33056 | 3585562 | 04/18/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 49-03-4 | Flammables stored/debris present in boiler room. For reporting purposes only. | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.
Dade | 2014 | Food | 2360365 | 56386 | GALEANO'S FOOD TRUCK | GALEANO FOOD PRODUCTS CORP | 7255 NW 68 ST , MIAMI 33166 | 1312060 | 04/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed extinguisher in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335446 | 322307 | KUBA CABANA | KUBA CABANA DORAL LLC | 3450 NW 83 AVE STE 140 , DORAL 33122 | 3570824 | 04/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed LP tank in the office. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
DeSoto | 2010 | Food | 2400225 | 362983 | BROKEN SPUR DINER | BROKEN SPUR DINER LLC | 10 POLK AVE , ARCADIA 34266 | 3493440 | 04/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed fryers, flat grill and burners in use in the kitchen without a hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2608566 | 368696 | J J'S CAFE | WALLER OUTDOOR EXPERIENCES LLC | 6622 SOUTHPOINT DR S , JACKSONVILLE 32216 | 3585091 | 04/18/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Operator has flat top grill for cooking eggs & chicken with no hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2609916 | 116916 | COMPASS GROUP USA | COMPASS GROUP USA INC | 9000 SOUTHSIDE BLVD #500 , JACKSONVILLE 60788 | 3585402 | 04/24/2025 | Complaint Full | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed tabletop pizza ovens at pizza station with no ventilation system in place. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2609679 | 357724 | 5TH ELEMENT TASTE OF INDIA | SK JAXS LLC | 9551 BAYMEADOWS RD STE 10 & 11 , JACKSONVILLE 32256 | 3574249 | 04/21/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Priority: Reporting-Observed: Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Tabletop fryer observed on prep table opposite cokoime in kitchen. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2616240 | 335827 | JUST JERK | JUST JERK FOODS LLC | 11316 BEACH BLVD , JACKSONVILLE 32246 | 3570910 | 04/21/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. LP gas tank stored in back room near mop sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2010 | Food | 3600105 | 120009 | SUNRISE REST AUTHENIC MEXICAN | MARTINEZ GUMARO & DELIA | 842 E SUGARLAND HWY , CLEWISTON 02621 | 3499737 | 04/23/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only at handwashing sink on line. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3918383 | 356882 | PITA PLUS+ | I & W FOOD SERVICE LLC | 2810 E BUSCH BLVD , TAMPA 33612 | 3579036 | 04/25/2025 | Routine - Food | Warning Issued | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Hillsborough | 2010 | Food | 3911559 | 337993 | 220 EAST | NS MANAGEMENT SERVICES 1, LLC | 220 E DAVID BLVD , TAMPA 33606 | 3493744 | 04/24/2025 | Routine - Food | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Hillsborough | 2014 | Food | 3953468 | 62429 | FOOD PARADISE TRUCK | FOOD PARADISE TRUCK LLC | 6501 W HILLSBOROUGH AVE , TAMPA 33634 | 1311285 | 04/23/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Sandwich press machine stored on prep counter. - From follow-up inspection 2025-04-23: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3906785 | 362624 | ITALIAN DREAM CAFE | INGENIUM HOLDINGS LLC | 4300 WEST CYPRESS STE 110 , TAMPA 33607 | 3440758 | 04/18/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. 2 countertop fryers, a griddle and 2 press grills used on front service line. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2010 | Food | 4105077 | 363081 | FIREHOUSE SUBS | RADHA RAMAN LLC | 6170 20TH STREET FIREHOUSE SUBS, VERO BEACH 32966 | 3483759 | 04/23/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4508836 | 314548 | HUNGRY HOWIE'S #3023 | T 3 PIZZA LLC | 1215 SUNRISE PLAZA DRIVE SUITE A, CLERMONT 34714 | 3468233 | 04/21/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -Amerex extinguisher by back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607290 | 317306 | KITCHEN SOCIAL | KITCHEN SOCIAL LLC | 14261 S TAMIAMI TRAIL , FORT MYERS 33912 | 3571907 | 04/24/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed large cracks on electrical outlet shielding on front counter, second from the left and fourth from the right outlets. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606886 | 287099 | HABANEROS MEXICAN GRILL | HABANEROS MEXICAN GRILL FORT MYERS INC | 547 PINE ISLAND RD , NORTH FORT MYERS 33903 | 3567511 | 04/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed propane tank connected to burner in prep kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2014 | Food | 4651404 | 59404 | PORT ROYAL CUISINE | PORT ROYAL CUISINE LLC | 300 LEONARD BLVD N , LEHIGH ACRES 33971 | 1294955 | 04/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. One in front of unit in cabinet by right side. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2010 | Food | 4702293 | 363117 | SOUTHGATE SERVICE CAFETERIA | LEON COUNTY EDUCATIONAL FACILITIES AUTHORITY | 675 WEST JEFFERSON STREET , TALLAHASSEE 32304 | 3484549 | 04/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Marion | 2010 | Food | 5203062 | 314404 | TEXAS ROADHOUSE | TEXAS ROADHOUSE HOLDINGS LLC | 3015 SW 32 AVE , OCALA 34474 | 3484070 | 04/23/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher on wall in kitchen near office in need of recharge. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2010 | Food | 5402580 | 285279 | TIN CUP CHALICE | DIAMONDROCK KW SOUTH TENANT LLC | 2001 S ROOSEVELT BLVD , KEY WEST 33040 | 3574152 | 04/22/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Monroe | 2010 | Food | 5428393 | 364861 | BAD BOY TAQUERIA AND TEQUILA | BBTT STOCK ISLAND LLC | 7025 SHRIMP RD , STOCK ISLAND 33040 | 3559483 | 04/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. By the restroom. During the inspection employee removed propane tanks. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2010 | Food | 5501180 | 325959 | FIRST LOVE BREWING | FIRST LOVE BREWING LLC | 22 S 8 ST #5 , FERNANDINA BEACH 32034 | 3575559 | 04/18/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. No boiler certificate could be presented. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5806434 | 132728 | CAFE MATISSE | ROSEN PLAZA HOTEL | 9700 INTERNATIONAL DR , ORLANDO 98100 | 3568168 | 04/24/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only./both certificates expired. FL 134409, 133441/expired 4/5/2025. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5815260 | 344410 | TOWNEPLACE SUITES BY MARRIOTT | 5433 ALTAMIRA TRS LLC | 5433 ALTAMIRA DR , ORLANDO 32819 | 3476442 | 04/21/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone at kitchen entry. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814375 | 289908 | IRON COW | SANDWICH BAR ORLANDO LLC | 2438 E ROBINSON ST , ORLANDO 32803 | 3566627 | 04/22/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Table top fryer no hood | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814273 | 323575 | CROWN FRIED CHICKEN | HARMONY EATERY LLC | 2912 N PINE HILLS RD , ORLANDO 32808 | 3483627 | 04/25/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit door blocked by pieces of wood across and diagonal. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5805780 | 356582 | COURTYARD ORLANDO INTERNATIONAL DRIVE - CONVENTION CENTER | JASMIN HOSPITALITY INC. | 8600 AUSTRIAN CT , ORLANDO 32819 | 3574499 | 04/18/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only./FL130444, 093796/both expired 1/19/2025. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Osceola | 2010 | Food | 5900768 | 224197 | OLIVE GARDEN ITALIAN RESTAURANT #1005 | FLORIDA SE LLC | 5021 W IRLO BRONSON HWY , KISSIMMEE 34746 | 3572057 | 04/25/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. at end of cook line | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5900768 | 224197 | OLIVE GARDEN ITALIAN RESTAURANT #1005 | FLORIDA SE LLC | 5021 W IRLO BRONSON HWY , KISSIMMEE 34746 | 3572057 | 04/25/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By cardboard boxes. Operator immediately removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5911103 | 271793 | KFC Y300039 | KFC CORPORATION | 2200 OLD CANOE CREEK RD , ST. CLOUD 34772 | 3575309 | 04/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door at back of facility blocked by trash can and mini flat bed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pasco | 2014 | Food | 6150901 | 54862 | TAQUERA LAS 3 CORITAS LLC | ESTRADA ZAYRA J | 29933 SR 52 , SAN ANTONIO 33576 | 1315082 | 04/23/2025 | Complaint Full | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6215784 | 361970 | LINKING HEIGHTS | NEIGHBORLINK GROUP LLC | 3001 28 ST N , ST. PETERSBURG 33713 | 3577724 | 04/21/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Table top deep fryer on prep table used for cooking Brussel sprouts not under a hood | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6903106 | 305708 | DANCING CRAB | ACE & L INVESTMENT LLC | 884 W SR 436 , ALTAMONTE SPRINGS 32714 | 3575469 | 04/22/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Seminole | 2010 | Food | 6905137 | 367839 | CALI TACOS & MEXICAN RESTAURANT | CALI TACOS & MEXICAN RESTAURANT INC | 830 LAURA ST , CASSELBERRY 32707 | 3583133 | 04/21/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. -exit door at restrooms | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6903509 | 364736 | WAH YOAN CHINESE RESTAURANT | HUARONG LLC | 3385 S US HWY 17-92 STSE 141 , CASSSELBERRY 32707 | 3573711 | 04/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. -rear exit door locked | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2010 | Food | 6501026 | 320942 | SCHMAGEL'S BAGELS | HOLE FOODS LLC | 69 HYPOLITA ST , SAINT AUGUSTINE 32084 | 3571746 | 04/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed grease laden vapors in air while flat top griddle is used for cooking. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6603208 | 365465 | CAFE772 FP | CAFE772 LLC | 3304 ORANGE AVE , FORT PIERCE 34952 | 3577006 | 04/24/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. K class | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7405956 | 263223 | HANNAH'S FAMILY DINER | 966 REED CANAL, LLC | 968 REED CANAL , SOUTH DAYTONA 93154 | 3467045 | 04/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Side dining room, blocked by dustpan and table | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.