## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2010 | Food | 1305352 | 230482 | BAYOU ON THE BEACH CAFE | CAT EYE MARBLES LLC | 11115 HUTCHISON BLVD , PANAMA CITY BEACH 32407 | 3578707 | 05/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. K class in fly room overcharged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000845 | 352671 | SUNRISE TO SUNSET | SVC SUNRISE LLC | 618 N ORANGE AVE , GREEN COVE SPRINGS 32043 | 3586625 | 05/05/2025 | Complaint Full | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small table top flat grill, not under hood system, on counter by steam wells. Grill producing grease laden vapors. Observed oil being used and grill is used for french toast, pancakes and heating potatoes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2101883 | 325047 | ROMA IN LIMA PIZZA & CUISINE LLC | ROMA IN LIMA PIZZA & CUISINE LLC | 1025 W MAIN ST , IMMOKALEE 34142 | 3567978 | 05/02/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed chairs stored in the hallway leading to the fire exit. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2101883 | 325047 | ROMA IN LIMA PIZZA & CUISINE LLC | ROMA IN LIMA PIZZA & CUISINE LLC | 1025 W MAIN ST , IMMOKALEE 34142 | 3567978 | 05/02/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Observed rear exit door locked. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103110 | 359142 | ALAMO DRAFTHOUSE CINEMA | ALAMO NAPLES LLC | 9118 STRADA PL STE 8205 , NAPLES 34108 | 3579887 | 05/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed the rear exit in the kitchen blocked by a trash bin. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2612702 | 318036 | APM INN AND SUITES JACKSONVILLE | FAY ENTERTAINMENT ENTERPRISE LLC | 510 LANE AVE S , JACKSONVILLE 32254 | 3480640 | 05/07/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small table fryers not under hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2613506 | 289038 | SUBWAY #37825 | CTKEYES INC | 6842 WILSON BLVD #1 , JACKSONVILLE 32210 | 3468025 | 05/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed chair and large not-in-use tea brewer blocking exit door in kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2612833 | 304092 | HYATT REGENCY JACKSONVILLE RIVERFRONT -DANIEL BUILDING ANNEX | MCSW JAC HOSPITALITY LLC | 225 E COASTLINE DR , JACKSONVILLE 32202 | 3572539 | 05/02/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. No boiler certificate at all, a few expired in January 2025 and a couple on 2023 per fire marshal website | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2612827 | 309793 | HYATT REGENCY JACKSONVILLE RIVERFRONT - 2ND FLOOR BANQUET | MCSW JAC HOSPITALITY LLC | 225 E COASTLINE DR , JACKSONVILLE 32202 | 3572621 | 05/02/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. No boiler certificate at all, a few expired in January 2025 and a couple on 2023 per fire marshal website | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2614293 | 355524 | CHULE'S GRILL | CHULE'S GRILL LLC | 11915 BEACH BLVD STE 112 , JACKSONVILLE 32246 | 3573646 | 05/09/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. LP propane tank stored on shelf in prep area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2010 | Food | 3600429 | 120050 | KENTUCKY FRIED CHICKEN | WAFH CORP | 411 W SUGARLAND HWY , CLEWISTON 33440 | 3587052 | 05/09/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only: located in office. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hernando | 2014 | Food | 3750350 | 49185 | CALI STREET TACOS | CALI STREET TACOS LLC | 4670 COMMERCIAL WAY , SPRING HILL 34606 | 1315284 | 05/07/2025 | Complaint Full | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed.For reporting purposes only. Hood ventilation system to the left of the grill not functional at time of inspection | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800978 | 231995 | OUTBACK STEAKHOUSE | OUTBACK STEAKHOUSE OF FLORIDA LLC | 921 US 27 N , SEBRING 33870 | 3585920 | 05/02/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher by the employees restroom in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800978 | 231995 | OUTBACK STEAKHOUSE | OUTBACK STEAKHOUSE OF FLORIDA LLC | 921 US 27 N , SEBRING 33870 | 3585920 | 05/02/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed boxes on the floor in front of the back door making it unable to get out safely, operator corrected. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800028 | 120416 | JACARANDA RESTAURANT | SOUTH FLORIDA COMM COLLEGE | 19 E MAIN ST , AVON PARK 53942 | 3498916 | 05/02/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler boiler reports expired 057118 3/22/25 and 097865 3/22/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Hillsborough | 2010 | Food | 3909694 | 250384 | EL DIAMANTE RESTAURANT | EL DIAMANTE RESTAURANT INC | 4422 N HUBERT AVE , TAMPA 33614 | 3565609 | 05/08/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Fryer on cook line not located under the FSS. Discussed with operator the possibility of moving the fryer to be located under the FSS. There appears to be enough space. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3913030 | 316388 | RICE N ROLL | MULIAN INC | 19243 N DALE MABRY HWY , LUTZ 33548 | 3581085 | 05/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Shopping cart, equipment in front of back door. Discussed with manager | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3917660 | 356299 | HONDURAS RESTAURANT , LLC | HONDURAS RESTAURANT LLC | 902 W BUSH BLVD SUITE 101, TAMPA 33612 | 3570299 | 05/02/2025 | Routine - Food | Call Back - Complied | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Electrical outlet covers missing, electrical wires sticking out above mop sink. - From follow-up inspection 2025-05-01: **Time Extended** - From follow-up inspection 2025-05-02: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3915753 | 277025 | LOLIS MEXICAN CRAVINGS | LOLIS MEXICAN CRAVINGS LLC | 8005 BENJAMIN RD , TAMPA 33634 | 3571919 | 05/06/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. A prep table with steam well blocked exit door in kitchen. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606437 | 298128 | HASAN RESTAURANT | HASAN A HASAN | 3069 DR MARTIN LUTHER KING JR BLVD , FORT MYERS 64163 | 3579226 | 05/08/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed exit sign hanging from wires above rear exit door. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2010 | Food | 4703763 | 304684 | RED HILLS VILLAGE | RESORT LIFESTYLE COMMUNITIES | 5103 COLD HARBOR DR , TALLAHASSEE 32312 | 3498215 | 05/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher behind doors after entering in to the kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5201923 | 368973 | WORKS BISTRO | LOCKJAW LLC | 12169 S WILLIAMS ST , DUNNELLON 34432 | 3585280 | 05/05/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at kitchen entrance. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202998 | 295724 | JERSEY MIKE'S SUB SHOP | FIRST QUALITY RESTAURANTS, LLC | 8075 SW SR 200 #121 , OCALA 34481 | 3582803 | 05/09/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher on wall in lobby near restrooms in need of recharge. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202832 | 363182 | 100 PROOF SALOON | WHISKEY BENT LLC | 1735 N PINE AVE , OCALA 34475 | 3488966 | 05/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher outside of office. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2010 | Food | 5402580 | 285279 | TIN CUP CHALICE | DIAMONDROCK KW SOUTH TENANT LLC | 2001 S ROOSEVELT BLVD , KEY WEST 33040 | 3574152 | 05/06/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-05-06: Still observed **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Okaloosa | 2010 | Food | 5603962 | 275288 | JIMMY BUFFETT'S MARGARITAVILLE CAFE 2ND FLOOR | IMCMV DESTIN LLC | 76 HARBOR BLVD , DESTIN 32541 | 3572010 | 05/08/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 130215 / 130233 4/11/23 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Okaloosa | 2010 | Food | 5603961 | 273351 | JIMMY BUFFETT'S MARGARITAVILLE | IMCMV DESTIN LLC | 76 HARBOR BLVD , DESTIN 32541 | 3572040 | 05/08/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 130215 / 130233 4/11/23 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Okaloosa | 2010 | Food | 5600144 | 336116 | COASTAL KITCHEN | R B FORT WALTON LLC | 1500 MIRACLE STRIP PKWY SE , FORT WALTON BEACH 32548 | 3499266 | 05/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Upon inspection, observed boiler certificate expired. Jurisdiction-134306 Expiration date - 10/09/21 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812851 | 252185 | SENOR FROG'S | SENOR FROGS ORLANDO LLC | 8747 INTERNATIONAL DR UNIT C , ORLANDO 32819 | 3573856 | 05/06/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only by back door **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5806935 | 132864 | SUBWAY #12034 | DIPASQUA SUBWAY #12034 INC | 7515 S ORANGE AVE , ORLANDO 96701 | 3441198 | 05/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Back exit door blocked by cardboard boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5911263 | 246427 | ICHIBAN BUFFET | ICHIBAN BUFFET OF KISSIMMEE INC | 5269 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 3503496 | 05/07/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door next to dry storage blocked with chairs | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6218730 | 364741 | RUDYS FOOD AND MARKET | RUDYS FOOD AND MARKET LLC | 1698 CLEARWATER LARGO RD , CLEARWATER 33756 | 3585847 | 05/08/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Portable deep fryers in table are in use without hood suppression system. Operator discontinued use of deep fryers. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217654 | 327699 | RED TIKI BAR AND GRILL | VASSAN GROUP LLC | 7361 46 AVE N , ST. PETERSBURG 33709 | 3582886 | 05/08/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Deep fryers not under hood system. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6214974 | 331575 | NOVU AT PONCE | BAKRAC INC | 95 CENTRAL AVE , ST. PETERSBURG 33701 | 3505126 | 05/06/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Electric deep fryer not located under hood **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905226 | 330219 | LOCA ELOTES | LOCA ELOTES LLC | 451 E ALTAMONTE DR STE 5575 , ALTAMONTE SPRINGS 32701 | 3444289 | 05/02/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -tabletop fryer with lid. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6903199 | 147883 | PARKS & REC DEPT SNACK BAR | CITY OF WINTER SPRINGS | 1000 E SR 434 , WINTER SPRINGS 32708 | 3434750 | 05/07/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. -outlet on rear side of pretzel warmer facing ice machine | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905205 | 302425 | MARQUISE CATERING | MONIKA'S B L D AND MORE LLC | 1255 BELLE AVE # 116 , WINTER SPRINGS 32708 | 3448901 | 05/09/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. -2 tanks -operator removed | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905026 | 264724 | JERSEY MIKE'S SUBS | PRESTIGE WORLDWIDE S&A III LLC | 5697 RED BUG LAKE RD #14 , WINTER SPRINGS 32708 | 3460708 | 05/06/2025 | Routine - Food | Call Back - Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. -rear exit door blocked by speed racks and boxes - From follow-up inspection 2025-05-06: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6903954 | 148430 | ORLANDO MARRIOTT LAKE MARY | HEATHROW HOTEL OWNERS LLC | 1501 INTERNATIONAL PKWY , LAKE MARY 32746 | 3572482 | 05/02/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. - boiler certification expired. - From follow-up inspection 2025-05-02: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Volusia | 2010 | Food | 7407197 | 337791 | POLYNESIAN FIRE LUAU | POLYNESIAN FIRE PRODUCTIONS LLC | 180 N BEACH ST , DAYTONA BEACH 32114 | 3569599 | 05/06/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -partial block rear exit, per manager there is three feet between items stored in hallway | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406959 | 369561 | KIKI'S SOUTHERN KITCHEN | ROSS ENTERPRISE OF DAYTONA INC | 456 S DR MARTIN LUTHER KING JR BLV , DAYTONA BEACH 32114 | 3586580 | 05/06/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -hurricane type shutters covering south side door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406283 | 305350 | BOB EVANS RESTAURANT 425 | BOB EVANS RESTAURANTS LLC | 1711 DUNLAWTON AVE , PORT ORANGE 32127 | 3573307 | 05/08/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407583 | 325277 | HOME2 SUITES BY HILTON DAYTONA | ATLANTIC MULTI FAMILY III LLC | 200 FENTRESS BLVD , DAYTONA BEACH 32114 | 3462374 | 05/02/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -prep table blocking exit door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7402738 | 148994 | CHART HOUSE | CHLN INC | 645 S BEACH ST , DAYTONA BCH 32114 | 3574211 | 05/08/2025 | Routine - Food | Inspection Completed - No Further Action | 49-01-4 | Flammables stored/debris present in meter room. For reporting purposes only. -boxes in from of electrical panel in storage room | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.