## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2010 | Food | 1305352 | 230482 | BAYOU ON THE BEACH CAFE | CAT EYE MARBLES LLC | 11115 HUTCHISON BLVD , PANAMA CITY BEACH 32407 | 3589477 | 06/13/2025 | Complaint Full | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher in fry station is overcharged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305300 | 307712 | LA QUINTA INN & SUITES | BY THE SEA RESORTS INC | 7115 COASTAL PALMS BLVD , PANAMA CITY BEACH 32408 | 3462866 | 06/13/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher in kitchen, gauge in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2014 | Food | 1350475 | 69302 | MONTERREY STREET BITES | J&F 0304 LLC | 200 W 15 ST , PANAMA CITY 32401 | 1315742 | 06/20/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1623839 | 286149 | CHIPOTLE MEXICAN GRILL | CHIPOTLE MEXICAN GRILL OF COLORADO | 5796 UNIVERSITY DR STE 103 , DAVIE 33328 | 3558555 | 06/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher by back door in undercharged red zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000999 | 336216 | RUBY TUESDAY | RUBY TUESDAY OPERATIONS LLC | 1521 CR 220 , FLEMING ISLAND 32003 | 3496916 | 06/16/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by walk in cooler in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000990 | 309708 | PEPPERS MEXICAN GRILL & CANTINA | LA JOYA 11 INC | 1560 BUSINESS CENTER DR #14 , FLEMING ISLAND 32003 | 3589677 | 06/16/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at restrooms in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2014 | Food | 2150297 | 39494 | SWEET CHEESUS | KULLER JODI | 2620 68TH ST SW , NAPLES 34104 | 1291030 | 06/13/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Light fixture on board truck in disrepair and wires are handing down | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2014 | Food | 2050199 | 63862 | FIERY KITCHEN TACO | BONATTI JANNETH DEL PILAR | 12665 SAN JOSE BLVD , JACKSONVILLE 32223 | 1298968 | 06/17/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher on floor by entrance in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2014 | Food | 2651775 | 39525 | TAQUERIA Y HAMBURGUESAS EL REY | GRACIELA MAGDANELIDA ORTIZ LOPEZ | 11219 LEM TURNER RD , JACKSONVILLE 32218 | 1296406 | 06/17/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 30# tank inside and unit. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800804 | 261714 | DIMITRI'S FAMILY RESTAURANT | PALM DINER LLC | 2710 KENILWORTH BLVD , SEBRING 33870 | 3589851 | 06/18/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed back of the kitchen, by doorway, fire extinguisher is in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3909694 | 250384 | EL DIAMANTE RESTAURANT | EL DIAMANTE RESTAURANT INC | 4422 N HUBERT AVE , TAMPA 33614 | 3566013 | 06/16/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Callback initiated in last inspection not yet due. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3909694 | 250384 | EL DIAMANTE RESTAURANT | EL DIAMANTE RESTAURANT INC | 4422 N HUBERT AVE , TAMPA 33614 | 3566013 | 06/18/2025 | Routine - Food | Call Back - Extension given, pending | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Callback initiated in last inspection not yet due. - From follow-up inspection 2025-06-18: Callback initiated in last inspection not yet due. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3906785 | 362624 | ITALIAN DREAM CAFE | INGENIUM HOLDINGS LLC | 4300 WEST CYPRESS STE 110 , TAMPA 33607 | 3440758 | 06/20/2025 | Routine - Food | Call Back - Admin. complaint recommended | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. 2 countertop fryers, a griddle and 2 press grills used on front service line. **Repeat Violation** - From follow-up inspection 2025-06-20: **Admin Complaint** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4603432 | 125428 | BURGER KING RESTAURANT | FURMAN'S INC | 18801 S TAMIAMI TRL , FORT MYERS 84721 | 3589490 | 06/13/2025 | Complaint Partial | Inspection Completed - No Further Action | 49-05-4 | Flammables stored near a source of ignition. Observed heat soaking tank stored next to CO2 tanks. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814843 | 322422 | DUNKIN DONUTS | SSRM VB 3, LLC | 410 N TERRY AVE , ORLANDO 32801 | 3439589 | 06/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. At entry way to kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6020867 | 351920 | LA VENTANITA LATINA | LA VENTANITA LLC | 5756 OKEECHOBEE BLVD , WEST PALM BEACH 33417 | 3589757 | 06/20/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | in kitchen next to oven Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2014 | Food | 6252440 | 57238 | BRANDFASS WEENIE WAGON | BRANDFASS WEENIE WAGON LLC | 25778 US 19 N , CLEARWATER 33763 | 1291404 | 06/17/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Putnam | 2010 | Food | 6400936 | 361456 | BEANZ N CREAM CAFE | BEANZ N CREAM CAFE LLC | 631 S US HWY 17 , SAN MATEO 32187 | 3502472 | 06/20/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Flat top griddle on prep line for cooking eggs not under hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905264 | 369593 | PERUVIAN CHICKEN | AAA FAMILY GROUP LLC | 5420 DEEP LAKE RD STE 1000 , OVIEDO 32765 | 3586664 | 06/13/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. -rear exit door locked with cross bar | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7404338 | 370843 | SUBWAY | SUB OF ATLANTIC AVE LLC | 3174 S ATLANTIC AVE- STE- E , DAYTONA BEACH SHORES 32118 | 3590231 | 06/20/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -path to rear fire exit door obstructed by several staged trash bags on ground | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407699 | 328156 | NEW SMYRNA BEACH BREWING COMPANY | NEW SMYRNA BEACH BREWING COMPANY LLC | 143 CANAL STREET , NEW SMYRNA BEACH 32168 | 3463041 | 06/18/2025 | Routine - Food | Inspection Completed - No Further Action | 48-02-5 | Insurance inspector boiler report not posted in boiler room. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.