## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1103090 | 229534 | PHO HA NOI | PHO HA NOI INC. | 3550 SW 34 ST STE D , GAINESVILLE 32608 | 3644204 | 07/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed the Fire extinguisher near the front door is in the red zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103478 | 362836 | LOS POLLOS | LOS POLLOS INC | 3120 SW ARCHER RD , GAINESVILLE 32608 | 3606934 | 07/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed: 15.1 pound propane tank stored under the prep table by the rotisserie ovens. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2013 | Food | 1505538 | 2345 | RADISSON RESORT AT THE PORT CATERING | COCOA BEACH MOTEL INC | 8701 ASTRONAUT BLVD , CAPE CANAVERAL 32920 | 1132704 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tanks in utility room. Operator moved **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1624777 | 343748 | PEARL OF THE ISLAND RESTAURANT & LOUNGE | PEARL OF THE ISLAND CARIBBEAN CUISINE LLC | 1832 HARRISON ST , HOLLYWOOD 33020 | 3607909 | 07/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed at fire extinguisher next to back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625852 | 356103 | PANDA EXPRESS FT LAUDERDALE | PANDA EXPRESS INC | 2644 W BROWARD BLVD , FORT LAUDERDALE 33312 | 3631317 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. At the rear door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1619745 | 106556 | EINSTEIN BROS BAGEL #1597 | EINSTEIN & NOAH CORP | 3200 N FEDERAL HWY , FORT LAUDERDALE 33306 | 3627237 | 07/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1616424 | 104275 | STINGERS BAR & GRILL | DAVE BEE ENT INC | 1201 S OCEAN BLVD , POMPANO BEACH 26668 | 3646901 | 07/16/2025 | Complaint Full | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone on wall in entrance to kitchen. For reporting purposes only. - From follow-up inspection 2025-07-16: Observed same **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1616424 | 104275 | STINGERS BAR & GRILL | DAVE BEE ENT INC | 1201 S OCEAN BLVD , POMPANO BEACH 26668 | 3646901 | 07/15/2025 | Complaint Full | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone on wall in entrance to kitchen. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Citrus | 2010 | Food | 1901383 | 309431 | RANCH LOS MAGUEYES MEXICAN | RANCH LOS MAGUEYES MEXICAN CUISINE INC | 1674 N US HWY 41 , INVERNESS 34450 | 3589848 | 07/16/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by back exit | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001271 | 258802 | TIJUANA FLATS BURRITO CO | TIJUANA FLATS #184 LLC | 1647 CR 220 #103 , FLEMING ISLAND 32003 | 3643000 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at front counter in the recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001222 | 232603 | PANERA BREAD 1182 | PANERA LLC | 1510 COUNTY RD 220 , FLEMING ISLAND 32003 | 3609013 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit door blocked by boxes and a trash can. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001271 | 258802 | TIJUANA FLATS BURRITO CO | TIJUANA FLATS #184 LLC | 1647 CR 220 #103 , FLEMING ISLAND 32003 | 3643000 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit door blocked by empty boxes.Manager removed all boxes from pathway. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001329 | 351867 | TACO BELL 2132035 | US LEADER RESTAURANTS OPCO, LLC | 1635 CR 220 , FLEMING ISLAND 32003 | 3619483 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit door blocked by empty boxes and a trash can. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2102988 | 350863 | JIMMY P'S BURGERS & MORE | OSPREY SHIPPING LLC | 1201 PIPER BLVD #11 , NAPLES 34110 | 3600389 | 07/17/2025 | Routine - Food | Warning Issued | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. On front line | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2102970 | 364021 | ROSATI'S PIZZA | MILLER FAMILY INDUSTRIES LLC | 1201 PIPER BLVD UNIT 17 , NAPLES 34110 | 3610082 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed two twenty pound lp gas tanks inside back door area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2101883 | 325047 | ROMA IN LIMA PIZZA & CUISINE LLC | ROMA IN LIMA PIZZA & CUISINE LLC | 1025 W MAIN ST , IMMOKALEE 34142 | 3567978 | 07/11/2025 | Routine - Food | Call Back - Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. Observed chairs stored in the hallway leading to the fire exit. **Repeat Violation** - From follow-up inspection 2025-07-11: Observed chairs stored in the hallway leading to the fire exit. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2101883 | 325047 | ROMA IN LIMA PIZZA & CUISINE LLC | ROMA IN LIMA PIZZA & CUISINE LLC | 1025 W MAIN ST , IMMOKALEE 34142 | 3567978 | 07/11/2025 | Routine - Food | Call Back - Complied | 46-04-4 | - From initial inspection : Exit door locked. For reporting purposes only. Observed rear exit door locked. **Repeat Violation** - From follow-up inspection 2025-07-11: Observed rear exit door locked. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2331707 | 211438 | LITTLE CAESAR #2292 | LITTLE CEASARS ENTERPRISES | 2854 NE 8 ST , HOMESTEAD 33030 | 3615333 | 07/15/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed boxes blocked the exit door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337590 | 344673 | MASTER CREPES | MASTER CREPES LLC | 3905 NW 107 AVE STE 106 , DORAL 33178 | 3611405 | 07/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher at front counter in the recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328664 | 272649 | BEST NRG CAFE CORPORATION | BEST NRG CAFE CORPORATION | 6280 SW SUNSET DR #301 , SOUTH MIAMI 33143 | 3610265 | 07/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2319922 | 111607 | COURTYARD BY MARRIOTT REST | COURTYARD MANAGEMENT CORPORATION | 3929 NW 79 AVE , MIAMI 33166 | 3637500 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Jurisdiction #058983, 058984, expired 9/8/2024. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2338123 | 360248 | CITIZENM HOTELS | MIAMI SOUTH BEACH OPERATIONS LLC | 1200 LINCOLN RD , MIAMI BEACH 33139 | 3602944 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2327906 | 325352 | LOBSTER SHACK | LINGENFELSER ENTERPRISE III INC | 613 LINCON RD , MIAMI BEACH 33139 | 3613064 | 07/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615014 | 365013 | AL SHAMI | 2MAH LLC | 8606 BAYMEADOWS RD STE 22-23 , JACKSONVILLE 32256 | 3637107 | 07/16/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed tabletop fryers by back door of kitchen in use during inspection. Observed staining on ceiling and smoke in kitchen during inspection. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2614277 | 340778 | ALOFT JACKSONVILLE AIRPORT | TMGOC 751 JACKSONVILLE LLC | 751 SKYMARKS DR , JACKSONVILLE 32218 | 3643756 | 07/16/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. In boiler room, both certificates expired 3/6/2025. Jurisdiction numbers 098657 and 139281. Found one current certificate in binder in managers office, jurisdiction number 140542. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2611419 | 200592 | SARKU JAPAN | SAR MIAMI FOOD INC | 10300 SOUTHSIDE BLVD #3130 , JACKSONVILLE 32256 | 3617233 | 07/15/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Table top fryer observed outside of hood in back kitchen. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3801222 | 353943 | HIBACHI EXPRESS | HIBACHI LAKE PLACID INC | 490 US HWY 27 N STE 1320 , LAKE PLACID 33852 | 3612299 | 07/16/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked nearest walk in cooler. For reporting purposes only with boxes of bulk mayonnaise. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3916425 | 219357 | QDOBA MEXICAN GRILL #557 | JED TAMPA LLC | 13155 S US HWY 301 , RIVERVIEW 33569 | 3598342 | 07/11/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Boxes blocking back door, employee removed at time of inspection. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3919094 | 345008 | CAVA | CAVA | 1001 WATER ST STE G1-100 , TAMPA 33602 | 3625464 | 07/15/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked by boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606131 | 216377 | PANDA EXPRESS #1656 | PANDA EXPRESS INC | 9330-1 BEN C PRATT 6 MI CYPRESS PKWY , FORT MYERS 66505 | 3590363 | 07/15/2025 | Complaint Full | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed rear exit door blocked by trash can filled with cardboard. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607355 | 324775 | BURNTWOOD TAVERN | BURNTWOOD TAVERN GULF COAST LLC | 10035 GULF CENTER DRIVE UNIT 100F , FORT MYERS 33913 | 3613488 | 07/11/2025 | Routine - Food | Warning Issued | 47-02-4 | Observed damaged cover around electrical outlet. For reporting purposes only. Right side wall of cook line by dishwashing area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607082 | 300861 | DRURY INN & SUITES - FORT MYERS | DDC HOTELS INC | 9950 UNIVERSITY PLAZA DR , FORT MYERS 33913 | 3599606 | 07/16/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 124540 - 05/18/2023, 124539 - 07/02/2021 both expired. Operator showed boilers are in the process of inspection and bringing up to date. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Lee | 2010 | Food | 4607355 | 324775 | BURNTWOOD TAVERN | BURNTWOOD TAVERN GULF COAST LLC | 10035 GULF CENTER DRIVE UNIT 100F , FORT MYERS 33913 | 3613488 | 07/15/2025 | Routine - Food | Call Back - Extension given, pending | 47-02-4 | - From initial inspection : Observed damaged cover around electrical outlet. For reporting purposes only. Right side wall of cook line by dishwashing area. - From follow-up inspection 2025-07-15: Operator has ordered part. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4602427 | 322200 | WENDY'S | QFRM 5, LLC | 15300 MCGREGOR BLVD , FORT MYERS 33908 | 3646945 | 07/16/2025 | Complaint Full | Call Back - Complied | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. Observed electrical outlet hanging from wires next to reach in freezer near ice machine and outside behind back kitchen exit door. For reporting purposes only. - From follow-up inspection 2025-07-16: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4602427 | 322200 | WENDY'S | QFRM 5, LLC | 15300 MCGREGOR BLVD , FORT MYERS 33908 | 3646945 | 07/15/2025 | Complaint Full | Administrative complaint recommended | 47-03-4 | Observed electrical wiring in disrepair. Observed electrical outlet hanging from wires next to reach in freezer near ice machine and outside behind back kitchen exit door. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105819 | 315802 | PANERA BREAD #6119 | PANERA LLC | 6351 MANATEE AVENUE W , BRADENTON 34209 | 3604430 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed back exit door from storage area blocked by discarded boxes. Operator removed boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Martin | 2010 | Food | 5300307 | 213369 | INTERNATIONAL HOUSE OF PANCAKES 36-83 | SUNSHINE RESTAURANT MERGER SUB LLC | 1425 S US HWY 1 , STUART 34994 | 3602902 | 07/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By floor mixer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811176 | 180681 | CHIPOTLE MEXICAN GRILL #570 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 2850 S. KIRKMAN ROAD , ORLANDO 32811 | 3611560 | 07/16/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -fire extinguisher next to dish machine | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811176 | 180681 | CHIPOTLE MEXICAN GRILL #570 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 2850 S. KIRKMAN ROAD , ORLANDO 32811 | 3611560 | 07/16/2025 | Routine - Food | Warning Issued | 45-06-4 | Portable fire extinguisher is inaccessible. For reporting purposes only. -fire extinguisher next to dish machine inaccessible due to ladder blocking access | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5813255 | 265676 | TROPICAL SMOOTHIE CAFE | TSC-190 INCORPORATED | 3120 S KIRKMAN RD STE E , ORLANDO 32811 | 3602347 | 07/15/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear exit door blocked by cardboard boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5813255 | 265676 | TROPICAL SMOOTHIE CAFE | TSC-190 INCORPORATED | 3120 S KIRKMAN RD STE E , ORLANDO 32811 | 3602347 | 07/15/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. -rear exit door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5816103 | 357681 | ESCOBAR KITCHEN LATIN ASIAN FUSION | WINE CORKS & ESCOBAR KITCHEN LLC | 420 E CHURCH ST UNIT 108 , ORLANDO 32801 | 3622267 | 07/16/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Skillet burner used to cook steak and other grease laden foods, was set up on counter. Operator immediately placed under hood system in microwave **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5804085 | 353007 | SHERATON LAKE BUENA VISTA RESORT | LR SLBV LLC | 12205 S APOPKA VINELAND RD , ORLANDO 32836 | 3637551 | 07/16/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certificates expired 4/20/2025 Spoke to Engineering Manager. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5813822 | 354990 | SHERATON LAKE BUENA VISTA RESORT (SPRINGBOARD MARKETPLACE) | LR SLBV LLC | 12205 S APOPKA VINELAND RD , ORLANDO 32836 | 3606037 | 07/16/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed current boiler certificates expired | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5811176 | 180681 | CHIPOTLE MEXICAN GRILL #570 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 2850 S. KIRKMAN ROAD , ORLANDO 32811 | 3611560 | 07/17/2025 | Routine - Food | Call Back - Admin. complaint recommended | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. -fire extinguisher next to dish machine - From follow-up inspection 2025-07-17: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815933 | 356087 | BOILED FISH | BOILED FISH ORLANDO CORP | 8910 TURKEY LAKE ROAD STE 120 , ORLANDO 32819 | 3643937 | 07/15/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5816141 | 356345 | HI THOUSE | HITEA & DESSERTS LLC | 8200 VINELAND AVE 266 , ORLANDO 32821 | 3643002 | 07/11/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5900375 | 347382 | HARDEE'S | ANBA HEDRA LLC | 504 W VINE ST , KISSIMMEE 34741 | 3643213 | 07/16/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at back exit door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6019262 | 321708 | MAKEBS BAGELS AND DELI | WDLD BAGELS LLC | 9940 BELVEDERE RD STE B , ROYAL PALM BEACH 33411 | 3637964 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pasco | 2014 | Food | 6151104 | 67491 | BEE COFFEE 2 | BEE COFFEE LLC | 2205 COLLIER PKWY , LAND O' LAKES 34639 | 1317122 | 07/11/2025 | Complaint Full | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Grill flat top cooking eggs and bacon not under hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217654 | 327699 | RED TIKI BAR AND GRILL | VASSAN GROUP LLC | 7361 46 AVE N , ST. PETERSBURG 33709 | 3646597 | 07/14/2025 | Complaint Full | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. 2 small fryers in use not under hood system. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6200836 | 355424 | KISSIN CUZZINS FAMILY RESTAURANT | CAMPBELL FAMILY RESTAURANTS LLC | 951 34 ST N , SAINT PETERSBURG 33713 | 3616570 | 07/14/2025 | Routine - Food | Warning Issued | 45-01-4 | No portable fire extinguisher present. For reporting purposes only. Front side of door by wait staff area with hook with no extinguisher. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217549 | 353503 | DOMINO'S PIZZA 5021 | CHECKMATE PIZZA LLC | 23698 US HWY 19 N , CLEARWATER 33765 | 3627708 | 07/11/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone by the back exit . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217654 | 327699 | RED TIKI BAR AND GRILL | VASSAN GROUP LLC | 7361 46 AVE N , ST. PETERSBURG 33709 | 3646597 | 07/15/2025 | Complaint Full | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. 2 small fryers in use not under hood system. **Repeat Violation** - From follow-up inspection 2025-07-15: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217526 | 343745 | MAIN KITCHEN AND LOBBY BAR | JEMB POCONO LLC | 100 CORONADO DR , CLEARWATER 33767 | 3618172 | 07/17/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : boiler certificate expired for boiler. For reporting purposes only. Fl124576-fl124575-fl124574, fl136693, all exp 1/30/2025 - From follow-up inspection 2025-07-17: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Sarasota | 2010 | Food | 6804340 | 248959 | HUNGRY HOWIES | SM AND 4 A INC | 1085-B N TAMIAMI TRL , NOKOMIS 34275 | 3608115 | 07/15/2025 | Routine - Food | Warning Issued | 46-04-4 | Rear exit door locked. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805804 | 311952 | BURGER KING 26438 | BRAVOTAMPA LLC | 1270 N TAMIAMI TRAIL , NOKOMIS 34275 | 3619973 | 07/17/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed a marked exit door locked near the service window. The operator unlocked the door. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905637 | 364391 | MUNCHIE SHACK | RIVERAS | 147 W STATE RD 434 , WINTER SPRINGS 32708 | 3644284 | 07/14/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -Table top fryer | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6904915 | 316735 | IHOP #36-216 | SUNSHINE RESTAURANT MERGER SUB LLC | 111 S OREGON AVE , SANFORD 32771 | 3622531 | 07/14/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. -on wall behind waffle irons | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7402525 | 148948 | POPEYES LOUISIANA KITCHEN #125 | SAILORMEN INC | 101 N RIDGEWOOD AVE , DAYTONA BCH 43241 | 3645841 | 07/14/2025 | Complaint Full | Warning Issued | 47-02-4 | Exit light at rear door handing by wires. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407002 | 242568 | HO DADDY O'S SURF CREAM LLC | HO DADDY O'S SURF CREAM, LLC | 4600-A S ATLANTIC AVE , PONCE INLET 32127 | 3634437 | 07/16/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -unit near back fire exit | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7403812 | 276995 | HOOTERS OF DAYTONA | HOA RESTAURANT HOLDER LLC | 2100 W INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 3592767 | 07/16/2025 | Routine - Food | Inspection Completed - No Further Action | 49-01-4 | Flammables stored/debris present in water heater room. For reporting purposes only. -boxes | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.
Volusia | 2010 | Food | 7402525 | 148948 | POPEYES LOUISIANA KITCHEN #125 | SAILORMEN INC | 101 N RIDGEWOOD AVE , DAYTONA BCH 43241 | 3645841 | 07/15/2025 | Complaint Full | Call Back - Extension given, pending | 47-02-4 | - From initial inspection : Exit light at rear door handing by wires. For reporting purposes only. - From follow-up inspection 2025-07-15: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407197 | 337791 | POLYNESIAN FIRE LUAU | POLYNESIAN FIRE PRODUCTIONS LLC | 180 N BEACH ST , DAYTONA BEACH 32114 | 3569599 | 07/11/2025 | Routine - Food | Call Back - Extension given, pending | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. -partial block rear exit, per manager there is three feet between items stored in hallway - From follow-up inspection 2025-07-11: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.