## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1103413 | 307263 | SOHAO STREET FARE CAFE | STREET FARE INC | 3045 SW 34 ST STE 16 , GAINESVILLE 32608 | 3635717 | 07/24/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed : 2 bikes blocking the back exit by the restrooms. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103562 | 359682 | NINE SPICES HOTPOT | G SAMUIL INC | 3333 SW 34 ST , GAINESVILLE 32608 | 3609703 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed: the Fire extinguisher by the restroom doors, indicates it is not fully charged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1304311 | 368559 | PEPPERS MEXICAN GRILL AND CANTINA | DON RAMON INC | 2061 MARTIN LUTHER KING JR BLVD , PANAMA CITY 32405 | 3650118 | 07/24/2025 | Complaint Full | Warning Issued | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Exit sign by dish pit handing by wires. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305809 | 310558 | BEEF O'BRADY'S | COTTONS COOKIN INC | 11226 HUTCHISON BLVD , PANAMA CITY BEACH 32407 | 3633946 | 07/25/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. By dry storage room. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bradford | 2010 | Food | 1400155 | 371092 | CARIBBEAN SOUL | CARIBBEAN SOUL | 200 E CALL ST , STARKE 32091 | 3645362 | 07/18/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. No child labor law poster available. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Brevard | 2010 | Food | 1502602 | 254522 | TACO BELL | BRAVO FOODS LLC | 2004 S WASHINGTON AVE , TITUSVILLE 32780 | 3630944 | 07/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Boxes in front of back door **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1608517 | 348908 | LE TUB | BURGER BEACH, LLC | 1100 N OCEAN DR , HOLLYWOOD 33019 | 3649067 | 07/22/2025 | Complaint Full | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank near ice machine. Operator removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1624906 | 341125 | WENDY'S 12179 | WENDY'S PROPERITIES LLC | 4600 S SR 7 , HOLLYWOOD 33314 | 3593570 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. At the back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625886 | 356173 | DAVE'S HOT CHICKEN | HANS HOT CHICKEN PEMBROKE PINES LLC | 15855 PINES BLVD STE 101 , PEMBROKE PINES 33027 | 3606936 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher gauge in recharge zone, in kitchen next to dish machine. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625680 | 366349 | SUSHI HOUSE | LUBA SUSHI LLC | 5818 STIRLING RD , HOLLYWOOD 33021 | 3633353 | 07/23/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. In use table top fryers no hood system **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Citrus | 2010 | Food | 1901326 | 270331 | PANERA BREAD #1788 | PANERA, LLC | 1082 W MAIN ST , INVERNESS 34450 | 3635948 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in bathroom area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2338232 | 365576 | SNDWCH SUNSET | COUNTER PROVISIONS TWO LLC | 1573 SUNSET DR , CORAL GABLES 33143 | 3616836 | 07/18/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed miniature fryer at front counter with no hood system. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2331668 | 219001 | ALFARO'S | ALFAROS LOUNGE CORP | 1604 SW 8 STREET , MIAMI 33135 | 3601696 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Kitchen, establishment using a grease portable fryer used to cook fries and croquettes . | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336668 | 329174 | POKE 88 RESTAURANT | POKE MIAMI 88 LLC | 8817 SW 107 AVE , MIAMI 33176 | 3613897 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed small fryer on table top in back prep area with no hood. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336796 | 332382 | CUBATA | CUBATA INC | 1605 SW 8 ST , MIAMI 33135 | 3602806 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Kitchen: establishment has a portable double sided gas fryer, no hood suppression system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337694 | 346122 | ROZU | SANKUAY LLC | 200 E FLAGLER ST UNIT 207 , MIAMI 33131 | 3616670 | 07/22/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Cooking Spring rolls no hood suppression system. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2319783 | 111563 | 304 FARMSTEAD | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI 62600 | 3606066 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificate expired. FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319790 | 111570 | SHULA BURGER | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI 62600 | 3593598 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed expired boiler certificate FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319804 | 111584 | 317 LCKY CHKN | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND #317 , MIAMI 33056 | 3628958 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boilers with expired certificate . FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319805 | 111585 | 312 SOBE Q/SLOPPY JOES | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # 312 , MIAMI 33056 | 3641566 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificate expired FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2326620 | 114196 | 350 BENIHANA | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD STAND #350 , MIAMI 33056 | 3613751 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificate expired FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2326622 | 114198 | 347 SOL CUBANO | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND #C347 , MIAMI 33056 | 3622436 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boilers with expired certificate FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2326624 | 114200 | 355 FAN FAVORITES | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # 355 , MIAMI 33056 | 3598020 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boilers with expired certificates FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2327611 | 114763 | NAUTILUS | MB REDEVELOPMENT LLC | 1601 COLLINS AVE , MIAMI BEACH 33139 | 3631570 | 07/22/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2331718 | 211638 | HAMPTON INN COCONUT GROVE | GROVE HOTEL GROUP LTD | 2800 SW 28 TERR , MIAMI 33133 | 3613952 | 07/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificate expired 5/17/2025. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2335458 | 285585 | FOUR POINTS BY SHERIDAN | 36TH STREET THREE LLC | 3570 NW 74 AVE , MIAMI 33122 | 3614337 | 07/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler FL 134359, FL 134358 without boiler certification **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334856 | 285878 | 347A EDGEWATER GRILL | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD , MIAMI GARDENS 33056 | 3635732 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boilers expired certificate FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334857 | 285880 | 345A SHULA BURGER | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD STAND #345A , MIAMI 33056 | 3599255 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boilers with expired certificate FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334859 | 285884 | CHEESE BURGER BABY 317A | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND #317A , MIAMI 33056 | 3610702 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificate expired. FL-133314 expiresA on 7/20/25, FL-13313 expiresA on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2337171 | 351060 | SNDWCH MIAMI | COUNTER PROVISIONS LLC | 9420 NW 41 ST #115 , DORAL 33178 | 3593541 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 boiler units at 650,000 BTU's with no certification located at boiler room **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2335344 | 297694 | MIAMI JOES COFFEE | MB REDEVELOPMENT LLC | 1601 COLLINS AVE , MIAMI BEACH 33139 | 3614331 | 07/22/2025 | Routine - Food | Inspection Completed - No Further Action | 48-02-5 | Insurance inspector boiler report not posted in boiler room. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2323609 | 112629 | HIALEAH LATIN AMERICA REST | HIALEAH LATIN AMERICAN INC | 675 E 9 ST , HIALEAH 04523 | 3615668 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Duval | 2010 | Food | 2615920 | 326477 | ANOTHER BROKEN EGG CAFÉ | ANOTHER BROKEN EGG CAFÉ OF JAX ATLANTIC LLC | 11949 ATLANTIC BOULEVARD UNIT 105, JACKSONVILLE 32225 | 3649629 | 07/23/2025 | Complaint Full | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small fryer for seafood on line not stored under hoods | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2600573 | 116273 | SAN JOSE CO CLUB D R | SAN JOSE COUNTRY CLUB INC | 7529 SAN JOSE BLVD , JACKSONVILLE 73524 | 3603727 | 07/18/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Per website , Establishment certificate is current. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2616160 | 349589 | TRAP HOUSE CHICKEN | MULTI MILLIONAIRE GROUP INC | 5516 NORMANDY BLVD , JACKSONVILLE 32205 | 3641069 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Two propane tanks larger than 2.7lbs stored in establishment. Manager moved tanks outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615250 | 366424 | TACOS DONA MARIA 2 | TACOS DONA MARIA TWO CORP | 12192 BEACH BLVD SUITE 3 , JACKSONVILLE 32246 | 3597536 | 07/24/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank stored in non working walk-in-cooler. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800905 | 343520 | JERSEY MIKE'S SUBS | PLATINUM SUBMARINE LLC | 250 PALM COAST PKWY NE STE 204 , PALM COAST 32137 | 3605179 | 07/22/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By boxes in path of back exit door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hardee | 2010 | Food | 3500269 | 322562 | TACO BELL | LUIHN VANTEDGE PARTNERS LLC | 116 W. REA RD , WAUCHULA 33873 | 3622349 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed fire extinguisher on the floor by the back door, operator put back on wall under the sign. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hardee | 2014 | Food | 3550085 | 60489 | SMOKIN' TENDER-NESS BBQ | SMOKIN' TENDER-NESS BBQ LLC | 103 E MAIN ST , WAUCHULA 33873 | 1319417 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-06-4 | Portable fire extinguisher is inaccessible. For reporting purposes only. Observed fire extinguisher is covered with towel and bags not accessible, operator removed. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800978 | 231995 | OUTBACK STEAKHOUSE | OUTBACK STEAKHOUSE OF FLORIDA LLC | 921 US 27 N , SEBRING 33870 | 3648749 | 07/21/2025 | Complaint Full | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800978 | 231995 | OUTBACK STEAKHOUSE | OUTBACK STEAKHOUSE OF FLORIDA LLC | 921 US 27 N , SEBRING 33870 | 3648749 | 07/21/2025 | Complaint Full | Warning Issued | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800978 | 231995 | OUTBACK STEAKHOUSE | OUTBACK STEAKHOUSE OF FLORIDA LLC | 921 US 27 N , SEBRING 33870 | 3648749 | 07/22/2025 | Complaint Full | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-07-22: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800978 | 231995 | OUTBACK STEAKHOUSE | OUTBACK STEAKHOUSE OF FLORIDA LLC | 921 US 27 N , SEBRING 33870 | 3648749 | 07/22/2025 | Complaint Full | Call Back - Complied | 45-05-4 | - From initial inspection : Portable fire extinguisher missing from its designated location. For reporting purposes only. - From follow-up inspection 2025-07-22: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3912197 | 123107 | POPEYES CHICKEN & BISUITS #94 | SAILORMEN INC | 5156 S DALE MABRY , TAMPA 33611 | 3648307 | 07/22/2025 | Complaint Full | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed missing outlet cover in mop sink with exposed white wire at time of inspection. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3906195 | 336934 | PAPIS CAFE1 LLC | RODRIGUEZ ALEXANDER | 2203 N. LOIS AVE G100 , TAMPA 33607 | 3593754 | 07/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. A 20 lbs propane tank stored in storage room next to office area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2010 | Food | 4105068 | 350249 | WATERFALL RESTAURANT | GLODEN EGG OF VERO LLC | 2227 14 AVE , VERO BEACH 32960 | 3598375 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Next to hand sink in prep area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4509020 | 347613 | PASTELITOS MARILU | PASTELITOS MARILU LLC | 342 W BURLEIGH BLVD , TAVARES 32778 | 3629251 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 propane tanks in bathroom | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4605881 | 323523 | DAIRY QUEEN GRILL AND CHILL | FOURTEEN FOODS LLC | 9011 CODY LEE RD , FORT MYERS 33912 | 3596546 | 07/18/2025 | Routine - Food | Warning Issued | 47-03-4 | Observed electrical outlet in disrepair. For reporting purposes only. Outlet over reach-in cooler on cook line closest to deep fryers cracked cover. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4605798 | 354496 | STEAK N SHAKE | TONYS BURGER KINGDOM LLC | 8950 COLONIAL CENTER DR , FORT MYERS 33905 | 3623469 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher outside restroom area gauge in red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4603671 | 342524 | ARBY'S #5992 | AES MIDWEST LLC | 9290 DANIELS PKWY , FORT MYERS 33912 | 3633199 | 07/22/2025 | Routine - Food | Emergency order recommended | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Far end cook line by toaster. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4603671 | 342524 | ARBY'S #5992 | AES MIDWEST LLC | 9290 DANIELS PKWY , FORT MYERS 33912 | 3633199 | 07/22/2025 | Routine - Food | Emergency Order Callback Not Complied | 47-02-4 | - From initial inspection : Observed scorch marks around electrical outlet. For reporting purposes only. Far end cook line by toaster. - From follow-up inspection 2025-07-22: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202946 | 370645 | BLUE GATOR OF DUNNELLON | BLUEGATOR TIKI LLC | 12189 S WILLIAMS ST , DUNNELLON 34432 | 3626837 | 07/22/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. 1. Gauge on fire extinguisher near three-compartment sink in recharge zone. 2. Gauge on fire extinguisher near managers office in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811787 | 341210 | STARLIGHT RESTAURANT AND LOUNGE INC | STARLIGHT RESTAURANT AND LOUNGE INC | 5233 OLD WINTER GARDEN RD STE A , ORLANDO 32811 | 3617911 | 07/23/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. -locking bar on exit door next to kitchen entrance -exit door at restrooms | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815691 | 364661 | CHABUCA | JUCALE LLC | 5928 BUTLER NATIONAL DR STE B , ORLANDO 32822 | 3621253 | 07/22/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Operator removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5807626 | 295198 | WENDY'S #5317 | WENDY'S PROPERTIES LLC | 4426 HOFFNER AVE , ORLANDO 32812 | 3603391 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Full of trashed blocked the exit door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814156 | 347009 | DOMINO'S | BTB HOSPITALITY GROUP, INC | 6401 RALEIGH ST , ORLANDO 32835 | 3594652 | 07/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear exit door blocked by trash bin and boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5810665 | 356370 | JERSEY MIKES SUBS | KRG HOLDINGS ORLANDO LLC | 6700 CONROY RD STE 100A , ORLANDO 32835 | 3618826 | 07/21/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear exit door blocked by pull wagon | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811766 | 223739 | FRATELLIS RESTAURANT | FRATELLIS RESTAURANT LLC | 373 N ORANGE AVE , ORLANDO 32801 | 3640878 | 07/22/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Back exit door in hallway used for dry storage area is blocked by equipment . Operator immediately removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811648 | 355626 | CAYJO | CAYJO LLC | 6601 OLD WINTER GARDEN RD STE 106 , ORLANDO 32835 | 3643545 | 07/25/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. -under prep sink and at rear door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6023076 | 357396 | PALM HOUSE | LR PALM HOUSE LLC | 160 ROYAL PALM WAY , PALM BEACH 33480 | 3650561 | 07/25/2025 | Complaint Full | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6011280 | 300151 | RICE & NOODLE | RICE & NOODLE | 9850 ALT A1A STE 503 , PALM BEACH GARDENS 04936 | 3602327 | 07/23/2025 | Routine - Food | Administrative complaint recommended | 46-04-4 | Exit door locked. For reporting purposes only. Exit back door locked ; operator unlocked **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217240 | 343452 | DOCKS | JEMB POCONO LLC | 100 CORONADO DR , CLEARWATER 33767 | 3608631 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Fl124576-fl124575-fl124574, fl136693, all exp 1/30/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6218703 | 361324 | BEACH MARKET CAFE | TRIPROP CLEARWATER LLC | 400 CORONADO DR , CLEARWATER BEACH 33767 | 3618427 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6200047 | 140377 | CHATTAWAY DRIVE INN | FRERS JULIAN LUND | 358 S 22 AVE , ST PETERSBURG 53245 | 3644409 | 07/21/2025 | Complaint Full | Administrative complaint recommended | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805603 | 337966 | DUNKIN #354508 | QUALITY BRAND GROUP FLORIDA LLC | 2983 EXECUTIVE DR , VENICE 34292 | 3598744 | 07/23/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed the rear exit blocked by a trash can and discarded boxes. The operator cleared the exit path. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805946 | 331263 | ORANGE OCTOPUS ICE CREAM CO | KMB HOLDINGS GROUP LLC | 4141 SOUTH TAMIAMI TRAIL UNIT 14, SARASOTA 34231 | 3607903 | 07/24/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Rear exit door locked. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805733 | 305305 | ART OVATION HOTEL | PALM AVENUE HOSPITALITY HOLDINGS LLC | 1255 N PALM AVE , SARASOTA 34236 | 3593414 | 07/24/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certificate expired. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Sarasota | 2010 | Food | 6804572 | 358078 | 15 SOUTH BY NAPULE | TI DREAM LLC | 15 S BLVD OF THE PRESIDENTS , SARASOTA 34236 | 3643637 | 07/22/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 3 propane tanks stored in the back hallway of the establishment. Employee placed the tanks outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6603152 | 363401 | FLAVORS CUISINE & LOUNGE BAR | FLAVORS CUISINE & LOUNGE BAR | 686 SW BAYSHORE BLVD , PORT ST LUCIE 34983 | 3594723 | 07/23/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke not under hood suppression system. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6602881 | 300815 | MALAIKA CARIBBEAN CUISINE AND BAKERY | Y & B CARIBBEAN CUISINE AND BAKERY INC | 658 SW PORT SAINT LUCIE BLVD , PORT ST LUCIE 34953 | 3630427 | 07/24/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Movable racks blocking door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6603152 | 363401 | FLAVORS CUISINE & LOUNGE BAR | FLAVORS CUISINE & LOUNGE BAR | 686 SW BAYSHORE BLVD , PORT ST LUCIE 34983 | 3594723 | 07/24/2025 | Routine - Food | Call Back - Extension given, pending | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke not under hood suppression system. Notified Fire AHJ. For reporting purposes only. - From follow-up inspection 2025-07-24: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6605229 | 367474 | FLAVORS CUISINE AND LOUNGE BAR | ALTIDOR, ADELLE | 751 NW AIROSO BLVD , PORT ST LUCIE 34983 | 3642582 | 07/22/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Suppression system is installed, cooking equipment has been moved and is not inline with suppression syatyem system. Call fire and reported they will send someone out today. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7401795 | 337511 | BURGER KING | ADISER ORLANDO, LLC | 825 NOVA RD , DAYTONA BEACH 32117 | 3650570 | 07/24/2025 | Complaint Full | Warning Issued | 45-04-4 | Use of cooking equipment/broiler producing grease laden vapors/smoke with hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -When cooking burgers a heavy amount of smoke comes out of broiler and covers kitchen . | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407124 | 261160 | OLIVE GARDEN #4460 | FLORIDA SE LLC | 1780 W INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 3593162 | 07/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Water heater screen states blocked exhaust.For reporting purposes only. Manager will be calling tech | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407197 | 337791 | POLYNESIAN FIRE LUAU | POLYNESIAN FIRE PRODUCTIONS LLC | 180 N BEACH ST , DAYTONA BEACH 32114 | 3569599 | 07/22/2025 | Routine - Food | Call Back - Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. -partial block rear exit, per manager there is three feet between items stored in hallway - From follow-up inspection 2025-07-11: **Time Extended** - From follow-up inspection 2025-07-22: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7408009 | 365974 | LUNA'S RESTAURANT | LUNAS COCINA LLC | 2516 S ATLANTIC AVE , DAYTONA BEACH 32118 | 3642106 | 07/24/2025 | Routine - Food | Administrative complaint recommended | 49-01-4 | Flammables stored/debris present in front of electrical switch panels inside establishment. For reporting purposes only. | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.