## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1101748 | 98972 | POPEYES LOUISIANA KITCHEN #128 | SAILORMEN INC | 1412 N MAIN ST , GAINESVILLE 14368 | 3611700 | 07/30/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher by lobby/kitchen door in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103669 | 339372 | KFC | DE FOODS, LLC | 16134 NW US HIGHWAY 441 , ALACHUA 32615 | 3623835 | 07/28/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in front of walk-in cooler. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1102617 | 348419 | HOOK FISH & CHICKEN | AMIR RAHMOON | 1340 E UNIVERSITY AVE , GAINESVILLE 32641 | 3621441 | 07/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher in kitchen and by back door both in the recharge red zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103092 | 356946 | MAHZU SUSHI AND GRILL | OLIVE TREE RESTAURANT LLC | 5150 SW 34 ST , GAINESVILLE 32608 | 3617910 | 07/29/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed : the marked exit door by the restrooms is blocked with boxes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103740 | 354042 | PAMPYS BAKERY | PAMPY'S BAKERY SUPPLY CORP | 3601 SW 2 AVE STE A , GAINESVILLE 32607 | 3642557 | 08/01/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. LP tank stored on floor next to mop sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305809 | 310558 | BEEF O'BRADY'S | COTTONS COOKIN INC | 11226 HUTCHISON BLVD , PANAMA CITY BEACH 32407 | 3633946 | 07/25/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. By dry storage room. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305821 | 340103 | SPRINGHILL SUITES PANAMA CITY BEACH BEACHFRONT | PALMETTO HOSPITALITY OF PCB II, LLC | 12513 FRONT BEACH RD , PANAMA CITY BEACH 32407 | 3600940 | 07/30/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Some boilers expired 11-16-23. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Bay | 2010 | Food | 1305822 | 347064 | SPRINGHILL SUITES PANAMA CITY BEACH BEACHFRONT | PALMETTO OF HOSPITALITY OF PCB II LLC | 12513 FRONT BEACH RD , PANAMA CITY BEACH 32407 | 3623873 | 07/30/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Some boiler certificates expired. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Bradford | 2014 | Food | - | 69978 | TASTE GOOD | ERIC CRUGER | 1212 N. TEMPLE AVE , STARKE 32091 | 1327823 | 08/01/2025 | Food-Licensing Inspection | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. During inspection MFDV has exhaust fan with no fire suppression system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506225 | 237671 | PALM SHORES BISTRO | MJM KAPPY INC. | 5060 US HWY 1 , PALM SHORES 32940 | 3612742 | 07/29/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. 6 burners stove not fully cover under hood suppression system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1504747 | 292176 | AD1 VIERA HOTEL LLC | AD1 GLOBAL | 8296 N WICKHAM RD , MELBOURNE 32940 | 3642135 | 07/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 123214 ,123213 1/11/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Brevard | 2010 | Food | 1502386 | 336683 | BURGER KING | ADISER ORLANDO LLC | 1455 N COURTENAY PKWY , MERRITT ISLAND 32953 | 3651402 | 07/28/2025 | Complaint Full | Administrative complaint recommended | 46-04-4 | Exit door locked. For reporting purposes only. Two entrance doors to lobby are locked | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1613419 | 188016 | VUE KITCHEN | DSI SUNRISE LLC | 2670 E SUNRISE BLVD , FORT LAUDERDALE 33304 | 3641574 | 07/30/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. Operator provided Boiler - Field Pressure Vessel Report of Inspection dated 1-30-2025. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1621071 | 188014 | BANQUET KITCHEN | DSI SUNRISE LLC | 2670 E SUNRISE BLVD , FORT LAUDERDALE 33304 | 3595674 | 07/30/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Operator provided Boiler - Field Pressure Vessel Report of Inspection dated 1-30-2025. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1613419 | 188016 | VUE KITCHEN | DSI SUNRISE LLC | 2670 E SUNRISE BLVD , FORT LAUDERDALE 33304 | 3641574 | 07/31/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. Operator provided Boiler - Field Pressure Vessel Report of Inspection dated 1-30-2025. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-07-31: Observed same. **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1617448 | 243425 | LA PARRILLA DE PANCHO | LA ROSCA INC | 628 S SR 7 , MARGATE 33068 | 3608726 | 08/01/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door blocked with ladders. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2102907 | 366118 | SONNY'S PIZZERIA & SPORTS BAR | CHICAGO PIZZA 7740 LLC | 7740 PRESERVE LN #13-14 , NAPLES 34119 | 3628522 | 07/30/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Near back door, observed fire extinguisher missing from designated location | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2102614 | 279932 | PERKINS | PINE RIDGE RESTAURANT, LLC | 3585 GATEWAY LANE , NAPLES 34109 | 3636368 | 07/29/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Two outlets on front line near right hand side door, front wall. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2331727 | 210837 | DOMINO'S PIZZA #3196 | DOMINOS PIZZA | 1485 NE 1 AVE UNIT 102 , FLORIDA CITY 33034 | 3598589 | 07/29/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed exit door blocked with boxes and blue containers. Operator removed boxes and blue containers **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2616492 | 367377 | TIKI JAVA CAFE | TIKI JAVA LLC | 5711 BOWDEN RD STE 5 , JACKSONVILLE 32216 | 3643724 | 07/31/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Operator has personal portable fryer inside restaurant in back dry storage next to right side of fridge area that is used to cooked personal frozen meat empanadas | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2612954 | 247270 | WENDYS OLD FASHIONED HAMSBURGERS #83 | WEN SOUTH LLC | 7211 NORMANDY BLVD , JACKSONVILLE 32205 | 3601349 | 07/30/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher near the front drive thru window. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2614576 | 243405 | LITTLE CAESARS | LAMPSTAND FOODS LLC | 5551 NORMANDY BLVD , JACKSONVILLE 32205 | 3641064 | 07/29/2025 | Routine - Food | Administrative complaint recommended | 46-04-4 | Exit door locked. For reporting purposes only. Back door blocked with wooden board. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2613661 | 327346 | HOMEWOOD SUITES BY HILTON JACKSONVILLE-SOUTH/ST. JOHN'S CENTER | APPLE EIGHT SERVICES JACKSONVILLE, INC. | 10434 MIDTOWN PARKWAY , JACKSONVILLE 32246 | 3643977 | 07/29/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Operator unable to provide boiler certificate during this inspection. Verified active boilers on website **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Hardee | 2010 | Food | 3500230 | 188139 | SONIC DRIVE-IN #5092 | BOYZ N BURGERS LLC | 925 S 6 AVE , WAUCHULA 33873 | 3600830 | 07/30/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hardee | 2010 | Food | 3500269 | 322562 | TACO BELL | LUIHN VANTEDGE PARTNERS LLC | 116 W. REA RD , WAUCHULA 33873 | 3622349 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed fire extinguisher on the floor by the back door, operator put back on wall under the sign. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hardee | 2014 | Food | 3550085 | 60489 | SMOKIN' TENDER-NESS BBQ | SMOKIN' TENDER-NESS BBQ LLC | 103 E MAIN ST , WAUCHULA 33873 | 1319417 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-06-4 | Portable fire extinguisher is inaccessible. For reporting purposes only. Observed fire extinguisher is covered with towel and bags not accessible, operator removed. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800242 | 333609 | PIZZA HUT #4649 | HUT FLORIDA LLC | 2109 US HWY 27 S , SEBRING 33870 | 3630558 | 07/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher in the red in front area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3907242 | 281999 | LITTLE CAESARS 640 | SIZZLING CAESARS LLC | 9852 US HWY 301 S , RIVERVIEW 33578 | 3636840 | 07/31/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back door blocked with trash bag and boxes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3918939 | 342482 | FOUR GREEN FIELDS | DUBLIN PUBS | 802 N 12 ST , TAMPA 33602 | 3639754 | 07/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Mini flat top grill on prep line **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3909694 | 250384 | EL DIAMANTE RESTAURANT | EL DIAMANTE RESTAURANT INC | 4422 N HUBERT AVE , TAMPA 33614 | 3566013 | 07/31/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Callback initiated in last inspection not yet due. - From follow-up inspection 2025-06-18: Callback initiated in last inspection not yet due. **Time Extended** - From follow-up inspection 2025-07-31: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2010 | Food | 4105068 | 350249 | WATERFALL RESTAURANT | GLODEN EGG OF VERO LLC | 2227 14 AVE , VERO BEACH 32960 | 3598375 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Next to hand sink in prep area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4605798 | 354496 | STEAK N SHAKE | TONYS BURGER KINGDOM LLC | 8950 COLONIAL CENTER DR , FORT MYERS 33905 | 3623469 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher outside restroom area gauge in red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607434 | 328496 | BIG8 BBQ | BIG8 BBQ INC | 1217 SE 47 TER , CAPE CORAL 33904 | 3619242 | 07/31/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Observed fryer in back kitchen area. Notified Fire AHJ. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606598 | 333391 | PIZZA HUT 2249 | HUT FLORIDA LLC | 11841 PALM BEACH BLVD STE 116 , FORT MYERS 33905 | 3634779 | 07/30/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed rolling wire rack blocking rear exit. Operator moved away from door. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2014 | Food | 5453294 | 57029 | MARKITOS PIZZERIA | MARKITOS PIZZERIA LLC | 98640 OVERSEAS HWY , KEY LARGO 33037 | 1326459 | 07/31/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okaloosa | 2010 | Food | 5603853 | 329678 | HUB FAMILY RESTAURANT | HUB FAMILY RESTAURANT LLC | 346 W JAMES LEE BLVD , CRESTVIEW 32536 | 3598593 | 07/29/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only: observed accumulation of grease on shelves, wall, and ceiling over small flat top grill that is in operation without the use of a hood suppression system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5809418 | 134124 | SUBWAY SANDWICHES&SALADS #213 | DIPASQUA ENTERPRISES INC | 8839 CONROY RD , ORLANDO 32835 | 3617024 | 07/30/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. -lock bar on rear exit door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812638 | 338334 | K POT | KBBQ ORLANDO LLC | 8594 PALM PARKWAY , ORLANDO 32836 | 3646954 | 07/28/2025 | Complaint Full | Inspection Completed - No Further Action | 47-02-4 | Observed area around electrical outlet exposed in the dining room at the table used for induction hot pot burners . For reporting purposes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815477 | 346257 | TACOS MY GUEY | EL SEGUNDO TACOS INC | 131 N ORANGE AVE STE 103 , ORLANDO 32801 | 3598390 | 07/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By warewashing area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5804439 | 354252 | DOUBLETREE SUITES ORLANDO DISNEY SPRINGS AREA EVERGREEN CAFE | FELCOR TRS HOLDINGS LLC | 2305 HOTEL PLAZA BLVD , ORLANDO 32830 | 3631714 | 08/01/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Checked boiler certificate has expired 2/14/2025 Chef notify engineering at time of inspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5815736 | 360347 | PESTANA ORLANDO SUITES LAKE BUENA VISTA | PESTANA ORLANDO LLC | 11942 RAVALLO RESORT DR , ORLANDO 32836 | 3625838 | 07/28/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Spoke to General Manager inspection completed on 7/22/2025, did not leave a copy of inspection report, will check status with engineering. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5811648 | 355626 | CAYJO | CAYJO LLC | 6601 OLD WINTER GARDEN RD STE 106 , ORLANDO 32835 | 3643545 | 07/28/2025 | Routine - Food | Call Back - Admin. complaint recommended | 48-04-4 | - From initial inspection : Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. -under prep sink and at rear door - From follow-up inspection 2025-07-28: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811648 | 355626 | CAYJO | CAYJO LLC | 6601 OLD WINTER GARDEN RD STE 106 , ORLANDO 32835 | 3643545 | 07/25/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. -under prep sink and at rear door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6023076 | 357396 | PALM HOUSE | LR PALM HOUSE LLC | 160 ROYAL PALM WAY , PALM BEACH 33480 | 3650561 | 07/26/2025 | Complaint Full | Call Back - Admin. complaint recommended | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-07-26: No certificate- in process - repeat | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6023076 | 357396 | PALM HOUSE | LR PALM HOUSE LLC | 160 ROYAL PALM WAY , PALM BEACH 33480 | 3650561 | 07/25/2025 | Complaint Full | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6218702 | 361320 | AUXILARY KITCHEN - BANQUET KITCHEN | TRIPROP CLEARWATER LLC | 400 CORONADO DR , CLEARWATER BEACH 33767 | 3624089 | 07/28/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. New units, no certificate. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6208225 | 291836 | WENDY'S PROPERTIES LLC | WENDY'S PROPERTIES LLC | 8770 ULMERTON RD , LARGO 33771 | 3650085 | 07/28/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone by back exit . Per manager , scheduled service . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217240 | 343452 | DOCKS | JEMB POCONO LLC | 100 CORONADO DR , CLEARWATER 33767 | 3608631 | 07/25/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Fl124576-fl124575-fl124574, fl136693, all exp 1/30/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Polk | 2010 | Food | 6307348 | 308253 | ANTOJITOS NAVIDENOS LLC | ANTOJITOS NAVIDENOS LLC | 635 ROBIN RD , LAKELAND 33803 | 3652365 | 08/01/2025 | Complaint Full | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. In back storage area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6804563 | 147350 | EASTSIDE CAFE | FCCI SERVICES INC | 6300 UNIVERSITY PKWY , SARASOTA 34240 | 3602420 | 07/30/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed their kitchen entrance fire extinguisher in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6806101 | 356770 | BAR ITALIA | NCR VENTURES LAKEWOOD RANCH LLC | 6568 UNIVERSITY PKY , SARASOTA 34240 | 3616996 | 07/30/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed their server station extinguisher in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6806182 | 352099 | TOASTED YOLK CAFE LAKEWOOOD RANCH | TOASTED YOLK CAFE LLC | 6562 UNIVERSITY PKWY STE 150 , SARASOTA 34240 | 3610418 | 07/30/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Observed the side emergency exit door locked. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805748 | 304922 | MELLOW MUSHROOM | SARWOOD INC. | 6727 S TAMIAMI TRL , SARASOTA 34231 | 3591320 | 08/01/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked in the auxiliary dining room. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805733 | 305305 | ART OVATION HOTEL | PALM AVENUE HOSPITALITY HOLDINGS LLC | 1255 N PALM AVE , SARASOTA 34236 | 3593414 | 08/01/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certificate expired. - From follow-up inspection 2025-08-01: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Sarasota | 2010 | Food | 6805831 | 320042 | SOLORZANO LATE NIGHT PIZZA | SOLORZANO LATE NIGHT PIZZA LLC | 6574 SUPERIOR AVE , SARASOTA 34231 | 3604537 | 07/31/2025 | Routine - Food | Administrative complaint recommended | 46-04-4 | Rear exit door locked. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6903647 | 246322 | PARK AVENUE TAKEOUT | CHOI HEE Y | 1203 S PARK AVE , SANFORD 32771 | 3617615 | 07/31/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear kitchen door blocked by pvc pipe, operator removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905472 | 364841 | ALEBRIJES | ALEBRIJES MEXICAN GRILL AND TEQUILA BAR LLC | 1566 S FRENCH AVE , SANFORD 32771 | 3605315 | 07/28/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. -rear exit door next to bathrooms, operator unlocked **Corrected On-Site** **Warning** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905177 | 368165 | BREWLANDO SANFORD | BREWLANDO LLC | 400 S SANFORD AVE , SANFORD 32771 | 3606404 | 07/30/2025 | Routine - Food | Warning Issued | 48-02-5 | Insurance inspector boiler report not posted in boiler room. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Seminole | 2010 | Food | 6905177 | 368165 | BREWLANDO SANFORD | BREWLANDO LLC | 400 S SANFORD AVE , SANFORD 32771 | 3606404 | 07/31/2025 | Routine - Food | Call Back - Extension given, pending | 48-02-5 | - From initial inspection : Insurance inspector boiler report not posted in boiler room. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-07-31: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
St. Lucie | 2010 | Food | 6602881 | 300815 | MALAIKA CARIBBEAN CUISINE AND BAKERY | Y & B CARIBBEAN CUISINE AND BAKERY INC | 658 SW PORT SAINT LUCIE BLVD , PORT ST LUCIE 34953 | 3630427 | 07/28/2025 | Routine - Food | Call Back - Extension given, pending | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. Movable racks blocking door. - From follow-up inspection 2025-07-28: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6602881 | 300815 | MALAIKA CARIBBEAN CUISINE AND BAKERY | Y & B CARIBBEAN CUISINE AND BAKERY INC | 658 SW PORT SAINT LUCIE BLVD , PORT ST LUCIE 34953 | 3630427 | 07/30/2025 | Routine - Food | Call Back - Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. Movable racks blocking door. - From follow-up inspection 2025-07-28: **Time Extended** - From follow-up inspection 2025-07-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406900 | 339336 | MULLIGAN'S GRILLE OF PO | MULLIGANS OF JCW ENTERPRISES LLC | 3830 S NOVA RD STE B1 , PORT ORANGE 32127 | 3644009 | 07/28/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -type k unit on wall inside kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7405440 | 181211 | STARLITE DINER | MUKEP INC | 401 N ATLANTIC AVE , DAYTONA BEACH 32118 | 3621405 | 07/29/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -flat top grill used at end of cook line not under fire suppression. Grill used for cooking house made french toast | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407491 | 327066 | ROCK BOTTOM RESTAURANT & BREWERY | ROCK BOTTOM GROUP LLC | 1864 VICTORY CIRCLE , DAYTONA BEACH 32114 | 3593323 | 07/28/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -bun racks in front of of marked exit in stairway | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407486 | 345159 | BEACH HUT CANTINA | PAPA"S BEACH MART INC | 250 N ATLANTIC AVE STE 206 , DAYTONA BEACH 32118 | 3646961 | 07/28/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -type k unit on wall near fryers | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7402109 | 347095 | OLD SUGAR MILL PANCAKE HOUSE | GUEST SERVICES MANAGEMENT | 601 PONCE DELEON BLVD , DE LEON 32130 | 3652357 | 07/31/2025 | Complaint Full | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -establishment cooking sausage on flat grill in kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406900 | 339336 | MULLIGAN'S GRILLE OF PO | MULLIGANS OF JCW ENTERPRISES LLC | 3830 S NOVA RD STE B1 , PORT ORANGE 32127 | 3644009 | 07/29/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. -type k unit on wall inside kitchen - From follow-up inspection 2025-07-29: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.