## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1103161 | 364829 | DA VINCI PIZZA | ITALY 999 INC | 3275 SW 34 ST , GAINESVILLE 32608 | 3595044 | 08/04/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed : the Fire extinguisher by the back door indicates it is not full. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1101893 | 362850 | BROWNS COUNTRY BUFFET | BROWNS COUNTRY FOODS LLC | 14423 NW US HWY 441 , ALACHUA 32615 | 3604971 | 08/08/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door in special occassion area blocked with rack. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103740 | 354042 | PAMPYS BAKERY | PAMPY'S BAKERY SUPPLY CORP | 3601 SW 2 AVE STE A , GAINESVILLE 32607 | 3642557 | 08/01/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. LP tank stored on floor next to mop sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305579 | 270789 | PANDA EXPRESS #2389 | PANDA RESTAURANT GROUP INC | 15485 PANAMA CITY BEACH PARKWAY , PANAMA CITY BEACH 32413 | 3625109 | 08/07/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit near bathrooms blocked by caution cones, up able to be used, per manager there is a problem with the hinges. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bradford | 2014 | Food | 1450048 | 69978 | TASTE GOOD | ERIC CRUGER | 1212 N. TEMPLE AVE , STARKE 32091 | 1327823 | 08/01/2025 | Food-Licensing Inspection | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. During inspection MFDV has exhaust fan with no fire suppression system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1617448 | 243425 | LA PARRILLA DE PANCHO | LA ROSCA INC | 628 S SR 7 , MARGATE 33068 | 3608726 | 08/01/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door blocked with ladders. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001359 | 362742 | TUNIS | AMK FOOD LLC | 290 BLANDING BLVD , ORANGE PARK 32073 | 3615846 | 08/05/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at drive-through is in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103334 | 292669 | DUNKIN DONUTS | STIRLING DONUTS LLC | 1558 LAKE TRAFFORD RD #7 , IMMOKALEE 34142 | 3594085 | 08/07/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed wiring on the inside of the walk in cooler with exposed transformer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Columbia | 2010 | Food | 2200686 | 280646 | CHICK-FIL-A | MJSEXTON LLC | 3200 US 90 W , LAKE CITY 32055 | 3636939 | 08/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Gauge of fire extinguisher next to back door in red zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337811 | 353432 | YOYOSO WYNWOOD | YOYOSO WYNWOOD LLC | 2800 NW 2 AVE , MIAMI 33127 | 3645759 | 08/04/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2326466 | 365578 | LA CUBANITA PIZZERIA RESTAURANT | LA CUBANITA PIZZERIA RESTAURANT LLC | 11300 NW 87 CT STE 135-136 , HIALEAH GARDENS 33018 | 3638138 | 08/05/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Observed 2 plastic buckets and a mop stored in front of the exit door blocking the exit. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337180 | 369517 | LA LLORONA | LA LLORONAMIA LLC | 9420 NW 41 ST UNIT 112 , DORAL 33178 | 3638459 | 08/08/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 gas boilers with 650,000 BTUs next to ice machines / SN #1 2145126818071 and SN #2 Not visible **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2337811 | 353432 | YOYOSO WYNWOOD | YOYOSO WYNWOOD LLC | 2800 NW 2 AVE , MIAMI 33127 | 3645759 | 08/04/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed several small propane tanks stored next to butane fuel at the kitchen prep table. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2332984 | 367724 | POOL AND BEACH CLUB | SHELBORNE HOTEL PARTNERS WC LP | 1801 COLLINS AVE , MIAMI BEACH 33139 | 3652815 | 08/04/2025 | Complaint Full | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2322989 | 227795 | TACO BELL #25742 | SOUTH BEACH QSR LLC | 3190 CORAL WAY , MIAMI 33145 | 3597093 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed the back door blocked by a wheeled garbage can with cardboard boxes on top. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2333923 | 353452 | MARCOS PIZZA | EKM FOOD SERVICES LLC | 14615 SW 56 ST , MIAMI 33175 | 3608407 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337174 | 367499 | CHICK N JONES | LUV LIFESTYLE ENTERPRISES LLC | 9420 NW 41 ST UNIT 101 , DORAL 33178 | 3611325 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 gas boilers with 650,000 BTUs next to ice machines / SN #1 2145126818071 and SN #2 Not visible. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2014 | Food | 2652935 | 70069 | AKHS HALAL GRILL | ANTOINE DREW | 5960 RICHARDS ST , JACKSONVILLE 32216 | 1327952 | 08/08/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Grey fire extinguisher in the red | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615220 | 285996 | WICKED BARLEY BREWING CO | WICKED BARLEY CO | 4100 BAYMEADOWS RD , JACKSONVILLE 32217 | 3639061 | 08/05/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Per website certification expired (4/6/23) **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2614931 | 265836 | SAFE HARBOR RESTAURANT | MARINA RESTAURANT INC | 4378 OCEAN ST #3 , ATLANTIC BEACH 32233 | 3620755 | 08/05/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed LP tanks stored in establishment. Manager will find a place outside to store tanks. **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2616210 | 349415 | DOUGHFEE LLC | DOUGHFEE LLC | 3928 BAYMEADOW RD STE 4 , JACKSONVILLE 32217 | 3630705 | 08/04/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small fryer on rear prep area. Suggested to operator to move fryer to under existing hood. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2014 | Food | 3954048 | 63470 | CENTRAL CAFE | CENTRAL GOURMET FOOD LLC | 308 E ZACK ST , TAMPA 33602 | 1322785 | 08/05/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. table top electric grill **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3906144 | 347466 | MARY'S CAFE II | SUNSHINY LLC | 3030 ROCKY POINT DR STE 175 , TAMPA 33607 | 3622736 | 08/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Conventional stove, counter top griddle, fryer and press grill in kitchen with no hood ventilation and suppression system. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4509097 | 359313 | DON CEVICHE PERU AND MEXICO | DON CEVICHE PERU / MEXICO LLC | 102 HWY 27 , MINNEOLA 34715 | 3627909 | 08/06/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -wok on right side of hood | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4508684 | 333072 | CULVERS | FINLEY SHAD | 1431 JOHN LAKE RD , CLERMONT 34711 | 3598177 | 08/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back door blocked with trash. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607542 | 366489 | STUFF-A-BAGEL | MJW BAGELS LLC | 12541 METRO PKWY, STE 5 , FT MYERS 33966 | 3622226 | 08/07/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed cook preparing raw bacon on a flat top grill in prep kitchen no hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4602427 | 322200 | WENDY'S | QFRM 5, LLC | 15300 MCGREGOR BLVD , FORT MYERS 33908 | 3651858 | 08/04/2025 | Complaint Partial | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. Observed electrical wiring in disrepair. Observed electrical outlet hanging from wires next to reach in freezer near ice machine and outside behind back kitchen exit door. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606600 | 355173 | DOMINO'S PIZZA # 8626 | ALL UPPER MANAGEMENT LLC | 10654 COLONIAL BLVD # 1 , FORT MYERS 33913 | 3593581 | 08/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Two door marked either to left of entrance blocked by soda reach-in cooler and locked, immediately next to second clear marked exit single door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4604729 | 217340 | BOULEVARD DELI AND TAVERN | RNJ ENTERPRISES LIMITED INC | 12220 TOWNE LAKE DR STE 10 , FORT MYERS 33913 | 3634587 | 08/07/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Cook line left side next to door to bar. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607542 | 366489 | STUFF-A-BAGEL | MJW BAGELS LLC | 12541 METRO PKWY, STE 5 , FT MYERS 33966 | 3622226 | 08/08/2025 | Routine - Food | Call Back - Extension given, pending | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed cook preparing raw bacon on a flat top grill in prep kitchen no hood system. - From follow-up inspection 2025-08-08: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Levy | 2010 | Food | 4800638 | 358474 | SPRINKLES ICE CREAM SHOP | RICHARDS, LORI & CARROLL, VICTOR | 26 ST HWY 40 E , INGLIS 34449 | 3637114 | 08/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank stored in back of kitchen, near three-compartment sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105326 | 323493 | SUBWAY SANDWICH SHOP FRANCHISE 4170 | 4 WRIGHTS LLC | 7461 MANATEE AVE W , BRADENTON 34210 | 3634202 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed exit door locked. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202701 | 224506 | ARBY'S #8298 | LEHMAN FAMILY PROPERTIES LLC | 2150 NE 49 CT RD , OCALA 34470 | 3647402 | 08/06/2025 | Complaint Full | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Fryers hood vent/fan not working at inspection time, area around fryers with smoke. Per manager, part ordered. **Warning** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202701 | 224506 | ARBY'S #8298 | LEHMAN FAMILY PROPERTIES LLC | 2150 NE 49 CT RD , OCALA 34470 | 3647402 | 08/07/2025 | Complaint Full | Call Back - Extension given, pending | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Fryers hood vent/fan not working at inspection time, area around fryers with smoke. Per manager, part ordered. **Warning** - From follow-up inspection 2025-08-07: Parts ordered. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811101 | 217575 | CHIPOTLE MEXICAN GRILL #457 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 11680 UNIVERSITY BLVD , ORLANDO 32817 | 3651455 | 08/06/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Garbage cans blocking exit pathway . **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5808589 | 244566 | MCDONALDS #17998 | LUVEL FOODS INC | 12300 LAKE UNDERHILL RD , ORLANDO 32828 | 3653998 | 08/06/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked with a big trash can . **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812333 | 268470 | SAUDIE'S RESTAURANT | PERALTE SAUDETTE | 6249 OLD WINTER GARDEN RD , ORLANDO 32835 | 3615768 | 08/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -kitchen extinguisher next to exit door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811356 | 240100 | BORDER GRILL FRESH-MEX | BORDER GRILL FRESH-MEX INC | 5695 WEST VINELAND RD STE A , ORLANDO 32819 | 3620408 | 08/05/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Mop bucket in front of back door by bathrooms **Corrected On-Site** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812333 | 268470 | SAUDIE'S RESTAURANT | PERALTE SAUDETTE | 6249 OLD WINTER GARDEN RD , ORLANDO 32835 | 3615768 | 08/05/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -kitchen exit door blocked by trash bin | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5808397 | 340258 | MCDONALD'S #20239 | J QUINT LLC | 1411 S HIAWASSEE RD , ORLANDO 32835 | 3603802 | 08/04/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -exit door in kitchen blocked by trash hopper -hopper movies outdoors **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5809672 | 352145 | MARBLE SLAB CREAMERY | AUM SRI INC | 415 N ALAFAYA TRAIL , ORLANDO 32828 | 3622448 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Boxes stored at the exit door . | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814845 | 355044 | BON APPETIT GRILL 3 | BON APPETIT GRILL 3 INC | 5787 EDGEWATER DR , ORLANDO 32810 | 3591937 | 08/07/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. 3 exits in dining block by closed curtains and locked doors **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815675 | 352711 | DRURY PLAZA HOTEL-ORLANDO/LBV - 1ST FLOOR AMENITY DINING | DRURY PLAZA HOTEL ORLANDO LAKE BUENA VISTA LLLP | 2000 HOTEL PLAZA BLVD , LAKE BUENA VISTA 32830 | 3635747 | 08/04/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed extension cord used for washer in the bar area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5804439 | 354252 | DOUBLETREE SUITES ORLANDO DISNEY SPRINGS AREA EVERGREEN CAFE | FELCOR TRS HOLDINGS LLC | 2305 HOTEL PLAZA BLVD , ORLANDO 32830 | 3631714 | 08/01/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Checked boiler certificate has expired 2/14/2025 Chef notify engineering at time of inspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5815675 | 352711 | DRURY PLAZA HOTEL-ORLANDO/LBV - 1ST FLOOR AMENITY DINING | DRURY PLAZA HOTEL ORLANDO LAKE BUENA VISTA LLLP | 2000 HOTEL PLAZA BLVD , LAKE BUENA VISTA 32830 | 3635747 | 08/04/2025 | Routine - Food | Inspection Completed - No Further Action | 48-02-5 | Insurance inspector boiler report not posted in boiler room. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5807594 | 276162 | LECHONERA LATINA 3 | LECHONERA LATINA 3 INC | 3806 CURRY FORD RD , ORLANDO 32806 | 3643456 | 08/06/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Flat top griddle at front counter. Grease on wall over griddle | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5906835 | 214208 | CELEBRATION GOLF COMPANY LLC | CELEBRATION GOLF COMPANY LLC | 701 GOLF PARK DR , CELEBRATION 34747 | 3642158 | 08/08/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6021230 | 306512 | MAYA FLAVORS OF INDIA BOCA | MAYA INDIAN RESTAURANT LLC | 21200 ST. ANDREWS BLVD # 2 , BOCA RATON 33433 | 3621446 | 08/06/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked by catering equipment. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6023018 | 356432 | CHIPOTLE MEXICAN GRILL | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 11929 SOUTHERN BLVD , ROYAL PALM BEACH 33411 | 3653580 | 08/06/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door blocked by trash - operator removed. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6022634 | 366785 | MARASH MEDITERRANEAN | CAPTAIN ATAKAN CORP | 430 E LINTON BLVD STE 904 , DELRAY BEACH 33483 | 3628123 | 08/04/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. No exit door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pasco | 2010 | Food | 6113577 | 370631 | FRANKS RESTAURANT | PASSCO FOODS INC | 15925 US HWY 19 N , HUDSON 34667 | 3589446 | 08/06/2025 | Food-Licensing Inspection | Warning Issued | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. The outlet is burnt marks on the left side of the fryer basket station. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6216184 | 253002 | TATE ISLAND GRILL | SANDPEARL RESORT LLC | 500 MANDALAY AVE , CLEARWATER BEACH 33767 | 3637915 | 08/05/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate expired for boiler. For reporting purposes only. FL139654,098759,136232,136231 all expire 3/8/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6217762 | 331398 | PHOLICIOUS | NP TWO SEMINOLE ENTERPRISE | 7839 113 ST STE D , SEMINOLE 33772 | 3599775 | 08/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Pot of oil on induction burner, used for frying spring rolls, with no hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6218702 | 361320 | AUXILARY KITCHEN - BANQUET KITCHEN | TRIPROP CLEARWATER LLC | 400 CORONADO DR , CLEARWATER BEACH 33767 | 3624089 | 08/05/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. New units, no certificate. **Repeat Violation** - From follow-up inspection 2025-08-05: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Polk | 2010 | Food | 6307348 | 308253 | ANTOJITOS NAVIDENOS LLC | ANTOJITOS NAVIDENOS LLC | 635 ROBIN RD , LAKELAND 33803 | 3652365 | 08/01/2025 | Complaint Full | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. In back storage area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805748 | 304922 | MELLOW MUSHROOM | SARWOOD INC. | 6727 S TAMIAMI TRL , SARASOTA 34231 | 3591320 | 08/01/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked in the auxiliary dining room. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6804399 | 249888 | KACEY'S SEAFOOD & MORE | DOGS N HIDEF INC | 4904 FRUITVILLE RD , SARASOTA 34232 | 3640285 | 08/04/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed their fire exit door locked. Operator unlocked it. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805733 | 305305 | ART OVATION HOTEL | PALM AVENUE HOSPITALITY HOLDINGS LLC | 1255 N PALM AVE , SARASOTA 34236 | 3593414 | 08/01/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certificate expired. - From follow-up inspection 2025-08-01: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Seminole | 2010 | Food | 6904951 | 291105 | DON JULIO MEXICAN KITCHEN AND TEQUILA BAR | IIA ENTERPRISES LLC | 4275 W LAKE MARY BLVD , LAKE MARY 32746 | 3654331 | 08/07/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear exit door blocked by large round trash can, employee relocated **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905617 | 355623 | ROCKBREW SANFORD | VINO AMOR VELA LLC | 214 SANFORD AVE , SANFORD 32771 | 3630570 | 08/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. -rear kitchen door, operator unlocked **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2010 | Food | 6502365 | 327773 | FORD'S GARAGE | FORD'S GARAGE ST AUGUSTINE LLC | 550 OUTLET MALL BLVD , SAINT AUGUSTINE 32084 | 3598154 | 08/06/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed trash cart blocking rear exit door labeled emergency exit. Person in charge removed the cart from blocking the exit. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6605282 | 366509 | MACHU PICCHU PERUVIAN CUISINE | MACHU PICCHU PERUVIAN CUISINE LLC | 1742 SE PORT ST LUCIE BLVD , PORT ST LUCIE 34952 | 3615390 | 08/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Portable two burner stove being used in kitchen no hood. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6600098 | 325255 | DALE'S BAR B Q | SPARKS AND SPARKS LLC | 3362 S US 1 , FORT PIERCE 34982 | 3638064 | 08/06/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Hanging from lights in back storage area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6605282 | 366509 | MACHU PICCHU PERUVIAN CUISINE | MACHU PICCHU PERUVIAN CUISINE LLC | 1742 SE PORT ST LUCIE BLVD , PORT ST LUCIE 34952 | 3615390 | 08/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank in kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2010 | Food | 6603152 | 363401 | FLAVORS CUISINE & LOUNGE BAR | FLAVORS CUISINE & LOUNGE BAR | 686 SW BAYSHORE BLVD , PORT ST LUCIE 34983 | 3594723 | 08/06/2025 | Routine - Food | Call Back - Extension given, pending | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke not under hood suppression system. Notified Fire AHJ. For reporting purposes only. - From follow-up inspection 2025-07-24: **Time Extended** - From follow-up inspection 2025-08-06: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407819 | 338976 | FORD'S GARAGE | FORD'S GARAGE DAYTONA LLC | 1495 CORNERSTONE BLVD , DAYTONA BEACH 32117 | 3616002 | 08/06/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -small fry on table ,used to cooked funnel fries | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7408008 | 366147 | LA ALDEA BAKERY | ASOCIACION PAN LLC | 700 RIDGEWOOD AVE UNIT 104 , DAYTONA BEACH 32117 | 3604618 | 08/05/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -table top fryer | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407497 | 326411 | JACKIES JAMAICA POT | JACKIES JAMAICA POT | 996 DERBYSHIRE RD , DAYTONA BEACH 32117 | 3626418 | 08/04/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -table top fryer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7408008 | 366147 | LA ALDEA BAKERY | ASOCIACION PAN LLC | 700 RIDGEWOOD AVE UNIT 104 , DAYTONA BEACH 32117 | 3604618 | 08/06/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -table top fryer - From follow-up inspection 2025-08-06: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.