## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1102941 | 362057 | ESPERANZA | LE GREEN CHILI, INC | 2441 NW 43 ST STE 13 , GAINESVILLE 32606 | 3643033 | 08/12/2025 | Routine - Food | Emergency order recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door blocked with cart. Manager removed cart. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103015 | 356085 | CHINA 88 FOOD INC | CHINA 88 FOOD INC | 4217 NW 16 BLVD , GAINESVILLE 32605 | 3595127 | 08/12/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher by back door in the recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1101893 | 362850 | BROWNS COUNTRY BUFFET | BROWNS COUNTRY FOODS LLC | 14423 NW US HWY 441 , ALACHUA 32615 | 3604971 | 08/08/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door in special occassion area blocked with rack. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2014 | Food | 1551034 | 63922 | MISS LOLAS | MISS LOLAS LLC | 5800 STADIUM PKWY , MELBOURNE 32940 | 1317791 | 08/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. 1 small red fire extinguisher gauge is in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506215 | 235069 | LOCAL KITCHEN & TAP | TITUSVILLE LODGING ASSOCIATES LLP | 4715 HELEN HAUSER BLVD , TITUSVILLE 32780 | 3612959 | 08/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 139547 139546 both expired 4/6/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1618239 | 362228 | CAFE BVR & CATERING | LBTS EATS LLC | 4404 BOUGAINVILLA DR , LAUDERDALE-BY-THE-SE 33308 | 3605762 | 08/14/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher next to kitchen exit door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1607220 | 308032 | STERLING EVENT HALL | 4900 POWERLINE LLC | 4900 POWERLINE RD , OAKLAND PARK 33309 | 3612413 | 08/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Charlotte | 2010 | Food | 1801686 | 195749 | PANERA BREAD 1029 | PANERA LLC | 1808 TAMIAMI TRL #C , PORT CHARLOTTE 33948 | 3623955 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed boxes on floor blocking back exit door. Observed employee picking boxes up off the floor, clearing a path. **Corrected On-Site** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103872 | 362436 | CARIBBEAN GRILL & BAKERY | CARIBBEAN GRILL & BAKERY LLC | 3847 TAMIAMI TRL E , NAPLES 34112 | 3612729 | 08/13/2025 | Routine - Food | Call Back - Admin. complaint recommended | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. There is a deep dryer set up behind the deck oven without a hood system. - From follow-up inspection 2025-08-13: There are deep fryers in use with no hood or fire suppression system on a table behind the deck oven. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103872 | 362436 | CARIBBEAN GRILL & BAKERY | CARIBBEAN GRILL & BAKERY LLC | 3847 TAMIAMI TRL E , NAPLES 34112 | 3612729 | 08/13/2025 | Routine - Food | Call Back - Admin. complaint recommended | 45-05-4 | - From initial inspection : Portable fire extinguisher missing from its designated location. For reporting purposes only. The fire extinguisher that is supposed to by by the back door is under the table with the deep fryer behind the deck oven. - From follow-up inspection 2025-08-13: The fire extinguisher that is supposed to be located by the back door is laying on the floor behind the deck oven. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103872 | 362436 | CARIBBEAN GRILL & BAKERY | CARIBBEAN GRILL & BAKERY LLC | 3847 TAMIAMI TRL E , NAPLES 34112 | 3612729 | 08/12/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. There is a deep dryer set up behind the deck oven without a hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103872 | 362436 | CARIBBEAN GRILL & BAKERY | CARIBBEAN GRILL & BAKERY LLC | 3847 TAMIAMI TRL E , NAPLES 34112 | 3612729 | 08/12/2025 | Routine - Food | Administrative complaint recommended | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. The fire extinguisher that is supposed to by by the back door is under the table with the deep fryer behind the deck oven. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337180 | 369517 | LA LLORONA | LA LLORONAMIA LLC | 9420 NW 41 ST UNIT 112 , DORAL 33178 | 3638459 | 08/08/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 gas boilers with 650,000 BTUs next to ice machines / SN #1 2145126818071 and SN #2 Not visible **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328033 | 352421 | EMPIRE PIZZA | EMPIRE PIZZA DOWNTOWN, CORP | 192 SE 1 AVE , MIAMI 33131 | 3602656 | 08/11/2025 | Routine - Food | Warning Issued | 51-04-4 | No child labor law poster. For reporting purposes only. | Reporting: Proof of age; posting of notices. (1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Dade | 2010 | Food | 2338327 | 360473 | CAVA-HIALEAH | CAVA MEZZE GRILL LLC | 3645-5 WEST 84 ST UNIT 5 , HIALEAH 33018 | 3656380 | 08/13/2025 | Complaint Full | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed exit door blocked with box. Manager removed box. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2334487 | 287795 | SUBWAY 58064 | HNS PARTNERS 58064 LLC | 847 WASHINGTON AVE , MIAMI BEACH 33139 | 3636986 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed gauge in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328909 | 226176 | MANOLO'S COIN LAUNDRY & COFFE SHOP | MARQUINA'S COIN LAUNDRY INC | 11480 SW QUAIL ROOST DRIVE , MIAMI 33157 | 3594988 | 08/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed operator using oil fryer and also a portable stove with no hood suppression system installed. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2333511 | 306526 | LA CREPE BISTRO | AMMA VSJ LLC | 7340 SW 57 AVE , SOUTH MIAMI 33143 | 3591273 | 08/13/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed establishment cooking with electric skillet in back of restaurant. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328810 | 215972 | LA GRANJA POLLOS A LA BRASA | FAST GRILL ENTERPRISES, INC | 13822 SW 56 ST , MIAMI 33175 | 3633459 | 08/12/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed a large plastic garbage container stored in front of the exit door located at dry storage area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2322989 | 227795 | TACO BELL #25742 | SOUTH BEACH QSR LLC | 3190 CORAL WAY , MIAMI 33145 | 3597093 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed the back door blocked by a wheeled garbage can with cardboard boxes on top. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2333923 | 353452 | MARCOS PIZZA | EKM FOOD SERVICES LLC | 14615 SW 56 ST , MIAMI 33175 | 3608407 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328085 | 115183 | IHC EMPLOYEES CAFETERIA | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 3616694 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Boiler # 142919 # 021243 and not current boiler certificate available, as per chief engineer due to a delay with the state. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328086 | 115184 | BLUE MATISSE RESTAURANT | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 3625848 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Boiler # 142919 # 021243 and not current boiler certificate available, as per chief engineer due to a delay with the state. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328087 | 115185 | IHC BALLROOM & MEETING ROOMS | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 3608330 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Boiler # 142919 # 021243 and not current boiler certificate available, as per chief engineer due to a delay with the state. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2333367 | 321584 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 3626414 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2331579 | 355999 | HAMPTON INN MIAMI - AIRPORT WEST | VISTA MYRTLE BEACH HOTEL LP | 3620 NW 79 AVE , DORAL 33166 | 3609389 | 08/13/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Boiler Jurisdiction 055306, 1/5/2025. EXPIRED. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334739 | 365325 | GATES HOTEL SOUTH BEACH | DEAN MB PROPCO LLC | 2360 COLLINS AVE , MIAMI BEACH 33139 | 3630329 | 08/11/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Laundry room 138177, expired on 09-06-2024, In 501-1134 and IN 501-1145 newly installed. 499,999 BTU's water temperature 210&deg;F. Expired on 09-06-2024. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2337174 | 367499 | CHICK N JONES | LUV LIFESTYLE ENTERPRISES LLC | 9420 NW 41 ST UNIT 101 , DORAL 33178 | 3611325 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 gas boilers with 650,000 BTUs next to ice machines / SN #1 2145126818071 and SN #2 Not visible. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2333367 | 321584 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 3626414 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-02-5 | Insurance inspector boiler report not posted in boiler room. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2615260 | 303151 | AKELS DELI | JM FOOD SERVICES OF FLORIDA INC | 50 N LAURA ST STE #125 , JACKSONVILLE 32202 | 3620012 | 08/14/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Cooking eggs **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2613645 | 369682 | ZAMZAM RESTAURANT AND GROCERY HALAL | BOSNIAN ORIENTAL FOOD LLC | 8083 OLD KINGS RD S 2 , JACKSONVILLE 32217 | 3623494 | 08/13/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Large LP tank in rear kitchen. Moved by manager. **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2014 | Food | 2652935 | 70069 | AKHS HALAL GRILL | ANTOINE DREW | 5960 RICHARDS ST , JACKSONVILLE 32216 | 1327952 | 08/08/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Grey fire extinguisher in the red | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2614042 | 315657 | BRICK COFFEE HOUSE | THAKKAR CHIRAG AND DAVE ANVI | 214 N HOGAN ST , JACKSONVILLE 32202 | 3642923 | 08/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Cooking veggies with margarine | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2612378 | 351646 | BONO'S BAR-B-Q | 2ND PIT, LLC | 10645 PHILIPS HWY , JACKSONVILLE 32256 | 3625654 | 08/11/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed 20lb lp tank used to start smoker at front line. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2607565 | 116450 | DESERT RIDER SANDWICH SHOP | HAZOURI RICHARD L | 217 HOGAN ST , JACKSONVILLE 24201 | 3592612 | 08/12/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Cooking eggs with margarine on one burner | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615917 | 362264 | TOON TOWN PICKLEBALL | TOON TOWN PICKLEBALL LLC | 1726 E CHURCH ST #101-104 , JACKSONVILLE 32202 | 3605907 | 08/13/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Cooking wings in little fryer | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2010 | Food | 3600495 | 337536 | BEEF O BRADY'S | SP3 UNITED LLC | 892 W SUGARLAND HWY UNIT 9 , CLEWISTON 33440 | 3620161 | 08/13/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only in hallway by customer bathrooms. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | - | 370922 | PERUFRESH RESTAURANT & MARKET | PERUFRESH INC | 207 CIRCLE PARK DR , SEBRING 33870 | 3656866 | 08/14/2025 | Routine - Food | Warning Issued | 47-03-4 | Observed: Observed electrical wiring in disrepair. For reporting purposes only. Electrical wiring exposed in kitchen under hood area above water on floor. Priority: Reporting | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | - | 370922 | PERUFRESH RESTAURANT & MARKET | PERUFRESH INC | 207 CIRCLE PARK DR , SEBRING 33870 | 3656866 | 08/15/2025 | Routine - Food | Emergency Order Callback Time Extension | 47-03-4 | - From initial inspection : Observed: Observed electrical wiring in disrepair. For reporting purposes only. Electrical wiring exposed in kitchen under hood area above water on floor. Priority: Reporting - From follow-up inspection 2025-08-15: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3917282 | 337886 | LOLIS MEXICAN CRAVINGS | LOLIS 5 LLC | 1824 N WESTSHORE BLVD , TAMPA 33607 | 3616993 | 08/11/2025 | Routine - Food | Warning Issued | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Electrical outlet disrepair on wall at cook line. Electrical outlet cover missing by handwash sink at three-compartments sink area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2014 | Food | 3954048 | 63470 | CENTRAL CAFE | CENTRAL GOURMET FOOD LLC | 308 E ZACK ST , TAMPA 33602 | 1322785 | 08/11/2025 | Routine - Food | Call Back - Extension given, pending | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. table top electric grill **Repeat Violation** - From follow-up inspection 2025-08-11: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3917282 | 337886 | LOLIS MEXICAN CRAVINGS | LOLIS 5 LLC | 1824 N WESTSHORE BLVD , TAMPA 33607 | 3616993 | 08/12/2025 | Routine - Food | Call Back - Extension given, pending | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Electrical outlet disrepair on wall at cook line. Electrical outlet cover missing by handwash sink at three-compartments sink area. - From follow-up inspection 2025-08-12: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2014 | Food | 3954048 | 63470 | CENTRAL CAFE | CENTRAL GOURMET FOOD LLC | 308 E ZACK ST , TAMPA 33602 | 1322785 | 08/12/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. table top electric grill **Repeat Violation** - From follow-up inspection 2025-08-11: **Time Extended** - From follow-up inspection 2025-08-12: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607542 | 366489 | STUFF-A-BAGEL | MJW BAGELS LLC | 12541 METRO PKWY, STE 5 , FT MYERS 33966 | 3622226 | 08/08/2025 | Routine - Food | Call Back - Extension given, pending | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed cook preparing raw bacon on a flat top grill in prep kitchen no hood system. - From follow-up inspection 2025-08-08: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5100210 | 127636 | SARA BAY COUNTRY CLUB INC | SARA BAY COUNTRY CLUB INC | 7011 WILLOW ST , SARASOTA 31099 | 3609713 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed 2 fire extinguishers stored on the floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105142 | 349837 | DANNY'S PIZZERIA | JUDAKA LLC | 7220 MANATEE AVE W , BRADENTON 34209 | 3601879 | 08/12/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed double door exit doors blocked by fans. Operator moved fans. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105326 | 323493 | SUBWAY SANDWICH SHOP FRANCHISE 4170 | 4 WRIGHTS LLC | 7461 MANATEE AVE W , BRADENTON 34210 | 3634202 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed exit door locked. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2014 | Food | 5150738 | 62466 | BROOKLYN J'S DOWNTOWN EATZ | BROOKLYN J'S DOWNTOWN EATZ | 14710 FL HWY 64 , MYAKKA CITY 34212 | 1319893 | 08/12/2025 | Routine - Food | Administrative complaint recommended | 45-01-4 | No portable fire extinguisher present. For reporting purposes only. Observed no fire extinguisher on site. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5813555 | 364106 | ZEN DUMPLING | ZD WATERFORD INC | 423 N ALAFAYA TRL , ORLANDO 32828 | 3609467 | 08/15/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked with trash can and a lot of boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5810526 | 319003 | WELLBORN HOTEL | WELLBORN ORLANDO LLC | 211 N LUCERNE CIRCLE EAST , ORLANDO 32801 | 3594905 | 08/14/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. In bakery kitchen. Operator immediately removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814878 | 322949 | JACK AND JACKIE'S WINGZ THINGZ | JACK AND JACKIE'S WINGZ THINGZ & BBQ INC | 692 W ROBINSON ST , ORLANDO 32801 | 3640621 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Operator has a set of fryers outside the hood system. Advised to remove or place under hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5809672 | 352145 | MARBLE SLAB CREAMERY | AUM SRI INC | 415 N ALAFAYA TRAIL , ORLANDO 32828 | 3622448 | 08/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Boxes stored at the exit door . | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5809577 | 256069 | CHINA GARDEN | QING B LLC | 8833 CONROY WINDERMERE RD , ORLANDO 32835 | 3634074 | 08/13/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. -rear exit door is unable to be opened using crash bar, door is opened using knife to release latch | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5906835 | 214208 | CELEBRATION GOLF COMPANY LLC | CELEBRATION GOLF COMPANY LLC | 701 GOLF PARK DR , CELEBRATION 34747 | 3642158 | 08/08/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5911554 | 301957 | WENDY'S # 11932 | WENDY'S | 3271 VINELAND RD , KISSIMMEE 34746 | 3620656 | 08/14/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Trash a blocking back exit door. Operator moved. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6021380 | 280978 | RESIDENCE INN BY MARRIOTT WEST PALM BEACH DOWNTOWN | HIBISCUS VENTURES LLC | 455 HIBISCUS ST , WEST PALM BEACH 33401 | 3612202 | 08/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6217843 | 359384 | OSTERIA BRICCO | ERTO CULINARY LLC | 7839F 113 ST STE F , SEMINOLE 33772 | 3589679 | 08/12/2025 | Complaint Full | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 15lb propane tanks on floor under pizza oven in kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6215429 | 143554 | TIJUANA FLATS BURRITO COMPANY | TIJUANA FLATS #112 LLC | 944 N 4 ST , ST PETERSBURG 33701 | 3656388 | 08/14/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher near back door of kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6213800 | 172504 | CERTEGY CAFE | COMPASS GROUP USA INC | 11601 ROOSEVELT BLVD , ST. PETERSBURG 33716 | 3637948 | 08/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Per tag on boiler Max water temp 240 500,000 BTU Max pressure 160 Spoke with maintenance Tony no inspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6216178 | 253000 | CARETTA ON THE GULF | SANDPEARL RESORT LLC | 500 MANDALAY AVE , CLEARWATER BEACH 33767 | 3613936 | 08/13/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | Expired boiler report or boiler certificate available for boiler. For reporting purposes only. FL139654,098759,136232,136231 all expire 3/8/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6216184 | 253002 | TATE ISLAND GRILL | SANDPEARL RESORT LLC | 500 MANDALAY AVE , CLEARWATER BEACH 33767 | 3637915 | 08/13/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate expired for boiler. For reporting purposes only. FL139654,098759,136232,136231 all expire 3/8/2025 - From follow-up inspection 2025-08-13: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Polk | 2014 | Food | 6350577 | 59534 | COCINA TACOS SAN MARCOS | COCINA TACOS SAN MARCOS | 3479Q HAVENDALE BLVD , WINTER HAVEN 33881 | 1318750 | 08/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Informed operator to move fryer under hood. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805810 | 317120 | SKILLETS | GOODBREAKFASTS, LLC | 4115 TAMIAMI TRAIL SOUTH , VENICE 34293 | 3614424 | 08/14/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Observed side exit in dinning room end of counter lock. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805232 | 365459 | SAMBA BRAZILIAN STEAKHOUSE | ARAUJO ELLEN | 6115-6119 S TAMIAMI TRL , SARASOTA 34231 | 3602476 | 08/11/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Observed 2 dining room exit doors locked. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805923 | 329486 | GOLDEN HOST RESORT & BAHI HUT | SHG 4675 LLC | 4675 N TAMIAMI TRL , SARASOTA 34234 | 3629278 | 08/11/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed a propane tank stored in their storage area. Operator placed it outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6802451 | 146624 | MCDONALD'S CORP | MCDONALD'S CORP | 3901 CATTLEMEN RD , SARASOTA 35001 | 3597097 | 08/11/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed bread rack on wheels stacked in front of rear exit door. Manager relocated. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6806149 | 362251 | MERCI CAFE | MERCI CAFE LLC | 6112 S TAMIAMI TRL , SARASOTA 34231 | 3607500 | 08/11/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed the side exit in the dining room locked with a chain and padlock. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905489 | 337615 | PAPA JOHN'S PIZZA # 5171 | PAPA JOHNS USA INC | 5645 W SR 46 STE 1039 , SANFORD 32771 | 3624432 | 08/11/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear exit door blocked by security bar, operator removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407395 | 371880 | LEEFAYES CATERING | LEEFAYES CATERING | 777 DELTONA BLVD STE 8 , DELTONA 32725 | 3655935 | 08/13/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. -rear exit door locked, operator unlocked **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7402759 | 296162 | CAFE ONE | CAFE ONE LLC | 403 US 1 N , ORMOND BEACH 32174 | 3630569 | 08/14/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Boxes stacked in front of back exit door. For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7402525 | 148948 | POPEYES LOUISIANA KITCHEN #125 | SAILORMEN INC | 101 N RIDGEWOOD AVE , DAYTONA BCH 43241 | 3645841 | 08/14/2025 | Complaint Full | Call Back - Complied | 47-02-4 | - From initial inspection : Exit light at rear door handing by wires. For reporting purposes only. - From follow-up inspection 2025-07-15: **Time Extended** - From follow-up inspection 2025-08-14: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.