## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1103322 | 285095 | PUBLIC & GENERAL | ATWATER SEAN | 1000 NE 16 AVE BLDG H , GAINESVILLE 32601 | 3621258 | 08/20/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in the recharge zone located by patio door/office. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305778 | 367117 | COLOMBIAN GRILL HOUSE | COLOMBIAN GRILL HOUSE ,LLC | 207 S ARNOLDRD UNIT B , PANAMA CITY 32413 | 3634906 | 08/21/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. K class in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1608746 | 371923 | KINGDOM SUSHI | KINGDOM SUSHI FORT LAUDERDALE LLC | 1239 S FEDERAL HWY , FORT LAUDERDALE 33316 | 3656345 | 08/22/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher gauge in red recharge zone, next to sushi bar. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1623272 | 319704 | SOFI'S CAFE | PACANI ANA | 200 E BROWARD BLVD SE 110 , FORT LAUDERDALE 33301 | 3636935 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Flat top grill in use in kitchen. No hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625519 | 342188 | JARDIN | JARDIN HAITIAN CUISINE LLC | 667 S DIXIE HWY W STE 3 , POMPANO BEACH 33060 | 3621852 | 08/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. By back door, three propane tanks stored on shelf and by back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2322855 | 292903 | FRITANGA LA GATA | FRITANGA LA GATA CORP | 2175 SW 1 ST , MIAMI 33135 | 3658141 | 08/19/2025 | Complaint Full | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. By the restrooms: child chairs and pressure cleaner blocking the door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2334487 | 287795 | SUBWAY 58064 | HNS PARTNERS 58064 LLC | 847 WASHINGTON AVE , MIAMI BEACH 33139 | 3636986 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed gauge in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2326792 | 204841 | MOSHI MOSHI | SUSHI YAMA JAPANESE REST INC | 1448 WASHINGTON AVE , MIAMI BEACH 33139 | 3607097 | 08/19/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed a very large trash can blocking the back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2324810 | 245070 | LOS VERDES | LOS VERDES CORP | 2426 SW 137 AVE , MIAMI 33175 | 3612138 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed the exit door in the dry store area blocked by boxes of bottled beer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328085 | 115183 | IHC EMPLOYEES CAFETERIA | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 3616694 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Boiler # 142919 # 021243 and not current boiler certificate available, as per chief engineer due to a delay with the state. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328086 | 115184 | BLUE MATISSE RESTAURANT | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 3625848 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Boiler # 142919 # 021243 and not current boiler certificate available, as per chief engineer due to a delay with the state. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328087 | 115185 | IHC BALLROOM & MEETING ROOMS | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 3608330 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed Boiler # 142919 # 021243 and not current boiler certificate available, as per chief engineer due to a delay with the state. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2328463 | 115540 | AQUA RESTAURANT | SOKOLOV LTD | 4101 COLLINS AVE , MIAMI BEACH 33140 | 3625419 | 08/19/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certificate expired FL 095074, 095075 exp 8/10/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2333367 | 321584 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 3626414 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2333367 | 321584 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 3626414 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 48-02-5 | Insurance inspector boiler report not posted in boiler room. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
DeSoto | 2010 | Food | 2400050 | 182470 | REEF & BEEF | EHMG PROPERTIES LLC | 2079 SE HWY 70 , ARCADIA 34266 | 3633838 | 08/19/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed extinguisher in the bar area, in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
DeSoto | 2010 | Food | 2400217 | 323425 | DUNKIN | PMG ARCADIA LLC | 1329 E OAK ST , ARCADIA 34266 | 3617501 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher by front door in the red. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
DeSoto | 2010 | Food | 2400225 | 362983 | BROKEN SPUR DINER | BROKEN SPUR DINER LLC | 10 POLK AVE , ARCADIA 34266 | 3595419 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed flat grill, burners and fryers in use without an operation hood system. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
DeSoto | 2010 | Food | 2400225 | 362983 | BROKEN SPUR DINER | BROKEN SPUR DINER LLC | 10 POLK AVE , ARCADIA 34266 | 3595419 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-06-4 | Portable fire extinguisher is inaccessible. For reporting purposes only. Observed fire extinguisher behind a reach in cooler with no access. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
DeSoto | 2010 | Food | 2400050 | 182470 | REEF & BEEF | EHMG PROPERTIES LLC | 2079 SE HWY 70 , ARCADIA 34266 | 3633838 | 08/20/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed extinguisher in the bar area, in the red. - From follow-up inspection 2025-08-20: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2614904 | 265118 | SURESTAY HOTEL BY BEST WESTERN JACKSONVILLE SOUTH | MIRAJ III LLC | 5018 UNIVERSITY BLVD W , JACKSONVILLE 32216 | 3590996 | 08/22/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Operator has flat top grill in kitchen with no hood suppression system **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2613114 | 118604 | DOMINO'S PIZZA #3228 | BEACH PIZZA INC | 3611 ST JOHNS BLUFF RD S , JACKSONVILLE 32224 | 3591992 | 08/21/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Path to back door blocked by large trash can and rolling cart. Person in charge removed both to clear path to back door. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2612529 | 118095 | DAVE & BUSTERS | DAVE & BUSTERS INC | 7025 SALISBURY RD , JACKSONVILLE 32256 | 3627616 | 08/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Per boiler search Boiler 137551 is exempt. Boiler 135084 with certificate expired 8.14.25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2615539 | 299846 | FOGO DE CHAO CHURRASCARIA | FOGO DE CHAO CHURRASCARIA (JACKSONVILLE) LLC | 4784 TOWN CENTER PKWY , JACKSONVILLE 32246 | 3601200 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tank stored on counter in kitchen area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615516 | 355927 | ISLAND VYBZ | ISLAND VYBZ CUISINE LLC | 3144 SPRING PARK RD , JACKSONVILLE 32207 | 3596472 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. One in storage area, manager removed it **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800583 | 333321 | PIZZA HUT 4281 | HUT FLORIDA LLC | 1475 PALM COAST PKWY NW STE 110 , PALM COAST 32137 | 3657271 | 08/18/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Boxes in front of back door which is an emergency EXIT. person in charge MOVED BOXES. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800302 | 361306 | KENTUCKY FRIED CHICKEN L518166 | TASTY CHICK'N SOUTHEAST LLC | 3 OLD KINGS RD , PALM COAST 32137 | 3625244 | 08/20/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Boxes blocked by boxes. Person in charge moved boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2010 | Food | 3600017 | 120004 | CONTRERAS RESTAURANT | CONTRERAS ARNOLDO | 307 HWY 80 , LABELLE 33935 | 3615833 | 08/22/2025 | Routine - Food | Warning Issued | 49-05-4 | Flammables stored near a source of ignition. For reporting purposes only. Observed partial can of gas stored in the dry storage area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2010 | Food | 3600523 | 259468 | CACTUS MEX | CACTUS MEX INC | 512 COWBOY WAY , LABELLE 33935 | 3633333 | 08/21/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed the rear exit door locked, operator unlocked the door. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800411 | 225169 | CAPTAIN DS #3784 | CAPTAIN D'S LLC | 3400 US HWY 27 SOUTH , SEBRING 33870 | 3609124 | 08/22/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher by back door is in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800411 | 225169 | CAPTAIN DS #3784 | CAPTAIN D'S LLC | 3400 US HWY 27 SOUTH , SEBRING 33870 | 3609124 | 08/22/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed fire extinguisher on the floor and not in its designated location. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | - | 370922 | PERUFRESH RESTAURANT & MARKET | PERUFRESH INC | 207 CIRCLE PARK DR , SEBRING 33870 | 3656866 | 08/15/2025 | Routine - Food | Emergency Order Callback Time Extension | 47-03-4 | - From initial inspection : Observed: Observed electrical wiring in disrepair. For reporting purposes only. Electrical wiring exposed in kitchen under hood area above water on floor. Priority: Reporting - From follow-up inspection 2025-08-15: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3911234 | 288431 | VJK JAPAN | VJK LLC | 12314 UNIVERSITY MALL CT , TAMPA 33612 | 3611219 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Tabletop fryer not underneath hood systems sitting on table across from hood system. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3906889 | 121461 | CHECKER'S #115 | CHECKER'S DR IN-NO AMER INC | 3002 N NEBRASKA AVE , TAMPA 36028 | 3627449 | 08/19/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Extinguisher on floor in front of reach in freezer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3905611 | 319078 | APOLLO BEACH DINER | APOLLO BEACH DINER LLC | 6048 N US HWY 41 , APOLLO BEACH 33572 | 3611829 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Backed door blocked with bread crates. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3911210 | 122400 | TACO BELL #18301 | JEM RESTAURANT GROUP OF FL | 4647 W KENNEDY BLVD , TAMPA 33609 | 3632392 | 08/19/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed open switch box with exposed wiring in walk in cooler at time of inspection. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2014 | Food | 3952978 | 67659 | EL DE LOS TACOS HIDALGO #1 | EL DE LOS TACOS HIDALGO #1 | 13164 N FLORIDA AVE , TAMPA 33612 | 1322816 | 08/21/2025 | Routine - Food | Inspection Completed - No Further Action | 48-03-4 | Fuel-burning, wick-type, unvented space heater in use inside an enclosed building or patio area. For reporting purposes only. Table top fryer not underneath hood system. | Reporting: (2) (a) It is unlawful for any person to use within any public lodging establishment or public food service establishment any fuel-burning wick-type equipment for space heating unless such equipment is vented so as to prevent the accumulation of toxic or injurious gases or liquids. For reporting purposes only.
Hillsborough | 2010 | Food | 3911745 | 222525 | GOLDEN CORRAL #842 | VERDERAME ANTHONY | 815 PROVIDENCE RD , BRANDON 33511 | 3658649 | 08/22/2025 | Complaint Full | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-08-22: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Hillsborough | 2010 | Food | 3911745 | 222525 | GOLDEN CORRAL #842 | VERDERAME ANTHONY | 815 PROVIDENCE RD , BRANDON 33511 | 3658649 | 08/21/2025 | Complaint Full | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Lake | 2010 | Food | 4509054 | 360751 | TROPICAL RHYTHM RESTAURANT & SPORT BAR | ROBERTO DIAZ | 10401 US HWY 441 STE 322 , LEESBURG 34788 | 3597381 | 08/19/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. -No hood system over fryers. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4509031 | 350723 | CHIPOTLE MEXICAN GRILL | CHIPOTLE MEXICAN GRILL | 1677 N HANCOCK RD , MINNEOLA 34715 | 3655127 | 08/18/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -back door **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607137 | 317405 | AMORE ITALIAN MARKET & BAKERY | AMORE ITALIAN MARKET & BAKERY LLC | 4703 SW 16TH PL , CAPE CORAL 33914 | 3602079 | 08/20/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Rear exit door blocked with a ladder and storage rack. Operator cleared door **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606866 | 285456 | CHIPOTLE MEXICAN GRILL 2698 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 8061 DANI DR 140 , FORT MYERS 33966 | 3655120 | 08/22/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher across from ice machine, level is in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607742 | 337683 | WAFFLE HOUSE | WAFFLE HOUSE INC | 3412 LEE BLVD , LEHIGH ACRES 33971 | 3603230 | 08/21/2025 | Routine - Food | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher behind front register. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105108 | 193914 | TIENDA Y RESTAURANT TEQUILAS | TIENDA Y RESTAURANT TEQUILAS INC | 639 10 ST , EAST PALMETTO 34221 | 3609379 | 08/18/2025 | Routine - Food | Warning Issued | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed light switch plate at walk in cooler cracked. Observed light switch outlet by food prep line uncovered. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5100210 | 127636 | SARA BAY COUNTRY CLUB INC | SARA BAY COUNTRY CLUB INC | 7011 WILLOW ST , SARASOTA 31099 | 3609713 | 08/15/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed 2 fire extinguishers stored on the floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105646 | 289143 | DUNKIN DONUTS/BASKIN ROBBINS | SSRM 5 LLC | 6420 US 301 N , ELLENTON 34222 | 3620037 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed open junction box in walk in freezer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5100126 | 127622 | BRADENTON COUNTRY CLUB | BRADENTON CO CLUB INC | 4646 W 9 AVE , BRADENTON 93993 | 3597744 | 08/22/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed no boiler certificate. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Marion | 2010 | Food | 5202821 | 260692 | DARRELL'S DINER 3 | CYBERVILLE LLC | 8441 SW HWY 200 #105-107 , OCALA 34481 | 3592477 | 08/19/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher next to back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2014 | Food | 5250968 | 59776 | SOUL FOOD & BBQ FOR THE SOUL | SOUL FOOD & BBQ FOR THE SOUL | 10660 SW STATE RD 200 , DUNNELLON 34432 | 1323678 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher above three-compartment sink in need of recharge. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okeechobee | 2010 | Food | 5700760 | 366552 | COOT'S BBQ | COOT'S BBQ INC | 1600 S PARROTT AVE , OKEECHOBEE 34974 | 3602030 | 08/21/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only at triple sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814878 | 322949 | JACK AND JACKIE'S WINGZ THINGZ | JACK AND JACKIE'S WINGZ THINGZ & BBQ INC | 692 W ROBINSON ST , ORLANDO 32801 | 3640621 | 08/15/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Operator has a set of fryers outside the hood system. Advised to remove or place under hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5813555 | 364106 | ZEN DUMPLING | ZD WATERFORD INC | 423 N ALAFAYA TRL , ORLANDO 32828 | 3609467 | 08/15/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked with trash can and a lot of boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5810120 | 356558 | BENTO | BENTO WATERFORD | 863 N ALAFAYA TRL , ORLANDO 32828 | 3607436 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked with bunch of boxes . Operator removed it . **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5813555 | 364106 | ZEN DUMPLING | ZD WATERFORD INC | 423 N ALAFAYA TRL , ORLANDO 32828 | 3609467 | 08/18/2025 | Routine - Food | Call Back - Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. Blocked with trash can and a lot of boxes. **Corrected On-Site** - From follow-up inspection 2025-08-18: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6012532 | 300249 | RIVALES TAQUERIA & CRAFT BAR | JIMMYCHANGAS LLC | 106 N OLIVE AVE , WEST PALM BEACH 33401 | 3639623 | 08/18/2025 | Routine - Food | Warning Issued | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed hood light hanging by wires. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217800 | 312711 | SOUTHIE COFFEE | SOUTHIE COFFEE LLC | 1500 S MISSOURI AVE , CLEARWATER 33756 | 3624102 | 08/19/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6804826 | 298801 | DOMINO'S #5040 | JANDREWS BRIAN | 1100 N TUTTLE AVE #9 , SARASOTA 34237 | 3622452 | 08/20/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Observed their back fire exit door locked during service. Operator unlocked it. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6804918 | 197225 | VALENTINO PIZZERIA TRATTORIA | MIO LLC | 4045 CLARK RD , SARASOTA 34233 | 3596960 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. As a repeat violation the importance of following proper protocol with this violation was reinforced with the Manager. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6804670 | 285553 | TOASTED MANGO CAFE | SIESTA EARLY BIRD INC | 6621 MIDNIGHT PASS RD , SARASOTA 34242 | 3607134 | 08/20/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed rear exit door by wait station blocked with garbage can and cleaning equipment. As a repeat violation the importance of following proper protocol with this violation was reinforced with the Manager. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805296 | 355711 | BOMBON MEXICAN RESTAURANT | BNB RESTAURANT AND LOUNGE INC | 1118 N WASHINGTON BLVD , SARASOTA 34236 | 3614801 | 08/21/2025 | Routine - Food | Emergency order recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit of the kitchen blocked by cooking equipment. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805296 | 355711 | BOMBON MEXICAN RESTAURANT | BNB RESTAURANT AND LOUNGE INC | 1118 N WASHINGTON BLVD , SARASOTA 34236 | 3614801 | 08/21/2025 | Routine - Food | Emergency Order Callback Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. Back exit of the kitchen blocked by cooking equipment. - From follow-up inspection 2025-08-21: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407306 | 281147 | CHIPOTLE MEXICAN GRILL STORE 2515 | CHIPOTLE MEXICAN GRILLE OF COLORADO | 1290 W GRANDADA BLVD STE 300 , ORMOND BEACH 32174 | 3625711 | 08/18/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked by stacked boxes and trash can.. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.