## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1103704 | 365397 | BURRITO FACTORY AND CANTINA | BURRITO FACTORY AND CANTINA CORP | 7 SE 1 AVE , GAINESVILLE 32601 | 3632302 | 08/28/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 large propane tanks, 1 in kitchen by flat top and 1 behind bar. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1102808 | 257825 | COURT OF HERO'S & GUMBY'S PIZZA | COURT OF HERO'S LLC | 2028 SW 34TH ST , GAINESVILLE 32608 | 3642988 | 08/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed : the Fire extinguisher in the office indicates less than a full charge. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103721 | 344257 | GATOR CHINA INC. | GATOR CHINA INC. | 79 SW 34TH ST , GAINESVILLE 32607 | 3608626 | 08/25/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit door blocked with boxes and empty oil containers. Manager removed items. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103063 | 315442 | BAYMONT INN & SUITES | GAINESVILLE HOTEL INVESTMENT LLC | 6901 NW 4 BLVD , GAINESVILLE 32607 | 3643899 | 08/28/2025 | Routine - Food | Administrative complaint recommended | 48-02-5 | Insurance inspector boiler report not posted in boiler room. For reporting purposes only. Boiler inspection report dated 6/19/2025. Not posted in boiler room. Employee posted report in boiler room **Corrected On-Site** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Bay | 2010 | Food | 1305829 | 317754 | SENOR FROGS- MEXICAN FOOD & FIESTA | PCB INNOVATIONS, LLC | 15005 FRONT BEACH RD , PANAMA CITY BEACH 32407 | 3659803 | 08/27/2025 | Complaint Full | Inspection Completed - No Further Action | 45-06-4 | Portable fire extinguisher is inaccessible. For reporting purposes only. K class extinguisher in corner by grill, blocked by pole and hand wash sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305806 | 370755 | MR. MAINES PIZZA | JMAINELLC | 536 RICHARD JACKSON BLVD , PANAMA CITY BEACH 32407 | 3625852 | 08/28/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Back door to kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1507346 | 370183 | MANNY'S EXPRESS | MANNYS EXPRESS LLC | 2 N ATLANTIC AVE , COCOA BEACH 32931 | 3640221 | 08/29/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Table top fryer | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1505867 | 235262 | FIVE GUYS BURGERS & FRIES | BENGEL'S BURGERS II LLC | 2230 TOWN CENTER AVE STE 107 , MELBOURNE 32940 | 3629208 | 08/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-01-4 | No portable fire extinguisher present. For reporting purposes only. Silver fire extinguisher is reading red on cook line | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1504720 | 347973 | NEW HONG KONG INC OF CHEN | NEW HONG KONG INC OF CHEN | 198 BARTON BLVD , ROCKLEDGE 32955 | 3593621 | 08/27/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. 1 red fire extinguisher and 1 silver extinguisher are reading in the red zone. MOD stated that fire department coming next Monday to service the fire extinguishers | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1619790 | 320614 | PZZA GROUP LLC | PZZA GROUP LLC | 3869 W HILLSBORO BLVD , DEERFIELD BEACH 33442 | 3591192 | 08/28/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Rear exit door had the security crossbar still on the door at time of inspection | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1616253 | 104205 | PINE ISLAND RIDGE COUNTRY CLUB | PINE ISLAND RIDGE COUNTRY CLUB INC | 9400 PINE RIDGE DR , DAVIE 44499 | 3636559 | 08/27/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. - From follow-up inspection 2025-08-27: Same **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1616253 | 104205 | PINE ISLAND RIDGE COUNTRY CLUB | PINE ISLAND RIDGE COUNTRY CLUB INC | 9400 PINE RIDGE DR , DAVIE 44499 | 3636559 | 08/26/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Collier | 2010 | Food | 2103596 | 333600 | AROMA INDIAN CUISINE | FLAVORS GROUP LLC | 14700 TAMIAMI TRAIL N SUITE 10 , NAPLES 34110 | 3591511 | 08/28/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Twenty pound Propane tanks inside kitchen observed. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2014 | Food | 2358334 | 69047 | FRANK’S FRESH FRUITS MINI MARKET | FRANK'S FRESH FRUITS MINI MARKET I, LLC | 5291 SW 127 AVE , MIAMI 33175 | 1315434 | 08/27/2025 | Food-Licensing Inspection | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher located near 3 compartment sink on wall in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2332046 | 344849 | ALOFT MIAMI DADELAND | MIAMI DADELAND HOTEL, LLC | 7600 N KENDALL DR , MIAMI 33156 | 3619035 | 08/27/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed no hood where electrical griddles are used for cooking. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335556 | 309732 | GALLO DE ORO RESTAURANT | GALLO DE ORO RESTAURANT CORP | 1067 SW 27 AV , MIAMI 33135 | 3624809 | 08/27/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed establishment has a single gas burner, not underneath the hood system, no suppression system above. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336148 | 315337 | FROSTY'S LAB NITROGEN YOGURT & ICE CREAM | NITROGEN YOGURT AND ICE CREAM LAB #2 LLC | 7329 SW 107TH AVE , MIAMI 33173 | 3596517 | 08/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed countertop fryers in back prep area without hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2328343 | 323471 | DOUBLETREE BY HILTON OCEAN POINT RESORT & SPA - VIEW RESTAUARNT | COLWEN MANAGEMENT INC. | 17375 COLLINS AVE , SUNNY ISLES BEACH 33160 | 3625523 | 08/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Observed fryer producing grease laden vapors/smoke installed on outside of hood suppression system located in kitchen area. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2014 | Food | 2361389 | 65740 | OH BURGER | LS FOOD LLC | 127 NE 27 ST , MIAMI 33137 | 1318802 | 08/26/2025 | Routine - Food | Inspection Completed - No Further Action | 45-06-4 | Portable fire extinguisher is inaccessible. For reporting purposes only. Observed fire extinguisher stored on floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2333644 | 254382 | COURTYARD BY MARRIOTT SOUTH HOMESTEAD | COURTYARD BY MARRIOTT SOUTH HOMESTEAD | 2905 NE 9 ST , HOMESTEAD 33033 | 3603984 | 08/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2314774 | 284763 | RICKENBACKER | 3900 NW LLC | 3900 NW 21 ST , MIAMI 33142 | 3601102 | 08/27/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 098770, 098771 both expired on 02-01-2025. Operator already had inspection done, is now waiting on certificates. **Corrective Action Taken** **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2335992 | 351310 | LA QUINTA MIAMI AIRPORT EAST | RORE MANAGEMENT 3501 LLC | 3501 NW 42 AVE , MIAMI 33142 | 3620338 | 08/26/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 135426 EXP: 7-1-24. Operator is just waiting on certificate. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2336072 | 312946 | FRITANGA NICARAGUENSE | SPECIAL PIZZA GOURMET CORP | 3007 NW 7 ST , MIAMI 33125 | 3612765 | 08/27/2025 | Routine - Food | Emergency order recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed employee cooking on top of drain board at 3 compartment sink with hood suppression system installed. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2014 | Food | 2358334 | 69047 | FRANK’S FRESH FRUITS MINI MARKET | FRANK'S FRESH FRUITS MINI MARKET I, LLC | 5291 SW 127 AVE , MIAMI 33175 | 1315434 | 08/29/2025 | Food-Licensing Inspection | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher located near 3 compartment sink on wall in the recharge zone. - From follow-up inspection 2025-08-29: Observed fire extinguisher located near 3 compartment sink on wall in the recharge zone. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2332046 | 344849 | ALOFT MIAMI DADELAND | MIAMI DADELAND HOTEL, LLC | 7600 N KENDALL DR , MIAMI 33156 | 3619035 | 08/28/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed no hood where electrical griddles are used for cooking. **Repeat Violation** - From follow-up inspection 2025-08-28: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2613625 | 205057 | LITTLE JOE'S CAFE BY AKEL'S | AKEL MARWAN | 245 RIVERSIDE AVENUE #195 , JACKSONVILLE 32202 | 3608342 | 08/25/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Cooking scrambled eggs on flat table top grill. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2616458 | 361709 | WAAH INDIAN BISTRO AND KWALITY ICE CREAMS | AKSHAYA FOODS LLC | 9551 BAYMEADOWS RD #20 , JACKSONVILLE 32256 | 3641852 | 08/25/2025 | Routine - Food | Emergency order recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed three 20G LP tanks in back kitchen. Observed propane burner in use in back kitchen for cooking with no ventilation or hood system present. Called AHJ during inspection. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2010 | Food | 3200181 | 372151 | FABY ICE CREAM AND MORE | FABY ICE CREAM AND MORE | 898 US HWY 27 UNIT 2 & 3 , MORE HAVEN 33471 | 3658641 | 08/28/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Operator ha at home and will bring to establishment. **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3801211 | 368924 | MERLOS FRUTERIA | MERLOS FRUTERIA LLC | 211 US HWY 27 S , SEBRING 33870 | 3630867 | 08/26/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed two small fryers on the counter top without a hood suppression. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800394 | 210751 | MCDONALD'S RESTAURANTS OF FLORIDA INC | MCDONALD'S RESTAURANTS OF FLORIDA INC | 339 S HWY 27 , AVON PARK 33825 | 3597261 | 08/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher by back door in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800964 | 216199 | PAPA JOHN'S | GEODEV PIZZA INC | 935 SEBRING SQUARE , SEBRING 33870 | 3598523 | 08/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher in the red by the front entrance. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3916503 | 371071 | 1983 | CBFS MACDILL LLC | 2616 S MACDILL AVE , TAMPA 33629 | 3644981 | 08/26/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed beef being cooked on eye that's not under hood. Located near back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3916893 | 347254 | TROPICAL SMOOTHIE CAFE | TROPICAL INDUS LLC | 3810 W NEPTUNE ST B4 , TAMPA 33629 | 3659739 | 08/27/2025 | Complaint Full | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Boxes blocking path to back door. Manager removed at time of inspection. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2014 | Food | 4550786 | 69890 | LITO´S BURGERS | MADE IN PAMPAS LLC | 1320 MILLHOLLAND DR , CLERMONT 34711 | 1327687 | 08/26/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. -wiring exposed on ceiling of food truck | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607449 | 331426 | CUBANS BE LIKE RESTAURANT & CAFE | CUBANS BE LIKE LLC | 13300 S CLEVELAND AVE UNIT 21 , FORT MYERS 33907 | 3660219 | 08/26/2025 | Complaint Full | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone at outside storage. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2014 | Food | 4651128 | 57734 | TAQUERIA LA MEXICANA | FRESH MARKET OF FORT MYERS INC | 4195 PALM BEACH BLVD , FORT MYERS 33916 | 1328594 | 08/26/2025 | Complaint Full | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607737 | 352682 | KINGS TACOS AND BURRITOS 2 | KINGS TACOS AND BURRITOS 2 LLC | 2847 CLEVELAND AVE , FORT MYERS 33901 | 3613042 | 08/27/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Observed rear exit door locked. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606096 | 338900 | DE ADRIATICO RESTAURANT | DE ADRIATICO RESTAURANT INC | 9908 GULF COAST MAIN ST STE C165 , FORT MYERS 33913 | 3609597 | 08/29/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed 4 propane tanks along with a red flammable container located in separate storage container beside building | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4600233 | 343608 | MCDONALD'S #0152 | MCDONALDS | 3645 CLEVELAND AVE , FORT MYERS 33901 | 3600776 | 08/28/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed trash cart in front of rear fire exit, had to be moved to exit. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2014 | Food | 4651525 | 63239 | TAQUERIA EN CALIENTE | TAQUERIA EN CALIENTE LLC | 2621 FOWLER ST , FORT MYERS 33901 | 3655135 | 08/26/2025 | Complaint Full | Emergency order recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher behind cold holding in red. Observed fire extinguisher near hood system in red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2014 | Food | 4651525 | 63239 | TAQUERIA EN CALIENTE | TAQUERIA EN CALIENTE LLC | 2621 FOWLER ST , FORT MYERS 33901 | 3655135 | 08/27/2025 | Complaint Full | Emergency Order Callback Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher behind cold holding in red. Observed fire extinguisher near hood system in red. - From follow-up inspection 2025-08-27: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607449 | 331426 | CUBANS BE LIKE RESTAURANT & CAFE | CUBANS BE LIKE LLC | 13300 S CLEVELAND AVE UNIT 21 , FORT MYERS 33907 | 3660219 | 08/27/2025 | Complaint Full | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone at outside storage. For reporting purposes only. - From follow-up inspection 2025-08-27: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607742 | 337683 | WAFFLE HOUSE | WAFFLE HOUSE INC | 3412 LEE BLVD , LEHIGH ACRES 33971 | 3603230 | 08/26/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher behind front register. - From follow-up inspection 2025-08-26: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105108 | 193914 | TIENDA Y RESTAURANT TEQUILAS | TIENDA Y RESTAURANT TEQUILAS INC | 639 10 ST , EAST PALMETTO 34221 | 3609379 | 08/27/2025 | Routine - Food | Call Back - Complied | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Observed light switch plate at walk in cooler cracked. Observed light switch outlet by food prep line uncovered. - From follow-up inspection 2025-08-27: Owner working one paisley. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5100126 | 127622 | BRADENTON COUNTRY CLUB | BRADENTON CO CLUB INC | 4646 W 9 AVE , BRADENTON 93993 | 3597744 | 08/27/2025 | Routine - Food | Call Back - Admin. complaint recommended | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed no boiler certificate. **Repeat Violation** - From follow-up inspection 2025-08-27: Observed no boiler certificate at the time of this inspection. **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5813243 | 266297 | SUBWAY #47418 | DIPASQUA ENTERPRISES INC | 1501 W ORANGE BLOSSOM TRL , APOPKA 32712 | 3620503 | 08/26/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Lobby door locked to lobby side exit/entrance during operating hours , operator unlocked door during inspection **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812325 | 283710 | ARMANDOS COLLEGE PARK | CUCINA NAPOLI II LLC | 2305 EDGEWATER DR STE H , ORLANDO 32804 | 3604068 | 08/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 7 in dry storage area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | - | 364627 | ACTS RETIREMENT LIFE COMMUNITIES | ACTS RETIREMENT LIFE COMMUNITIES INC | 6045 VERDE TRL S , BOCA RATON 33433 | 3582384 | 08/27/2025 | Food-Licensing Inspection | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6012532 | 300249 | RIVALES TAQUERIA & CRAFT BAR | JIMMYCHANGAS LLC | 106 N OLIVE AVE , WEST PALM BEACH 33401 | 3639623 | 08/26/2025 | Routine - Food | Call Back - Complied | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Observed hood light hanging by wires. - From follow-up inspection 2025-08-26: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217919 | 320234 | KUNG FU TEA | CHI CHOP @ PINELLAS PARK INC | 7688 N 49TH STREET , PINELLAS PARK 33781 | 3626359 | 08/26/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back door near bathrooms blocked large boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6212615 | 280952 | CARAMBOLA | CP CLEARWATER LLC | 400 MANDALAY AVE , CLEARWATER 33767 | 3631199 | 08/27/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. FL098791,098793,098795,098786,056656 all expired 11/10/2024 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Sarasota | 2010 | Food | 6803454 | 146756 | SARASOTA SUBWAY #5396 | HOLMAN SUBZ II INC | 5349 FRUITVILLE RD , SARASOTA 26402 | 3614581 | 08/29/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed the back exit door locked during operating hours. Operator stated they keep it locked because they've had issue of people sneaking in from the back while they are busy in the front. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905333 | 318893 | BETH'S BURGER BAR | BETH'S BURGER BAR LLC | 223 WHEELHOUSE LANE STE 1121 , LAKE MARY 32746 | 3621683 | 08/29/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. - BBQ grill sized propane tank in back storage room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905261 | 361441 | 5TH ELEMENT INDIAN RESTAURANT | S3 SANFORD FOODS LLC | 1133 RINEHART RD , SANFORD 32771 | 3621999 | 08/28/2025 | Routine - Food | Emergency order recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2010 | Food | 6502479 | 307536 | TROPICAL SMOOTHIE CAFE | KRUPAMIT1 LLC | 4255 US HWY 1 STE 20 , SAINT AUGUSTINE 32086 | 3609675 | 08/26/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Both exit doors blocked by portable cooler and boxes. Operator removed each. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7405092 | 316138 | WOODY'S BAR-B-Q | MAYSEN BAR-B-Q, INC. | 1593 N NOVA RD , HOLLY HILL 32117 | 3659764 | 08/26/2025 | Complaint Full | Inspection Completed - No Further Action | 45-04-4 | Flat grill not under hood suppression system. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407106 | 366537 | NATHANS FAMOUS | FOREMOST BRANDS LLC | 831 E INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32118 | 3625348 | 08/25/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -abc extinguisher on wall next to fryer | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406718 | 359387 | WINGHOUSE BAR + GRILL | NYJK MANAGEMENT SERVICES LLC | 250 N ATLANTIC AVE , DAYTONA BEACH 32118 | 3638061 | 08/27/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7400561 | 363676 | IHOP 36-035 | SUNSHINE RESTAURANT MERGER SUB, LLC | 2204 SOUTH ATLANTIC AVENUE , DAYTONA BEACH SHORES 32118 | 3610473 | 08/26/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. -bungie cord used to hold back door closed from inside | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Walton | 2010 | Food | 7601812 | 367546 | AMOR CAFE AT 30A | AMOR CAFE AT 30A LLC | 45 TOWN CENTER LOOP #C7 , SANTA ROSA BEACH 32459 | 3643838 | 08/28/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Panini press | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.