## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2010 | Food | 1305300 | 307712 | LA QUINTA INN & SUITES | BY THE SEA RESORTS INC | 7115 COASTAL PALMS BLVD , PANAMA CITY BEACH 32408 | 3633106 | 10/02/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher in kitchen in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1306055 | 365878 | TOPGOLF | TOPGOLF USA PCB LLC | 15475 TOPGOLF WAY , PANAMA CITY BEACH 32413 | 3626031 | 10/01/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Bay | 2010 | Food | 1305607 | 372512 | BUN LAB | LITTLE LUNA LLC | 9902 S THOMAS DR #13 , PANAMA CITY BEACH 32408 | 3669951 | 10/01/2025 | Complaint Full | Administrative complaint recommended | 45-05-4 | Portable fire extinguisher missing from its designated location near stove. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1507199 | 352102 | COCINA CAFE | COCINA CAFE LLC | 1150 MALABAR RD UNIT 101 , PALM BAY 32905 | 3611322 | 09/29/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in kitchen near walk in freezer in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506631 | 287745 | TACO BELL #30349 | BRAVO FOODS LLC | 7850 N WICKHAM RD , MELBOURNE 32940 | 3594443 | 10/02/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher located by back door of store meter reading in the red | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1507260 | 354714 | SOUP SHOP | SOUP SHOP VIERA INC | 7500 LAKE ANDREW DR STE 104 , MELBOURNE 32940 | 3597723 | 09/30/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher in dining room next to trash can by front door is meter is boarder line between green and red | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506382 | 366416 | SUNSHINE SUSHI JAPANESE & ASIAN CUISINE | ZOCC FOODS LLC | 1153 MALABAR RD STES 18-22 , PALM BAY 32907 | 3630473 | 09/30/2025 | Routine - Food | Call Back - Extension given, pending | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Exposed electrically wires on wall near ice maker. - From follow-up inspection 2025-09-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1505834 | 194211 | LA ESTANCIA DE LUISA | VIDICAR INC. | 5270 BABCOCK STREET N.E. #28 , PALM BAY 32905 | 3606115 | 09/26/2025 | Routine - Food | Call Back - Complied | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. Exposed on exterior of hot water heater. - From follow-up inspection 2025-09-26: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506382 | 366416 | SUNSHINE SUSHI JAPANESE & ASIAN CUISINE | ZOCC FOODS LLC | 1153 MALABAR RD STES 18-22 , PALM BAY 32907 | 3630473 | 09/29/2025 | Routine - Food | Administrative complaint recommended | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Exposed electrically wires on wall near ice maker. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625282 | 364322 | PINK CAFE | PINK 10 CORP | 701 N FEDERAL HWY SUITE 103 & 104, HALLANDALE 33009 | 3669928 | 09/30/2025 | Complaint Full | Emergency order recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Flat top, table top burners in use with no hood system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1609884 | 279738 | LONA | DIAMONDROCK FL TENANT LLC | 321 N FORT LAUDERDALE BEACH BLVD , FORT LAUDERDALE 33304 | 3670318 | 10/01/2025 | Complaint Full | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 3 tanks inside building next to ice machines. Operator removed. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2000845 | 352671 | SUNRISE TO SUNSET | SVC SUNRISE LLC | 618 N ORANGE AVE , GREEN COVE SPRINGS 32043 | 3610690 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Small tabletop flat grill not under the hood system. Oil being used, producing grease laden vapors. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2102261 | 247930 | AQUA SEAFOOD & STEAKS | BILL AND GORDON CORPORATION | 862 5 AVE S , NAPLES 34102 | 3611245 | 10/02/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone near cook line. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336633 | 321907 | SMOKI | FISH BOX SEAFOOD INC. | 1970 NE 153 ST BAY#13 , NORTH MIAMI BEACH 33162 | 3664428 | 09/29/2025 | Complaint Partial | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. In storage rack beside 3C sink | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2334853 | 285296 | LEXUS NORTH CLUB AND MAIN WAREHOUSE | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD , MIAMI 33056 | 3600513 | 09/29/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Certificate is expired, Boilers were inspected on 8/19/25 and awaiting reinspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2014 | Food | 2361728 | 67642 | HIBISCUSMIAMI | HIBISCUSMIAMI LLC | 866 NE 79 ST , MIAMI 33138 | 1318272 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 45-01-4 | No portable fire extinguisher present. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336085 | 332622 | CREMA GOURMET ESPRESSO BAR | CREMA BRICKELL CORP | 1010 BRICKELL AVE CU1 , MIAMI 33131 | 3611812 | 09/26/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2319779 | 111559 | 104 SOBE Q | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # C104 , MIAMI 62600 | 3618625 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319780 | 111560 | 101 MAGIC CITY DOGS | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI 62600 | 3630828 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319781 | 111561 | 150 STAND PIZZA | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND #150 , MIAMI 62600 | 3631487 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL-133314 expires on 8/19/25, FL-13313 expires on 8/19/25. EXPIRED. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319787 | 111567 | 139 SWEET CREAM | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # C139 , MIAMI 62600 | 3594935 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Certificate is expired, Boilers were inspected on 8/19/25 and awaiting reinspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319788 | 111568 | 142 PIZZA | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI 33056 | 3641101 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL-133314 expires on 8/19/25, FL-13313 expires on 8/19/25. EXPIRED. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319789 | 111569 | 135 CHEQ | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # C135 , MIAMI 62600 | 3625455 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Certificate is expired, Boilers were inspected on 8/19/25 and awaiting reinspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319793 | 111573 | C132 SOBE Q | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # C132 , MIAMI 33056 | 3607802 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Certificate is expired, Boilers were inspected on 8/19/25 and awaiting reinspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319794 | 111574 | 129 HOT DOGS | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND #C129 , MIAMI 33056 | 3626195 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Certificate is expired, Boilers were inspected on 8/19/25 and awaiting reinspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319796 | 111576 | 119 TOSTITOS | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI 33056 | 3602629 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed jurisdiction numbers FL-133314 expired on 7/20/25, FL-13313 expired on 7/20/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319801 | 111581 | 117 SEED | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI 33056 | 3596485 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed jurisdiction numbers FL-133314 expired on 7/20/25, FL-13313 expired on 7/20/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2319803 | 111583 | 107 PIZZA | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI 33056 | 3621368 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2321406 | 111975 | AVOEATS | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # C130A , MIAMI 62600 | 3623501 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Certificate is expired, Boilers were inspected on 8/19/25 and awaiting reinspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2324068 | 112789 | MAIN KITCHEN | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI 33056 | 3623891 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Certificate is expired, Boilers were inspected on 8/19/25 and awaiting reinspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2325137 | 113247 | 134 NOVECENTO | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND #C134 , MIAMI 62600 | 3640258 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Certificate is expired, Boilers were inspected on 8/19/25 and awaiting reinspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2325797 | 113611 | 106 FATBOY SMASHBURGER | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND #106 , MIAMI 62600 | 3609920 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2325799 | 113613 | 102 FARMSTEAD | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI 62600 | 3623667 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2326513 | 187314 | C111 SWEET TREATS | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # C111 , MIAMI 33056 | 3636906 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334416 | 270627 | TOSTITOS NACHOS | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD., PORTABLE 146 , MIAMI 33056 | 3640515 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed jurisdiction numbers FL-133314 expired on 7/20/25, FL-13313 expired on 7/20/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334412 | 270647 | CENTERPLATE - SUNLIFE STADIUM - GYROS 110 | BOSTON CULINARY GROUP INC | 2269 NW 199 ST , MIAMI GARDENS 33056 | 3618714 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL-133314 expires on 8/19/25, FL-13313 expires on 8/19/25. EXPIRED. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334817 | 285885 | 150A GRILLE | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD , MIAMI GARDENS 33056 | 3619528 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL-133314 expires on 8/19/25, FL-13313 expires on 8/19/25. EXPIRED. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334818 | 285886 | 148 BENIHANA | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # 147A , MIAMI 33056 | 3624499 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL-133314 expires on 8/19/25, FL-13313 expires on 8/19/25. EXPIRED. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334819 | 285887 | 144A FUKU | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND #144A , MIAMI 33056 | 3634877 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL-133314 expires on 8/19/25, FL-13313 expires on 8/19/25. EXPIRED. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334820 | 285890 | 142A WYNWOOD WALK THROUGH | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD C142A , MIAMI 33056 | 3610922 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL-133314 expires on 8/19/25, FL-13313 expires on 8/19/25. EXPIRED. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334821 | 285898 | WYNWOOD WALKTHROUGH | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND #122A , MIAMI 33056 | 3612005 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed jurisdiction numbers FL-133314 expired on 7/20/25, FL-13313 expired on 7/20/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334822 | 285899 | 120A SOL CUBANO | BOSTON CULINARY GROUP INC | 2265 DAN MARINO BLVD , MIAMI GARDENS 33056 | 3636094 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed jurisdiction numbers FL-133314 expired on 7/20/25, FL-13313 expired on 7/20/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334823 | 285900 | WYNWOOD WALKTHROUGH | BOSTON CULINARY GROUP INC | 2265 DAN MARINO BLVD , MIAMI GARDENS 33056 | 3628921 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed jurisdiction numbers FL-133314 expired on 7/20/25, FL-13313 expired on 7/20/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334854 | 285903 | 72 CLUB SOUTH/EAST | BOSTON CULINARY GROUP INC | 2269 DAN MARINO BLVD, STAND # 72 CLUB SOUTH/EAST, MIAMI 33056 | 3626893 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Certificate is expired, Boilers were inspected on 8/19/25 and awaiting reinspection. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2334824 | 285904 | 114A CHESSE BURGER BABY | BOSTON CULINARY GROUP INC | 2265 DAN MARINO BLVD , MIAMI GARDENS 33056 | 3606468 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL-133314 expired on 7/20/25, FL-13313 expired on 7/20/25. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2335732 | 299394 | TOPGOLF USA MIAMI GARDENS | TOPGOLF USA MIAMI GARDENS LLC | 17321 NW 7 AVE , MIAMI GARDENS 33169 | 3626265 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. At the time of the inspection observed water heating device with a maximum input of 499990 btu. Observed establishment submitted inspection request. No boiler certificate provided. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2337644 | 364520 | HALF MOON EMPANADAS AT NCH | HME FLORIDA LLC | 3100 SW 62 AVE , MIAMI 33155 | 3637019 | 09/26/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2333164 | 287651 | DON CRIOLLITO | A & Y RESTAURANT LLC | 12039 SW 132 CT #1 , MIAMI 33186 | 3606509 | 09/26/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed stored under hand sink in kitchen. Operator removed and stored outside. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337151 | 338487 | SHOMA BAZAAR | SHOMA BAZAAR ONE, LLC | 9420 NW 41 ST , DORAL 33178 | 3633737 | 10/03/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 gas boilers with 650,000 BTUs next to ice machines / SN #1 2145126818071 and SN #2 Not visible. **Repeat Violation** - From follow-up inspection 2025-10-03: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2336633 | 321907 | SMOKI | FISH BOX SEAFOOD INC. | 1970 NE 153 ST BAY#13 , NORTH MIAMI BEACH 33162 | 3664428 | 09/30/2025 | Complaint Partial | Call Back - Admin. complaint recommended | 48-04-4 | - From initial inspection : Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. In storage rack beside 3C sink - From follow-up inspection 2025-09-30: Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. In storage rack beside 3C sink **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336379 | 322084 | HOOKY ENTERTAINMENT HOMESTEAD | SHOWBIZ CINEMAS LLC | 100 S KROME AVE , HOMESTEAD 33030 | 3598233 | 09/26/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed flat top with no hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2609884 | 116906 | BONO'S BBQ | BONO'S AT SOUTHPOINT INC | 5711 BOWDEN RD #19 , JACKSONVILLE 66160 | 3636679 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Dry storage boxes blocking back exit door in dining area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615645 | 308385 | MODU RAMEN | MODURANT INC | 8602 BAYMEADOWS RD UNIT 24 , JACKSONVILLE 32256 | 3627447 | 10/02/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed two LP tanks in back dry storage area. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2010 | Food | 2705653 | 362079 | RESIDENCE INN PENSACOLA DOWNTOWN | PNS HOTEL PARTNERS - II, LLC | 601 E CHASE ST , PENSACOLA 32502 | 3640511 | 09/26/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certificate expired 3-9-2023. Operator stated they have had an inspect but have not yet received certificate. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Flagler | 2010 | Food | 2800794 | 326018 | MCDONALD'S #36363 | J QUINT LLC | 4851 BELLE TERRE PKWY , PALM COAST 32137 | 3636092 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit blocked by cart. Person in charge moved cart. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3910773 | 361065 | WHA GWAAN JAMAICA JAMAICA | WHA GWAAN JAMAICA JAMAICA INC | 13910 W HILLSBOROUGH AVE , TAMPA 33635 | 3614212 | 09/26/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 propane tanks stored in back kitchen adjacent to walkin cooler. - From follow-up inspection 2025-09-17: LP tanks remain in back hall way **Time Extended** - From follow-up inspection 2025-09-26: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Lake | 2010 | Food | 4508431 | 270373 | CHINA GOURMET | TIAN LONG INC | 1714 US HWY 27 STE 20 , CLERMONT 34714 | 3618055 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -by back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606823 | 281515 | ZAXBY'S | DEKLAM DIVAS LLC | 17500 BEN HILL GRIFFIN PKWY , FORT MYERS 33913 | 3596814 | 09/29/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By back door of kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607472 | 325750 | ZEN DELI | ZEN DELICATESSEN LLC | 15880 SAN CARLOS BLVD #130 & 135 , FORT MYERS 33908 | 3644465 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Fryers in back food preparation area without hood suppression system. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2014 | Food | 5250851 | 52635 | LUPITAS TAQUERIA | LUPITAS TAQUERIA LLC | 809 N MAGNOLIA AVE , OCALA 34475 | 1325318 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher next to back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811102 | 367967 | SHAHS HALAL FOOD | UNITED HALAL FOODS | 12701 S JOHN YOUNG PKWY STE 117 , ORLANDO 32837 | 3594553 | 10/02/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door blocked by trash can, chair and boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5813536 | 276446 | FONDA EL CRIOLLITO RESTAURANT | FONDA EL CRIOLLITO RESTAURANT LLC | 4701 S SEMORAN BLVD UNIT B , ORLANDO 32822 | 3613258 | 09/30/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. One by back door and one by 3 compartment sink | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811277 | 261733 | LA HERRADURA MEXICAN GRILL & BAR | LA HERRADURA CORP | 12701 S JOHN YOUNG PKWY STE 110-114 , ORLANDO 32837 | 3622148 | 10/01/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door blocked by trash can and bottles of oil. **Corrected On-Site** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815755 | 346682 | CAVA | CAVA MEZZE GRILL LLC | 4724 MILLENIA PLAZA WAY STE C , ORLANDO 32839 | 3615405 | 10/02/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit door blocked by cardboard boxes | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5802620 | 337088 | MY KITCHEN WINGS & FISH | CHICKEN & FISH UNLIMITED LLC | 8613 FOREST CITY RD. , ORLANDO 32810 | 3598367 | 09/30/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Operator moved tank out back door **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5813536 | 276446 | FONDA EL CRIOLLITO RESTAURANT | FONDA EL CRIOLLITO RESTAURANT LLC | 4701 S SEMORAN BLVD UNIT B , ORLANDO 32822 | 3613258 | 09/30/2025 | Routine - Food | Call Back - Extension given, pending | 48-04-4 | - From initial inspection : Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. One by back door and one by 3 compartment sink - From follow-up inspection 2025-09-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811648 | 355626 | CAYJO | CAYJO LLC | 6601 OLD WINTER GARDEN RD STE 106 , ORLANDO 32835 | 3643545 | 09/29/2025 | Routine - Food | Call Back - Complied | 48-04-4 | - From initial inspection : Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. -under prep sink and at rear door - From follow-up inspection 2025-07-28: **Time Extended** - From follow-up inspection 2025-09-29: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5900434 | 295232 | WENDY'S #3482 | WENDY'S PROPERTIES LLC | 915 W VINE ST , KISSIMMEE 34741 | 3632215 | 09/30/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit door blocked with trash can and boxes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217048 | 310846 | MARY MARGARET'S OLDE IRISH TAVERN | BT SOUTH 1 LLC | 29 3 ST N , ST. PETERSBURG 33701 | 3637380 | 10/03/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguishers located near back door next to bathrooms. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6211181 | 141479 | WATER COLOUR STEAK HOUSE AND GRILL | RADSK ASSOCIATES LTD | 1201 GULF BLVD , CLEARWATER BEACH 33767 | 3624449 | 10/02/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. FL139985, FL139984, FL137613,Fl137614, all exp 9/21/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6211181 | 141479 | WATER COLOUR STEAK HOUSE AND GRILL | RADSK ASSOCIATES LTD | 1201 GULF BLVD , CLEARWATER BEACH 33767 | 3624449 | 10/02/2025 | Routine - Food | Warning Issued | 49-01-4 | Flammables stored/debris present in kitchen . For reporting purposes only. 2 propane tanks stored in kitchen .removed to an outside area. **Corrected On-Site** | Reporting: (6) Attics, basements, boiler rooms, meter rooms, laundry rooms, and storage rooms shall be kept clean and free of debris and flammables. For reporting purposes only.
Pinellas | 2010 | Food | 6215429 | 143554 | TIJUANA FLATS BURRITO COMPANY | TIJUANA FLATS #112 LLC | 944 N 4 ST , ST PETERSBURG 33701 | 3668285 | 09/29/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at back kitchen door. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6214974 | 331575 | NOVU AT PONCE | BAKRAC INC | 95 CENTRAL AVE , ST. PETERSBURG 33701 | 3643635 | 10/01/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed counter top electric deep fryer not located under hood system in kitchen area. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6214063 | 215613 | HALONG BAY VIETNAMESE CUISINE | HALONG BAY VIETNAMESE CUISINE INC | 5944 34 ST N. STE 39-43 , ST. PETERSBURG 33714 | 3668273 | 09/30/2025 | Complaint Full | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. Two extinguishers, one silver one red, in pass to kitchen with the gauge in the red. - From follow-up inspection 2025-09-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6214063 | 215613 | HALONG BAY VIETNAMESE CUISINE | HALONG BAY VIETNAMESE CUISINE INC | 5944 34 ST N. STE 39-43 , ST. PETERSBURG 33714 | 3668273 | 09/29/2025 | Complaint Full | Administrative complaint recommended | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Two extinguishers, one silver one red, in pass to kitchen with the gauge in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Polk | 2010 | Food | 6308314 | 287557 | SUBWAY | FIRST WEALTH CORP | 4680 CLEVELAND HEIGHTS BLVD , LAKELAND 33813 | 3619736 | 10/02/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back door blocked by the back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Putnam | 2010 | Food | 6400926 | 372783 | NEXT DOOR SUBS | LUKKO OPERATIONS LLC | 103 CHEYENNE AVE UNIT 1 AND 2 , INTERLACHEN 32148 | 3668246 | 10/03/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Flat top griddles used for cooking, produce grease laden vapors. Called local fire authority during inspection. No answer, will reattempt. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6804774 | 305365 | BOB EVANS RESTAURANT 463 | BOB EVANS RESTAURANTS LLC | 5903 BROOKHILL BLVD , SARASOTA 26302 | 3645175 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed their sanitizer the back exit fire extinguisher in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805924 | 329821 | SUSHI BAY KITCHEN&SAKE BAR | SUSHI BAY FLORIDA INC | 3957 CATTLEMEN ROAD , SARASOTA 34233 | 3596251 | 09/30/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed exit hallway to door partially obstructed with shelving and supplies. As a repeat violation the importance of following proper protocol with this violation was reinforced with the Manager. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6806182 | 352099 | TOASTED YOLK CAFE LAKEWOOOD RANCH | TOASTED YOLK CAFE LLC | 6562 UNIVERSITY PKWY STE 150 , SARASOTA 34240 | 3610418 | 09/29/2025 | Routine - Food | Call Back - Complied | 46-04-4 | - From initial inspection : Exit door locked. For reporting purposes only. Observed the side emergency exit door locked. - From follow-up inspection 2025-09-29: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6904808 | 360733 | SALLYS DINER II | JP'S FOOD LLC | 972 W SR 434 , LONGWOOD 32750 | 3615859 | 10/02/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. - near back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2010 | Food | 6905177 | 368165 | BREWLANDO SANFORD | BREWLANDO LLC | 400 S SANFORD AVE , SANFORD 32771 | 3606404 | 09/29/2025 | Routine - Food | Call Back - Complied | 48-02-5 | - From initial inspection : Insurance inspector boiler report not posted in boiler room. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-07-31: **Time Extended** - From follow-up inspection 2025-09-29: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspector boiler report is required annually for power boilers and high pressure or high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Volusia | 2010 | Food | 7406850 | 360588 | SUBWAY | PORTORANGESUBSLLC | 3751 CLYDE MORRIS BLVD , PORT ORANGE 32129 | 3629353 | 09/29/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -path to back door marked fire exit obstructed by cart on wheels in between hot holding equipment and rack of chemicals **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406624 | 351182 | ROMA PIZZA | SAL AND LINO OF FLORIDA LLC | 600 COURTLAND BLVD , DELTONA 32738 | 3601092 | 10/01/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear kitchen door blocked by cart full of plastic dough trays, operator removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7408027 | 369890 | SUMO | SUMO SUSHI & HIBACHI LLC | 1500 BEVILLE RD STE 405-406 , DAYTONA BEACH 32114 | 3623273 | 09/29/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -rear exit by bathrooms partial blocked | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407122 | 274148 | SENOR TACO | SHORES RESTAURANT LLC | 3174 S ATLANTIC AVE SUITE-A , DAYTONA BEACH SHORES 32118 | 3607225 | 09/30/2025 | Routine - Food | Call Back - Complied | 47-03-4 | - From initial inspection : Observed electrical wiring in disrepair. For reporting purposes only. -wiring behind ice machine near back door, uncapped/frayed/damaged observed to outlet - From follow-up inspection 2025-09-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.