## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1102617 | 348419 | HOOK FISH & CHICKEN | AMIR RAHMOON | 1340 E UNIVERSITY AVE , GAINESVILLE 32641 | 3661764 | 10/06/2025 | Complaint Partial | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Hood system not working per person in charge, establishment open with fryers turned on no ventilation system turned on. **Warning** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1101104 | 289240 | BURGER KING #2314 | BRAVOFLORIDA LLC | 3902 SW 40TH BLVD , GAINESVILLE 32608 | 3605122 | 10/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed : the fire extinguisher by the back door, charge indicator is in the red zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1102576 | 335306 | PAPA JOHN'S PIZZA #498 | SRILPJ, LLC | 3605 SW ARCHER RD , GAINESVILLE 32608 | 3619517 | 10/07/2025 | Routine - Food | Inspection Completed - No Further Action | 49-05-4 | Flammables stored near a source of ignition. For reporting purposes only. Observed cardboard box less than six inches from the gas fired hot water heater. The box and rack were moved away. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305943 | 341297 | HOMEWOOD SUITES | ST JOE RESORT OPERATIONS, LLC | 47 CHIP SEAL PKWY , PANAMA CITY BEACH 32407 | 3627831 | 10/10/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed water heaters with max input BTU of 751,000. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Brevard | 2010 | Food | 1505545 | 274865 | BELLA LUNA RESTAURANT AND PIZZA | TORIJAS INC | 7155 N WICKHAM RD , MELBOURNE 32940 | 3598542 | 10/10/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Silver extinguisher meter boarder line is reading between green and red | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2010 | Food | 1506550 | 281472 | TRACY'S LOUNGE | MICHAEL'S LIQUOR INC | 6979 N WICKHAM RD , MELBOURNE 32940 | 3611415 | 10/10/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Silver extinguisher in kitchen is boarding line meter between green and red | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1621115 | 250117 | PAL RANCHO | PAL' RANCHO INC | 5637 CORAL RIDGE DR , CORAL SPRINGS 33076 | 3591639 | 10/08/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit door near bakery prep area blocked by boxes and equipment. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1626298 | 369995 | BLU' STEAKHOUSE | BLU' STEAKHOUSE LLC | 1900 HARRISON ST , HOLLYWOOD 33020 | 3618945 | 10/09/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed at fire extinguisher next to back door. Operator replaced **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1621906 | 327304 | THIRTY1 LOUNGE INC | THIRTY1 LOUNGE INC | 1931 HOLLYWOOD BLVD , HOLLYWOOD 33020 | 3671904 | 10/10/2025 | Complaint Full | Call Back - Complied | 47-02-4 | - From initial inspection : Observed scorch marks around electrical outlet. For reporting purposes only. Observed at electrical outlet above three compartment sink - From follow-up inspection 2025-10-10: Observed same | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1621906 | 327304 | THIRTY1 LOUNGE INC | THIRTY1 LOUNGE INC | 1931 HOLLYWOOD BLVD , HOLLYWOOD 33020 | 3671904 | 10/09/2025 | Complaint Full | Administrative complaint recommended | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Observed at electrical outlet above three compartment sink | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2010 | Food | 2001448 | 335808 | SUBWAY | CHAPPACK ENTERPRISES LLC | 756 PARK AVENUE SUITE 111 , ORANGE PARK 32073 | 3630954 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Fire extinguisher missing from designated hook at front door. Operator states it is out of date and is getting a new one. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103286 | 360250 | AL CARBON Y MAS | AL CARBON Y MAS INC | 6002 RADIO RD , NAPLES 34104 | 3598674 | 10/06/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone at bar area and kitchen entrance.For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2101883 | 325047 | ROMA IN LIMA PIZZA & CUISINE LLC | ROMA IN LIMA PIZZA & CUISINE LLC | 1025 W MAIN ST , IMMOKALEE 34142 | 3607042 | 10/10/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed chairs stored in the hallway leading to the fire exit. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2101883 | 325047 | ROMA IN LIMA PIZZA & CUISINE LLC | ROMA IN LIMA PIZZA & CUISINE LLC | 1025 W MAIN ST , IMMOKALEE 34142 | 3607042 | 10/10/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only. Observed rear exit door locked. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2102261 | 247930 | AQUA SEAFOOD & STEAKS | BILL AND GORDON CORPORATION | 862 5 AVE S , NAPLES 34102 | 3611245 | 10/10/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone near cook line. For reporting purposes only. - From follow-up inspection 2025-10-10: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2103286 | 360250 | AL CARBON Y MAS | AL CARBON Y MAS INC | 6002 RADIO RD , NAPLES 34104 | 3598674 | 10/10/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone at bar area and kitchen entrance.For reporting purposes only. - From follow-up inspection 2025-10-10: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2334894 | 282532 | PRETTY HEALTHY | PRETTY HEALTHY LLC | 17560 NW 27 AVE STE 123 , MIAMI 33056 | 3633425 | 10/10/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed 4 electrical stove to cook shrimp, salmon and chicken stored in the back prep area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337568 | 344043 | SADELLE'S / KITH | KITH CAFE, LLC | 69 NE 41 ST , MIAMI 33137 | 3639413 | 10/10/2025 | Routine - Food | Inspection Completed - No Further Action | 45-06-4 | Portable fire extinguisher is inaccessible. For reporting purposes only. Observed fire extinguisher stored on floor by mop sink area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2334007 | 264520 | LITTLE CAESARS PIZZA | LITTLE CAESAR ENTERPRISE INC | 15457 SW 137 AVE , MIAMI 33177 | 3620225 | 10/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed path to marked exit blocked with trach bin. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335330 | 297229 | TOWNEPLACE SUITES MIAMI HOMESTEAD | HOMESTEAD HOLDINGS II LLC | 935 NE 30TH TERRACE , HOMESTEAD 33033 | 3613537 | 10/10/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. FL 132462 expired on 06/06/2025 FL 132463 expired on 06/06/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2335732 | 299394 | TOPGOLF USA MIAMI GARDENS | TOPGOLF USA MIAMI GARDENS LLC | 17321 NW 7 AVE , MIAMI GARDENS 33169 | 3626265 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. At the time of the inspection observed water heating device with a maximum input of 499990 btu. Observed establishment submitted inspection request. No boiler certificate provided. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2322855 | 292903 | FRITANGA LA GATA | FRITANGA LA GATA CORP | 2175 SW 1 ST , MIAMI 33135 | 3658141 | 10/06/2025 | Complaint Full | Call Back - Complied | 46-01-4 | - From initial inspection : Marked exit/path to marked exit blocked. For reporting purposes only. By the restrooms: child chairs and pressure cleaner blocking the door - From follow-up inspection 2025-10-06: By the restrooms: child chairs and pressure cleaner blocking the door **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337151 | 338487 | SHOMA BAZAAR | SHOMA BAZAAR ONE, LLC | 9420 NW 41 ST , DORAL 33178 | 3633737 | 10/03/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed 2 gas boilers with 650,000 BTUs next to ice machines / SN #1 2145126818071 and SN #2 Not visible. **Repeat Violation** - From follow-up inspection 2025-10-03: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2613975 | 206980 | SUBWAY | A&B ENTERPRISES INC | 1440 DUNN AVE STE 12A , JACKSONVILLE 32218 | 3607583 | 10/07/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit blocked by large wooden bar. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2607904 | 284509 | PIER 1515 | LEXDEVCOJAX INC | 1515 PRUDENTIAL DR , JACKSONVILLE 32207 | 3606512 | 10/08/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler certificate expired on 10/4/25, inspector is coming soon to inspect | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Flagler | 2010 | Food | 2800484 | 337726 | BURGER KING | ADISER ORLANDO, LLC | 6115 E HWY 100 , FLAGER BEACH 32136 | 3612489 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Fire extinguisher on ground next to ice machine. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800507 | 238707 | TACO BELL 26462 | FLORIDA BELLS LLC - 26462 | 1020 PALM COAST PKWY , PALM COAST 32137 | 3606355 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked by trash cans and boxes. Person in charge moved all. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800794 | 326018 | MCDONALD'S #36363 | J QUINT LLC | 4851 BELLE TERRE PKWY , PALM COAST 32137 | 3636092 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit blocked by cart. Person in charge moved cart. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800542 | 341825 | ORIENTAL GARDEN OF PALM COAST | ORIENTAL GARDEN WANG OF PALM COAST INC | 115 FLAGLER PLAZA DR , PALM COAST 32137 | 3605048 | 10/08/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Boxes blocking entry into back door from outside. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hardee | 2010 | Food | 3500270 | 351400 | RESTAURANT EL MESQUITE | VILLASANA AND SON RESTAURANT INC | 825 SR 66 , ZOLFO SPRINGS 33890 | 3591945 | 10/08/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed a table blocking the exit door in the dining room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3801041 | 240349 | PIZZANOS PIZZA | MANHA TRADING INC | 4141 US HWY 27 N STE# 10 , SEBRING 33870 | 3643675 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed fire extinguisher next to the bathroom in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3801041 | 240349 | PIZZANOS PIZZA | MANHA TRADING INC | 4141 US HWY 27 N STE# 10 , SEBRING 33870 | 3643675 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed one of the exit doors is blocked, owner stated the door is in disrepair and does not work. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3906539 | 286549 | SMOKIN ACES STEAKHOUSE | JORDAN RESTAURANT GROUP | 2509 N PARK RD , PLANT CITY 33563 | 3599283 | 10/07/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed left fryer on cook line extended beyond hood system by approximately 6 inches | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3918458 | 322124 | WENDY'S #11662 | WENDY'S INTERNATIONAL LLC | 3906 S US HWY 301 , RIVERVIEW 33578 | 3617385 | 10/08/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit near dry storage blocked by garbage cart. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3906539 | 286549 | SMOKIN ACES STEAKHOUSE | JORDAN RESTAURANT GROUP | 2509 N PARK RD , PLANT CITY 33563 | 3599283 | 10/08/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed left fryer on cook line extended beyond hood system by approximately 6 inches - From follow-up inspection 2025-10-08: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4508431 | 270373 | CHINA GOURMET | TIAN LONG INC | 1714 US HWY 27 STE 20 , CLERMONT 34714 | 3618055 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -by back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607133 | 372909 | JONESEZ | JONESEZ BBQ INC | 3802 DR MARTIN LUTHER KING JR BLVD , FORT MYERS 33916 | 3667775 | 10/08/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone at kitchen. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2014 | Food | 4651099 | 59037 | TAQUITOS TIERRA CALIENTE | TAQUITOS TIERRA CALIENTE INC | 1400 COLONIAL BLVD STE 35 , FORT MYERS 33907 | 1318253 | 10/08/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607472 | 325750 | ZEN DELI | ZEN DELICATESSEN LLC | 15880 SAN CARLOS BLVD #130 & 135 , FORT MYERS 33908 | 3644465 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Fryers in back food preparation area without hood suppression system. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607781 | 355747 | FILAMENT RESTAURANT HOTEL BANYAN FORT MYERS | LAXMI LODGING FLORIDA LLC | 1520 BROADWAY #104 , FORT MYERS 33901 | 3615250 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Observed fryers located in kitchen with no hood system. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607037 | 325669 | MOES SOUTHWEST GRILL #100499 | QUALITY FRESCA I LLC | 3405 FORUM BLVD STE 102 , FORT MYERS 33905 | 3644504 | 10/09/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed marked exit door in rear of kitchen blocked by trash can and empty box. Operator moved items. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607781 | 355747 | FILAMENT RESTAURANT HOTEL BANYAN FORT MYERS | LAXMI LODGING FLORIDA LLC | 1520 BROADWAY #104 , FORT MYERS 33901 | 3615250 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed boxes blocking fire exit door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4605779 | 359060 | APPLEBEE'S NEIGHBORHOOD GRILL AND BAR | APPLE FLORIDA LLC | 8243 DANI DR , FORT MYERS 33966 | 3625933 | 10/09/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked by a cart with boxes. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607768 | 356372 | LICENSE TO CHILL | TPI-FMB, LLC | 251 CRESCENT ST , FORT MYERS BEACH 33931 | 3638080 | 10/09/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. At GFIC outlet next to hand sink at cooks line. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105855 | 317768 | DUNKIN DONUTS 346802 | PURPLE ROCK INVESTMENT COMPANY LLC | 14405 SR 70 EAST , BRADENTON 34211 | 3601991 | 10/09/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed the fire extinguisher on the floor next to the back door. It needs to secured on the wall. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202132 | 128773 | OMALLY'S ALLEY | OMALLY'S ALLEY INC | 24 S MAGNOLIA , OCALA 34471 | 3640653 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher across from back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2014 | Food | 5250851 | 52635 | LUPITAS TAQUERIA | LUPITAS TAQUERIA LLC | 809 N MAGNOLIA AVE , OCALA 34475 | 1325318 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher next to back door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812689 | 358634 | ALEX GYRO AND CHEESESTEAKS | MARIAM KITCHEN LLC | 7310 E COLONIAL DR , ORLANDO 32807 | 3599651 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 49-05-4 | Flammables stored near a source of ignition. For reporting purposes only. 15.lb propane tank, burner stored in kitchen area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5911975 | 365032 | CHIPOTLE MEXICAN GRILL 4810 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 890 E IRLO BRONSON MEMORIAL HWY , ST. CLOUD 34769 | 3638384 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Blocked by trash cans and boxes Operator moved to the side to make exit accessible **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6009269 | 136925 | JERK ISLAND TAKE OUT REST | JERK ISLAND TAKE OUT REST LLC | 1739 W 45 ST , WEST PALM BEACH 72165 | 3619185 | 10/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Red extinguisher at the rear door. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2014 | Food | 6051736 | 35636 | TACOS Y ANTOJITOS EMANUEL INC | TACOS Y ANTOJITOS EMANUEL INC | 8110 MONETARY DR , RIVIERA BEACH 33404 | 1322707 | 10/06/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. The silver extinguisher at the rear of the truck. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217048 | 310846 | MARY MARGARET'S OLDE IRISH TAVERN | BT SOUTH 1 LLC | 29 3 ST N , ST. PETERSBURG 33701 | 3637380 | 10/03/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguishers located near back door next to bathrooms. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6211181 | 141479 | WATER COLOUR STEAK HOUSE AND GRILL | RADSK ASSOCIATES LTD | 1201 GULF BLVD , CLEARWATER BEACH 33767 | 3624449 | 10/10/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. FL139985, FL139984, FL137613,Fl137614, all exp 9/21/2025 - From follow-up inspection 2025-10-10: **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Putnam | 2010 | Food | 6400926 | 372783 | NEXT DOOR SUBS | LUKKO OPERATIONS LLC | 103 CHEYENNE AVE UNIT 1 AND 2 , INTERLACHEN 32148 | 3668246 | 10/03/2025 | Food-Licensing Inspection | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Flat top griddles used for cooking, produce grease laden vapors. Called local fire authority during inspection. No answer, will reattempt. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6804774 | 305365 | BOB EVANS RESTAURANT 463 | BOB EVANS RESTAURANTS LLC | 5903 BROOKHILL BLVD , SARASOTA 26302 | 3645175 | 10/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed their sanitizer the back exit fire extinguisher in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6801728 | 146514 | PHILLIPPI CREEK VILLAG OYS BAR | PHILLIPPI CREEK VIL OYS BAR IN | 5353 S TAMIAMI TRL , SARASOTA 14200 | 3612349 | 10/07/2025 | Routine - Food | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone at the server station in front of the oyster bar. For reporting purposes only. - From follow-up inspection 2025-10-07: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.