## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Brevard | 2010 | Food | 1501842 | 247549 | OLD FISH HOUSE | RC RODERER ENTERPRISES LLC | 249 W COCOA BEACH CSWY , COCOA BEACH 32931 | 3635033 | 11/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Next to back door in kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1617032 | 104562 | POPEYES FAMOUS FRIED CHICKEN #12 | SAILORMEN INC | 3291 W BROWARD BLVD , FORT LAUDERDALE 21112 | 3680011 | 11/07/2025 | Complaint Full | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Next to the walk in freezer | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1619016 | 351070 | DRAGON INN | ASIAN 1 KITCHEN INC | 3257 DAVIE BLVD , FORT LAUDERDALE 33312 | 3645318 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. The silver canister in the kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625852 | 356103 | PANDA EXPRESS FT LAUDERDALE | PANDA EXPRESS INC | 2644 W BROWARD BLVD , FORT LAUDERDALE 33312 | 3648623 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. At the rear door. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1607220 | 308032 | STERLING EVENT HALL | 4900 POWERLINE LLC | 4900 POWERLINE RD , OAKLAND PARK 33309 | 3657020 | 11/14/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Broward | 2010 | Food | 1600225 | 261047 | LAS OLAS CO - RIVERSIDE HOTEL | LAS OLAS CO., INC | 620 E LAS OLAS BLVD , FORT LAUDERDALE 33301 | 3606247 | 11/14/2025 | Routine - Food | Administrative complaint recommended | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Clay | 2010 | Food | 2001446 | 338207 | CICIS PIZZA | A3 PIZZA LLC | 410 BLANDING BLVD SUITE 5 , ORANGE PARK 32073 | 3599938 | 11/13/2025 | Routine - Food | Warning Issued | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguisher at bag in box soda rack in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2102992 | 211246 | CAMELLIA STREET GRILL | REMENTERIA TERRI L | 202 CAMELLIA ST , EVERGLADES CITY 34139 | 3616816 | 11/13/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. By back door of kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2324064 | 112786 | BAGEL EXPRESS | BAGEL EXPRESS INT'L INC | 11616 SW 88 ST , MIAMI 61005 | 3663847 | 11/10/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed flat top grill at front counter not completely stored underneath hood system. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2337347 | 365080 | MANO LIBERA MARCO GIUGLIANO | CAVALLINO RAMPANTE 73 LLC | 7201 SW 59 AVE , SOUTH MIAMI 33143 | 3612565 | 11/07/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed mini fryer stored on top of kitchen hand sink; no hood system above. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336668 | 329174 | POKE 88 RESTAURANT | POKE MIAMI 88 LLC | 8817 SW 107 AVE , MIAMI 33176 | 3650740 | 11/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed counter top fryer in back prep area, no hood system. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2338232 | 365576 | SNDWCH SUNSET | COUNTER PROVISIONS TWO LLC | 1573 SUNSET DR , CORAL GABLES 33143 | 3648832 | 11/14/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed miniature fryer at front counter. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335848 | 364229 | PRIVE BISTRO | TOSCAN DIVINO LLC | 5000 ISLAND ESTATES DR , AVENTURA 33160 | 3631125 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Observed Approved Marked exit door blocked by prep table and cabinet. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2331864 | 345627 | LOWKEYS HOOKAH LOUNGE AND EATS | LOWKEYS HOOKAH LOUNGE AND EATS LLC | 13785 NW 7 AVE , MIAMI 33162 | 3609218 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed a propane tank bigger than 2.7 lb next to exit door inside the kitchen. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2333045 | 364783 | YUE CHINESE FUSION | YUE MIAMIBEACH INC | 447 ESPANOLA WAY , MIAMI BEACH 33139 | 3611235 | 11/12/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2312526 | 110186 | SHORTY'S BAR-B-QUE | SHORTY'S INC | 9200 S DIXIE HWY , MIAMI 62930 | 3680773 | 11/13/2025 | Complaint Full | Call Back - Admin. complaint recommended | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed flat top used for cooking with no hood system; across steam table. **Repeat Violation** - From follow-up inspection 2025-11-13: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2330048 | 361743 | VALE FOOD CO | VALE FOOD COMPANY DADELAND LLC | 9537 S DIXIE HWY , MIAMI 33156 | 3664400 | 11/14/2025 | Complaint Full | Call Back - Admin. complaint recommended | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed cooking with no hood system next to dry food storage rack. - From follow-up inspection 2025-09-12: **Time Extended** - From follow-up inspection 2025-11-14: Observed two hot plates on top of prep table not under hood system. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2312526 | 110186 | SHORTY'S BAR-B-QUE | SHORTY'S INC | 9200 S DIXIE HWY , MIAMI 62930 | 3680773 | 11/12/2025 | Complaint Full | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed flat top used for cooking with no hood system; across steam table. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335572 | 302624 | FORNO ITALIANO PIZZERIA | KAPXHIU INC | 1403 SUNSET DR , CORAL GABLES 33146 | 3609752 | 11/07/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed propane tank in kitchen area in use with portable gas stove. Operator disconnected and placed outside. **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
DeSoto | 2010 | Food | 2400329 | 362019 | OPEN ROAD BAR | OPEN ROAD BAR INC | 4313 N W HWY 70 , ARCADIA 34266 | 3611532 | 11/12/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed back exit door blocked by 2- 2x6 wood as a lock prevention, operator moved. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2615206 | 281150 | CHIPOTLE MEXICAN GRILL #2547 | CHIPOTLE MEXICAN GRILL OF COLORADO LLC | 13546 BEACH BLVD , JACKSONVILLE 32224 | 3621453 | 11/14/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed trash cans and broken down boxes blocking path to exit door in back of restaurant. Operator cleared path to back exit door. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2010 | Food | 2800616 | 255281 | GIUSEPPES NY PIZZA EXPRESS | GIUSEPPES NY PIZZA EXPRESS INC | 2245 S OLD DIXIE HWY , BUNNELL 32110 | 3646100 | 11/13/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back door blocked by a cart. Person in charge moved cart. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3919180 | 354520 | ANGELINAS DELI | ANGELINAS DELI LLC | 204 S COLLINS ST , PLANT CITY 33563 | 3662205 | 11/13/2025 | Complaint Full | Call Back - Admin. complaint recommended | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed flat top grill with grease on wall and table top fryer. - From follow-up inspection 2025-11-13: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2010 | Food | 4508660 | 298007 | SAFFRON INDIAN RESTAURANT | SAFFRON INDIAN RESTAURANT LLC | 16745 CAGAN CROSSINGS BLVD #104 , CLERMONT 34714 | 3611745 | 11/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. -by back door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4604411 | 347541 | VLADY CUBAN FOOD INC | VLADY CUBAN FOOD INC | 532 SE 47 TER STE 4 , CAPE CORAL 33904 | 3654768 | 11/12/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4606992 | 295349 | TROPICAL SMOOTHIE CAFÉ | TSC CAPE CORAL SB INC | 2139 SANTA BARBARA BLVD SO , CAPE CORAL 33991 | 3646346 | 11/12/2025 | Routine - Food | Inspection Completed - No Further Action | 46-04-4 | Exit door locked. For reporting purposes only by boxes. The boxes was removed from being in front of exit door. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5804647 | 132196 | KING EXPRESS | NHON LY | 2225 W OAKRIDGE RD , ORLANDO 32809 | 3644060 | 11/13/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5812491 | 235787 | KIA CENTER- ICON- LEVEL E | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3603254 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Expired 7/3/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812503 | 235799 | KIA CENTER-INSEAT PANTRY-LEVEL E | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3626916 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 7/3/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812496 | 235801 | KIA CENTER-PREMIUM PANTRY B-LEVEL C | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3621584 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 7/3/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812508 | 235807 | ST 102 BLACK ROOSTER TERRACE LEVEL | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3629886 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler expired 7/3/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812497 | 235810 | KIA CENTER-OTOWN GRILL &PAPA JOHNS-LEVEL T | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3609100 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler 7/3/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812510 | 235811 | KIA CENTER-SLAM DUNK -LEVEL T | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3592485 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler expired 7/3/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812511 | 235812 | KIA CENTER-ST113 ORLANDO TABLE | ORLANDO FOOD SERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3627636 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler 7/3/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812460 | 235815 | KIA CENTER-THE CARVERY-LEVEL C | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3607115 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler expired 7/3/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812461 | 235819 | KIA CENTER-SEAR & SIZZLE-LEVEL C | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3623126 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler expired 7/3/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812537 | 235821 | KIA CENTER MAIN KITCHEN | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3601501 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler expired 7/3/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812500 | 235823 | KIA CENTER-NORTH CLUB BAR-LEVEL C | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3624489 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. 7/3/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5812644 | 243149 | KIA CENTER-PREMIUM PANTRY A-LEVEL C | ORLANDO FOODSERVICE PARTNERS | 400 WEST CHURCH , ORLANDO 32801 | 3602557 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler expired 7/3/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5815224 | 364257 | TAVERN ON CHURCH | ORLANDO FOODSERVICE PARTNERS | 430 W CHURCH ST , ORLANDO 32801 | 3641916 | 11/07/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Expired 7/3/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5813812 | 318750 | GOCHOS ORLANDO | DIANAS COFFEE LLC | 11220 S ORANGE BLOSSOM TRL , ORLANDO 32837 | 3594121 | 11/12/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Gas tank stored below triple sink. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5911897 | 356161 | FRANCO | BAMBINOS FOOD SERVICES LLC | 611 W VINE ST STE B , KISSIMMEE 34741 | 3608679 | 11/12/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Exit blocked by food warmers, dumpster and mixer at kitchen entrance. Exit blocked by potato peeling machine and salad dispenser at back of kitchen. Operator cleared exit. **Repeat Violation** **Corrected On-Site** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6022997 | 359091 | ZOE TAKE OUT RESTAURANT | ZOE TAKE OUT RESTAURANT LLC | 5371 10 AVE N STE 8 , GREENACRES 33463 | 3636729 | 11/14/2025 | Routine - Food | Emergency order recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. In walk in cooler large propane tank stored on floor, discussed with employee to remove from building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6021289 | 274550 | NATURAL BLENDS | NATURAL BLENDS INC. | 3919 S JOG RD SPACE 20A , LAKE WORTH 33467 | 3621752 | 11/12/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. In kitchen small panini press / griddle used to cook eggs and sandwiches with oils with no hood ventilation system, wall/shelves/cardboard boxes above griddle have build up of grease vapors, discussed with operator fire hazard. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217007 | 355179 | BOCAO BAKERY AND RESTAURANT | BOCAO BAKERY AND RESTAURANT LLC | 2097 DREW ST , CLEARWATER 33765 | 3678654 | 11/07/2025 | Complaint Full | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. Blocked By Table, manager relocated table, For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6804914 | 365921 | SUSHARK | SUSHARK USA LLC | 6550 GATEWAY AVE , SARASOTA 34231 | 3615424 | 11/10/2025 | Routine - Food | Warning Issued | 46-04-4 | Rear exit door locked. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2010 | Food | 6501678 | 178582 | ARBY'S #7513 | RTM OPERATING COMPANY | 708 E GEOFFREY ST , SAINT AUGUSTINE 32086 | 3645908 | 11/12/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Hanging light fixture at dry goods. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406588 | 219753 | SUPER WOK | CHEN BI JIN | 4031 S NOVA RD STE A , PORT ORANGE 32127 | 3596400 | 11/13/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Pressurized gas tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. -30lb tank of tetraflurothane inside back dry storage room near water heater. Operator removed from building. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.