## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1103092 | 356946 | MAHZU SUSHI AND GRILL | OLIVE TREE RESTAURANT LLC | 5150 SW 34 ST , GAINESVILLE 32608 | 3652290 | 12/04/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed : the marked Exit door by the restrooms was blocked with buckets. These were moved to give access. **Corrected On-Site** **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2010 | Food | 1103485 | 329182 | NEWK'S EATERY | FAST-ONE OF FL INC | 4041 PLAZA BLVD , GAINESVILLE 32608 | 3656256 | 12/03/2025 | Routine - Food | Administrative complaint recommended | 45-01-4 | No portable fire extinguisher present. For reporting purposes only. Observed : the Fire extinguisher by the soda is in the red zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305623 | 275457 | DUNKIN DONUTS | PANAMA CITY BEACH DONUTS LLC | 11150 PANAMA CITY BEACH PKWY , PANAMA CITY BEACH 32407 | 3597670 | 12/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher by back door in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1304089 | 298254 | MOSEY'S DOWTOWN | MOSEYS DOWNTOWN LLC | 425 GRACE AVE , PANAMA CITY 32401 | 3636198 | 12/01/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. K class extinguisher in recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2014 | Food | 1350287 | 69620 | DIVE | SALTY HOBO LLC | 1118 BAYVIEW AVE , PANAMA CITY 32401 | 1316335 | 12/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher by three compartment sink in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2010 | Food | 1305720 | 327630 | SQUIDLYS SEAFOOD | BUBBAS PIZZA CORP | 22414 PANAMA CITY BEACH PKWY , PANAMA CITY BEACH 32413 | 3627363 | 12/04/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 tanks by back door. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bradford | 2010 | Food | 1400225 | 362791 | BLUELINE Q | BLUELINE Q LLC | 15070 US HWY 301 , STARKE 32091 | 3643774 | 12/03/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Flat top grill on cook line used to cook smash burgers with no hood system present. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2014 | Food | 1550721 | 46581 | DUELING CHEFS SMOKE N GRILLE | BROOKS, WILLIAM | 688 S PARK AVE , TITUSVILLE 32796 | 1316239 | 12/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1625836 | 350387 | BLACK FLAMINGO BREWERY | BLACK FLAMINGO BREWERY INC | 3482 NE 12 AVE , OAKLAND PARK 33334 | 3603702 | 12/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1617196 | 104653 | CHECKERS DRIVE IN REST #755 | CHECKERS DRIVE-IN RESTAURANTS INC | 9901 MIRAMAR PKWY , MIRAMAR 52307 | 3653817 | 12/01/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. -Observed an electrical outlet missing cover. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2010 | Food | 2102700 | 171867 | RUSTYS RAW BAR & GRILL | LARRY'S OF BONITA LLC | 2700 IMMOKALEE RD BLDG 300 #13 , NAPLES 34110 | 3657956 | 12/04/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed fire extinguisher near Walk in cooler missing from designated area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2336752 | 326149 | OJO DE AGUA | OJO DE AGUA INTERNATIONAL LLC | 851 S MIAMI AVE , MIAMI 33130 | 3599547 | 12/02/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed one fat fryer being used, stored on prep table at prep area with no hood suppression system above it. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2335871 | 307812 | ALTITUDE | SBE HOTEL MANAGEMENT LLC | 801 S MIAMI AVE , MIAMI 33130 | 3599443 | 12/03/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL 135542 , FL 135543 both certificates expires on 09-27-24. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2322299 | 112235 | EL ATLACATL | ATLACATL RESTAURANT CORP | 466 SW 17 AVE , MIAMI 53627 | 3637657 | 12/05/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed inside the kitchen: establishment added a single gas burner not underneath the hood system **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2300147 | 109518 | JOES STONE CRABS RESTAURANT | JOES STONE CRABS INC | 11 WASHINGTON AVE , MIAMI BEACH 33139 | 3619331 | 12/01/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed FL 021620, FL 021621 all expired on 11/12/2025 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2324064 | 112786 | BAGEL EXPRESS | BAGEL EXPRESS INT'L INC | 11616 SW 88 ST , MIAMI 61005 | 3625069 | 12/04/2025 | Routine - Food | Call Back - Complied | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed flat top grill at front counter not completely stored underneath hood system. - From follow-up inspection 2025-12-04: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2614163 | 297474 | COUSIN WILLIE'S SMOKEHOUSE | COUSIN WILLIE'S SMOKEHOUSE LLC | 280 US HWY 90 W , BALDWIN 32234 | 3663912 | 12/02/2025 | Routine - Food | Administrative complaint recommended | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Observed scorch marks and melted electrical outlet on wall on cook line beside microwave. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2614925 | 367681 | BOTTLENOSE BREWING | H AND S ENTERPRISES LLC | 9700 DEER LAKE CT. SUITE 1 , JACKSONVILLE 32246 | 3642761 | 12/03/2025 | Routine - Food | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. C02 tank stored inside establishment next to vending machine | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hernando | 2010 | Food | 3701089 | 368493 | BEEFOBRADYS | SPRING HILL BEEFS LLC | 14387 SPRING HILL DR STE 400 , SPRING HILL 34609 | 3684171 | 12/04/2025 | Complaint Partial | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Two fire extinguishers in the kitchen were in the red zone. The operator replaced one of them with a full extinguisher from the manager's office. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hernando | 2010 | Food | 3701089 | 368493 | BEEFOBRADYS | SPRING HILL BEEFS LLC | 14387 SPRING HILL DR STE 400 , SPRING HILL 34609 | 3684171 | 12/04/2025 | Complaint Partial | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. The fire box by the back exit door in the kitchen is hanging off the wall. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2010 | Food | 3800806 | 329234 | SONIC DRIVE-IN 6668 | QUALITY DRIVE-IN I LLC | 650 US HWY 27 N , SEBRING 33870 | 3652054 | 12/02/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Observed fire extinguisher on the floor by the back door, operator placed back in designated location. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3918258 | 320999 | TRIANA CARIBBEAN SANDWISH SHOP LLC | TRIANA CARIBBEAN SANDWISH SHOP LLC | 4025 W WATERS AVE STE 115-116 , TAMPA 33614 | 3633218 | 12/02/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Panini press located next to Employee handwash sink in kitchen area not placed beneath hood. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2010 | Food | 3911794 | 347896 | PHO HUONG | THANH LOC LLC | 4034 W WATERS AVE , TAMPA 33614 | 3653846 | 12/01/2025 | Routine - Food | Administrative complaint recommended | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Table top fryers on front line prep table, not located beneath hood systems. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607777 | 357437 | EAST COAST WAFFLES | WAFFLE HOUSE | 4891 PALM BEACH BLVD , FORT MYERS 33905 | 3639701 | 12/03/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed rear marked exit blocked by trash can and rolling cart. Operator moved items away from exit. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4603968 | 326350 | DENNYS | ARGINV6424 LLC | 9340 MARKET PLACE RD , FORT MYERS 33912 | 3640973 | 12/04/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Large red gas canisters (2) located inside of the building in mop sink area. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105624 | 272254 | POPPO'S TAQUERIA | TAQUERIA RESTAURANTS GROUP LLC | 6777 MANATEE AVE W , BRADENTON 34209 | 3659657 | 12/05/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Observed back exit door from kitchen blocked by boxes and a garbage can. Operator removed boxes and garbage. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5203101 | 324098 | EL MEZCAL MEXICAN RESTAURANT | JJ & GL GROUP INC | 8441 SW HWY 200 STE 147/149 , OCALA 34481 | 3657878 | 12/05/2025 | Routine - Food | Administrative complaint recommended | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Outlet on wall for office coming out. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2010 | Food | 5402035 | 214068 | GREAT WALL CHINESE RESTAURANT | LUNG & WAI INC | 91200 OVERSEAS HWY , TAVERNIER 33070 | 3613636 | 12/04/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811599 | 354502 | CICI'S TAKEOUT RESTAURANT | LAMOUR OCCILIA | 5112 NORTH LN , ORLANDO 32808 | 3603928 | 12/04/2025 | Routine - Food | Warning Issued | 46-04-4 | Exit door locked. For reporting purposes only. Operator had safety bar blocking back exit door. Operator removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5815366 | 334557 | GRILLMASTER | GRILLMASTER CATERING & EVENT PLANNING LLC | 2222 OCOEE APOPKA RD SUITE 108 , OCOEE 34761 | 3638985 | 12/05/2025 | Routine - Food | Warning Issued | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. 2 tanks in back storage area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5809199 | 326971 | CHARLEY'S WINGS AND PHILLY STEAKS | POPE SHENOUDA AND AVA HEDRA LLC | 2567 S KIRKMAN RD , ORLANDO 32811 | 3644902 | 12/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. -fire extinguisher at rear door on floor instead of designated hook | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2013 | Food | 5810902 | 3355 | HOFFNER CATERING & SUPPLY | HOFFNER CATERING & SUPPLY LLC | 4880 B DISTRIBUTION CT UNIT 1-2 , ORLANDO 32822 | 1133836 | 12/02/2025 | Routine - Food | Emergency order recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. -emergency exit in drink storage room blocked by pallet of togo containers | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5811599 | 354502 | CICI'S TAKEOUT RESTAURANT | LAMOUR OCCILIA | 5112 NORTH LN , ORLANDO 32808 | 3603928 | 12/05/2025 | Routine - Food | Call Back - Complied | 46-04-4 | - From initial inspection : Exit door locked. For reporting purposes only. Operator had safety bar blocking back exit door. Operator removed **Corrected On-Site** - From follow-up inspection 2025-12-05: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2010 | Food | 6009517 | 226118 | ISLANDER GRILL & TIKI BAR | KEMENTIA INC | 181 OCEAN AVE , PALM BEACH SHORES 33404 | 3649636 | 12/01/2025 | Routine - Food | Warning Issued | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler inspection expired 8/1/25 | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Palm Beach | 2010 | Food | 6009517 | 226118 | ISLANDER GRILL & TIKI BAR | KEMENTIA INC | 181 OCEAN AVE , PALM BEACH SHORES 33404 | 3649636 | 12/02/2025 | Routine - Food | Call Back - Admin. complaint recommended | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Boiler inspection expired 8/1/25 - From follow-up inspection 2025-12-02: Same. **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Pinellas | 2010 | Food | 6217107 | 302493 | HALONG BAY 2 | CHAU FUTURE LLC | 10500 ULMERTON RD UNIT 282 & 288 , LARGO 33771 | 3635797 | 12/05/2025 | Routine - Food | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Use of portable grease laden fat-fryers in rooms located behind sushi bar. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6218636 | 360585 | WAFFLES DREAM | WAFFLES DREAM LLC | 1438 GULF TO BAY BLVD , CLEARWATER 33755 | 3608135 | 12/03/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone in the dining area . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2010 | Food | 6217048 | 310846 | MARY MARGARET'S OLDE IRISH TAVERN | BT SOUTH 1 LLC | 29 3 ST N , ST. PETERSBURG 33701 | 3637380 | 12/04/2025 | Routine - Food | Call Back - Admin. complaint recommended | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. Fire extinguishers located near back door next to bathrooms. - From follow-up inspection 2025-12-04: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6803882 | 258809 | LEONE'S RISTORANTE & PIZZERIA | PAPA LEONE'S, LLC | 1266 JACARANDA BLVD , VENICE 34292 | 3649196 | 12/05/2025 | Routine - Food | Inspection Completed - No Further Action | 46-01-4 | Marked rear dining room exit/path to marked exit blocked. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2010 | Food | 6805737 | 345841 | ROCCOS TACOS AND TEQUILA BAR | SARASOTA TACO LLC | 243 N CATTLEMAN RD , SARASOTA 34243 | 3650616 | 12/05/2025 | Routine - Food | Inspection Completed - No Further Action | 47-03-4 | Observed electrical wiring in disrepair. For reporting purposes only. Observed the light switch in dish area missing the cover to expose wires. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.