## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2010 | Food | 1101214 | 98907 | WENDYS OLD FASHIONED HAMBURGER | HOOVER FOODS INC | 6700 NEWBERRY RD , GAINESVILLE 54313 | 3647331 | 12/22/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Extinguisher by the back door in kitchen in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2010 | Food | 1611437 | 325549 | CHARLEY'S PHILLY STEAKS | VULCAIN SEVEN INC | 2310 N FEDERAL HWY , HOLLYWOOD 33020 | 3646254 | 12/19/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed at cook line fire extinguisher next to hand wash sink | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2333511 | 306526 | LA CREPE BISTRO | AMMA VSJ LLC | 7340 SW 57 AVE , SOUTH MIAMI 33143 | 3656465 | 12/19/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed cooking with no hood system across warewash. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2010 | Food | 2332842 | 240245 | HAMPTON INN & SUITES | BRICKELL HOTEL GROUP LLLP | 50 SW 12TH STREET , MIAMI 33130 | 3600665 | 12/22/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. Observed boiler certificate expired. | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Dade | 2010 | Food | 2331522 | 206828 | KNIFE STEAK HOUSE | CARMACUATRO LLC | 1455 1455 NW 107 AVE , DORAL 33172 | 3634210 | 12/22/2025 | Routine - Food | Call Back - Complied | 48-01-5 | - From initial inspection : No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-12-22: At time of callback inspection observed No current insurance inspector boiler report or boiler certificate available for boiler. **Time Extended** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Duval | 2010 | Food | 2614505 | 373731 | SWEET SOUTHERN SKILLET | SWEET SOUTHERN SKILLET LLC | 6661 BOWDEN RD , JACKSONVILLE 32216 | 3686303 | 12/19/2025 | Complaint Full | Warning Issued | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Observed flattop griddle & small fryer being used to prepare food with no hood suppression system | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2010 | Food | 2600389 | 335972 | SPICES CARIBBEAN RESTAURANT | GENUS ENTERPRISES, LLC | 1319 ROGERO RD , JACKSONVILLE 32211 | 3660944 | 12/19/2025 | Routine - Food | Inspection Completed - No Further Action | 45-04-4 | Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Fryer for dumplings not under hood | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607614 | 342569 | TOKEN RAMEN | TOKEN RAMEN 136 INC | 8001 DANI DR UNIT 1 , FORT MYERS 33966 | 3687314 | 12/23/2025 | Complaint Full | Call Back - Admin. complaint recommended | 48-04-4 | - From initial inspection : Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed propane tank - 15lbs stored outside customer restrooms in storage area. - From follow-up inspection 2025-12-23: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2010 | Food | 4607614 | 342569 | TOKEN RAMEN | TOKEN RAMEN 136 INC | 8001 DANI DR UNIT 1 , FORT MYERS 33966 | 3687314 | 12/22/2025 | Complaint Full | Administrative complaint recommended | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Observed propane tank - 15lbs stored outside customer restrooms in storage area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2010 | Food | 5105175 | 267691 | TACO BELL | BDE FLORIDA LLC | 640 E 10 ST , PALMETTO 34221 | 3648387 | 12/22/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Gauge on the fire extinguisher stored on wall next to walk in cooler in the red. (Under changed). | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2010 | Food | 5202538 | 302677 | BOB EVANS RESTAURANTS 523 | BOB EVANS RESTAURANTS LLC | 4985 SILVER SPGS BLVD , OCALA 34470 | 3657117 | 12/23/2025 | Routine - Food | Inspection Completed - No Further Action | 45-02-4 | Portable fire extinguisher gauge in red zone. For reporting purposes only. Observed : the silver KClass fire extinguisher has the indicator arrow in the overcharge red zone. The pull pin is missing. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2010 | Food | 5500576 | 373988 | TACO BELL #042873 | TACO BELL OF AMERICA LLC | 1858 S 8 ST , FERNANDINA BEACH 32034 | 3677280 | 12/23/2025 | Routine - Food | Inspection Completed - No Further Action | 47-02-4 | Observed scorch marks around electrical outlet. For reporting purposes only. Observed scorch marks on electoral outlet by drive through window, Taco Bell electrician was on site and took a look at it. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okaloosa | 2010 | Food | 5603962 | 275288 | JIMMY BUFFETT'S MARGARITAVILLE CAFE 2ND FLOOR | IMCMV DESTIN LLC | 76 HARBOR BLVD , DESTIN 32541 | 3618220 | 12/22/2025 | Routine - Food | Inspection Completed - No Further Action | 48-01-5 | No current insurance inspector boiler report or boiler certificate available for boiler. For reporting purposes only. **Repeat Violation** | Reporting: (10) Heating and ventilation - The heating and ventilation system shall be kept in good repair or be installed to maintain a minimum of 68 degrees Fahrenheit throughout the building. The insurance inspectors boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers and shall be posted in the boiler room. For reporting purposes only.
Orange | 2010 | Food | 5814411 | 367241 | BEIGNETS & BREW | NORA CRAVINGS LLC | 885 N ORANGE AVE , ORLANDO 32801 | 3628957 | 12/22/2025 | Routine - Food | Warning Issued | 45-05-4 | Portable fire extinguisher missing from its designated location. For reporting purposes only. Stored on floor in back kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2010 | Food | 5814411 | 367241 | BEIGNETS & BREW | NORA CRAVINGS LLC | 885 N ORANGE AVE , ORLANDO 32801 | 3628957 | 12/23/2025 | Routine - Food | Call Back - Complied | 45-05-4 | - From initial inspection : Portable fire extinguisher missing from its designated location. For reporting purposes only. Stored on floor in back kitchen - From follow-up inspection 2025-12-23: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2010 | Food | 5911819 | 344094 | ETTE HOTEL/ SALT & THE CELLAR (RESTAURANT)/ LIPA ROOFTOP | ROSEMONT HOTELS INC | 3001 SHERBERTH RD FL 1 , KISSIMMEE 34747 | 3593853 | 12/23/2025 | Routine - Food | Inspection Completed - No Further Action | 48-04-4 | Propane tank (larger than 2.7 lb. water capacity/1 lb. gas capacity) located inside of the building. For reporting purposes only. Propane tanks stored in hallway of kitchen | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2010 | Food | 6502535 | 356852 | CLEAN EATZ | JM JAX HOLDINGS 2 LLC | 140 LITTLE CYPRESS RD STE 101 , ST. JOHNS 32259 | 3602678 | 12/19/2025 | Routine - Food | Administrative complaint recommended | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. Back exit door blocked by cart. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sumter | 2010 | Food | 7000657 | 330170 | FIESTA GRANDE MEXICAN GRILL | FIESTA GRANDE MEXICAN GRILL IV INC | 3647 KIESSEL RD , THE VILLAGES 32163 | 3615292 | 12/22/2025 | Routine - Food | Call Back - Extension given, pending | 45-04-4 | - From initial inspection : Use of cooking equipment producing grease laden vapors/smoke with no hood suppression system installed. Notified Fire AHJ. For reporting purposes only. Fryer in cook line used to fry tortillas not under hood system. - From follow-up inspection 2025-12-22: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7407405 | 329740 | ROYAL SUSHI GRILL AND THAI | ROYAL SUSHI GRILL AND THAI LLC | 1816 S RIDGEWOOD AVE , EDGEWATER 32141 | 3653040 | 12/22/2025 | Routine - Food | Warning Issued | 46-01-4 | Marked exit/path to marked exit blocked. For reporting purposes only. - exit door in kitchen blocked by trash can | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2010 | Food | 7406422 | 336248 | LA FIESTA CANTINA | LA FIESTA CANTINA LLC | 3785 S NOVA RD , PORT ORANGE 32129 | 3686131 | 12/19/2025 | Complaint Full | Call Back - Complied | 45-02-4 | - From initial inspection : Portable fire extinguisher gauge in red zone. For reporting purposes only. -extinguisher in back near back door in overcharge/red zone **Repeat Violation** - From follow-up inspection 2025-12-19: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.