## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2001 | Lodging | 1102958 | 7309 | WOODSPRING SUITES | VP GAINESVILLE SOUTH LLC | 5505 SW 41ST BLVD , GAINESVILLE 32608 | 1176385 | 01/06/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed: the gentex hearing impaired smoke detector does not have any wires for connection. - From follow-up inspection 2025-01-06: The gentex hearing impaired smoke detectors lack any connecting wires. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1612914 | 91045 | THE_TERRACES JACARANDA CLUB LUXURY RENTALS | THE_TERRACES JACARANDA CLUB LUXURY RENTALS LLC | 8101 NW 14 ST , PLANTATION 33322 | 1582957 | 01/08/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed next to apartment 1385. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1616673 | 105570 | FAIRWAYS OF CAROLINA | WE FAIRWAYS OF CAROLINA OWNER LLC | 2701 ROCK ISLAND RD , MARGATE 33063 | 1593281 | 01/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed at unit 112 building 2551 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1613659 | 116707 | PINEBROOK POINTE | PINEBROOK POINTE APTS HOLDINGS LLC | 3495 PINEWALK DRIVE NORTH , MARGATE 33063 | 1588312 | 01/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed at building 3445 unit 103, building 3425 unit 109 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620897 | 10134 | EXTENDED STAY AMERICA SUITES 8021 | TIGER HOTEL TRS SUB LLC | 1400 SW 11TH WAY , DEERFIELD BEACH 33441 | 1179351 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. Observed at fire extinguisher by front office. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1616673 | 105570 | FAIRWAYS OF CAROLINA | WE FAIRWAYS OF CAROLINA OWNER LLC | 2701 ROCK ISLAND RD , MARGATE 33063 | 1593281 | 01/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at unit 304 building 2601 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1605690 | 112085 | WILTON HOUSE APARTMENTS | ANDREWS AVE APARTMENTS LLC | 2727 N ANDREWS AVE , WILTON MANORS 33311 | 1583851 | 01/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed in building B 210- 206. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1613659 | 116707 | PINEBROOK POINTE | PINEBROOK POINTE APTS HOLDINGS LLC | 3495 PINEWALK DRIVE NORTH , MARGATE 33063 | 1588312 | 01/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at building 3485 unit 102, Building 3445 unit 107, building 3405 unit 102 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1618409 | 8452 | EXTENDED STAY AMERICA SUITES #328 | ESA P PORTFOLIO OPERATING LESSEE LLC | 1200 FAU RESEARCH PARK BLVD , DEERFIELD BEACH 33441 | 1179352 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-05-4 | No smoke detector provided in guest room/unit 137 and 313. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Columbia | 2001 | Lodging | 2200606 | 10440 | FAIRFIELD INN | RADHA LAKE CITY LLC | 538 SW CORPORATE DR , LAKE CITY 32024 | 1178505 | 01/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Needle in recharge red area of extinguisher at room 318 . | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329342 | 86751 | COURTNEY REALTY LLC | COURTNEY REALTY LLC | 576 NE 63 ST , MIAMI 33138 | 1599298 | 01/10/2025 | Complaint Full | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher is in need of recharge at entrance of building first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2316403 | 55386 | CUTLER MANOR APARTMENTS | CUTLER MANOR APT LLC | 10875 SW 216 ST , MIAMI 03103 | 1623187 | 01/10/2025 | Complaint Full | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed throughout the property. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311837 | 19162 | NORTH MIAMI BEACH GARDEN INN & SUITE | MIAMI BEACH GARDEN INN & SUITE LLC | 148 NW 167 ST , MIAMI 33169 | 1240911 | 01/07/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. In the office. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329342 | 86751 | COURTNEY REALTY LLC | COURTNEY REALTY LLC | 576 NE 63 ST , MIAMI 33138 | 1599298 | 01/10/2025 | Complaint Full | Warning Issued | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. Observed no power at FACP located at back exit door entrance of the building. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329276 | 7428 | BEST WESTERN MIAMI EXECUTIVE AIRPORT | ERG HOTELS INC | 13700 SW 139 CT , MIAMI 33186 | 1183234 | 01/06/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired boiler certificate for 124631 and 124632 02/11/2024. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329452 | 9810 | GIRASOLE APARTMENTS | GIRASOLE APARTMENTS LLC | 5445 COLLINS AVENUE CU 10 , MIAMI BEACH 33140 | 1183215 | 01/03/2025 | Complaint Full | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Extinguisher located in front of the office at the lower lobby. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329336 | 11440 | KL FLORIDA, LLC | KL FLORIDA, LLC | 418 MERIDIAN AVE , MIAMI BEACH 33139 | 1183228 | 01/10/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329463 | 9796 | DCROSS MANAGEMENT | THERMO QUEEN CORP | 5445 COLLINS AVENUE UNIT C17 , MIAMI BEACH 33140 | 1178694 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. observed fire extinguisher at the lower lobby without breaking device. Extinguisher is located in front of Girasol Apartments office . **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2303471 | 18972 | RAINBOW MOTEL | 835SW LLC | 835 SW 24 AVE , MIAMI 33135 | 1237171 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. By door 27 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2306182 | 52516 | DAYSY II APTS | ROSADO JOSE & DAYSY | 7760 TATEM WATERWAY DR , MIAMI BEACH 11858 | 1582358 | 01/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed by units 3 and 7. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329307 | 7940 | AC HOTEL MIAMI BEACH | MARRIOTT HOTEL SERVICES LLC | 2912 COLLINS AVE , MIAMI BEACH 33140 | 1178253 | 01/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed on the main panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2317199 | 8726 | INTERCONTINENTAL HOTEL MIAMI | DTRS INTERCONTINENTAL MIAMI LLC | 100 CHOPIN PLAZA , MIAMI 33131 | 1178880 | 01/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329442 | 9577 | WYNDHAM GARDEN MIAMI INTERNATIONAL AIRPORT | SUCRE LLC | 4909 NW 36 ST , MIAMI SPRINGS 33166 | 1178156 | 01/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329463 | 9796 | DCROSS MANAGEMENT | THERMO QUEEN CORP | 5445 COLLINS AVENUE UNIT C17 , MIAMI BEACH 33140 | 1178694 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light flashing ( main panel at the lobby ) **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2322655 | 18886 | SONESTA SELECT MIAMI LAKES | HPT CY TRS INC | 15700 NW 77 CT , MIAMI LAKES 33016 | 1239712 | 01/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329509 | 10810 | ALDEN HOTEL | 2925 INDIAN CREEK DR LLC | 2925 INDIAN CREEK DR , MIAMI BEACH 33140 | 1178875 | 01/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Maintenance employee is conducting innovations to fix the issue. **Corrective Action Taken** **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2322655 | 18886 | SONESTA SELECT MIAMI LAKES | HPT CY TRS INC | 15700 NW 77 CT , MIAMI LAKES 33016 | 1239712 | 01/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL 134455 expired 8/12/2023, FL 124009 expired 8/12/2023. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329276 | 7428 | BEST WESTERN MIAMI EXECUTIVE AIRPORT | ERG HOTELS INC | 13700 SW 139 CT , MIAMI 33186 | 1183234 | 01/07/2025 | Complaint Full | Call Back - Extension given, pending | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired boiler certificate for 124631 and 124632 02/11/2024. **Repeat Violation** - From follow-up inspection 2025-01-07: Observed for 124631 Expiration date 02/21/2026. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2322655 | 18886 | SONESTA SELECT MIAMI LAKES | HPT CY TRS INC | 15700 NW 77 CT , MIAMI LAKES 33016 | 1235096 | 01/07/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-01-07: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327515 | 8803 | EXTENDED STAY AMERICA | ESA P PORTFOLIO OPERATING LESSEE LLC | 6605 NW 7 ST , MIAMI 33126 | 1177896 | 01/09/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boilers FL055351 expired on 08/12/22, FL 055350 expired 08/12/22 - From follow-up inspection 2024-12-30: Observed boilers FL055351 expired on 08/12/22, FL 055350 expired 08/12/22 **Time Extended** - From follow-up inspection 2025-01-09: Observed boilers FL055351 expired on 08/12/22, FL 055350 expired 08/12/22 - From follow-up inspection 2024-12-30: Observed boilers FL055351 expired on 08/12/22, FL 055350 expired 08/12/22 **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2612318 | 5818 | SONESTA SIMPLY SUITES JACKSONVILLE | HPT TRS IHG-2 INC | 4990 BELFORT RD , JACKSONVILLE 32256 | 1177348 | 01/06/2025 | Routine - Lodging | Warning Issued | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Hammer missing from locked fire extinguisher in gazebo to left of building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2612318 | 5818 | SONESTA SIMPLY SUITES JACKSONVILLE | HPT TRS IHG-2 INC | 4990 BELFORT RD , JACKSONVILLE 32256 | 1177348 | 01/06/2025 | Routine - Lodging | Warning Issued | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Only expired boiler certificate posted in boiler room. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2600595 | 9231 | REGENCY INN | DSPP INC | 6237 ARLINGTON EXPY , JACKSONVILLE 32211 | 1240835 | 01/06/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2600571 | 106460 | NINORA LLC | NINORA LLC | 4565 LEXINGTON AVE , JACKSONVILLE 32210 | 1601381 | 01/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed fire extinguisher on second floor of units 3 and 4 inaccessible. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2608853 | 9136 | EMBASSY SUITES JACKSONVILLE | FORTUNA JACKSONVILLE LLC | 9300 BAYMEADOWS RD , JACKSONVILLE 32256 | 1176107 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Fire extinguisher by 528, 515 missing hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2608853 | 9136 | EMBASSY SUITES JACKSONVILLE | FORTUNA JACKSONVILLE LLC | 9300 BAYMEADOWS RD , JACKSONVILLE 32256 | 1176107 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate expired 11.16.24. Was reinspected 12.2024 per person in charge has yet to issue new certificate. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2609173 | 18249 | STAYABLE SUITES JACKSONVILLE | 812 DUNN JAX HOLDINGS LLC | 812 DUNN AVE , JACKSONVILLE 32218 | 1240899 | 01/03/2025 | Complaint Full | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Unable to access fire extinguisher, by laundry room, by 112, 318, 218, 219, 227, | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3912245 | 8919 | EXTENDED STAY AMERICA #1569 | ESA P PORTFOLIO OPERATING LESSEE LLC | 4811 MEMORIAL HWY , TAMPA 33634 | 1183238 | 01/07/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By room 210. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3900300 | 58016 | KELLYS PLACE | BENT LONICA | 2821 NEBRASKA AVE , TAMPA 21727 | 1588473 | 01/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. Unable to determine if the extinguishers are in each unit, due to external inspection only. No office. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3907679 | 10938 | OASIS BAY SUITES | INVESTMENTS MANAGEMENT LLC | 3001 UNIVERSITY CENTER DR , TAMPA 33612 | 1177737 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3912329 | 11107 | HILTON GARDEN INN TAMPA NORTH | TAMPA HG HOSPITALITY LLC | 13305 TAMPA OAKS BLVD , TEMPLE TERRACE 33637 | 1176255 | 01/09/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. - From follow-up inspection 2025-01-09: Manager stated that they are waiting on the company Brennick Brothers to send out an inspector but the company is currently backed up. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2001 | Lodging | 4502678 | 10712 | HOME2 SUITES BY HILTON | CLERMONT OPERATORS LLC | 1450 CHAMPIONS WAY , CLERMONT 34711 | 1178918 | 01/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Levy | 2002 | Lodging | 4800383 | 19499 | QUALITY INN | GOSAI 9 LLC | 1125 N YOUNG BLVD , CHIEFLAND 32626 | 1239855 | 01/03/2025 | Complaint Partial | Call Back - Admin. complaint recommended | 04-02-4 | - From initial inspection : No smoke detector provided in guest room/unit. For reporting purposes only. Smoke alarm removed from wall and sitting on towel rack inside room #208. Smoke alarm is not functioning. **Warning** - From follow-up inspection 2025-01-03: Manager stated room #208 was occupied. Smoke detector missing from wall with wires hanging inside room #102. **Admin Complaint** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5403173 | 9448 | FAIRFIELD INN & SUITES | MARATHON HOTELS LLC | 13201 OVERSEAS HWY , MARATHON 33050 | 1182444 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5403173 | 9448 | FAIRFIELD INN & SUITES | MARATHON HOTELS LLC | 13201 OVERSEAS HWY , MARATHON 33050 | 1182444 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | In laundry area the lint room has an alarm emitting an audible alarm. For reporting purposes only. This alarm is. This audible alarm is coming from a water heating device in lint room | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500967 | 10086 | SPRINGHILL SUITES AMELIA ISLAND | INNISFREE HOTELS, INC. | 2700 ATLANTIC AVE STE 2 , AMELIA ISLAND 32034 | 1177380 | 01/09/2025 | Routine - Lodging | Warning Issued | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Boiler certificates kept in office. Manager states boiler certificates will be moved by boilers. **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500968 | 10087 | COURTYARD AMELIA ISLAND | INNISFREE HOTELS, INC. | 2700 ATLANTIC AVE STE 1 , AMELIA ISLAND 32034 | 1177656 | 01/09/2025 | Routine - Lodging | Warning Issued | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Boiler certificates kept in office. Manager states boiler certificates will be moved by boilers. **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811135 | 7274 | AVANTI RESORT | IDRIVE ORLANDO HOTEL LLC | 8738 INTERNATIONAL DR , ORLANDO 32819 | 1183199 | 01/07/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. All boiler certificates expired 12/14/2024. 133041, 137034, 133040, 135984, 130602, 133038, 135343, 133139, 133215. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811179 | 9484 | COURTYARD LAKE BUENA VISTA | CLBV ASSOCIATES LLC | 8501 PALM PKWY , ORLANDO 32836 | 1178407 | 01/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificate 134332 12/13/2024 expired | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1183236 | 01/07/2025 | Complaint Full | Warning Issued | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. Operator has signage throughout lobby saying system is out of order, a fire watch is patrolling affected areas of the building, and in case of fire call 911 **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1183236 | 01/07/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1183236 | 01/09/2025 | Complaint Full | Call Back - Extension given, pending | 04-04-4 | - From initial inspection : Fire alarm control panel has no power. For reporting purposes only. Operator has signage throughout lobby saying system is out of order, a fire watch is patrolling affected areas of the building, and in case of fire call 911 **Repeat Violation** - From follow-up inspection 2025-01-09: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1183236 | 01/10/2025 | Complaint Full | Call Back - Extension given, pending | 04-04-4 | - From initial inspection : Fire alarm control panel has no power. For reporting purposes only. Operator has signage throughout lobby saying system is out of order, a fire watch is patrolling affected areas of the building, and in case of fire call 911 **Repeat Violation** - From follow-up inspection 2025-01-09: **Time Extended** - From follow-up inspection 2025-01-10: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1183236 | 01/09/2025 | Complaint Full | Call Back - Extension given, pending | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-01-09: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1183236 | 01/10/2025 | Complaint Full | Call Back - Extension given, pending | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-01-09: **Time Extended** - From follow-up inspection 2025-01-10: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6014086 | 11231 | AMRIT OCEAN | WELLNESS RESORT AND SPA LLLP | 3100 N OCEAN DR , RIVIERA BEACH 33404 | 1183216 | 01/03/2025 | Complaint Full | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6011442 | 111430 | ROYAL ST GEORGE | ROYAL ST GEORGE APARTMENTS KOFP OWNER LLC | 1651 BRANDYWINE RD , WEST PALM BEACH 33409 | 1623111 | 01/03/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. At building 400; audible alarm/trouble light illuminated on control panel. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6201477 | 16904 | GATEWAY MOTEL | DARSHU LLC | 4990 34 ST N , ST. PETERSBURG 33714 | 1234163 | 01/03/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Near unit 24 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2002 | Lodging | 6800625 | 19315 | NOKOMIS GULF COAST INN | UPROAR CHARTER HOLDINGS LLC | 119 N TAMIAMI TRAIL , NOKOMIS 34275 | 1089688 | 01/08/2025 | Complaint Full | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher between rooms 102 and 103. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903650 | 8982 | EXTENDED STAY AMERICA #9634 | ESA P PORTFOLIO OPERATING LESSEE LLC | 302 NORTHLAKE BLVD , ALTAMONTE SPRINGS 32701 | 1183183 | 01/07/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406406 | 113966 | 1500 SAN MARCO DRIVE (FL) OWNER LLC | BREIT OPERATING PARTNERSHIP LLC | 1500 SAN MARCO DR , ORMOND BEACH 32174 | 1623120 | 01/03/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -fire panel in building 1511 has trouble light. -no power at fire panel in building 1515. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7403613 | 117532 | SPRUCEWOOD APARTMENT | ST BASHNONA PALMETTO LLC | 1450 SOUTH PALMETTO AVE , DAYTONA BEACH 32114 | 1623186 | 01/10/2025 | Complaint Full | Warning Issued | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. -per operator it has been disconnected and that it was connected prior to his ownership -FACP located second floor in small storage room | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7403718 | 16112 | HOLIDAY INN EXPRESS AND SUITES | DBS HOSPITALITY LLC | 3301 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1239653 | 01/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7403718 | 16112 | HOLIDAY INN EXPRESS AND SUITES | DBS HOSPITALITY LLC | 3301 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1239653 | 01/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -manager stated contacted fire insurance company over issue | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405603 | 18382 | SLEEP INN ORMOND BEACH | SOUTHERN SIX HOSPITALITY LLC | 170 WILLIAMSON BOULEVARD , ORMOND BEACH 32174 | 1235091 | 01/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406406 | 113966 | 1500 SAN MARCO DRIVE (FL) OWNER LLC | BREIT OPERATING PARTNERSHIP LLC | 1500 SAN MARCO DR , ORMOND BEACH 32174 | 1623120 | 01/07/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -fire panel in building 1511 has trouble light. -no power at fire panel in building 1515. - From follow-up inspection 2025-01-07: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401228 | 19464 | COVE MOTEL | AMERICANO COVE LLC | 1306 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1235407 | 01/07/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Recent report showed 12/2023 as most recent inspection attempt to gain certificate of boiler inspection. Per divison of boilers/state fire marshall database. - From follow-up inspection 2025-01-07: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7400778 | 67135 | SURFSIDE EXECUTIVE APTS | KANE D R & E A | 421 AUBURN DR , DAYTONA BCH 83254 | 1582117 | 01/07/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -glass panel box in front of unit 4 missing breaking device - From follow-up inspection 2025-01-07: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.