## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2002 | Lodging | 1102627 | 17809 | EXTENDED STAY AMERICA #381 | ESA P PORTFOLIO OPERATING LESSEE LLC | 3600 SW 42 ST , GAINESVILLE 32608 | 1241002 | 01/23/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed the Fire Alarm Control Panel has 2 yellow warning lights. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2001 | Lodging | 1102958 | 7309 | WOODSPRING SUITES | VP GAINESVILLE SOUTH LLC | 5505 SW 41ST BLVD , GAINESVILLE 32608 | 1176385 | 01/23/2025 | Routine - Lodging | Call Back - Complied | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed: the gentex hearing impaired smoke detector does not have any wires for connection. - From follow-up inspection 2025-01-06: The gentex hearing impaired smoke detectors lack any connecting wires. **Time Extended** - From follow-up inspection 2025-01-23: Gentex in 123, 317 hardwired. Room 215 was occupied, and was not Observed. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1305150 | 18987 | HOWARD JOHNSON | JAI AMBE MAA INVESTMENT,INC. | 301 E 23 ST , PANAMA CITY 32405 | 1236502 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside room 209. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621533 | 106166 | SUNRISE TOWER LLC | SUNRISE TOWER LLC | 6121 NW 11 ST , SUNRISE 33313 | 1589421 | 01/23/2025 | Routine - Lodging | Warning Issued | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Observed an open electrical outlet underneath western stairway. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620868 | 6541 | CROWNE PLAZA FORT LAUDERDALE AIRPORT/CRUISE | FLL HOTELS INC | 455 SR 84 , FORT LAUDERDALE 33316 | 1183290 | 01/21/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed next to front desk. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1617432 | 102475 | ATRIUM SQUARE LLC | ATRIUM SQUARE LLC | 3400 CORAL SPRINGS DR , CORAL SPRINGS 33065 | 1583244 | 01/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed by unit 3580, unit 3708 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620867 | 6573 | CAMBRIA SUITES FT LAUDERDALE | D2 HM INVESTMENTS LLC | 141 SW 19 CT , DANIA 33004 | 1179070 | 01/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2323197 | 110747 | CORTLAND KINGS MEADOW | SW 142ND FL PARTNERS, LLC | 8961 SW 142ND AVE , MIAMI 33186 | 1589776 | 01/23/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at building one next to unit 136. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330471 | 107101 | IVY COVE HOMES 2018 LLC | IVY COVE HOMES 2018 LLC | 6805 SW 88 ST , PINECREST 33156 | 1599031 | 01/24/2025 | Routine - Lodging | Warning Issued | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed no hammer to break glass next to laundry room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2323197 | 110747 | CORTLAND KINGS MEADOW | SW 142ND FL PARTNERS, LLC | 8961 SW 142ND AVE , MIAMI 33186 | 1589776 | 01/23/2025 | Routine - Lodging | Warning Issued | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed the hammer to break glass case broken at building 1 Also observed no glass breaker next to unit 112 at building 10 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331281 | 117060 | SOCIETY WYNWOOD | 2431 NW 2ND AVENUE MULTIFAMILY LLC | 176 NW 25 ST , MIAMI 33127 | 1581842 | 01/21/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329171 | 6132 | Z OCEAN | DE SOLEIL MANAGEMENT LLC | 1437 COLLINS AVE , MIAMI BEACH 33139 | 1178656 | 01/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed next to room 217. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2320542 | 9181 | MIAMI PRINCESS HOTEL | MIAMI INTER AIRPORT HTL INC | 4251 NW 11 ST , MIAMI 62630 | 1239706 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. By 116. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329265 | 9792 | NEW POINT MIAMI | NEW POINT MIAMI INC | 5445 COLLINS AVE STE CU 15 , MIAMI BEACH 33140 | 1182047 | 01/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Extinguisher located at the lower lobby. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329482 | 10219 | SEASTAYS | MYCITY INC | 5445 COLLINS AVENUE CU 9 , MIAMI BEACH 33140 | 1182046 | 01/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329526 | 11234 | BLU VACATION RENTAL | BLU VACATION RENTALS LLC | 5445 COLLINS AVE CU20 , MIAMI BEACH 33140 | 1178704 | 01/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher on the 14 floor and one by the side of the office with no means of access, no breaking device. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2305321 | 5444 | BETSY SOUTH BEACH | BETSY ROSS OWNER LLC | 1440 OCEAN DRIVE , MIAMI BEACH 33139 | 1178721 | 01/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329183 | 6321 | COURTYARD BY MARRIOTT MIAMI DOLPHIN MALL | APPLE SEVEN HOSPITALITY MANAGEMENT | 11275 NW 12 ST , MIAMI 33172 | 1179345 | 01/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329239 | 7967 | SLS SOUTH BEACH | EMERALD (OPERATOR) LLC | 1701 COLLINS AVE , MIAMI BEACH 33139 | 1178298 | 01/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329325 | 8945 | EUROSTARS LANGFORD | MIAMI SOUTHERN HOTELS LLC | 121 SE 1 ST , MIAMI 33131 | 1178492 | 01/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329524 | 11226 | GARDEN INN HOTEL | GLS 770 LLC | 656 E DR , MIAMI SPRINGS 33166 | 1178549 | 01/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329505 | 10767 | ELSER HOTEL | 398 NE 5TH ST MANAGEMENT LLC | 398 NE 5 ST , MIAMI 33132 | 1178305 | 01/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2320639 | 3597 | DOUBLETREE GRAND HOTEL (THE) | P H HOTEL INC | 1717 N BAYSHORE DR , MIAMI 21180 | 1178827 | 01/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. #082468 Expiration 07-23-2023. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329339 | 8153 | HOMEWOOD SUITES BY HILTON MIAMI DOLPHIN MALL | PROCACCI DOLPHIN LLC | 1695 NW 111 AVE , SWEETWATER 33172 | 1178234 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed 4 boiler certificates expire 08/22/2024. As per chief engineering inspection for all four units performed on 09/06/2024 by Hartford steam boiler and certificates has been delayed. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327022 | 9570 | HOLIDAY INN MIAMI/DORAL AREA | DRE REIT OPCO LLC | 3255 NW 87 AVE , MIAMI 33172 | 1179317 | 01/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificate expired as of 09/29/2024. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329248 | 10834 | SONDER THE DECO | SONDER HOSPITALITY USA INC | 1050 WASHINGTON AVENUE , MIAMI BEACH 33139 | 1183132 | 01/21/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-01-21: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311837 | 19162 | NORTH MIAMI BEACH GARDEN INN & SUITE | MIAMI BEACH GARDEN INN & SUITE LLC | 148 NW 167 ST , MIAMI 33169 | 1240911 | 01/21/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. In the office. - From follow-up inspection 2025-01-21: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. In the office. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613236 | 9762 | HAMPTON INN | LRP HOTELS OF JACKSONVILLE LLC | 8127 POINT MEADOWS DR , JACKSONVILLE 32256 | 1177342 | 01/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated at fire panel. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913633 | 11352 | FAIRFIELD INN AND SUITES LAKELAND PLANT CITY | REDBERRY HOTEL LLC | 4307 STERLING COMMERCE DR , PLANT CITY 33566 | 1179247 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Photo sensor light on. Manager stated they have the parts and are in process of repairing | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Jackson | 2003 | Lodging | 4200009 | 81011 | THREE RIVERS APARTMENTS | NEW MARIANNA GARDENS LLP | 3070 CARTERS MILL RD , MARIANNA 32446 | 1592485 | 01/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Jackson | 2003 | Lodging | 4200009 | 81011 | THREE RIVERS APARTMENTS | NEW MARIANNA GARDENS LLP | 3070 CARTERS MILL RD , MARIANNA 32446 | 1592485 | 01/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500837 | 6730 | OMNI AMELIA ISLAND RESORT | OMNI AMELIA ISLAND LLC | 41 BEACH LAGOON RD , FERNANDINA BEACH 32034 | 1176316 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Two boiler certificates on property are expired - jurisdiction 089935 and 131446 expired 12/02/2024. Manager states inspection has been performed and establishment is awaiting certificates. **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500837 | 6730 | OMNI AMELIA ISLAND RESORT | OMNI AMELIA ISLAND LLC | 41 BEACH LAGOON RD , FERNANDINA BEACH 32034 | 1176316 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Boiler at off site laundry facility does not have boiler certification (specifications for boiler max temperature of 425F, capacity 412 gallons, BTU input 2.4 million/hr). Person in Charge states the unit is regulated as a hot water heater by the State Fire Marshall, but no paperwork could be provided. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5803672 | 19110 | MOTEL 6 UNIVERSAL STUDIOS/ORLANDO | HARE KRISHNA UNIVERSAL LLC | 5909 AMERICAN WAY , ORLANDO 32819 | 1240986 | 01/21/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Smoke photo code Z004 in entry. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811114 | 10138 | EXTENDED STAY AMERICA SELECT SUITES #8084 | TIGER HOTEL TERM TRS SUB LLC | 216 S GOLDENROD RD , ORLANDO 32807 | 1181934 | 01/24/2025 | Routine - Lodging | Warning Issued | 07-03-4 | Scorch marks around an electrical outlet. For reporting purposes only. Room 431 scorch marks around outlet by bed | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900225 | 8968 | SERALAGO HOTEL AND SUITES MAINGATE EAST | PAN AMERICAN VENTURE FUND LLC | 5678 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 1183303 | 01/22/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6009510 | 62990 | ABBEY DELRAY SOUTH | LIFESPACE COMMUNITIES INC | 1717 HOMEWOOD BLVD , DELRAY BEACH 56877 | 1596592 | 01/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6009050 | 4271 | FOUR SEASONS RESORT PALM BEACH | PB HOTEL PROPERTY LLC | 2800 S OCEAN BLVD , PALM BEACH 05540 | 1178264 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Operator stated that new. Boiler inspection was done on 1/7/25 but has yet to receive the certificate. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6204804 | 17600 | CEDAR MOTEL | KALKA MAA LLC | 3300 34 ST N , ST PETERSBURG 32410 | 1237199 | 01/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher near office and unit 1 pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215809 | 8566 | EDGE HOTEL | DECADE GULFCOAST HOTEL PARTNERS LTD | 505 S GULFVIEW BLVD , CLEARWATER BEACH 33767 | 1178602 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215832 | 9593 | CANDLEWOOD SUITES SAFETY HARBOR | L&A HOTEL GROUP, INC | 2471 MCMULLEN BOOTH RD , CLEARWATER 33759 | 1178761 | 01/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Fire inspector scheduled for follow up service this week | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215808 | 10512 | WYNDHAM GRAND CLEARWATER BEACH RESORT | JEMB POCONO, LLC | 100 CORONADO DR , CLEARWATER 33767 | 1178313 | 01/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6215903 | 93264 | AVENTINE AT FOREST LAKES | PACIFICA FOREST LAKES LLC | 100 OLD VILLAGE WAY , OLDSMAR 34677 | 1622868 | 01/23/2025 | Complaint Partial | Call Back - Admin. complaint recommended | 07-01-4 | - From initial inspection : Damaged electrical meter box Building 43 electrical meter propped up with a 2x4 . Reported to city of Oldsmar fire Marshall's office. - From follow-up inspection 2024-12-10: Wooden plank holding up meter box up **Time Extended** - From follow-up inspection 2024-12-18: Electrical meter is being propped up with a wooden plank. Area is blocked off with caution tape. **Admin Complaint** - From follow-up inspection 2025-01-23: Electrical box is being held up by a wooden plank. **Admin Complaint** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Santa Rosa | 2003 | Lodging | 6701348 | 85761 | BELL RIDGE II APARTMENTS LTD | BELL RIDGE II APARTMENTS LTD | 4933 BELL RIDGE LANE , PACE 32571 | 1590634 | 01/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Alarm control panel reporting trouble on building 4932 near unit 101. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401092 | 16793 | QUALITY INN | SHRI DAYAVANT LLC | 700 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1235831 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Level 2 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405788 | 8629 | EXTENDED STAY AMERICA #1564 | ESA P PORTFOLIO OPERATING LESSEE LLC | 255 BILL FRANCE BLVD , DAYTONA BEACH 32114 | 1178852 | 01/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Supervisory ,system trouble and signals silenced lights on. Per manager they have a work order for FACP. -FACP beeped twice for room 221, manager sent employees to room. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405218 | 18299 | EXTENDED STAY OF ORMOND | STARR HOSPITALITY LLC | 1608 N US HWY 1 , ORMOND BEACH 32174 | 1234214 | 01/24/2025 | Routine - Lodging | Call Back - Complied | 04-02-4 | - From initial inspection : No smoke detector provided in guest room/unit. For reporting purposes only. -room 140. - From follow-up inspection 2025-01-24: | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405449 | 11957 | ROYAL INN OF RIDGEWOOD | YOGESHWAR INC OF DAYTONA | 810 S RIDGEWOOD AVE , DAYTONA BEACH 32114 | 1235575 | 01/21/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 02-04-4 | - From initial inspection : Scooter stored inside the large water heater room/storage room. Gas can can in storage room/water heater room.For reporting purposes only. - From follow-up inspection 2025-01-13: Scooter in water heater room - From follow-up inspection 2025-01-21: Per housekeeper being removed today | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.