## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2002 | Lodging | 1305150 | 18987 | HOWARD JOHNSON | JAI AMBE MAA INVESTMENT,INC. | 301 E 23 ST , PANAMA CITY 32405 | 1236502 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside room 209. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1616492 | 8793 | SUNSET MOTEL | NANDY INC | 140 N FEDERAL HWY , DANIA 42804 | 1239587 | 01/30/2025 | Routine - Lodging | Warning Issued | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Next to room #108 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1618593 | 11362 | EXTENDED STAY AMERICA SUITES 9808 | ESA P PORTFOLIO OPERATING LESSEE LLC | 1401 SW 15 ST , POMPANO BEACH 33060 | 1183328 | 01/27/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1604426 | 113634 | 9 SOUTH LLC | 9 SOUTH LLC | 325 NW 25TH STREET , FORT LAUDERDALE 33311 | 1589969 | 01/27/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. Located on west side of building.For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1604982 | 47761 | COLONY APARTMENTS | R BROTHERS INVESTMENTS INC | 709 SE 15 ST , FORT LAUDERDALE 62667 | 1586813 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. Located at bldg 711 between units 2 and 3. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1605178 | 103079 | 732 TRAC APARTMENTS | TRAC GROUP LLC | 732 SE 15TH ST , FORT LAUDERDALE 33316 | 1593125 | 01/27/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed between units 2 and 3. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620918 | 9728 | FORT LAUDERDALE TRU/HOMES2 | 315 FLAGLER QOZB OWNER LLC | 315 NW 1 AVE , FORT LAUDERDALE 33301 | 1181907 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102690 | 8061 | SPRINGHILL SUITES NAPLES | 3798 WHITE LAKE-NAPLES LLC | 3798 WHITE LAKE BLVD , NAPLES 34117 | 1176656 | 01/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Per operator, a work order for repair has been created. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2305082 | 9034 | GABLES INN | DI-SOLE HOTEL LLC | 730 S DIXIE HWY , CORAL GABLES 62602 | 1241019 | 01/28/2025 | Complaint Full | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed next to room 103. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330471 | 107101 | IVY COVE HOMES 2018 LLC | IVY COVE HOMES 2018 LLC | 6805 SW 88 ST , PINECREST 33156 | 1599031 | 01/24/2025 | Routine - Lodging | Warning Issued | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed no hammer to break glass next to laundry room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329365 | 8372 | WINGATE BY WYNDHAM MIAMI AIRPORT | 3755 PROPERTY HOLDINGS LLC | 3755 NW 78 AVE , DORAL 33166 | 1183337 | 01/29/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed on 5th floor near room 505. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2320542 | 9181 | MIAMI PRINCESS HOTEL | MIAMI INTER AIRPORT HTL INC | 4251 NW 11 ST , MIAMI 62630 | 1239706 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. By 116. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327840 | 3673 | BAYMONT INN & SUITES | B & I PROPERTIES LTD | 3805 NW 107 AVE , MIAMI 33178 | 1178678 | 01/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329221 | 6721 | SOHO HOUSE | SOHO HOUSE BEACH HOUSE LLC | 4385 COLLINS AVE , MIAMI BEACH 33140 | 1178596 | 01/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed main panel with trouble light. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329270 | 7429 | GRAND BEACH HOTEL SURFSIDE | BEACH HOUSE HOTEL LLC | 9449 COLLINS AVE , SURFSIDE 33154 | 1179234 | 01/27/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329397 | 8837 | CANDLEWOOD SUITES MIAMI EXEC AIRPORT - KENDALL | ERG HOLDINGS INC | 13600 SW 139 CT , MIAMI 33186 | 1178837 | 01/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed in lobby area. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328084 | 3680 | INTER CONTINENTAL DORAL MIAMI | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 1178221 | 01/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed 059615 11/17/24. 021243 01/09/25. As per chief engineer units has been inspected and waiting for the state to issue current certificates. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329221 | 6721 | SOHO HOUSE | SOHO HOUSE BEACH HOUSE LLC | 4385 COLLINS AVE , MIAMI BEACH 33140 | 1178596 | 01/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed FL 099975, 121860, 099980, 099979, exp 10/21/24 004874, 004875 exp 10/21/23 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329242 | 7003 | COURTYARD BY MARRIOTT SOUTH HOMESTEAD | HOMESTEAD VPE HOTEL LLC | 2905 NE 9 ST , HOMESTEAD 33033 | 1178825 | 01/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired certificate 12/13/2024. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329338 | 8152 | HILTON GARDEN INN MIAMI DOLPHIN MALL | PROCACCI DOLPHIN LLC | 1695 NW 111 AVE , SWEETWATER 33172 | 1178321 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed 4 boiler certificates expire 08/22/2024. As per chief engineering inspection for all four units performed on 09/06/2024 by Hartford steam boiler and certificates has been delayed. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329339 | 8153 | HOMEWOOD SUITES BY HILTON MIAMI DOLPHIN MALL | PROCACCI DOLPHIN LLC | 1695 NW 111 AVE , SWEETWATER 33172 | 1178234 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed 4 boiler certificates expire 08/22/2024. As per chief engineering inspection for all four units performed on 09/06/2024 by Hartford steam boiler and certificates has been delayed. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329470 | 9510 | HOTEL INDIGO MIAMI BRICKELL / ATWELL SUITES MIAMI BRICKELL | WEST BRICKELL HOTEL LLC | 145 SW 11 ST , MIAMI 33130 | 1178496 | 01/27/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed 700 BTU boiler and no certificate provided. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2305082 | 9034 | GABLES INN | DI-SOLE HOTEL LLC | 730 S DIXIE HWY , CORAL GABLES 62602 | 1241019 | 01/29/2025 | Complaint Full | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed next to room 103. **Repeat Violation** - From follow-up inspection 2025-01-29: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2322395 | 55688 | 6055 CORP APTS | 6055 CORP INC | 6345 W 22 CT , HIALEAH 63995 | 1578518 | 01/30/2025 | Routine - Lodging | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed located unit 203. - From follow-up inspection 2025-01-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2320327 | 9179 | FAIRWAY INN | PATEL NAVNIT | 100 U S 1 , FLORIDA CITY 33034 | 1235158 | 01/30/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-01-30: Observed Trouble/alarm light illuminated on the fire alarm control panel. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2322395 | 55688 | 6055 CORP APTS | 6055 CORP INC | 6345 W 22 CT , HIALEAH 63995 | 1578518 | 01/30/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-01-30: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2310047 | 19347 | BISCAYNE HOTEL | BISCAYNE MOTEL LLC | 6730 BISCAYNE BLVD BISCAYNE BLVD, MIAMI 33138 | 1236579 | 01/27/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed located at entrance of room 102. - From follow-up inspection 2025-01-27: Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Still Observed located at entrance of room 102. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dixie | 2001 | Lodging | 2500001 | 7480 | PUTNAM LODGE | PUTNAM LODGE LLC | 15487 NW HWY 19 , CROSS CITY 32628 | 1179022 | 01/27/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Gauge on fire extinguisher near exterior bathrooms in red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613256 | 103501 | FINLEY | WESTRIDGE COMMUNITY LLC | 9541 103 ST , JACKSONVILLE 32210 | 1623153 | 01/28/2025 | Complaint Full | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed missing fire extinguisher between unit 307 and 308. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613371 | 100694 | BROXTON BAY APARTMENTS | RCM ACQUISITION LLC | 12900 BROXTON BAY DR , JACKSONVILLE 32218 | 1623289 | 01/30/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. At building 1400, trouble light and audible alarm on fire alarm control panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2002 | Lodging | 2800155 | 9393 | OCEAN SHORE VILLA | ROCK DEVELOPMENT CORP | 6287 N OCEAN SHORE BLVD , PALM COAST 72412 | 1236841 | 01/27/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Whelan smoke detector sounds alarm but does not flash. **Warning** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200011 | 9434 | ANGLER'S WATERFRONT MOTEL | CHILLEN MICHAEL | 1010 6 ST RT-4 , OKEECHOBEE 49206 | 1235735 | 01/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge at backside unit 10. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3906561 | 8370 | SHERATON TAMPA EAST | LCP TAMPA EAST INVESTMENT LLC | 10221 PRINCESS PALM AVE , TAMPA 33610 | 1178824 | 01/27/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913664 | 10224 | HAMPTON INN/HOME 2 TAMPA CHANNELSIDE | NF IV-VA SSCI TAMPA CD OPCO LLC | 1155 E KENNEDY BLVD , TAMPA 33602 | 1182511 | 01/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Operator is aware, states it is because of the CO2 detectors that will be getting replaced soon. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913633 | 11352 | FAIRFIELD INN AND SUITES LAKELAND PLANT CITY | REDBERRY HOTEL LLC | 4307 STERLING COMMERCE DR , PLANT CITY 33566 | 1179247 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Photo sensor light on. Manager stated they have the parts and are in process of repairing | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2002 | Lodging | 4700410 | 18629 | MOTEL 6 TALLAHASSEE | TALLAHASSEE HOTEL LLC | 1027 APALACHEE PKWY , TALLAHASEE 32301 | 1241009 | 01/28/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5202244 | 11418 | FAIRFIELD INN AND SUITES OCALA | OM 4101 OCALA INN | 4101 SW 38 CT , OCALA 34474 | 1183305 | 01/30/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler 058207 and 058208 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500961 | 8727 | SEASIDE AMELIA INN | AMELIA ISLAND HOSPITALITY LLC | 2900 ATLANTIC AVE , AMELIA ISLAND 32034 | 1175810 | 01/27/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Fire panel shows trouble lights. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500837 | 6730 | OMNI AMELIA ISLAND RESORT | OMNI AMELIA ISLAND LLC | 41 BEACH LAGOON RD , FERNANDINA BEACH 32034 | 1176316 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Two boiler certificates on property are expired - jurisdiction 089935 and 131446 expired 12/02/2024. Manager states inspection has been performed and establishment is awaiting certificates. **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500837 | 6730 | OMNI AMELIA ISLAND RESORT | OMNI AMELIA ISLAND LLC | 41 BEACH LAGOON RD , FERNANDINA BEACH 32034 | 1176316 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Boiler at off site laundry facility does not have boiler certification (specifications for boiler max temperature of 425F, capacity 412 gallons, BTU input 2.4 million/hr). Person in Charge states the unit is regulated as a hot water heater by the State Fire Marshall, but no paperwork could be provided. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811114 | 10138 | EXTENDED STAY AMERICA SELECT SUITES #8084 | TIGER HOTEL TERM TRS SUB LLC | 216 S GOLDENROD RD , ORLANDO 32807 | 1181934 | 01/24/2025 | Routine - Lodging | Warning Issued | 07-03-4 | Scorch marks around an electrical outlet. For reporting purposes only. Room 431 scorch marks around outlet by bed | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811129 | 10518 | WYNDHAM GRAND ORLANDO RESORT BONNET CREEK | BONNET CREEK HOTEL OWNER LLC | 14651 CHELONIA PKWY , ORLANDO 32821 | 1178808 | 01/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher have expired 9/2022 on the 12th floor. For reporting purposes only. The fire extinguisher is expired 9/2022 spoke with Engineering Manager, must notify company immediately. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811220 | 11224 | PESTANA ORLANDO SUITES LAKE BUENA VISTA | PESTANA ORLANDO LLC | 11942 RAVALLO RESORT DR , ORLANDO 32836 | 1178290 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed no copy of boiler certificates or inspection report. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5810234 | 104488 | PALMS CLUB | PACIFICA CENTRAL FLORIDA LLC | 5584 METROWEST BLVD , ORLANDO 32811 | 1600387 | 01/30/2025 | Routine - Lodging | Administrative complaint recommended | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. In apartment 204 building 14 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900225 | 8968 | SERALAGO HOTEL AND SUITES MAINGATE EAST | PAN AMERICAN VENTURE FUND LLC | 5678 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 1183327 | 01/27/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6014088 | 11405 | PALM HOUSE | LR PALM HOUSE LLC | 160 ROYAL PALM WAY , PALM BEACH 33480 | 1182717 | 01/27/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6009050 | 4271 | FOUR SEASONS RESORT PALM BEACH | PB HOTEL PROPERTY LLC | 2800 S OCEAN BLVD , PALM BEACH 05540 | 1178264 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Operator stated that new. Boiler inspection was done on 1/7/25 but has yet to receive the certificate. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215809 | 8566 | EDGE HOTEL | DECADE GULFCOAST HOTEL PARTNERS LTD | 505 S GULFVIEW BLVD , CLEARWATER BEACH 33767 | 1178602 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215840 | 10967 | CY CLEARWATER BEACH | MHH CLEARWATER 455 OPERATING LLC | 455 E SHORE DR , CLEARWATER BEACH 33767 | 1178930 | 01/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6203729 | 18291 | TRADEWINDS ISLAND GRAND JACARANDA | 5500-5600 GULF BLVD. IG LLC | 5500 GULF BLVD , ST. PETE BEACH 33706 | 1236456 | 01/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 131371 7/20/2024 expired certificate observed. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6203219 | 19200 | SIRATA BEACH RESORT | CP ST PETE LLC | 5300 GULF BLVD , ST.PETE BEACH 33706 | 1235373 | 01/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 138901 6-21-2024, 138902 6-21-2024 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6214461 | 14185 | SONESTA SIMPLY SUITES CLEARWATER | HPT TRS IHG-2 INC | 13231 49 ST N , CLEARWATER 33762 | 1235066 | 01/29/2025 | Routine - Lodging | Call Back - Extension given, pending | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Gentex installed hearing impaired smoke detector inside room 111, not functioning properly when tested. - From follow-up inspection 2025-01-29: Super Arbor Ordered 12-28-25. Per Supervisor Christine C. Ok to time extend. Waiting for Oder. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2002 | Lodging | 6903989 | 19525 | DEVELOPER INN ORLANDO NORTH A BAYMONT BY WYNDHAM | DEVELOPER HOSPITALITY ORLANDO NORTH | 235 WYMORE RD , ALTAMONTE SPRINGS 32714 | 1236957 | 01/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406496 | 11216 | COUNTRY INN AND SUITES | PORT SUN LLC | 5802 JOURNEYS END WAY , PORT ORANGE 32127 | 1178770 | 01/29/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. -extenguisher on wall next to 422 indicates unit is overcharged | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406496 | 11216 | COUNTRY INN AND SUITES | PORT SUN LLC | 5802 JOURNEYS END WAY , PORT ORANGE 32127 | 1178770 | 01/29/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. -box on wall next to 327 missing extenguisher | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406509 | 19438 | BEACH HOUSE INN | BEACHSIDE MOTEL LLC | 1601 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1236943 | 01/30/2025 | Routine - Lodging | Warning Issued | 02-07-4 | Flammable material stored near a source of ignition. For reporting purposes only. -lint allowed to build up under vent stack inside laundry room water heater | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406513 | 9255 | HARD ROCK HOTEL | 900 NORTH ATLANTIC AVE LLC | 918 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1178786 | 01/29/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401632 | 17446 | HOLIDAY INN RESORT DAYTONA BEACH OCEAN FRONT | HIR DB OPCP LLC | 1615 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1236635 | 01/28/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -level 2 FACP | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405788 | 8629 | EXTENDED STAY AMERICA #1564 | ESA P PORTFOLIO OPERATING LESSEE LLC | 255 BILL FRANCE BLVD , DAYTONA BEACH 32114 | 1183335 | 01/28/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -supervisory,system trouble ,signals silenced | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406516 | 9779 | COMFORT SUITES SPEEDWAY | SILVER EAGLES 2011 LLC | 2900 W. INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32124 | 1178465 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -fire extinguisher across from room 415 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401092 | 16793 | QUALITY INN | SHRI DAYAVANT LLC | 700 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1235831 | 01/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Level 2 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400503 | 19501 | BAYMONT BY WYNDHAM | 2725 HOSPITALITY LLC | 2725 W INTERNATIONAL SPWY BLVD , DAYTONA BEACH 32114 | 1240971 | 01/31/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Manager reset **Corrected On-Site** - From follow-up inspection 2025-01-31: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400746 | 19500 | CHATEAU MAR BEACH RESORT | AMERICANO ORMOND OPERATOR LLC | 507 S ATLANTIC AVE , ORMOND BEACH 32176 | 1235411 | 01/27/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-01-27: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405218 | 18299 | EXTENDED STAY OF ORMOND | STARR HOSPITALITY LLC | 1608 N US HWY 1 , ORMOND BEACH 32174 | 1234214 | 01/24/2025 | Routine - Lodging | Call Back - Complied | 04-02-4 | - From initial inspection : No smoke detector provided in guest room/unit. For reporting purposes only. -room 140. - From follow-up inspection 2025-01-24: | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400746 | 19500 | CHATEAU MAR BEACH RESORT | AMERICANO ORMOND OPERATOR LLC | 507 S ATLANTIC AVE , ORMOND BEACH 32176 | 1235411 | 01/27/2025 | Routine - Lodging | Call Back - Complied | 04-02-4 | - From initial inspection : No smoke detector provided in guest room/unit 104. For reporting purposes only. - From follow-up inspection 2025-01-27: | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Washington | 2002 | Lodging | 7700111 | 17991 | RED ROOF INN CHIPLEY | A&M HOSPITALITY LLC | 1593 MAIN ST , CHIPLEY 32428 | 1235289 | 01/27/2025 | Routine - Lodging | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Observed smoke detector missing in room 108. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.