## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2002 | Lodging | 1102323 | 19462 | HIGH SPRINGS INN | JNC HOSPITALITY LLC | 15920 NW US HWY 441 , ALACHUA 32615 | 1236790 | 02/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Smoke alarm missing from room 114. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1620840 | 117256 | ELLIOT COCOPLUM | ELLIOT COCOPLUM BORROWER LLC | 3884 COCOPLUM CIR , COCONUT CREEK 33063 | 1623345 | 02/07/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed by unit 3518 building 2, by unit 3632 building 5 **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607221 | 8939 | FORT LAUDERDALE GRAND HOTEL | 4900 POWERLINE LLC | 4900 POWERLINE ROAD , OAKLAND PARK 33309 | 1183373 | 02/07/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1604982 | 47761 | COLONY APARTMENTS | R BROTHERS INVESTMENTS INC | 709 SE 15 ST , FORT LAUDERDALE 62667 | 1586813 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. Located at bldg 711 between units 2 and 3. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620918 | 9728 | FORT LAUDERDALE TRU/HOMES2 | 315 FLAGLER QOZB OWNER LLC | 315 NW 1 AVE , FORT LAUDERDALE 33301 | 1181907 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620877 | 8930 | CHATEAU MAR GOLF RESORT | CUIDAD DE NUESTROS ANGELES I LLC | 3501 INVERRARY BLVD , LAUDERHILL 33319 | 1183362 | 02/05/2025 | Complaint Full | Administrative complaint recommended | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguisher at end of the hall next to room 730 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1183372 | 02/06/2025 | Complaint Full | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Manager still in process of getting boiler inspected **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Charlotte | 2001 | Lodging | 1801529 | 10371 | HOLIDAY INN EXPRESS AND SUITES PUNTA GORDA | PG HEX LLC | 9075 MAC DR , PUNTA GORDA 33950 | 1182037 | 02/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Jurisdiction No. 134468; 134477. Expiration Date: 01/19/2023. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329452 | 9810 | BOUTIQUE APARTMENTS | GIRASOLE APARTMENTS LLC | 5445 COLLINS AVENUE CU 10 , MIAMI BEACH 33140 | 1183361 | 02/06/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed main panel with trouble light flashing . | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310858 | 116329 | MARINA DEL MAR | CENTURY TOWERS ASSOCIATES LLP | 100 KING POINT DR , MIAMI BEACH 33160 | 1623380 | 02/07/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310858 | 116329 | MARINA DEL MAR | CENTURY TOWERS ASSOCIATES LLP | 100 KING POINT DR , MIAMI BEACH 33160 | 1623380 | 02/07/2025 | Complaint Full | Warning Issued | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329294 | 11353 | HOME2 SUITES BY HILTON FLORIDA CITY | FL CITY LODGING LLC | 77 NE 3RD ST , FLORIDA CITY 33034 | 1179277 | 02/06/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at the first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329293 | 11288 | 6345 ACTIVATE MB LLC | 6345 ACTIVATE MB LLC | 6345 COLLINS AVE , MIAMI BEACH 33141 | 1182478 | 02/03/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329394 | 9021 | CASITA 76 | EOLO LLC | 7610 HARDING AV , MIAMI BEACH 33141 | 1182528 | 02/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher near unit 3 missing breaking utensil. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329193 | 7593 | SOUTH RIVER SUITES | SOUTH RIVER SUITES LTD | 12484 NW SOUTH RIVER DR , MEDLEY 33178 | 1178919 | 02/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2321514 | 8190 | HOLIDAY INN EXPRESS & SUITES - MIAMI/HIALEAH | BURLINGTON HOSPITALITY INC | 6650 W 20 AVE , HIALEAH 33016 | 1178920 | 02/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2317880 | 10139 | COMFORT INN AND SUITES DOWNTOWN/BRICKELL | CASA BELLA TOY 14, INC | 100 SE 4TH ST , MIAMI 33131 | 1179178 | 02/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2304345 | 9595 | HOLIDAY INN MIAMI BEACH OCEANFRONT | FRU MANAGEMENT INC | 4333 COLLINS AVE , MIAMI BEACH 33140 | 1181956 | 02/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed one hearing impaired device not functioning correctly ( light is not flashing when testing ) . | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328328 | 3696 | RITZ CARLTON HOTEL CO | RITZ CARLTON HOTEL CO | 455 GRAND BAY DR , KEY BISCAYNE 33149 | 1178194 | 02/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed Fl 095056; 095057; 095045; 095044 all expired on 12/09/24. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329338 | 8152 | HILTON GARDEN INN MIAMI DOLPHIN MALL | PROCACCI DOLPHIN LLC | 1695 NW 111 AVE , SWEETWATER 33172 | 1178321 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed 4 boiler certificates expire 08/22/2024. As per chief engineering inspection for all four units performed on 09/06/2024 by Hartford steam boiler and certificates has been delayed. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2321990 | 9509 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 1177013 | 02/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed #123868 11/27/2020, #080920 10/28/2023, #123866 10/28/2023. EXPIRED. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2317880 | 10139 | COMFORT INN AND SUITES DOWNTOWN/BRICKELL | CASA BELLA TOY 14, INC | 100 SE 4TH ST , MIAMI 33131 | 1179178 | 02/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329193 | 7593 | SOUTH RIVER SUITES | SOUTH RIVER SUITES LTD | 12484 NW SOUTH RIVER DR , MEDLEY 33178 | 1178919 | 02/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327849 | 10037 | SONESTA SIMPLY SUITES MIAMI AIRPORT | SONESTA SIMPLY SUITES MIAMI AIRPORT | 8855 NW 27TH ST , MIAMI 33172 | 1181986 | 02/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. On not current boiler certificates at boiler room, manager printed certificates and placed it inside boiler room. **Corrected On-Site** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329331 | 10350 | RESIDENCE INN MIAMI BEACH SURFSIDE | CONTINENTAL SURFSIDE LLC | 9200 COLLINS AVE , SURFSIDE 33154 | 1182601 | 02/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310669 | 54419 | DOMINION TOWER | DOMINION TOWER LC | 1400 NW 10 AVE , MIAMI 61000 | 1586380 | 02/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 40-06-4 | No child labor law poster and at least one person under 18 years old is employed. For reporting purposes only. **Corrected On-Site** | Reporting: Proof of age; posting of notices.--(1) Any person who hires, employs, or suffers to work any child shall, in addition to the limitations provided in this part, first obtain and keep on record during the entire period of such employment proof of the child's age. This requirement shall be satisfied by (a) A photocopy of the child's birth certificate; (b) A photocopy of the child's driver's license; (c) An age certificate issued by the district school board of the district in which the child is employed, certifying the child's date of birth; or (d) A photocopy of a passport or visa which lists the child's date of birth. (2) Any person who hires, employs, or suffers to work any minor shall post at a conspicuous place on the property or place of employment, where it may be easily read, a poster notifying minors of the Child Labor Law, to be provided by the division upon request. For reporting purposes only.
Duval | 2001 | Lodging | 2613280 | 9618 | TOWNEPLACE SUITES BY MARRIOTT | SNS HOTEL GROUP INC | 13741 BEACH BLVD , JACKSONVILLE 32224 | 1178494 | 02/03/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hearing impaired smoke detector in ADA room #514 not functioning when tested/ when door bell pressed for 5 seconds as instructed on ADA room doorbell. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2609221 | 17595 | BAYMONT INN AND SUITES | AMPN HOSPITALITY LLC | 8555 BLANDING BLVD , JACKSONVILLE 32244 | 1241060 | 02/06/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate posted in boiler room expired on 11-16-2024. Person in charge states inspection is scheduled. **Corrective Action Taken** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613249 | 11019 | TOWNEPLACE SUITES | SCOTTISH INN PARTNERSHIP | 4801 LENOIR AVE , JACKSONVILLE 32216 | 1179010 | 02/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Information of boiler was found on boiler website showing operator has 3 boilers active & but expired **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3913864 | 100407 | FITZGERALD | FCI DEVELOPMENT ELEVEN | 1211 E KENNEDY BLVD , TAMPA 33602 | 1623313 | 02/05/2025 | Complaint Full | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. Operator is aware and has quote to have repairs completed scheduled to be performed within the next 2 weeks. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3912467 | 9051 | RESIDENCE INN TAMPA DOWNTOWN | NF III TAMPA DT OP CO LLC | 101 E TYLER ST , TAMPA 33602 | 1182697 | 02/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2003 | Lodging | 4503089 | 114845 | INTEGRA HEIGHTS APARTMENTS | PRM HEIGHTS/CLERMONT OWNER LLC | 2100 OLYMPUS BLVD , CLERMONT 34714 | 1590088 | 02/07/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -unit 4110 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2001 | Lodging | 4602884 | 3893 | DOUBLETREE HOTEL FORT MYERS | FM HOTEL COMPANY LTD | 13051 BELL TOWER DR , FORT MYERS 75927 | 1177779 | 02/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Insurance inspector's boiler report expired on 09/13/2022. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811138 | 9269 | ALOFT ORLANDO DOWNTOWN HOTEL | GDC ORLANDO HOTEL OWNER LLC | 500 S ORANGE AVE , ORLANDO 32801 | 1178384 | 02/05/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Operator has completed boiler inspection and is waiting to receive certificates | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5801516 | 7743 | ROSEN INN | ROSEN 6327 INC | 6327 INTERNATIONAL DR , ORLANDO 32819 | 1178520 | 02/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL 139455, FL 139454 expired 1/31/25 Chief engineer stated company coming this week for inspection | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811220 | 11224 | PESTANA ORLANDO SUITES LAKE BUENA VISTA | PESTANA ORLANDO LLC | 11942 RAVALLO RESORT DR , ORLANDO 32836 | 1178290 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed no copy of boiler certificates or inspection report. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900617 | 17767 | RODEWAY INN | IB HOTELS LLC | 7455 W IRLO BRONSON HWY , KISSIMMEE 34747 | 1236067 | 02/06/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 9/20/24 - From follow-up inspection 2025-02-05: **Time Extended** - From follow-up inspection 2025-02-06: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900617 | 17767 | RODEWAY INN | IB HOTELS LLC | 7455 W IRLO BRONSON HWY , KISSIMMEE 34747 | 1236067 | 02/06/2025 | Routine - Lodging | Call Back - Complied | 08-04-4 | - From initial inspection : Boiler certificate not posted in the boiler room. For reporting purposes only. - From follow-up inspection 2025-02-05: **Time Extended** - From follow-up inspection 2025-02-06: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900617 | 17767 | RODEWAY INN | IB HOTELS LLC | 7455 W IRLO BRONSON HWY , KISSIMMEE 34747 | 1236067 | 02/06/2025 | Routine - Lodging | Call Back - Complied | 08-06-4 | - From initial inspection : Combustibles stored in boiler room. For reporting purposes only. Gas can and cardboard boxes in boiler room - From follow-up inspection 2025-02-05: **Time Extended** - From follow-up inspection 2025-02-06: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900617 | 17767 | RODEWAY INN | IB HOTELS LLC | 7455 W IRLO BRONSON HWY , KISSIMMEE 34747 | 1236067 | 02/05/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 9/20/24 - From follow-up inspection 2025-02-05: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900617 | 17767 | RODEWAY INN | IB HOTELS LLC | 7455 W IRLO BRONSON HWY , KISSIMMEE 34747 | 1236067 | 02/05/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-04-4 | - From initial inspection : Boiler certificate not posted in the boiler room. For reporting purposes only. - From follow-up inspection 2025-02-05: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900617 | 17767 | RODEWAY INN | IB HOTELS LLC | 7455 W IRLO BRONSON HWY , KISSIMMEE 34747 | 1236067 | 02/05/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-06-4 | - From initial inspection : Combustibles stored in boiler room. For reporting purposes only. Gas can and cardboard boxes in boiler room - From follow-up inspection 2025-02-05: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014278 | 100169 | LUCAYA DELRAY INC | LUCAYA DELRAY INC | 1541 CATHERINE DR STE #1 , DELRAY BEACH 33445 | 1596996 | 02/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only...fire extinguisher at 1550 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2001 | Lodging | 6804777 | 11170 | HOLIDAY INN EXPRESS NOKOMIS SARASOTA SOUTH | SHREE GAJANAND HOSPITALITY LLC | 206 ALBEE RD W , NOKOMIS 34275 | 1178883 | 02/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-02-4 | Door marked as an exit is blocked. For reporting purposes only. Observed the South stairwell level 1 exit blocked by rolling carts. The operator had the carts moved allowing access to the exit. **Corrected On-Site** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2002 | Lodging | 6901069 | 19262 | QUALITY INN & SUITES | KNJ HOSPITALITY LLC | 150 S WESTMONTE DR , ALTAMONTE SPRINGS 32714 | 1236179 | 02/03/2025 | Routine - Lodging | Call Back - Complied | 01-03-4 | - From initial inspection : Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. -empty fire extinguisher boxes by rooms 112 and 113, in breezeway by room 123. - From follow-up inspection 2025-02-03: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602521 | 9495 | RESIDENCE INN BY MARRIOTT PORT ST LUCIE | WARAMAUG PSL LLC | 1920 SW FOUNTAINVIEW BLVD , PORT ST LUCIE 34986 | 1181903 | 02/06/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Map fault data card 2. Management has called to be serviced. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602521 | 9495 | RESIDENCE INN BY MARRIOTT PORT ST LUCIE | WARAMAUG PSL LLC | 1920 SW FOUNTAINVIEW BLVD , PORT ST LUCIE 34986 | 1181903 | 02/06/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 130519 6/27/24, 138687 6/21/24 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602260 | 8271 | SPRINGHILL SUITES BY MARRIOTT | LUXURY HOTELS GROUP FLORIDA INC | 2000 NW COURTYARD CIR , PORT ST LUCIE 34986 | 1181947 | 02/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Banquet PS Trouble. Per Front desk staff, company has been notified about trouble message. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602529 | 10700 | TRU BY HILTON PORT ST LUCIE | TRADITION ONE, LLC | 11560 SW VILLAGE PKWY , PORT ST LUCIE 34987 | 1181973 | 02/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Fire panel reads Ground fault loop 2. Operator stated fire alarm company came out recently and tried to reset and will come back to fix ground fault sensor. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7401253 | 89242 | PATRICIAN APARTMENTS 2 | MANMOHAN S SODHI | 147 BOYNTON BLVD , DAYTONA BEACH SHORES 32118 | 1599779 | 02/04/2025 | Routine - Lodging | Warning Issued | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. -breakaway panel box missing breaking device, 2nd floor on wall mounted unit | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406498 | 7324 | CASTAWAYS BEACH RESORT | CASTAWAYS BEACH RESORT CONDOMINIUM ASSOCIATION INC | 2043 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1181928 | 02/04/2025 | Routine - Lodging | Warning Issued | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. -south side of building near side fire exit towards pool | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406516 | 9779 | COMFORT SUITES SPEEDWAY | SILVER EAGLES 2011 LLC | 2900 W. INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32124 | 1178465 | 01/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -fire extinguisher across from room 415 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406522 | 10317 | OCEAN WALK SOUTH TOWER RESORT | OCEAN WALK MANAGEMENT INC | 300 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1179193 | 02/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400503 | 19501 | BAYMONT BY WYNDHAM | 2725 HOSPITALITY LLC | 2725 W INTERNATIONAL SPWY BLVD , DAYTONA BEACH 32114 | 1240971 | 01/31/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Manager reset **Corrected On-Site** - From follow-up inspection 2025-01-31: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.