## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2002 | Lodging | 1102123 | 18159 | BAYMONT INN & SUITES | GAINESVILLE HOTEL INVESTMENT LLC | 6901 NW 4 BLVD , GAINESVILLE 32607 | 1236545 | 02/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in front of room 242. Fire extinguisher on north end of building on 1st floor. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2002 | Lodging | 1102123 | 18159 | BAYMONT INN & SUITES | GAINESVILLE HOTEL INVESTMENT LLC | 6901 NW 4 BLVD , GAINESVILLE 32607 | 1236545 | 02/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguisher on north end of building on 2nd floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2002 | Lodging | 1100682 | 18668 | AMERICA'S BEST VALUE INN | LAXMI OF BRADENTON LLC | 700 NW 75 ST , GAINESVILLE 32607 | 1235673 | 02/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Two LP gas tanks under stair on north side of building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2002 | Lodging | 1102123 | 18159 | BAYMONT INN & SUITES | GAINESVILLE HOTEL INVESTMENT LLC | 6901 NW 4 BLVD , GAINESVILLE 32607 | 1236545 | 02/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hearing impaired smoke detector in room 221. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1305101 | 13811 | RADISSON PANAMA CITY BEACH | BY THE SEA RESORTS INC | 15325 FRONT BEACH RD , PANAMA CITY BCH 32413 | 1240999 | 02/19/2025 | Complaint Full | Warning Issued | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1500990 | 13956 | BUDGET INN | AK RESORTS GROUP | 4505 W NEW HAVEN AVE , WEST MELBOURNE 32904 | 1236808 | 02/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Room 238 manager has replacement alarm will place in room **Corrective Action Taken** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1612878 | 18663 | HOTOLOS HOLLYWOOD | HOTOLOS HOLLYWOOD LLC | 2520 STIRLING RD , HOLLYWOOD 33020 | 1239582 | 02/14/2025 | Routine - Lodging | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Observed in room 328 | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607221 | 8939 | FORT LAUDERDALE GRAND HOTEL | 4900 POWERLINE LLC | 4900 POWERLINE ROAD , OAKLAND PARK 33309 | 1183417 | 02/20/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607221 | 8939 | FORT LAUDERDALE GRAND HOTEL | 4900 POWERLINE LLC | 4900 POWERLINE ROAD , OAKLAND PARK 33309 | 1183417 | 02/20/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2005 | Lodging | 1620702 | 1365 | HOLLYWOOD BEACH SUITES HOSTAL & HOTEL | HOLLYWOOD ALL SUITE LLC | 323 POLK ST , HOLLYWOOD 33019 | 1096668 | 02/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Per maintenance employee, battery needs to be change. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2005 | Lodging | 1620707 | 1511 | HOLLYWOOD BEACH SUITES HOTEL AND HOTEL | HOLLYWOOD ALL SUITE LLC | 321 POLK ST , HOLLYWOOD 33019 | 1096669 | 02/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Per employee it needs a new battery. Room G2 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619392 | 10928 | COURTYARD BY MARRIOTT CORAL SPRINGS | CORAL SPRINGS HOSPITALITY LLC | 620 N. UNIVERSITY DRIVE , CORAL SPRINGS 33071 | 1181908 | 02/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 12158; 11/11/24; 121519; 11/11/24 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620877 | 8930 | CHATEAU MAR GOLF RESORT | CUIDAD DE NUESTROS ANGELES I LLC | 3501 INVERRARY BLVD , LAUDERHILL 33319 | 1183362 | 02/21/2025 | Complaint Full | Call Back - Admin. complaint recommended | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguisher at end of the hall next to room 730 - From follow-up inspection 2025-02-21: Observed same **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2001 | Lodging | 2000960 | 8815 | COURTYARD BY MARRIOTT ORANGE PARK | ORANGE PARK YACHT CLUB LLC | 610 WELLS RD , ORANGE PARK 32073 | 1179145 | 02/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Fire panel indicating trouble code. Manager states it is for a smoke detector replacement for room #304 and it is already scheduled for repair. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102703 | 9606 | WOODSPRING SUITES NAPLES WEST | GOLD COAST PREMIER PROPERTIES VII LLC | 2600 TAMIAMI TRL E , NAPLES 34112 | 1183396 | 02/17/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311837 | 19162 | NORTH MIAMI BEACH GARDEN INN & SUITE | MIAMI BEACH GARDEN INN & SUITE LLC | 148 NW 167 ST , MIAMI 33169 | 1241121 | 02/21/2025 | Complaint Partial | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. In the office. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2322921 | 10756 | LA QUINTA BY WYNDHAM AIRPORT EAST | RORE MANAGEMENT 3501 LLC | 3501 NW 42 AVE , MIAMI 33142 | 1176512 | 02/17/2025 | Routine - Lodging | Warning Issued | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed locked box with fire extinguisher next to room 424. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329316 | 10661 | HILTON GARDEN INN MIAMI SOUTH BEACH | TMGOC MIA 2940 COLLINS LLC | 2940 COLLINS AVE , MIAMI BEACH 33140 | 1179237 | 02/20/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the main panel front lobby. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329316 | 10661 | HILTON GARDEN INN MIAMI SOUTH BEACH | TMGOC MIA 2940 COLLINS LLC | 2940 COLLINS AVE , MIAMI BEACH 33140 | 1179237 | 02/20/2025 | Routine - Lodging | Warning Issued | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. Panel at the front lobby. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2304637 | 5764 | TONY HOTEL | HOTEL OF COLLINS AVENUE LLC | 801 COLLINS AVE , MIAMI BEACH 33139 | 1179056 | 02/17/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed FL 121050 expired on 3/28/2024, FL 121051 expired on 3/28/2024. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2322921 | 10756 | LA QUINTA BY WYNDHAM AIRPORT EAST | RORE MANAGEMENT 3501 LLC | 3501 NW 42 AVE , MIAMI 33142 | 1176512 | 02/17/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired certificate for boiler. Observed 135426 7/1/2024 & 135427 7/1/24. EXPIRED. As per operator, they have an inspection set for the ending of this month. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327515 | 8803 | EXTENDED STAY AMERICA | ESA P PORTFOLIO OPERATING LESSEE LLC | 6605 NW 7 ST , MIAMI 33126 | 1182415 | 02/19/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed 3 new boilers; no certificate provided. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329508 | 10800 | TROPICAL SUITES | TROPICAL SUITES INC | 5445 COLLINS AVE CU-20 , MIAMI BEACH 33140 | 1182139 | 02/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed missing device for extinguisher located next to the CU20. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2301455 | 17253 | DAYS INN MIAMI AIRPORT NORTH | TRAVELERS PARTNERS LLC | 4767 NW 36 ST , MIAMI SPRINGS 33166 | 1236942 | 02/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed extinguisher with no braking device located between Rooms 137 and 138. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2319158 | 19190 | LA QUINTA INN BY WYNDHAM MIAMI AIRPORT NORTH | RORE MANAGEMENT 7401 LLC | 7401 NW 36 ST , MIAMI 33166 | 1237047 | 02/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed extinguisher with no braking device located between Rooms 308 and 310. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328890 | 10632 | OCEAN SPRAY HOTEL | RED HOSPITALITY LLC | 4130 COLLINS AVE , MIAMI BEACH 33140 | 1179246 | 02/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light illuminated on front desk panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329428 | 10749 | VENEZIA AT MINE | VENEZIA AT MINE LLC | 3865 INDIAN CREEK DR , MIAMI BEACH 33140 | 1178882 | 02/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed in panel located by the front desk. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329944 | 99461 | MBCDC VILLA MATTI INC | MBCDC VILLA MATTI INC | 221 28 ST , MIAMI BEACH 33140 | 1587560 | 02/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329960 | 99989 | ATLANTICO AT KENDALL | ATLANTIC VILLAS AT KENDALL LLC | 16824 SW 137 AVE , MIAMI 33177 | 1587164 | 02/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at panel located at the lobby. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329944 | 99461 | MBCDC VILLA MATTI INC | MBCDC VILLA MATTI INC | 221 28 ST , MIAMI BEACH 33140 | 1587560 | 02/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. On panel located by the front door 28 street. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329378 | 10060 | ALTAIR HOTEL | PPG BAY HARBOR OWNER LLC | 9540 W BAY HARBOR DR , BAY HARBOR ISLANDS 33154 | 1182539 | 02/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired since 8-26-2022. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329238 | 11318 | HOTEL ARYA | CG MIAMI HOSPITALITY LLC | 2889 MCFARLANE RD , COCONUT GROVE 33133 | 1178376 | 02/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificate expired for units FL096416 exp 10/10/24, FL098634 exp. 1/20/25 MAIN BUILD 6th FLOOR: FL096414 exp. 10/10/24. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329238 | 11318 | HOTEL ARYA | CG MIAMI HOSPITALITY LLC | 2889 MCFARLANE RD , COCONUT GROVE 33133 | 1178376 | 02/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed no boiler certificate available for unit FL141468. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329275 | 7585 | NOTEBOOK MIAMI BEACH | HOTEL PIERRE LLC | 216 43 STREET , MIAMI BEACH 33140 | 1178683 | 02/17/2025 | Routine - Lodging | Call Back - Complied | 04-04-4 | - From initial inspection : Fire alarm control panel has no power. For reporting purposes only. Observed fire alarm panel with no power. Fire alarm is located at the lobby entrance. - From follow-up inspection 2025-02-17: Still in the process to repair. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613222 | 6250 | HOMEWOOD SUITES | APPLE EIGHT HOSPITALITY MANAGEMENT INC | 10434 MIDTOWN PKWY , JACKSONVILLE 32246 | 1178734 | 02/20/2025 | Routine - Lodging | Administrative complaint recommended | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Operator unable to provide boiler certificate. Verified boilers on Citizenserve.com boiler website. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3912805 | 10865 | HILTON GARDEN INN BRANDON | 10309 HIGHLAND MANOR LODGING LLC | 10309 HIGHLAND MANOR DR , TAMPA 33610 | 1179214 | 02/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2002 | Lodging | 4100126 | 15682 | HSP UNITED LLC | HSP UNITED LLC | 2022 US HWY 1 , VERO BEACH 32960 | 1236976 | 02/14/2025 | Routine - Lodging | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. #19 | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2001 | Lodging | 4502372 | 11172 | HOLIDAY INN EXPRESS & SUITES-CLERMONT SE-WEST ORLANDO | GANESH PARVATI XXIV LLC | 105 SUMMER BAY BLVD. , CLERMONT 34714 | 1182196 | 02/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5809848 | 19387 | SIEGEL SELECT ORLANDO | OBT ORLANDO HOLDINGS LLC | 7209 S ORANGE BLOSSOM TRAIL , ORLANDO 32809 | 1241094 | 02/17/2025 | Complaint Partial | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Room 104 | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805661 | 4079 | WALT DISNEY WORLD SWAN | SWAN HOTEL ASSOCIATES | 1200 EPCOT RESORT BLVD , LAKE BUENA VISTA 32830 | 1182423 | 02/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificate 122670 has expired 11/06/2024 Engineering notify. **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811171 | 10391 | SPRINGHILL SUITES & TOWNE PLACE SUITES | 8040 PALM PKWY TRS LLC | 8040 PALM PKWY , ORLANDO 32836 | 1178558 | 02/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificate 135753 expired 9/15/2022 Per General Manager boiler certificate already paid. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5901058 | 19390 | RSFL ASSOCIATES, LLC | RSFL ASSOCIATES, LLC | 5876 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 1241088 | 02/18/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6011917 | 10475 | RESIDENCE INN WEST PALM BEACH | CNI THL OPS LLC | 2461 METROCENTRE BLVD , WEST PALM BEACH 33407 | 1181930 | 02/20/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler Certificate Expired 10/07/2023 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6210308 | 18166 | QUALITY INN SUITES | WM HOTEL MANAGEMENT LLC | 1400 34 ST N , ST. PETERSBURG 33713 | 1237166 | 02/20/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to room 323 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6215769 | 19261 | BLUE WAVE | HILLSIDE 443 LLC | 440 E SHORE DR , CLEARWATER 72031 | 1236462 | 02/18/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Downstairs area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215799 | 10413 | VUE LAKE TARPON | RT 2 INVESTMENTS LLC | 37611 US 19 N , PALM HARBOR 34684 | 1183387 | 02/17/2025 | Complaint Full | Inspection Completed - No Further Action | 06-02-4 | Door marked as an exit is blocked. For reporting purposes only. The main/middle building of the establishment does not have any units inside. The operator keeps these doors locked between 5pm and 9am. These doors have emergency exit signs and there are units next to these doors, in between the locked emergency exit doors and stairs. Discussed the need to keep all emergency exit doors unlocked. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6201477 | 16904 | GATEWAY MOTEL | DARSHU LLC | 4990 34 ST N , ST. PETERSBURG 33714 | 1234163 | 02/21/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Near unit 24 - From follow-up inspection 2025-02-20: **Time Extended** - From follow-up inspection 2025-02-21: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6201477 | 16904 | GATEWAY MOTEL | DARSHU LLC | 4990 34 ST N , ST. PETERSBURG 33714 | 1234163 | 02/20/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Near unit 24 - From follow-up inspection 2025-02-20: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2001 | Lodging | 6804756 | 8406 | SIESTA KEY PALMS HOTEL | SARASOTAVILLE OF SIESTA KEY LLC | 1800 STICKNEY POINT RD , SARASOTA 34231 | 1179356 | 02/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed a missing hammer to break glass in front of unit 21. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2002 | Lodging | 6800625 | 19315 | NOKOMIS GULF COAST INN | UPROAR CHARTER HOLDINGS LLC | 119 N TAMIAMI TRAIL , NOKOMIS 34275 | 1241111 | 02/18/2025 | Complaint Full | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher between rooms 102 and 103. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6903913 | 118513 | STRATFORD POINT APARTMENTS | STRATFORD POINT PRESERVATION LTD | 1700 OLD ENGLAND LOOP , SANFORD 32771 | 1623466 | 02/20/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2005 | Lodging | 6501621 | 1952 | 1001 NIGHTS BED AND BREAKFAST | 1001 NIGHTS BED AND BREAKFAST LLC | 63 ORANGE ST , ST AUGUSTINE 32084 | 1096392 | 02/17/2025 | Routine - Lodging | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Observed smoke alarm missing in unit 7. Person in charge attempted to install smoke alarm. **Corrective Action Taken** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2005 | Lodging | 6501621 | 1952 | 1001 NIGHTS BED AND BREAKFAST | 1001 NIGHTS BED AND BREAKFAST LLC | 63 ORANGE ST , ST AUGUSTINE 32084 | 1096392 | 02/17/2025 | Routine - Lodging | Warning Issued | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Observed wall outlet in unit one on left wall by entrance. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602457 | 7129 | HAMPTON INN & SUITES | SHIVAM PROPERTIES LLC | 155 SW PEACOCK BLVD , PORT ST. LUCIE 34986 | 1179380 | 02/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light flashing to repair sprinkler head. The appropriate party has been contacted to get fixed per Management. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401678 | 17775 | HERITAGE INN | THAKORJIKRUPA LLC | 1100 S RIDGEWOOD AVE , DAYTONA BEACH 32114 | 1241095 | 02/18/2025 | Complaint Full | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. -room 45 smoke detector covered by bag. Employee removed bag and tested smoke detector. **Corrected On-Site** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401678 | 17775 | HERITAGE INN | THAKORJIKRUPA LLC | 1100 S RIDGEWOOD AVE , DAYTONA BEACH 32114 | 1241095 | 02/18/2025 | Complaint Full | Warning Issued | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. -Wires expose above ceiling fan room 45. -wires expose to light in bathroom room 12. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401278 | 11835 | TOWN & COUNTRY MOTEL | ACR HOLDINGS INC | 5384 S RIDGEWOOD AVE , PORT ORANGE 32127 | 1237227 | 02/18/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -located on wall behind storage area at middle of building, unmarked door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401777 | 19309 | HAMPTON INN DAYTONA SHORES - OCEANFRONT | M4 DAYTONA HI TENANT LLC | 3135 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1236938 | 02/18/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401777 | 19309 | HAMPTON INN DAYTONA SHORES - OCEANFRONT | M4 DAYTONA HI TENANT LLC | 3135 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1236938 | 02/18/2025 | Routine - Lodging | Warning Issued | 08-06-4 | Combustibles stored in water heater/boiler room. For reporting purposes only. -paint thinner inside water heater room **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406503 | 7628 | RESIDENCE INN DAYTONA OCEANFRONT | AVISTA PROPERTIES II LLC | 3209 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1178350 | 02/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -panel at front door | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406503 | 7628 | RESIDENCE INN DAYTONA OCEANFRONT | AVISTA PROPERTIES II LLC | 3209 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1178350 | 02/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. -2 units show 130 gallon capacity | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406406 | 113966 | 1500 SAN MARCO DRIVE (FL) OWNER LLC | BREIT OPERATING PARTNERSHIP LLC | 1500 SAN MARCO DR , ORMOND BEACH 32174 | 1623120 | 02/18/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -fire panel in building 1511 has trouble light. -no power at fire panel in building 1515. - From follow-up inspection 2025-01-07: **Time Extended** - From follow-up inspection 2025-01-15: - From follow-up inspection 2025-02-18: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7403560 | 10064 | NAUTILUS INN | 1515 SOUTH ATLANTIC AVE LLC | 1515 S ATLANTIC AVE , DAYTONA BEACH 84954 | 1182757 | 02/18/2025 | Routine - Lodging | Call Back - Complied | 01-05-4 | - From initial inspection : Portable fire extinguisher obstructed/not accessible. For reporting purposes only. -glass panel breakaway box with no breaking device, mounted next to fire escape on level 7, and across from employee lounge on level 2 - From follow-up inspection 2025-02-18: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7403560 | 10064 | NAUTILUS INN | 1515 SOUTH ATLANTIC AVE LLC | 1515 S ATLANTIC AVE , DAYTONA BEACH 84954 | 1182757 | 02/18/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble lights, units and 408, 607, 1007, 1008 - From follow-up inspection 2025-02-18: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400039 | 19012 | BLEU BEACH CLUB | NDR PAHOKEE LLC | 1503 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1241020 | 02/17/2025 | Complaint Full | Call Back - Admin. complaint recommended | 07-01-4 | - From initial inspection : Damaged electrical wire(s). For reporting purposes only. -inside storage room under stairway near unit 110 - From follow-up inspection 2025-02-17: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.