## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2003 | Lodging | 1100700 | 114623 | TRAILS | SKYLYFE ARCHER LLC | 3230 SW ARCHER RD , GAINESVILLE 32608 | 8408 | 03/10/2025 | Complaint Full | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed the fire extinguisher in the laundry is indicating the need for a recharge, | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2003 | Lodging | 1100700 | 114623 | TRAILS | SKYLYFE ARCHER LLC | 3230 SW ARCHER RD , GAINESVILLE 32608 | 8408 | 03/12/2025 | Complaint Full | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed the fire extinguisher in the laundry is indicating the need for a recharge, - From follow-up inspection 2025-03-12: No change **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505666 | 9342 | RESIDENCE INN CAPE CANAVERAL | AHP RI CAPE CANAVERAL LLC | 8959 ASTRONAUT BLVD , CAPE CANAVERAL 32920 | 1179320 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. In laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505283 | 3176 | COURTYARD BY MARRIOTT | OCEAN PARTNERS ASSOCIATES LTD | 3435 N ATLANTIC AVE , COCOA BCH 32931 | 1182711 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505283 | 3176 | COURTYARD BY MARRIOTT | OCEAN PARTNERS ASSOCIATES LTD | 3435 N ATLANTIC AVE , COCOA BCH 32931 | 1182711 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1600892 | 17782 | SKY ISLANDS | CAPFORTE LLC | 4117 N OCEAN BLVD , FORT LAUDERDALE 33308 | 1183499 | 03/11/2025 | Complaint Full | Warning Issued | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only.observed smoke detector not operating in room 220. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1183520 | 03/14/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 138420 5-14-23; 138421 5-14-23 **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620877 | 8930 | CHATEAU MAR GOLF RESORT | CUIDAD DE NUESTROS ANGELES I LLC | 3501 INVERRARY BLVD , LAUDERHILL 33319 | 1183362 | 03/10/2025 | Complaint Full | Call Back - Complied | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguisher at end of the hall next to room 730 - From follow-up inspection 2025-02-21: Observed same **Time Extended** - From follow-up inspection 2025-03-10: Observed same | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1183471 | 03/10/2025 | Complaint Full | Call Back - Admin. complaint recommended | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Per manager, expired, inspection appointment is I. Process **Repeat Violation** - From follow-up inspection 2025-03-10: Observed same | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1183471 | 03/07/2025 | Complaint Full | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Per manager, expired, inspection appointment is I. Process **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1183497 | 03/10/2025 | Complaint Full | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 138420 5-14-23; 138421 5-14-23 **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329259 | 7357 | BLANC KARA | MANAGER 205 LLC | 205 COLLINS AVE , MIAMI BEACH 33139 | 1179157 | 03/11/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329214 | 11446 | GRAYSON MIAMI | 1100 BISCAYNE OPCO LLC | 1100 BISCAYNE BLVD , MIAMI 33132 | 1183441 | 03/10/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328182 | 10306 | MARRIOTT STANTON SOUTH BEACH | KOMAR INVESTMENTS LLC | 161 OCEAN DR , MIAMI BEACH 33139 | 1179089 | 03/11/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boilers certificates Fl 095287 expiration 2/15/2025 and FL 095288 expiration 2/15/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329040 | 5176 | BENTLEY BEACH HOTEL | HEAFY BENTLEY MANAGEMENT LLC | 101 OCEAN DRIVE , MIAMI BEACH 33139 | 1179319 | 03/11/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329876 | 98693 | ST MARTINS PLACE | BHG ST MARTINS PL LTD | 1128 NW 7 AVE , MIAMI 33136 | 1623601 | 03/10/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329398 | 8631 | GENERATOR | G 3120 COLLINS LLC | 3120 COLLINS AVENUE , MIAMI BEACH 33140 | 1178340 | 03/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Main panel at the lobby . | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329373 | 8830 | HAMPTON INN MIAMI AIRPORT EAST | MIAMI AIRPORT LODGING LLC | 3449 NW 42 AVE , MIAMI 33142 | 1181901 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329315 | 10782 | HYATT PLACE MIAMI AIRPORT EAST | M2 MIAMI AIRPORT TENANT LLC | 3549 NW LEJEUNE RD , MIAMI SPRINGS 33142 | 1178790 | 03/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329520 | 11099 | NASSAU SUITE HOTEL | NASSAU INVESTMENTS LLC | 1414 COLLINS AVE , MIAMI BEACH 33139 | 1178968 | 03/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329398 | 8631 | GENERATOR | G 3120 COLLINS LLC | 3120 COLLINS AVENUE , MIAMI BEACH 33140 | 1178340 | 03/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. Observed at the main panel at the lobby. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2326574 | 3651 | ALBION HOTEL | ALBION ASSOC LTD | 1650 JAMES AVE , MIAMI BEACH 33139 | 1179315 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. As per the manager the inspection will be done next Thursday. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329398 | 8631 | GENERATOR | G 3120 COLLINS LLC | 3120 COLLINS AVENUE , MIAMI BEACH 33140 | 1178340 | 03/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed FL 135551 and 135552 exp 1/21/2023 Observed inspection was conducted and sent to State Fire Marshal. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2320005 | 3591 | MIAMI MARRIOTT DADELAND | MDM HOTEL GROUP LTD | 9090 S DADELAND BLVD , MIAMI 67825 | 1182054 | 03/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. FL98799, FL98798,FL 123243, FL123244 with not boiler certification. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311837 | 19162 | NORTH MIAMI BEACH GARDEN INN & SUITE | MIAMI BEACH GARDEN INN & SUITE LLC | 148 NW 167 ST , MIAMI 33169 | 1241121 | 03/07/2025 | Complaint Partial | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. In the office. **Repeat Violation** - From follow-up inspection 2025-03-07: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. In the office. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329180 | 7768 | RITZ CARLTON BAL HARBOUR | LK HOTEL LLC | 10295 COLLINS AVE , BAL HARBOUR 33154 | 1176057 | 03/11/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light on panel. **Repeat Violation** - From follow-up inspection 2025-03-11: Observed trouble light on panel. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2609347 | 18988 | RIVER CITY INN | DUNN HOSPITALITY LLC | 10888 HARTS RD , JACKSONVILLE 32218 | 1236593 | 03/13/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Missing in box between rooms 111 and 113 **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3900493 | 111490 | MIRELA NORTH | RIVIERA TFL LLC | 8412 RIO BRAVO CT , TAMPA 33617 | 1623537 | 03/13/2025 | Complaint Full | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed in the laundry room closest to the main office. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3906143 | 18798 | LA QUINTA INN AND SUITES | OMHJVC LLC | 4811 US HWY 301 N , TAMPA 33610 | 1235097 | 03/14/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3913911 | 110169 | LOLA APARTMENTS | LOLA APARTMENTS RIVERVIEW LLC | 9960 JONAS SALK DR , RIVERVIEW 33578 | 1623641 | 03/14/2025 | Complaint Full | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. On first floor in office building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2001 | Lodging | 4502093 | 9292 | SLEEP INN LEESBURG | B MIRACLE TOUCH CORPORATION | 2476 CITRUS BLVD , LEESBURG 34748 | 1178236 | 03/12/2025 | Routine - Lodging | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. -Room 319. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2001 | Lodging | 4605599 | 8617 | DRURY INN & SUITES FT MYERS | DDC HOTELS INC | 9950 UNIVERSITY PLAZA DR , FORT MYERS 33913 | 1183135 | 03/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 124540 expired 05/18/2023. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2001 | Lodging | 4700474 | 8818 | WYNDHAM GARDEN TALLAHASSEE CAPITOL | AD1 TALLY HOTELS LLC | 1355 APALACHEE PKWY , TALLAHASSEE 32301 | 1183517 | 03/13/2025 | Complaint Partial | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Operator stated they're in the middle of getting a boiler inspection done | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5400103 | 7740 | SAINT HOTEL KEY WEST | SEASIDE HOSPITALITY CORPORATION | 417 EATON ST , KEY WEST 33040 | 1176644 | 03/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5400103 | 7740 | SAINT HOTEL KEY WEST | SEASIDE HOSPITALITY CORPORATION | 417 EATON ST , KEY WEST 33040 | 1173523 | 03/10/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-03-10: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5810963 | 103032 | OAK GLEN APARTMENTS | CC FRENCH LLC | 2018 MERCY DR , ORLANDO 32808 | 1623600 | 03/12/2025 | Complaint Full | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher at compactor indicator needing recharge | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811150 | 107760 | VERANDA CLUB | WESTSIDE VERNDAS OWNER LLC | 2121 S HIAWASSEE RD , ORLANDO 32835 | 1591505 | 03/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. Panel outside leasing managers office. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5808160 | 4106 | DISNEY`S BOARDWALK INN | WALT DISNEY PARKS AND RESORTS US INC | 2101 N EPCOT RESORT BLVD , BAY LAKE 01000 | 1183158 | 03/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificate 00759 and 007600 7/11/2024 will notify engineering. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811114 | 10138 | EXTENDED STAY AMERICA SELECT SUITES #8084 | TIGER HOTEL TERM TRS SUB LLC | 216 S GOLDENROD RD , ORLANDO 32807 | 1181934 | 03/12/2025 | Routine - Lodging | Call Back - Complied | 07-03-4 | - From initial inspection : Scorch marks around an electrical outlet. For reporting purposes only. Room 431 scorch marks around outlet by bed - From follow-up inspection 2025-03-11: **Time Extended** - From follow-up inspection 2025-03-12: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811114 | 10138 | EXTENDED STAY AMERICA SELECT SUITES #8084 | TIGER HOTEL TERM TRS SUB LLC | 216 S GOLDENROD RD , ORLANDO 32807 | 1181934 | 03/11/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 07-03-4 | - From initial inspection : Scorch marks around an electrical outlet. For reporting purposes only. Room 431 scorch marks around outlet by bed - From follow-up inspection 2025-03-11: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1183500 | 03/11/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1183456 | 03/07/2025 | Complaint Full | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-03-07: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6009461 | 62987 | HARBOUR'S EDGE | LIFESPACE COMMUNITIES, INC. | 401 E LINTON BLVD , DELRAY BEACH 35093 | 1594590 | 03/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Boiler 141543 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6215788 | 19297 | TROPICAL BREEZE | TROPICAL BREEZE HOTEL LLC | 333 HAMDEN DR HAMDEN DR, CLEARWATER 33767 | 1234320 | 03/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Between rooms 109 and 110. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6215809 | 19481 | SIERRA | MF211 LLC | 9359 US HWY 19 N , PINELLAS PARK 33782 | 1237237 | 03/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to unit 136 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6203723 | 16363 | HOTEL SOL | RK HOSPITALITY, LLC | 17566 GULF BLVD , REDINGTON SHORES 33708 | 1237046 | 03/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguisher box empty on rear side of unit 120 along beach | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Santa Rosa | 2003 | Lodging | 6700064 | 115991 | BREEZE APARTMENTS | GULF APARTMENTS LP | 75 NIGHTINGALE LN , GULF BREEZE 32561 | 1579990 | 03/13/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to apartment 110 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Santa Rosa | 2003 | Lodging | 6700064 | 115991 | BREEZE APARTMENTS | GULF APARTMENTS LP | 75 NIGHTINGALE LN , GULF BREEZE 32561 | 1579990 | 03/13/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Between apartment 134 and 133. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2001 | Lodging | 6804766 | 10537 | EMBASSY SUITES SARASOTA DOWNTOWN | KCMCL 202 NTT LLC | 202 N TAMIAMI TRAIL , SARASOTA 64819 | 1182458 | 03/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Alarm panel in the main lobby. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2001 | Lodging | 6804598 | 8979 | RITZ- CARLTON SARASOTA | ASHFORD TRS SARASOTA LLC | 1111 RITZ CARLTON DR , SARASOTA 34236 | 1178953 | 03/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 021679 2/8/25 136247 2/8/25 094605 2/8/25 058941 2/8/25 136236 2/8/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2002 | Lodging | 6902879 | 18989 | DAYS INN | LD HOSPITALITY INC | 8245 S US HWY 17-92 , FERN PARK 32730 | 1237214 | 03/11/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. -expired 11/18/24. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1239901 | 03/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406424 | 77512 | NEWPORT SOUND | CONCORD MANAGEMENT | 10101 NEWPORT SOUND PLACE , NEW SMYRNA BEACH 32168 | 1593497 | 03/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406523 | 10430 | MAX BEACH RESORT | 1901-1903 S ATLANTIC LP | 1901 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1178428 | 03/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. -provided via email to operator from boiler inspection database/fire marhsall | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401678 | 17775 | HERITAGE INN | THAKORJIKRUPA LLC | 1100 S RIDGEWOOD AVE , DAYTONA BEACH 32114 | 1241095 | 03/11/2025 | Complaint Full | Call Back - Complied | 07-01-4 | - From initial inspection : Damaged electrical wire(s). For reporting purposes only. -Wires expose above ceiling fan room 45. -wires expose to light in bathroom room 12. - From follow-up inspection 2025-03-11: -room 12 **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.