## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2001 | Lodging | 1305244 | 10713 | SPRINGHILL SUITS PANAMA CITY BEACH BEACHFRONT | PALMETTO HOSPITALITY OF PCB II LLC | 12513 FRONT BEACH RD , PANAMA CITY BEACH 32407 | 1182192 | 03/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505666 | 9342 | RESIDENCE INN CAPE CANAVERAL | AHP RI CAPE CANAVERAL LLC | 8959 ASTRONAUT BLVD , CAPE CANAVERAL 32920 | 1179320 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. In laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505283 | 3176 | COURTYARD BY MARRIOTT | OCEAN PARTNERS ASSOCIATES LTD | 3435 N ATLANTIC AVE , COCOA BCH 32931 | 1182711 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505283 | 3176 | COURTYARD BY MARRIOTT | OCEAN PARTNERS ASSOCIATES LTD | 3435 N ATLANTIC AVE , COCOA BCH 32931 | 1182711 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1183520 | 03/14/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 138420 5-14-23; 138421 5-14-23 **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620520 | 10454 | RENAISSANCE FORT LAUDERDALE-PLANTATION HOTEL | RLJ II RH PLANTATION LESSEE LLC | 1230 S PINE ISLAND RD , PLANTATION 33324 | 1183540 | 03/18/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed all boiler certifications expired. Jurisdiction number 090325. 059233. 059220 . 130320 Exp 09/15/2024. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302477 | 51099 | MARBLE TERRACE APARTMENTS | KURZ REALTY CO | 3100 COLLINS AVE , MIAMI BEACH 04156 | 1594149 | 03/18/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329451 | 9797 | RAMADA PLAZA MARCO POLO BEACH RESORT | AVENTURA BEACH ASSOCIATES LTD | 19201 COLLINS AVENUE , SUNNY ISLES BEACH 33160 | 1182207 | 03/17/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boilers 137117 & 134796 exp 3/10/24 expired. Inspection was conducted on 2/10/25, Operator is awaiting certificate. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331311 | 118562 | 620 SW 16 AVENUE | 620 SW 16 AVENUE LLC | 620 SW 16 AVE , MIAMI 33135 | 1623545 | 03/18/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Second floor | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329373 | 8830 | HAMPTON INN MIAMI AIRPORT EAST | MIAMI AIRPORT LODGING LLC | 3449 NW 42 AVE , MIAMI 33142 | 1181901 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329303 | 9307 | 1 HOTEL SOUTH BEACH | 1 SB LESSEE LLC | 2341 COLLINS AVE , MIAMI BEACH 33139 | 1178978 | 03/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329432 | 10165 | AC HOTEL MIAMI MIDTOWN | ODYSSEY PROPCO VI,LLC | 3400 BISCAYNE BLVD , MIAMI 33137 | 1182033 | 03/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. By the front desk. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329486 | 10337 | ESMÈ MIAMI BEACH | INFINITY ESPANOLA HOTEL VENTURE LLC | 1434-1438 WASHINGTON AVE , MIAMI BEACH 33139 | 1178948 | 03/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2326574 | 3651 | ALBION HOTEL | ALBION ASSOC LTD | 1650 JAMES AVE , MIAMI BEACH 33139 | 1179315 | 03/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. As per the manager the inspection will be done next Thursday. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328246 | 9578 | DOUBLETREE BY HILTON OCEAN POINT RESORT & SPA | COLWEN MANAGEMENT INC | 17375 COLLINS AVE , SUNNY ISLES BEACH 33160 | 1176444 | 03/17/2025 | Routine - Lodging | Call Back - Complied | 04-04-4 | - From initial inspection : Fire alarm control panel has no power. Due to flood. As per Director of Engineering they are aware and currently under fire watch by Miami-Dade Fire department. For reporting purposes only. - From follow-up inspection 2024-11-05: Fire alarm control panel has no power. Due to flood. As per Director of Engineering they are aware and currently under fire watch by Miami-Dade Fire department. For reporting purposes only. **Time Extended** - From follow-up inspection 2025-03-17: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2306744 | 91227 | FLM 888 SW 6 ST LLC | FLM 888 SW 6 ST LLC | 888 SW 6 ST , MIAMI 33130 | 1552891 | 03/17/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. Observed at fire extinguisher next to unit 605 and 615. For reporting purposes only. - From follow-up inspection 2025-03-17: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200101 | 16507 | LAKEPORT HUNTING & FISHING LODGE | BONNIE R. DRIGGERS, INVEST. | 1077 LAKEPORT PLAZA , LAKEPORT 33471 | 1239655 | 03/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only: between units 106 and 107 and at unit 126. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3906143 | 18798 | LA QUINTA INN AND SUITES | OMHJVC LLC | 4811 US HWY 301 N , TAMPA 33610 | 1235097 | 03/14/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3913911 | 110169 | LOLA APARTMENTS | LOLA APARTMENTS RIVERVIEW LLC | 9960 JONAS SALK DR , RIVERVIEW 33578 | 1623641 | 03/14/2025 | Complaint Full | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. On first floor in office building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2002 | Lodging | 4100126 | 15682 | HSP UNITED LLC | HSP UNITED LLC | 2022 US HWY 1 , VERO BEACH 32960 | 1236976 | 03/17/2025 | Routine - Lodging | Call Back - Complied | 04-02-4 | - From initial inspection : No smoke detector provided in guest room/unit. For reporting purposes only. #19 - From follow-up inspection 2025-03-17: **Time Extended** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400891 | 16082 | BIG PINE MOTEL | MCCLENDON STEPHEN L | 30725 OVERSEAS HWY , BIG PINE KEY 33043 | 1236907 | 03/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. In Unit 7 | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500966 | 9596 | HOME2 SUITES | FERNANDINA INVESTMENTS LLC | 2246 SADLER RD , FERNANDINA BEACH 32034 | 1182028 | 03/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 11-02-4 | Gas appliance disconnected/in disrepair. For reporting purposes only. Left side bbq grill leaking gas as evidenced by smell and sound. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811117 | 6429 | SPRINGHILL SUITES ORLANDO AT SEAWORLD | SPRINGHILL SMC LLC | 10801 INTERNATIONAL DR , ORLANDO 32821 | 1178527 | 03/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809156 | 7903 | HAMPTON INN ORLANDO CONVENTION CENTER | HIT PORTFOLIO II TRS LLC | 8900 UNIVERSAL BLVD , ORLANDO 32819 | 1178472 | 03/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. **Corrected On-Site** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811138 | 9269 | ALOFT ORLANDO DOWNTOWN HOTEL | GDC ORLANDO HOTEL OWNER LLC | 500 S ORANGE AVE , ORLANDO 32801 | 1178384 | 03/17/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Operator has completed boiler inspection and is waiting to receive certificates - From follow-up inspection 2025-03-17: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6006521 | 8206 | HILTON PALM BEACH AIRPORT | MSP PARTNERS REALTY | 150 AUSTRALIAN AVE , WEST PALM BEACH 33406 | 1181892 | 03/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6207364 | 11156 | CRYSTAL INN | DHRUV LLC | 4600 S 34 ST , ST PETERSBURG 33711 | 1241201 | 03/17/2025 | Complaint Full | Warning Issued | 04-03-4 | Smoke alarms missing with wires hanging from ceiling in rooms 236,237,245 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6209581 | 86422 | INLET BAY AT GATEWAY LLC | INLET BAY AT GATEWAY LLC | 12000 4 ST N , ST PETERSBURG 33716 | 1623613 | 03/17/2025 | Complaint Full | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Two empty fire extinguisher boxes in front of garages 7a and 7b | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6205242 | 64691 | CANTERBURY VILLAS APTS | LENNOX F T | 1200 S SEMINOLE BLVD , LARGO 08401 | 1623273 | 03/17/2025 | Complaint Full | Call Back - Extension given, pending | 07-01-4 | - From initial inspection : The operator has filed for a permit to replace the entire electrical panel for building 16. The permit was recently approved and now the operator is in process of coordinating Duke energy and the electrical repair company for replacement. For reporting purposes only. - From follow-up inspection 2025-03-17: Permits are approved. Duke energy scheduled for May 7, 2025 **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401000 | 18613 | BEST WESTERN AKU TIKI INN | JK DAYTONA LLC | 2225 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1240239 | 03/17/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. -210F maximum temperature on data plates | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406509 | 19438 | BEACH HOUSE INN | BEACHSIDE MOTEL LLC | 1601 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1236943 | 03/17/2025 | Routine - Lodging | Call Back - Extension given, pending | 02-07-4 | - From initial inspection : Flammable material stored near a source of ignition. For reporting purposes only. -lint allowed to build up under vent stack inside laundry room water heater - From follow-up inspection 2025-03-17: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406496 | 11216 | COUNTRY INN AND SUITES | PORT SUN LLC | 5802 JOURNEYS END WAY , PORT ORANGE 32127 | 1178770 | 03/17/2025 | Routine - Lodging | Call Back - Complied | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. -extenguisher on wall next to 422 indicates unit is overcharged - From follow-up inspection 2025-03-17: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406496 | 11216 | COUNTRY INN AND SUITES | PORT SUN LLC | 5802 JOURNEYS END WAY , PORT ORANGE 32127 | 1178770 | 03/17/2025 | Routine - Lodging | Call Back - Complied | 01-03-4 | - From initial inspection : Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. -box on wall next to 327 missing extenguisher - From follow-up inspection 2025-03-17: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406513 | 9255 | HARD ROCK HOTEL | 900 NORTH ATLANTIC AVE LLC | 918 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1178786 | 03/17/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-03-17: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401632 | 17446 | HOLIDAY INN RESORT DAYTONA BEACH OCEAN FRONT | HIR DB OPCP LLC | 1615 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1236635 | 03/17/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -level 2 FACP - From follow-up inspection 2025-03-17: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401000 | 18613 | BEST WESTERN AKU TIKI INN | JK DAYTONA LLC | 2225 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1240239 | 03/18/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. -210F maximum temperature on data plates - From follow-up inspection 2025-03-18: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.