## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Brevard | 2003 | Lodging | 1501803 | 113323 | CRANE CLIFF APARTMENTS | KLT RIVER LLC | 1207 RIVER DR , MELBOURNE 32901 | 1600515 | 04/16/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Front of apartments by apt #1 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620891 | 8523 | LYFE RESORT & RESIDENCES | SOHO OCEAN RESORT TRS LLC | 4111 S OCEAN DR , HOLLYWOOD 33019 | 1182162 | 04/11/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621085 | 98860 | AMLI TOSCANA PLACE | PPF AMLI 5971 TOSCANA DRIVE LP | 5971 TOSCANA DR , DAVIE 33314 | 1589102 | 04/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Building 5951 unit 1334 Building 5801 unit 1634 Building 5901 unit 1225 Building 6011 unit 816, 824 and 825 Building 6050 unit 318 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1603174 | 100599 | WEJ 1113 LLC | WEJ 1113 LLC | 1115 SW 15 TERRACE , FORT LAUDERDALE 33312 | 1587169 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Unit 5 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621085 | 98860 | AMLI TOSCANA PLACE | PPF AMLI 5971 TOSCANA DRIVE LP | 5971 TOSCANA DR , DAVIE 33314 | 1589102 | 04/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Building 6100 unit 213 Building 6000 unit 415 Building 5950 unit 534 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1608330 | 104275 | SWR DAVIE LLC | SWR DAVIE LLC | 5875 SW 41 ST , DAVIE 33314 | 1585360 | 04/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. First floor Unit 7 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1603684 | 110653 | VUE ON 67TH APARTMENTS | CIRCLE CAPTIAL VUE LLC | 4151 SW 67 AVE , DAVIE 33314 | 1589791 | 04/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. At the grills, at building 4195 unit 202 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1615278 | 49029 | 4 U 2 INC APARTMENTS | 4 U 2 INC | 532 SW 2 ST , POMPANO BEACH 06826 | 1594587 | 04/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102695 | 7370 | HOLIDAY INN EXPRESS & SUITES NAPLES DOWNTOWN 5TH AVENUE | OPH HOTEL LP | 1785 5 AVE S , NAPLES 34102 | 1182879 | 04/17/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. This is a repeat from previous inspection dated 12-03-2024 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2100459 | 8315 | RED ROOF FLUS +& SUITES | BW RRI III LLC | 1925 DAVIS BLVD , NAPLES 34104 | 1182743 | 04/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Panel is showing system in trouble | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301977 | 96538 | 701-731 SW 5TH STREET LLC | 701-731 SW 5TH STREET LLC | 731 SW 5 ST , MIAMI 33130 | 1583038 | 04/15/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at building 711 next to unit 8 second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330019 | 100830 | D&J 2015 LLC | D&J 2015 LLC | 1410 NW 61 ST , MIAMI 33142 | 1598491 | 04/18/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed between units #4 and #5. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301977 | 96538 | 701-731 SW 5TH STREET LLC | 701-731 SW 5TH STREET LLC | 731 SW 5 ST , MIAMI 33130 | 1583038 | 04/15/2025 | Routine - Lodging | Warning Issued | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. Observed fire extinguisher missing next to unit 7 at second floor at building 701. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301977 | 96538 | 701-731 SW 5TH STREET LLC | 701-731 SW 5TH STREET LLC | 731 SW 5 ST , MIAMI 33130 | 1583038 | 04/15/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at building 731 next to unit 3 at first floor and at building 711 next to unit 8 at second floor and unit 3 at first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310540 | 107467 | HIALEAH PROPERTIES REALTY LLC | HIALEAH PROPERTIES REALTY LLC | 3640 E 4TH AVE , HIALEAH 33013 | 1587567 | 04/14/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only.by u it 202-203. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2305156 | 107485 | 2097LLC | 2097 LLC | 2097 NW 22 CT , MIAMI 33142 | 1589742 | 04/17/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device on any fire extinguisher throughout property. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2327183 | 113687 | GARDENS OF HOMESTEAD | HOMESTEAD PORTFOLIO LP | 1223 NE 1 AVE , HOMESTEAD 33030 | 1595877 | 04/14/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed next to unit 10 and 15 fire extinguisher with no breaking device. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329369 | 9532 | DONOVAN AT MIAMI BEACH | 8118 HOSPITALITY | 8118 HARDING AVE , MIAMI BEACH 33141 | 1182659 | 04/14/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2326270 | 90210 | HAINLIN MILLS PRESERVERVATION LP | HAINLIN MILLS PRESERVATION LP | 10400 SW 216 ST , CUTLER BAY 33190 | 1598854 | 04/18/2025 | Routine - Lodging | Warning Issued | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. Observed at building 10350 first floor between units 107 and 108, fire panel beeping. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329230 | 6742 | BEST WESTERN PLUS MIAMI INTERNATIONAL AIRPORT HOTEL & SUITES | FLAGLER 4100 PROPERTY LLC | 4100 W FLAGLER ST , MIAMI 33134 | 1178546 | 04/14/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330268 | 118627 | GUAYABAL | GUAYABAL LLC | 3265 BIRD AVE , MIAMI 33133 | 1623678 | 04/15/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed for theirs floor extinguisher. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301403 | 50665 | 445 APARTMENTS | BALEPOGI GEORGE | 445 SW 5 ST , MIAMI 02871 | 1586354 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher in the recharge zone next to unit 7 at second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328157 | 56470 | ALVAREZ APARTMENTS | ALVAREZ OMAR & OFELIA | 281 GRAND CANAL DR , MIAMI 33144 | 1596254 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed a portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge by unit 281. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330884 | 112880 | J&N PROPERTY LLC | J&N PROPERTY LLC | 140 NW 77 ST , MIAMI 33150 | 1595779 | 04/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed in back of building outside unit 4 no fire extinguisher inside box. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2307747 | 95884 | ALEXAS INVESTMENT INC | ALEXA'S INVESTMENT INC | 1765 NW 23 ST , MIAMI 33142 | 1596808 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed no access/breaking device next to unit #2 on the first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301403 | 50665 | 445 APARTMENTS | BALEPOGI GEORGE | 445 SW 5 ST , MIAMI 02871 | 1586354 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguisher next to unit 2 at first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310696 | 54438 | PINTADO APARTMENTS | PINTADO ROBERTO & ELSA | 455 SW 27 AVE , MIAMI 52942 | 1590312 | 04/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. First and second floor | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303036 | 79028 | 7531 APARTMENTS | LUIS ARMENTEROS | 567 E 21 ST , HIALEAH 33013 | 1586604 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher glass broken. Next to unit 1. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308987 | 94128 | JASMILY APARTMENTS | RODRIGUEZ JOHNNY | 3150 NW 20 ST , MIAMI 33142 | 1583302 | 04/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed locked fire extinguisher with no breaking device next to unit #4. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303488 | 103529 | WINDSOR HOUSE APARTMENTS | SORKINS WINDSOR APARTMENTS, INC. | 1411 SW 67 AVE , WEST MIAMI 33144 | 1585320 | 04/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed outside unit 41; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310671 | 115607 | KASE HOLDING GROUP | KASE HOLDING GROUP LLC | 26 W 11 ST , HIALEAH 33010 | 1586187 | 04/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed extinguisher with no braking device located by unit 2. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2316003 | 114203 | CREEK CLUB APARTMENTS INC | CREEK CLUB APARTMENTS INC | 2411 NW 23 CT , MIAMI 33142 | 1588053 | 04/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-04-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored inside the building. For reporting purposes only. Observed gas tank stored in hallway on the 2nd floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329295 | 9189 | BOULAN HOTEL | THINK PROPERTIES LLC | 220 21 ST , MIAMI BEACH 33139 | 1182165 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2314114 | 55202 | 2025 NW 28TH ST. APARTMENTS | QVH CORP (THE) | 2025 NW 28 ST , MIAMI 25974 | 1583482 | 04/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300753 | 112649 | 6080 ORAIDA APARTMENTS | 6080 ORAIDA APARTMENTS LLC | 6080 W FLAGLER ST , MIAMI 33144 | 1593736 | 04/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329784 | 96142 | 8321 CRESPI LLC | 8321 CRESPI LLC | 8321 CRESPI BLVD , MIAMI BEACH 33141 | 1594885 | 04/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Exposed electrical wire(s). For reporting purposes only. Observed exposed electrical wiring above outside of unit 8. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2319898 | 4857 | HYATT REGENCY CORAL GABLES HOTEL | HYATT CORP | 50 ALHAMBRA PLAZA , CORAL GABLES 33134 | 1181978 | 04/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 093786/093787/093788/093789. All expired 02/13/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329476 | 10102 | IBEROSTAR WAVES MIAMI BEACH | SADIGO HOTEL LLC | 334 20 ST , MIAMI BEACH 33139 | 1182551 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed the boilers have an input of 500,000 BTU's. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310858 | 116329 | MARINA DEL MAR | CENTURY TOWERS ASSOCIATES LLP | 100 KING POINT DR , MIAMI BEACH 33160 | 1623380 | 04/15/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-04-15: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310858 | 116329 | MARINA DEL MAR | CENTURY TOWERS ASSOCIATES LLP | 100 KING POINT DR , MIAMI BEACH 33160 | 1623380 | 04/15/2025 | Complaint Full | Call Back - Complied | 08-04-4 | - From initial inspection : Boiler certificate not posted in the boiler room. For reporting purposes only. - From follow-up inspection 2025-04-15: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330842 | 112315 | 3331 FLORIDA AVE LLC | 3331 FLORIDA AVE LLC | 3600 GRAND AVE , MIAMI 33133 | 1543547 | 04/16/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher near unit 213 and 200 at second floor and unit 106 and 102 at first floor. For reporting purposes only. - From follow-up inspection 2025-04-16: Portable fire extinguisher locked in a box with no means of access to the fire extinguisher near unit 213 and 206 at second floor and unit 106 and 102 at first floor. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300031 | 93875 | AVAV HOLDINGS LLC | AVAV HOLDINGS LLC | 920 SW 5 ST , MIAMI 33130 | 1596772 | 04/16/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at fire extinguisher next to unit 7 at second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308981 | 89662 | ROBERTO DOMINGUEZ | DOMINGUEZ ROBERTO | 926 SW 5 ST , MIAMI 33130 | 1588823 | 04/17/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed fire extinguisher missing next to unit 5 at second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330723 | 110977 | MANSIONS | MIAMI BEACH COMMUNITY KOLLEL INC | 1001 W 46 ST , MIAMI BEACH 33140 | 1600486 | 04/11/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed missing fire extinguisher on the backside of the property at the end of the left alley . **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308856 | 53657 | LUDLAM PLAZA APARTMENTS | LUDLAM PLAZA APARTMENTS LTD | 1247 SW 67 AVE , MIAMI 45587 | 1586440 | 04/15/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed outside of unit 16 next to meter room; no hammer. Observed outside unit 53; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328409 | 56686 | 750 APARTMENTS | A FISH A FROG & A CRAB INC | 750 SW 7 ST , MIAMI 33130 | 1599668 | 04/17/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed on the first floor fire extinguisher next to unit 2. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300031 | 93875 | AVAV HOLDINGS LLC | AVAV HOLDINGS LLC | 920 SW 5 ST , MIAMI 33130 | 1596772 | 04/16/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguisher next to unit 7 at second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613245 | 9212 | SHERATON JACKSONVILLE HOTEL | RBHV JACKSONVILLE LLC | 10605 DEERWOOD PARK BLVD , JACKSONVILLE 32256 | 1183186 | 04/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated on fire panel. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200011 | 9434 | ANGLER'S WATERFRONT MOTEL | CHILLEN MICHAEL | 1010 6 ST RT-4 , OKEECHOBEE 49206 | 1241043 | 04/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only: backside unit 10. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hernando | 2002 | Lodging | 3700067 | 18259 | DAYS INN -BROOKSVILLE | SAKARDEV HOLDINGS LLC | 6320 WINDMERE RD , BROOKSVILLE 34602 | 1241297 | 04/15/2025 | Complaint Full | Administrative complaint recommended | 01-05-4 | Portable fire extinguishers obstructed/not accessible by tape at two directions extinguishers on property. Staircase in front of room 164 and north staircase near room 213. Spoke with operator. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hernando | 2002 | Lodging | 3700067 | 18259 | DAYS INN -BROOKSVILLE | SAKARDEV HOLDINGS LLC | 6320 WINDMERE RD , BROOKSVILLE 34602 | 1241297 | 04/15/2025 | Complaint Full | Administrative complaint recommended | 04-03-4 | Smoke detector/alarm in guest room/unit 213 damaged as to appear to be inoperable and was off the wall in room. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2003 | Lodging | 3801002 | 98383 | WATERS EDGE APARTMENTS | 1025 LAKEVIEW LLC | 1025 LAKEVIEW DR , SEBRING 33870 | 1601276 | 04/18/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher at apartment 3 in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913607 | 5452 | COURTYARD BY MARRIOTT | COURTYARD MANAGEMENT CORPORATION | 3805 W CYPRESS ST , TAMPA 33607 | 1179385 | 04/11/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 133411-6/2/2024; 133428-6/2/2024. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913638 | 6840 | ECONO LODGE | MOSI OA TUNYA INC | 4139 E BUSCH BLVD , TAMPA 33617 | 1183649 | 04/16/2025 | Complaint Full | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Observed a smoke detector that seemed to have been ripped out of the ceiling in room 206. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3904373 | 118282 | INERTIO APARTMENTS | INERTIA APARTMENTS LLC | 4216 S MANHATTAN AVE , TAMPA 33611 | 1623198 | 04/15/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Observed outlet damaged/missing outlet cover in front of 108 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913614 | 6663 | EMBASSY SUITES HOTEL TAMPA-DOWNTOWN CONVENTION CENTER | RLJ III-EM TAMPA DT LESSEE LLC | 513 S FLORIDA AVE , TAMPA 33602 | 1182632 | 04/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913607 | 5452 | COURTYARD BY MARRIOTT | COURTYARD MANAGEMENT CORPORATION | 3805 W CYPRESS ST , TAMPA 33607 | 1179385 | 04/14/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 133411-6/2/2024; 133428-6/2/2024. **Repeat Violation** - From follow-up inspection 2025-04-14: | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2002 | Lodging | 4500123 | 14340 | VILLA LAGOON INN | VILLA LAGOON INN LLC | 1051 LAKESHORE BLVD , TAVARES 32778 | 1240193 | 04/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-02-4 | Frayed electrical wire(s). For reporting purposes only. - gas dryer in laundry room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4605625 | 97720 | MIRAGE BAY APARTMENTS | RICH METRO GROUP LLC | 14401 METRO PKWY , FORT MYERS 33912 | 1585062 | 04/18/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. In clubhouse, trouble panel lit with audible alarm. Operator states alarm is currently being addressed and reinspection is scheduled 4/21/2025 with South Trail Fire. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4605616 | 95379 | 1640 ORCHID BLVD | ANDREAS NICK | 1640 ORCHID BLVD , CAPE CORAL 33904 | 1584992 | 04/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. Extinguisher between Units 101 & 102. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4600013 | 114609 | YALE COMPANY LLC | YALE COMPANY LLC | 1761 FOWLER ST , FORT MYERS 33901 | 1588091 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge near laundry facilities. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4605663 | 105218 | KINGDOM APARTMENTS LLC | KINGDOM APARTMENTS LLC | 1610-1620 PARK AVE , FT MYERS 33901 | 1585396 | 04/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed fire extinguisher missing near unit 1616. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4605213 | 91387 | TH PALMS OF MONTERREY | CF PALMS OF MONTERREY LLC | 15250 SONOMA DR , FORT MYERS 33908 | 1588888 | 04/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). Observed exit emergency lighting hanging by wires near Units 302 & 304, Building 7. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2003 | Lodging | 5100097 | 60131 | DESOTO TOWERS | DESOTO TOWERS INC | 1523 6TH AVE W , BRADENTON 56717 | 1596327 | 04/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed their boiler certificate expired 8/30/24 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5403187 | 10471 | FARO BLANCO RESORT & YACHT CLUB | MARATHON TWO HOSPITALITY HOLDINGS LLC | 1996 OVERSEAS HWY , MARATHON 33050 | 1183193 | 04/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2003 | Lodging | 5500971 | 110281 | COURTNEY ISLES APARTMENTS | CF COURTNEY ISLES LLC | 86195 COURTNEY ISLES WAY , YULEE 32097 | 1587717 | 04/17/2025 | Routine - Lodging | Warning Issued | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. Fire alarm inside storage room near unit 4113. Manager states repairs are in progress. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5810516 | 9105 | COUNTRY INN & SUITES ORLANDO AIRPORT | CNI THL OPS LLC | 5440 FORBES PL , ORLANDO 32812 | 1182451 | 04/11/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. #133807 #133808#131555 expired 4-10-2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805779 | 11104 | COURTYARD ORLANDO INTERNATIONAL DRIVE - CONVENTION CENTER | JASMIN HOSPITALITY INC. | 8600 AUSTRIAN CT , ORLANDO 32819 | 1182985 | 04/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL 130444, 093796/both expired 1/9/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5804744 | 18763 | DAYS INN APOPKA | SAI KRISHNA HOSPITALITY, LLC. | 228 W MAIN ST , APOPKA 32703 | 1236522 | 04/11/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-03-4 | - From initial inspection : Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Room 110 detector hanging off wall - From follow-up inspection 2025-04-11: Unable to inspect - room occupied **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014498 | 110553 | SOUTH OF ATLANTIC | TA DELRAY BEACH, LLC | 150 SE 2ND AVENUE , DELRAY BEACH 33444 | 1597630 | 04/14/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at elevator lobby on first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6005196 | 62811 | J & D RENTALS INC | J & D RENTALS INC | 333 DR MARTIN LUTHER KING JR BLVD , BELLE GLADE 03946 | 1593904 | 04/16/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. From all designated fire extinguisher locations on property | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6012920 | 93424 | 948 SW MLK BLDG | J & D FIVE LLC | 948 DR MARTIN LUTHER KING JR BLVD W, BELLE GLADE 33430 | 1592031 | 04/16/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from its designated location (sign present indicating designated location). For reporting purposes only. Portable Extinguisher missing from designated location on east side of building 956 in between units 5-6. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6011170 | 100060 | ARBOR OAKS APARTMENTS PROPERTY OWNER LLC | ARBOR OAKS APARTMENTS PROPERTY OWNER LLC | 9817 ARBOR OAK LN , BOCA RATON 33428 | 1623810 | 04/14/2025 | Complaint Full | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. Wasp nest on handle of fire extinguisher out side of unit 7-107. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6005626 | 16666 | ROYAL PALM MOTEL | SAI AKSHAR 2 LLC | 5445 LAKE WORTH RD , GREENACRES 33463 | 1240010 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside 102 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6003286 | 62602 | LANTANA COVE APARTMENTS | LANTANA COVE APARTMENTS LLC | 1100 S LAKE DR APT 16 , LANTANA 24655 | 1598094 | 04/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. At unit 2. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014594 | 113361 | WELLINGTON VISTA APARTMENTS | LAKE WORTH VILLAS LLC | 8300 GARDEN CATALINA CIR , LAKE WORTH 33467 | 1593752 | 04/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside unit 1517 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6003286 | 62602 | LANTANA COVE APARTMENTS | LANTANA COVE APARTMENTS LLC | 1100 S LAKE DR APT 16 , LANTANA 24655 | 1598094 | 04/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. To the left of unit 4. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014075 | 102562 | LUXE AT BOCA PHASE I | PRCP-BOCA RATON LLC | 9860 SW 3 ST , BOCA RATON 33428 | 1595082 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. In the office on the floor under the desk. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014578 | 114773 | LUXE AT BOCA PHASE LL | 22573 SW 66TH AVE FL LLC | 9860 SW 3 ST , BOCA RATON 33428 | 1595918 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguisher on the floor under the desk in office. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6014062 | 9435 | EXTENDED STAY AMERICA SELECT SUITES 8020 | TIGER HOTEL TRS SUB LLC | 2171 10 AVE N , LAKE WORTH 33461 | 1176251 | 04/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. 1. System trouble light on 2. System silenced light on 3. Reading Trouble ( 4 ) on display **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6003818 | 62675 | 650 JEFFERY STREET APARTMENTS | GENCO PROPERTIES LLC | 650 JEFFERY ST , BOCA RATON 73929 | 1590757 | 04/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Path to door marked as an exit is hanging with wire at west side of the building . For reporting purposes only... | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014579 | 114930 | PIPER VILLAGE WEST | PIPER VILLAGE LLC | 3901 36 CT , WEST PALM BEACH 33407 | 1586288 | 04/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. Unit appears to have fire damage. Windows door boarded up. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6004122 | 62719 | MATOS APARTMENTS | MATOS ANTONIO & LAURA | 549 S MAIN ST , BELLE GLADE 33430 | 1598849 | 04/14/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Missing from 1st floor and 2nd floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014485 | 110102 | PB APARTMENTS 3 LLC | PB APARTMENTS 2 LLC | 3025 PERRY AVE , GREENACRES 33463 | 1591682 | 04/16/2025 | Routine - Lodging | Administrative complaint recommended | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Wires hanging outside unit 3051 and side of building Exposed wiring on wall near back door behind unit 3107 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014485 | 110102 | PB APARTMENTS 3 LLC | PB APARTMENTS 2 LLC | 3025 PERRY AVE , GREENACRES 33463 | 1591682 | 04/16/2025 | Routine - Lodging | Administrative complaint recommended | 07-02-4 | Frayed electrical wire(s). For reporting purposes only. Side of building 3025 outside unit 3027 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6201541 | 19063 | UPTOWN SUITES | DTSP URBAN CORE LLC | 1501 9 ST N , ST. PETERSBURG 33704 | 1237245 | 04/14/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. 2 hearing impaired detectors available but neither flash during testing. No cord adjustment available | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6201541 | 19063 | UPTOWN SUITES | DTSP URBAN CORE LLC | 1501 9 ST N , ST. PETERSBURG 33704 | 1237245 | 04/14/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired on 2-16-2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6202305 | 19263 | FLORIDIAN INN | YOGI MAHANT LLC | 1630 GULF TO BAY BLVD , CLEARWATER 33755 | 1240785 | 04/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge in laundry room . For reporting purposes only. Reviewed with property manager . | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6203064 | 18293 | TRADEWINDS SANDPIPER BEACH RESORT | 6000 GULF BLVD. SP LLC | 6000 GULF BLVD , ST. PETE BEACH 33706 | 1240081 | 04/18/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate on file 131350 exp. 8-2-2024 - From follow-up inspection 2025-04-18: Boilers inspected on 4-16-2025 waiting on final inspection. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2003 | Lodging | 6804811 | 113962 | SAGE ON PALMER RANCH | COMREF SAGE ON PALMER RANCH, LLC | 12501 HONORE AVE , SARASOTA 34238 | 1593823 | 04/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only.Observed fault in fire panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2005 | Lodging | 6500918 | 1885 | SOUTHERN WIND INN | KRP PROPERTIES V OF VALDOSTA LLC | 18 CORDOVA ST , ST. AUGUSTINE 32084 | 1096859 | 04/14/2025 | Complaint Full | Inspection Completed - No Further Action | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. Observed Back exterior egress door through kitchen not accessible per person in charge due to door stuck shut. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2002 | Lodging | 6501144 | 17226 | QUALITY INN | R-KUBER LLC | 2310 SR 16 , SAINT AUGUSTINE 32084 | 1240296 | 04/16/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher between unit 221 and 220 in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6600774 | 11469 | BEST WESTERN PORT ST LUCIE | WYNNE BUILDING CORPORATION | 7900 S US #1 , PORT SAINT LUCIE 34952 | 1237013 | 04/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Taylor | 2002 | Lodging | 7200002 | 19554 | REGENCY INN | GONSALES MOISES | 2277 S BYRON BUTLER PKWY , PERRY 32348 | 1240322 | 04/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Room 202. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400856 | 11766 | DAYTONA SHORE INN | DAYTONA SHORE INN INC | 805 N ATLANTIC AVE , DAYTONA BCH 83701 | 1239997 | 04/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -break box missing breaking device, next to unit 4 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406596 | 115739 | ANDREW AND GREGORY KONOPASEK | ANDREW & GREGORY KONOPASEK | 30 S. PENINSULA DR. , DAYTONA BEACH 32118 | 1598039 | 04/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-03-4 | Fire exit for building 32 is inaccessible. For reporting purposes only. -multiple items stored directly in front of door upstairs. Advised to keep egress clear of obstruction. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.