## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2002 | Lodging | 1100365 | 15766 | GAINESVILLE LODGE LLC | GAINESVILLE LODGE LLC | 413 W UNIVERSITY AVENUE , GAINESVILLE 15207 | 1239541 | 04/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Extinguisher between rooms 114 and 115. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1304429 | 17157 | LOLLYE ON THE BEACH/SUNNY SANDS | ERSHCO LLC | 8507 SURF DR , PANAMA CITY BEACH 32408 | 1241415 | 04/29/2025 | Complaint Full | Warning Issued | 07-01-4 | Building inspector states some service conductors are unfused and exposed. **Warning** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1304429 | 17157 | LOLLYE ON THE BEACH/SUNNY SANDS | ERSHCO LLC | 8507 SURF DR , PANAMA CITY BEACH 32408 | 1241415 | 04/30/2025 | Complaint Full | Call Back - Extension given, pending | 07-01-4 | - From initial inspection : Building inspector states some service conductors are unfused and exposed. **Warning** - From follow-up inspection 2025-04-30: Operator states she's waiting on report from building inspector. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1505854 | 118833 | EQUITY MANAGEMENT MEL LLC | EQUITY MANAGEMENT MEL LLC | 825 E UNIVERSITY BLVD , MELBOURNE 32901 | 1623953 | 05/02/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Apartment 102 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1503827 | 113953 | JUPITER RIDGE | BREVARD FL TC LP | 173 RACHEL ST , MELBOURNE 32901 | 1583980 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Building 207 apartment #3 in back of complex | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619051 | 8184 | HOMETOWNE STUDIOS - FORT LAUDERDALE 3512 | CL OPCO LLC | 3031 W COMMERCIAL BLVD , FORT LAUDERDALE 33309 | 1183682 | 04/25/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light illuminated | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621290 | 106565 | AMARAY LAS OLAS BY WINDSOR LLC | AMARAY LAS OLAS BY WINDSOR LLC | 215 SE 8 AVE , FORT LAUDERDALE 33301 | 1585517 | 05/01/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Level 22 near staircase 2 Level 5 near staircase 2 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621926 | 115825 | AVISAR LLC | AVISAR LLC | 5657 GRANT ST #1-5 , HOLLYWOOD 33021 | 1598084 | 05/02/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at apartment #5. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1609543 | 104094 | 2500 INVERRARY CLUB APARTMENTS | 2500 INVERRARY CLUB APARTMENTS LLC | 2580 NW 56 AVE , LAUDERHILL 33313 | 1585371 | 04/28/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Outside Apt 102 building 2500 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1620743 | 18838 | EDEN | 3020 SEVILLE ST LLC | 3020-3024 SEVILLE ST , FORT LAUDERDALE 33304 | 1240544 | 04/28/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. No flash. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1612682 | 48815 | TAMARAC POINTE | TAMARAC POINTE LTD | 6527 NW 70 AVE , TAMARAC 15556 | 1584825 | 04/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguisher by building 6536 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1602575 | 91948 | HOLLYWOOD 6028 POLK STREET LLC | COHEN, RAUL | 6028 POLK ST , HOLLYWOOD 33024 | 1590850 | 04/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Extinguishers between units 4 and 5 and 1 and 2 both showing undercharged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1613637 | 99519 | MIDORA AT WOODMONT APARTMENTS | WE MIDORA LLC | 7790 NW 78 AVE , TAMARAC 33321 | 1591078 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. 1) BLDG 7770 1st floor next to meter room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621160 | 110908 | 323 CASA LLC | 323 CASA LLC | 323 ELM ST , HOLLYWOOD 33019 | 1585810 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher by unit 4 in recharge zone | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621848 | 113072 | RIVERBEND APARTMENTS | 237 SAILBOAT LLC | 247 SW 3 AVE , FORT LAUDERDALE 33312 | 1587994 | 04/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Unit 10/11 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1619308 | 117312 | SOMERSET GROVE 3 LLC | KLEIN, JUDA | 2824 SOMERSET DR , LAUDERDALE LAKES 33311 | 1586265 | 04/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Missing by ground floor trash room Bldg-Q. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1604142 | 92883 | PIERCE APARTMENT CONDOMINIUM ASSOCIATION | ALBO INVESTMENTS LLC | 2750 PIERCE ST , HOLLYWOOD 33020 | 1590892 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1600684 | 111550 | MARINE VILLAS HOLLYWOOD LLC | MARINE VILLAS HOLLYWOOD LLC | 315 GEORGIA ST , HOLLYWOOD 33019 | 1595770 | 04/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Observed no smoke detector in unit 4. Operator provided. **Corrected On-Site** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1604142 | 92883 | PIERCE APARTMENT CONDOMINIUM ASSOCIATION | ALBO INVESTMENTS LLC | 2750 PIERCE ST , HOLLYWOOD 33020 | 1590892 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621708 | 109397 | BELL SUNRISE | BELL FUND VII SUNRISE LLC | 1020 NE 12 AVE , FT. LAUDERDALE 33304 | 1597563 | 04/25/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Bldg 1111. Inspection report will be emailed to fire Marshall for review. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2101151 | 82467 | CORAL PALMS APARTMENTS | CORAL PALMS NAPLES APARTMENTS LLC | 4539 GOLDEN GATE PKWY , NAPLES 34116 | 1587870 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguisher unit 6 building 4532, unit 1 and 2 building 4538 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2102773 | 117005 | EVERLY | RICHMAN NAPLES DEVELOPMENT PARTNERS LLC | 3250 MAGNOLIA POND CIR , NAPLES 34116 | 1594080 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguisher missing unit 201 building 7 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2100343 | 3337 | MARRIOTT HOTEL SERVICES INC | MARRIOTT HOTEL SERVICES LLC | 400 S COLLIER BLVD , MARCO 34145 | 1183181 | 04/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 10 boilers have passed their expiration date. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102691 | 6387 | MARRIOTTS CRYSTAL SHORES | MARRIOTT RESORTS HOSPITALITY CORPORATION | 600 S COLLIER BLVD , MARCO ISLAND 34145 | 1182816 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate is expired 2/14/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329857 | 98000 | MIAMI VACATION CORPORATE RENTALS | MIAMI VACATIONS CORPORATE RENTALS INC | 8440 S DIXIE HWY , MIAMI 33143 | 1585115 | 04/29/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed on 12th floor next to elevators. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2311498 | 54733 | OTTOCAR APARTMENTS | OTTOCAR INVESTMENTS INC | 901 SW 6 ST , MIAMI 03280 | 1599661 | 04/28/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguisher near unit 7. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2327529 | 89858 | MECO APARTMENTS | MECO APARTMENTS LLC | 8187 NW 8 ST , MIAMI 33126 | 1582853 | 04/30/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed outside unit 114; no hammer. Observed outside unit 111; no hammer. Observed outside of elevators first floor; no hammer. Observed outside unit 195; no hammer. Observed outside unit 102; no hammer. Observed outside unit 204; no hammer. Observed outside unit 206; no hammer. Observed outside of elevators on second floor; no hammer. Observed outside unit 211; no hammer. Observed outside unit 215; no hammer. Observed outside unit 315; no hammer. Observed outside unit 311; no hammer. Observed outside of elevators on third floor; no hammer. Observed outside 7nit 305; no hammer. Observed outside unit 302; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329480 | 10177 | ROCK BY LOWKL | 1351 COLLINS RESTAURANT LLC | 1351 COLLINS AVENUE , MIAMI BEACH 33139 | 1178956 | 04/25/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2305624 | 10210 | STILES HOTEL | VIAJERO HOSTELS US, CORP. | 1120 COLLINS AVE , MIAMI BEACH 33139 | 1182493 | 04/28/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2317795 | 100204 | 8025 APARTMENTS | 8025 APARTMENTS LLC | 8025 NW 7 ST , MIAMI 33126 | 1591121 | 04/29/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble on panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308405 | 90155 | APARTAMENTOS ASTURIAS COURT LLC | APARTMENTOS ASTURIAS COURT LLC | 3995 SW 108 AVE , MIAMI 33165 | 1590795 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher next to unit 24 on second floor in the overcharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310572 | 107677 | CARIB VILLAS APARTMENTS | FAM CARIB VILLAS LLC | 11051 SW 197 ST , MIAMI 33157 | 1601887 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher building 1 between units 1204 and 1205 in the recharge area. Observed fire extinguisher building 2 between units 2204 and 2205 in the recharge area. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303389 | 51444 | ITSHAK AMOS & ILIANA AMOS APT | AMOS ITSHAK | 1991 NE 172 ST , NORTH MIAMI BEACH 23135 | 1590390 | 05/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to apartment 2. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328197 | 56503 | REZA ESHGHI | ESHGHI REZA | 1480 NW 29 ST , MIAMI 33142 | 1595266 | 05/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed no breaking device on fire extinguisher next to unit #2. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302881 | 51246 | 4440 APARTMENTS | 4440 BUILDING CORP | 4440 NW 9 ST , MIAMI 62462 | 1596226 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed outside unit 14; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310520 | 54353 | 4356 APARTMENTS LC | 4356 APARTMENT LC | 4350 NW 9 ST , MIAMI 63558 | 1586377 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer; unit C117. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2326545 | 56212 | SAN SHERRI VILLAS | HOMESTEAD HOUSING PTN II LTD | 440 E MOWRY , HOMESTEAD 33030 | 1582468 | 05/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed next to unit #2. Building 448. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330791 | 111694 | LANDINGS AT HOMESTEAD | LANDINGS AT HOMESTEAD LTD | 201-301 NE 11 ST , HOMESTEAD 33030 | 1597748 | 05/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the main entrance of building by laundry room. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329449 | 9755 | MUTINY HOTEL | PROVIDENT BISCAYNE RESORTS LLC | 2951 S BAYSHORE DR , COCONUT GROVE 33133 | 1182169 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed for one device, strobe light not functioning. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330575 | 108646 | BAHIA 1201 1232 LLC | BAHIA 1201 1232 LLC | 1201 NW 2 AVENUE , MIAMI 33136 | 1583665 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Path to exit is blocked 2nd floor shares plans, For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2305624 | 10210 | STILES HOTEL | VIAJERO HOSTELS US, CORP. | 1120 COLLINS AVE , MIAMI BEACH 33139 | 1176773 | 04/28/2025 | Routine - Lodging | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed red blinking light at fire panel. - From follow-up inspection 2025-04-28: Still observed **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328390 | 8275 | SAGAMORE MIAMI BEACH | EBJ/INSITE SAGAMORE LLC | 1671 COLLINS AVE , MIAMI BEACH 33139 | 1178743 | 04/25/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-04-25: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302352 | 51047 | MORILLO'S APTS | MORILLO FRANCISCO & MONICA | 955 W 29 ST , HIALEAH 25686 | 1527475 | 05/01/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed two red lights illuminated in the fire panel. - From follow-up inspection 2025-05-01: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2305664 | 10805 | CLIFTON HOTEL | JERUSALEM GROUP LLC | 1343 COLLINS AVE , MIAMI BEACH 33139 | 1177433 | 04/25/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed boiler with a total water capacity of 295 gallons, this includes a separate water holding tank that has a water capacity of 200 gallons. - From follow-up inspection 2025-04-25: Observed boiler with a total water capacity of 295 gallons, this includes a separate water holding tank that has a water capacity of 200 gallons. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2305664 | 10805 | CLIFTON HOTEL | JERUSALEM GROUP LLC | 1343 COLLINS AVE , MIAMI BEACH 33139 | 1177433 | 04/26/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed boiler with a total water capacity of 295 gallons, this includes a separate water holding tank that has a water capacity of 200 gallons. - From follow-up inspection 2025-04-25: Observed boiler with a total water capacity of 295 gallons, this includes a separate water holding tank that has a water capacity of 200 gallons. **Time Extended** - From follow-up inspection 2025-04-26: Observed boiler with a total water capacity of 295 gallons, this includes a separate water holding tank that has a water capacity of 200 gallons. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2305664 | 10805 | CLIFTON HOTEL | JERUSALEM GROUP LLC | 1343 COLLINS AVE , MIAMI BEACH 33139 | 1177433 | 04/27/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed boiler with a total water capacity of 295 gallons, this includes a separate water holding tank that has a water capacity of 200 gallons. - From follow-up inspection 2025-04-25: Observed boiler with a total water capacity of 295 gallons, this includes a separate water holding tank that has a water capacity of 200 gallons. **Time Extended** - From follow-up inspection 2025-04-26: Observed boiler with a total water capacity of 295 gallons, this includes a separate water holding tank that has a water capacity of 200 gallons. **Time Extended** - From follow-up inspection 2025-04-27: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310740 | 54454 | BISCAYNE GARDENS APTS | B&J PROPERTY MANAGEMENT | 15555 NW 2 AVE , MIAMI 96783 | 1592270 | 04/29/2025 | Routine - Lodging | Administrative complaint recommended | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. By apartment 102. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2306650 | 52719 | LINDA'S APARTMENTS | R & R APARTMENTS INC | 1135 MARSEILLES DR , MIAMI BEACH 12843 | 1592259 | 04/29/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher in recharge mode in laundry area of building 1135. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310740 | 54454 | BISCAYNE GARDENS APTS | B&J PROPERTY MANAGEMENT | 15555 NW 2 AVE , MIAMI 96783 | 1592270 | 04/29/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By apartment 105. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328350 | 56636 | VIERA APARTMENTS | VIERA ARSENIO | 1099 NW 27 CT , MIAMI 33125 | 1588420 | 04/29/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed pressure gauge indicated the fire extinguisher located by unit 11 is in need of recharge. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2307593 | 53116 | BONITA APARTMENTS | CARLOS MANAGEMENT CORP | 942 SW 6 ST , MIAMI 03204 | 1582361 | 04/28/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguishers near units 948 and 958. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328350 | 56636 | VIERA APARTMENTS | VIERA ARSENIO | 1099 NW 27 CT , MIAMI 33125 | 1588420 | 04/29/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher with no breaking device located by Unit 14. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329456 | 88610 | HERRADURA ENTERPRISE INC | HERRADURA ENTERPRISE INC | 209 HIBISCUS DR , MIAMI SPRINGS 33166 | 1586827 | 04/28/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher with no braking device located on the side of unit 7. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2306728 | 95479 | VQ EVERGLADES BUILDINGS | VQ EVERGLADES BUILDINGS LLC | 923 SW 7 ST , MIAMI 33130 | 1588988 | 04/28/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguishers at first and second floors. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330555 | 108093 | VQ EVERGLADES BUILDINGS | VQ EVERGLADES BUILDINGS | 888 SW 6 ST , MIAMI 33130 | 1591564 | 04/28/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguishers with no means of access next to unit 611 and 603. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2305664 | 10805 | CLIFTON HOTEL | JERUSALEM GROUP LLC | 1343 COLLINS AVE , MIAMI BEACH 33139 | 1182547 | 04/28/2025 | Routine - Lodging | Administrative complaint recommended | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed boiler with a total water capacity of 295 gallons, this includes a separate water holding tank that has a water capacity of 200 gallons. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2612691 | 15626 | INTOWN SUITES | INTOWN SUITES BEACH BOULEVARD LLC | 11451 BEACH BLVD , JACKSONVILLE 32246 | 1240367 | 04/30/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed Operator unable to provide boiler certificate during this inspection. Operator stated corporate is currently working with vendor to receive certificate. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2608615 | 18372 | MOTEL 6 JACKSONVILLE ORANGE PARK | NARAYAN JACKSONVILLE HOTEL LLC | 6107 YOUNGERMAN CIR , JACKSONVILLE 32244 | 1241399 | 04/28/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Boiler is currently waiting on repair/part to get completed boiler inspection. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613257 | 103078 | STOVALL AT RIVER CITY | BREIT OLYMPUS MF STOVALL LLC | 13000 BROXTON BAY DR , JACKSONVILLE 32218 | 1597116 | 05/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguishers between units 311/314 and 320/321. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613402 | 109292 | JTB APARTMENTS | INLAND RESIDENTAL REAL ESTATE SERVICES LLC | 8876 AC SKINNER PKWY , JACKSONVILLE 32256 | 1585902 | 04/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Fire extinguisher outside of pet spa with way to access. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2612826 | 9031 | HYATT REGENCY JACKSONVILLE RIVERFRONT | MCSW JAC HOSPITALITY LLC | 225 E COASTLINE DR , JACKSONVILLE 32202 | 1182831 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. No boiler certificate at all, a few expired in January 2025 and a couple on 2023 per fire marshal website | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2002 | Lodging | 3600037 | 9470 | PLAZA TRAVEL INN | PLAZA MOTEL CORP | 621 E SUGARLAND HWY , CLEWISTON 03212 | 1240087 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only: between units 111 and 112. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2002 | Lodging | 3600037 | 9470 | PLAZA TRAVEL INN | PLAZA MOTEL CORP | 621 E SUGARLAND HWY , CLEWISTON 03212 | 1240087 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2003 | Lodging | 3600096 | 99205 | ABASTO APARTMENT | ABASTO INVESTMENTS LLC | 409 SAN PEDERO ST , CLEWISTON 33440 | 1583202 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-05-4 | Door marked as an exit locked with a lock that would require special knowledge/tool to unlock. For reporting purposes only. The back area that is accessible via apartments back door is enclosed with a fence that has both exits locked. Upon speaking with tenant not everyone has keys to unlock fence. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2001 | Lodging | 3800040 | 3796 | JACARANDA HOTEL | SOUTH FLORIDA COMM COLLEGE | 19 E MAIN ST , AVON PARK 53942 | 1176355 | 04/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 057118 3/22/25 and 097865 3/22/25 Operator called for an inspections. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3913618 | 17444 | PIRATE'S POINTE RESORT LLC | PIRATE'S POINTE RESORT LLC | 1800 KOFRESI CT , RUSKIN 33570 | 1234994 | 05/02/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Across from unit 1815. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3910558 | 9624 | TAMPA PALMS GOLF & CC | TAMPA PALMS CLUB INC | 5811 TAMPA PALMS BLVD , TAMPA 71090 | 1235935 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 4/19/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913678 | 10015 | HYATT PLACE / HYATT HOUSE TAMPA DOWNTOWN | URBAN TAMPA DB HOTEL OWNER LLC | 325 N FLORIDA AVE , TAMPA 33602 | 1183011 | 04/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Tim states that they determined they are not boilers that need to be inspected. State fire marshal sent a document stating that the boiler doesn't need to be inspected the heat input of 4000000 btu per hour there are 2 units with four boilers and 2 units with 3 boilers. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3911366 | 14866 | RUSKIN INN | DREAM HOSPITALITY LLC | 3113 E COLLEGE AVE , RUSKIN 33570 | 1240844 | 05/02/2025 | Routine - Lodging | Administrative complaint recommended | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hearing impaired smoke detector not working in room 101, manager states they have 2 more rooms with hearing impaired smoke detectors but they are currently occupied. Due 7/2/2025. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2001 | Lodging | 4502093 | 9292 | SLEEP INN LEESBURG | B MIRACLE TOUCH CORPORATION | 2476 CITRUS BLVD , LEESBURG 34748 | 1178236 | 04/29/2025 | Routine - Lodging | Call Back - Complied | 04-02-4 | - From initial inspection : No smoke detector provided in guest room/unit. For reporting purposes only. -Room 319. - From follow-up inspection 2025-04-29: Room is occupied. **Time Extended** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4600947 | 90688 | PARKER HOUSE PROPERTIES | 808 MIRAMAR ST INC | 808 MIRAMAR ST , CAPE CORAL 33904 | 1582882 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. Extinguisher between Units 6 & 7. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Madison | 2001 | Lodging | 5000133 | 10690 | BEST WESTERN PLUS MADISON INN | MADISON FLORIDA MANAGEMENT LLC | 167 SE BANDIT ST , MADISON 32340 | 1182425 | 04/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Electrical wire in disrepair to sign . **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2003 | Lodging | 5102375 | 88431 | CORAL CLUB APARTMENTS | SWFL GULF PROPERTIES | 5970 35 ST W , BRADENTON 34210 | 1584750 | 05/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed hammer for breaking glass of fire extinguisher case missing form box located outside unit D206. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5202481 | 10152 | EQUESTRIAN HOTEL | EQUESTRIAN OPERATIONS LLC | 8510 NW 17TH LN , OCALA 34482 | 1179359 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. No boiler certificate available **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2003 | Lodging | 5201598 | 82118 | ORANGE LAKE COTTAGES | ORANGE LAKE COTTAGES LLC | 19020 N US HWY 441 , ORANGE LAKE 32681 | 1600948 | 05/02/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher on side of apartment 14. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500967 | 10086 | SPRINGHILL SUITES AMELIA ISLAND | INNISFREE HOTELS, INC. | 2700 ATLANTIC AVE STE 2 , AMELIA ISLAND 32034 | 1183261 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Both boiler certificates are expired - expired 04/04/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500968 | 10087 | COURTYARD AMELIA ISLAND | INNISFREE HOTELS, INC. | 2700 ATLANTIC AVE STE 1 , AMELIA ISLAND 32034 | 1183262 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Both boiler certificates are expired - expired 04/04/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okaloosa | 2001 | Lodging | 5603609 | 7630 | HOLIDAY INN RESORT FORT WALTON BEACH | MACQUEEN JULIAN B | 1299 MIRACLE STRIP PKWY , FORT WALTON BEACH 32548 | 1182492 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811150 | 8102 | COURTYARD & RESIDENCE INN BY MARRIOTT/CHROMA/PARK PIZZA/BOXI | LNT HOTEL I OPS LLC | 6955 LAKE NONA BLVD , ORLANDO 32827 | 1182691 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 131966 1-1-25, 131967 1-1-25, 131964 1-1-25, 131965 1-1-25, | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900682 | 15281 | SUPER 8 MOTEL MAINGATE | RAMBHAI KISHORKUMAR V | 5875 W IRLO BRONSON HWY , KISSIMMEE 34746 | 1236405 | 04/30/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired on9/10/23 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5913650 | 19117 | MOTEL 6 KISSIMMEE - ORLANDO | HARE KRISHNA MAIN GATE LLC | 5733 W IRLO BRONSON HWY , KISSIMMEE 34746 | 1240660 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-04-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored inside the building. For reporting purposes only. Gas in maintenance shop out of fire cabnit **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6007365 | 93979 | VIEW AT WATERS EDGE | LANTANA SILVER SPRINGS LLC | 6175 REFLECTIONS BLVD , LANTANA 33462 | 1590905 | 04/30/2025 | Routine - Lodging | Warning Issued | 04-04-4 | Fire alarm control panel at building 19-2807 in between unit 107 and 106 has no power. AC power light is not illuminated. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6012557 | 108992 | RESERVE AND PARK AT RIVERBRIDGE (RESERVE) | UDR OKEEHEELEE LLC | 50 OLIVE TREE CIR , GREENACRES 33413 | 1585736 | 04/28/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Exit sign dangling from ceiling building 14 second story | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6009020 | 78065 | ISLAND SHORES | BATMASIAN JAMES H | 1600 ISLAND SHORES DR , GREEN ACRES CITY 33413 | 1588845 | 04/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Building 100 second story | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014334 | 109791 | 500 OCEAN | AVANTI RESIDENTIAL 500 OCEAN TIC III | 101 S FEDERAL HWY , BOYNTON BEACH 33435 | 1595494 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. Fire extinguishers right of unit 114 and in between units 561 and 563 are undercharged. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6002226 | 109512 | 121 GOLDVIEW LLC | 121 GOLFVIEW LLC | 121 N GOLFVIEW , LAKE WORTH 33460 | 1592040 | 04/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed wind chimes obstructing fire extinguisher at building 121, unit 8. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014388 | 107173 | VISIONS AT WILLOW POND | SERRAMAR APTS HOLDINGS LLC | 4860 SANDSTONE LN , WEST PALM BEACH 33417 | 1583552 | 04/25/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. At building 4719. - From follow-up inspection 2025-04-25: Same. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6002627 | 98371 | 620 S BROADWAY | 620 S BROADWAY LLC | 620 S BROADWAY , LANTANA 33462 | 1589068 | 05/02/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge at unit 10. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6013935 | 111047 | SUPPORT HOMES 633 10TH | SUPPORT HOMES COMPANY | 633 10 ST , WEST PALM BEACH 33401 | 1595641 | 05/01/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed empty box on east side of building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6201014 | 110951 | MADEIRA APARTMENTS | LPG MADEIRA APARTMENTS | 7533 38 AVE N , ST. PETERSBURG 33710 | 1623957 | 04/30/2025 | Complaint Full | Warning Issued | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. Fire panel in office sounding alarm Key Bus Trouble on screen. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6209700 | 17768 | SURE STAY BY BEST WESTERN | SASHA CLEARWATER LLC | 3655 HOSPITALITY LN , CLEARWATER 33762 | 1240605 | 04/30/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Per fire marshal's website 07/20/2023 2017 is posted in boiler room https://www.citizenserve.com/120/CAPFor120 **Repeat Violation** **Warning** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6210308 | 18166 | QUALITY INN SUITES | WM HOTEL MANAGEMENT LLC | 1400 34 ST N , ST. PETERSBURG 33713 | 1237166 | 04/28/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to room 323 - From follow-up inspection 2025-04-28: Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to room 323 **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6209700 | 17768 | SURE STAY BY BEST WESTERN | SASHA CLEARWATER LLC | 3655 HOSPITALITY LN , CLEARWATER 33762 | 1240605 | 05/02/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Per fire marshal's website 07/20/2023 2017 is posted in boiler room https://www.citizenserve.com/120/CAPFor120 **Repeat Violation** **Warning** - From follow-up inspection 2025-05-02: Will have boiler fire inspection completed by next routine inspection. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2003 | Lodging | 6804706 | 101390 | MARIGOT BAY APARTMENTS | MRBF I LLC | 4001 N TAGGART CAY , SARASOTA 34233 | 1597059 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble sign in lobby panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903989 | 10886 | HYATT PLACE LAKE MARY | MYRA HOTEL LLC | 1255 S INTERNATIONAL PKWY , LAKE MARY 32746 | 1182815 | 04/29/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903955 | 4435 | ORLANDO MARRIOTT LAKE MARY | HEATHROW HOTEL OWNERS LLC | 1501 INTERNATIONAL PKWY , LAKE MARY 32746 | 1182870 | 04/29/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2001 | Lodging | 6501642 | 11407 | HOME2 SUITES BY HILTON ST AUGUSTINE I95 | PG ST AUGUSTINE MASTER TENANT LLC | 270 OUTLET MALL BLVD , SAINT AUGUSTINE 32084 | 1182761 | 04/28/2025 | Routine - Lodging | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Observed unit 127 missing smoke detector in master bed room. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2002 | Lodging | 6501499 | 16024 | REGENCY INN & SUITES | SHREYA HOSPITALITY INC | 331 A1A BEACH BLVD , SAINT AUGUSTINE 32080 | 1241409 | 05/02/2025 | Complaint Full | Call Back - Complied | 07-04-4 | - From initial inspection : Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Outlet missing cover near room 104. **Repeat Violation** - From follow-up inspection 2025-05-02: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2002 | Lodging | 6501499 | 16024 | REGENCY INN & SUITES | SHREYA HOSPITALITY INC | 331 A1A BEACH BLVD , SAINT AUGUSTINE 32080 | 1241409 | 04/29/2025 | Complaint Full | Administrative complaint recommended | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Outlet missing cover near room 104. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1241406 | 04/29/2025 | Complaint Full | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6602525 | 18168 | RENO MOTEL | 1921 AVENUE D LLC | 1923 AVENUE D , FORT PIERCE 34950 | 1239630 | 04/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. In back hallway | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400503 | 19501 | BAYMONT BY WYNDHAM | 2725 HOSPITALITY LLC | 2725 W INTERNATIONAL SPWY BLVD , DAYTONA BEACH 32114 | 1241402 | 04/29/2025 | Complaint Full | Warning Issued | 06-01-4 | Camera wires attached to self closure at exit to stairs by room 251 building 2 .For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400367 | 19266 | BOARDWALK INN & SUITES | BOARDWALK HOTEL HOLDINGS LLC | 301 S. ATLANTIC AVE , DAYTONA BEACH 32118 | 1241403 | 04/25/2025 | Complaint Full | Warning Issued | 06-02-4 | Door marked as an exit is blocked. For reporting purposes only. -banquet room fire exit blocked by large curtain | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400503 | 19501 | BAYMONT BY WYNDHAM | 2725 HOSPITALITY LLC | 2725 W INTERNATIONAL SPWY BLVD , DAYTONA BEACH 32114 | 1241402 | 04/29/2025 | Complaint Full | Warning Issued | 07-01-4 | Light hanging from wires by room 224 building 2. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400367 | 19266 | BOARDWALK INN & SUITES | BOARDWALK HOTEL HOLDINGS LLC | 301 S. ATLANTIC AVE , DAYTONA BEACH 32118 | 1241403 | 04/25/2025 | Complaint Full | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400367 | 19266 | BOARDWALK INN & SUITES | BOARDWALK HOTEL HOLDINGS LLC | 301 S. ATLANTIC AVE , DAYTONA BEACH 32118 | 1241403 | 04/25/2025 | Complaint Full | Warning Issued | 11-03-4 | Gas water heater holding tank in disrepair. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400954 | 11784 | ATLANTIC BUDGET INN | PATEL MULTIBHAI M | 1233 N ATLANTIC AVE , DAYTONA BCH 83630 | 1240521 | 05/02/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -broken device used for gaining access to break box on wall next to 107 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400500 | 16446 | PERRY'S OCEAN EDGE RESORT | PACIFICA DAYTONA LLC | 2209 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1240188 | 05/02/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. -wiring to electrical component attached to water heater in south meter/boiler/trash room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400954 | 11784 | ATLANTIC BUDGET INN | PATEL MULTIBHAI M | 1233 N ATLANTIC AVE , DAYTONA BCH 83630 | 1240521 | 05/02/2025 | Routine - Lodging | Warning Issued | 11-03-4 | Gas water heater vent stack disconnected/in disrepair. For reporting purposes only. -vent stack, upper portion connecting to ceiling is partially hanging, seemingly allowing gaseous odor inside water heater/laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7405841 | 101115 | DAYTONA APARTMENTS CASA LLC | DAYTONA APARTMENTS CASA LLC | 1133 & 1139 S RIDGEWOOD AVE 1132 AND 1136 MARTHA DR., DAYTONA BEACH 32114 | 1587828 | 05/01/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored on landing . For reporting purposes only. -Building 1133 southwest corner of building | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406630 | 106440 | ICON ONE DAYTONA | DAYTONA APARTMENT HOLDINGS LLC | 1820 LEGENDS LN , DAYTONA BEACH 32114 | 1587507 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Building 6 -building 4 -Building 2 -building 1 Super Hero currently on site making repairs | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406694 | 111845 | ICON ONE DAYTONA | DAYTONA APARTMENT HOLDINGS LLC | 235 HIGHBANKS BLVD , DAYTONA BEACH 32114 | 1601454 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble light ,lobby and main panel -buzzer silence flashing , lobby and main panel Super hero is currently onsite, bids approved | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400367 | 19266 | BOARDWALK INN & SUITES | BOARDWALK HOTEL HOLDINGS LLC | 301 S. ATLANTIC AVE , DAYTONA BEACH 32118 | 1241403 | 04/28/2025 | Complaint Full | Call Back - Extension given, pending | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-04-28: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400367 | 19266 | BOARDWALK INN & SUITES | BOARDWALK HOTEL HOLDINGS LLC | 301 S. ATLANTIC AVE , DAYTONA BEACH 32118 | 1241403 | 04/28/2025 | Complaint Full | Call Back - Extension given, pending | 11-03-4 | - From initial inspection : Gas water heater holding tank in disrepair. For reporting purposes only. - From follow-up inspection 2025-04-28: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.