## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2002 | Lodging | 1304429 | 17157 | LOLLYE ON THE BEACH/SUNNY SANDS | ERSHCO LLC | 8507 SURF DR , PANAMA CITY BEACH 32408 | 1241415 | 05/07/2025 | Complaint Full | Call Back - Extension given, pending | 07-01-4 | - From initial inspection : Building inspector states some service conductors are unfused and exposed. **Warning** - From follow-up inspection 2025-04-30: Operator states she's waiting on report from building inspector. **Time Extended** - From follow-up inspection 2025-05-07: Spoke with building official, operator is working with electricians to correct problems. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bradford | 2003 | Lodging | 1400217 | 113977 | ARBORSIDE PRESERVE PHASE 1 | WELFORD PLACE, LLC | 4416 OAKMONT CIRCLE , STARKE 32091 | 1593860 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. Alarm panel by unit 301 with audible alarm behind locked door. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bradford | 2003 | Lodging | 1400216 | 112350 | NILIS PROPERTIES | URIEL BLUMENTAL | 830 N TEMPLE AVE , STARKE 32091 | 1600016 | 05/08/2025 | Routine - Lodging | Administrative complaint recommended | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Multiple damaged hanging wires running along exterior walls hanging from soffit area of building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1505854 | 118833 | EQUITY MANAGEMENT MEL LLC | EQUITY MANAGEMENT MEL LLC | 825 E UNIVERSITY BLVD , MELBOURNE 32901 | 1623953 | 05/02/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Apartment 102 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1503827 | 113953 | JUPITER RIDGE | BREVARD FL TC LP | 173 RACHEL ST , MELBOURNE 32901 | 1583980 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Building 207 apartment #3 in back of complex | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505703 | 10101 | EXTENDED STAY AMERICA #9514 | ESA P PORTFOLIO OPERATING LESSEE LLC | 2265 COASTAL LANE , WEST MELBOURNE 32904 | 1182597 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler carts are expired however, inspection completed mar 2025 and pending certificate **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1500941 | 18320 | ISLAND HOTEL OF SPACE COAST | JAY SRIAMBE LLC | 260 E MERRITT ISLAND CSWY , MERRITT ISLAND 32952 | 1240274 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired on 4/17/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1604523 | 96794 | TAHITI GARDENS APARTMENT LLC | NW 50TH AVENUE LLC | 3460 NE 50 AVE , LAUDERDALE LAKES 33319 | 1596828 | 05/08/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Between apt 114b and 115 b | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621971 | 116636 | ENVY AT POMPANO BEACH | ENVY TOWERS PB LLC | 425 and 475 SE 1 ST , POMPANO BEACH 33060 | 1598163 | 05/09/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed at elevator by unit 608 building A | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621926 | 115825 | AVISAR LLC | AVISAR LLC | 5657 GRANT ST #1-5 , HOLLYWOOD 33021 | 1598084 | 05/02/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at apartment #5. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1604705 | 91749 | ADAMS RENTAL | ADAMS ADAM | 1616 SW 11 ST , FORT LAUDERDALE 33312 | 1584891 | 05/08/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Unit 1 and unit 6 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1605616 | 116926 | CARLO APARTMENTS | 2222 POLK STREET, LLC | 2222 POLK STREET , HOLLYWOOD 33020 | 1581691 | 05/08/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Extinguisher between units 8 & 9 undercharged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1606533 | 91985 | PALM COURT APARTMENTS | PALM COURT INVESTMENTS LLC | 115 SW 16 ST #101 , POMPANO BEACH 33060 | 1596698 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguisher expired 2023 throughout complex | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621201 | 95369 | ECLIPSE WEST APARTMENTS | ECLIPSE WEST ASSOCIATES LTD | 307 NW 1 AVE , FORT LAUDERDALE 33301 | 1596804 | 05/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. 12th floor by staircase 2 10th floor by staircase 1 9th floor by staircase 1 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1620799 | 80685 | 9TH STREET APTS | CLARK CLIFFORD | 1701 NE 9 ST , FORT LAUDERDALE 33304 | 1582855 | 05/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. East side of building. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621049 | 90291 | MONTERRA APARTMENTS | ZOM MONTERRA LP | 2601 SOLANO AVE , COOPER CITY 33024 | 1586890 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Extinguisher lower level building 11 by units 101-102. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621426 | 104035 | BP AVENUE LLC | BP AVENUE LLC | 6220 REESE RD , DAVIE 33314 | 1587356 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Building 1 unit 213 Building 6 unit 313 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1620799 | 80685 | 9TH STREET APTS | CLARK CLIFFORD | 1701 NE 9 ST , FORT LAUDERDALE 33304 | 1582855 | 05/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from its designated location (hanger present indicating designated location). Front of building between 1701 and 1703. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1620025 | 49641 | PETER'S APARTMENTS | SHAW PETER & CINDY | 1101 NE 15 AVE , FORT LAUDERDALE 33304 | 1590716 | 05/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical post light fixture with exposed wire(s) on NE 11th ST side. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621403 | 102550 | CITY VISTA | CITY VISTA ASSOCIATES LLC | 501 HAMMONDVILLE RD , POMPANO BEACH 33060 | 1583265 | 05/08/2025 | Routine - Lodging | Administrative complaint recommended | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. A fire extinguisher on first floor used and empty, fire extinguisher on 7 floor , third floor and forth floor used. All fire extinguisher expired | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1605221 | 47834 | COMMUNITY ACRE APT | COMMUNITY ACRES ASSOC | 1920 SW 5 ST , FORT LAUDERDALE 27695 | 1592673 | 05/06/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Building 1920 unit 206 **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621683 | 109568 | 4TH AVE LAND HOLDINGS, LLC | BEDZOW R JEREMY | 3890 DAVIE RD , DAVIE 33314 | 1589727 | 05/02/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. 354 347 328 273 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102509 | 10469 | PORT OF THE ISLANDS RESORT | A & T INVESTMENT FL LLC | 25000 TAMIAMI TRAIL E , NAPLES 34114 | 1182575 | 05/06/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. The fire alarm panel behind the front desk shows trouble on the screen. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2101151 | 82467 | CORAL PALMS APARTMENTS | CORAL PALMS NAPLES APARTMENTS LLC | 4539 GOLDEN GATE PKWY , NAPLES 34116 | 1587870 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguisher unit 6 building 4532, unit 1 and 2 building 4538 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2102713 | 84576 | SUMMER LAKES APTS II | SUMMER LAKES APARTMENT II LTD | 5600 JONQUIL CIR , NAPLES 34109 | 1586670 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Unit 206 building 5609 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2102768 | 115630 | VILLAS ON 16TH | 1900 SUNSHINE BLVD, LLC | 5451 16TH PLACE SW , NAPLES 34116 | 1593963 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. at building 5451 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2102542 | 50040 | PEACH PLUM APARTMENTS | C & C BLDG CO OF MICHIGAN INC | 1655 SUNSHINE BLVD , NAPLES 34116 | 1598723 | 05/08/2025 | Routine - Lodging | Administrative complaint recommended | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed at unit 308, 311, 106 and 111 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329969 | 99859 | JORGE A LOPEZ | PORTALES 51 LLC | 13350 ASWAN RD , OPA-LOCKA 33054 | 1591123 | 05/07/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304760 | 51987 | CONSUELO BETANCOR APARTMENTS | CONSUELO BETANCOR | 5980 W FLAGLER ST , MIAMI 33144 | 1592566 | 05/05/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed outside unit 5; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304825 | 85806 | WINCHESTER HOUSE APARTMENTS | LUMISA LLC | 5960 NW 38 ST , VIRGINIA GARDENS 33166 | 1590636 | 05/07/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed extinguisher with no braking device located in three stories building on first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304399 | 93593 | 5974 SW 5 TER | AJ BUILDING LLC | 5974 SW 5 TER , MIAMI 33144 | 1600746 | 05/05/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed outside of unit 1; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331084 | 116286 | SIP STREET ASSOC | CRUZ FRANCISCO | 295 NW 57 AVE , MIAMI 33126 | 1590178 | 05/09/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed on first floor; no hammer. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329448 | 10379 | THESIS HOTEL | NRI REALTOKEN TENANT LLC | 1350 S DIXIE HWY , CORAL GABLES 33146 | 1182481 | 05/07/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed operator does not know how to operator hearing impaired device. Unable to test if devices function. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329188 | 6333 | TRUMP INTL BEACH RESORT | 18001 HOLDINGS LLC | 18001 COLLINS AVE , SUNNY ISLES BEACH 33160 | 1183722 | 05/07/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. 099320, 139645, 009319, 139644 Exp 12/23/24 022035& 023870 Exp 11/27/24 055823, 022035, 005188 & 055822 Exp 12/24/24. For reporting purposes only. All boilers were inspected in 6/10/24. Hotel is currently waiting on certificate from the State of Florida. **Corrective Action Taken** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308906 | 53675 | WALKER APARTMENTS | SHERWOOD SUSAN | 2090 NE 168 ST , NORTH MIAMI BEACH 23289 | 1584414 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher over charged by unit 4. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2315878 | 105486 | DBA SUMMER GROVE | RALGO CORAL WAY LLC | 10307 CORAL WAY , MIAMI 33165 | 1585391 | 05/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher in the overcharged zone next to unit 203 at building 10313. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303097 | 94817 | APARTAMENTOS MADRID | APARTAMENTOS MADRID LLC | 900 SW 27 AVE , MIAMI 33135 | 1596791 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed o the second floor by the laundry room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2315878 | 105486 | DBA SUMMER GROVE | RALGO CORAL WAY LLC | 10307 CORAL WAY , MIAMI 33165 | 1585391 | 05/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher in recharge zone between units 201 and 202 at building 10317 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2311009 | 113699 | VIRGINIA GARDENS APT RENTALS LLC | VIRGINIA GARDENS APT RENTALS LLC | 3700 NW 58 AVE , VIRGINIA GARDENS 33166 | 1593779 | 05/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed Extinguishers located by Units 2, 4, 6 and 12. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331162 | 117102 | REGATTA PLACE APARTMENTS | REGATTA PLACE ASSOCIATES LTD | 3150 NW 42 ST , MIAMI 33142 | 1584244 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed in leasing office next to copy room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330006 | 100534 | BROWNSVILLE TRANSIT VILLAGE III LTD | BROWNSVILLE TRANSIT VILLAGE III LTD | 5275 NW 29 AVE , MIAMI 33142 | 1591099 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed missing fire extinguisher next to laundry room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302907 | 113548 | RAM MIAMI SPRINGS SOUTH LLC | RAM MIAMI SPRINGS SOUTH LLC | 611 FORREST DR , MIAMI SPRINGS 33166 | 1597897 | 05/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed by Unit 109. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308970 | 111591 | 2010 COMBO BUILDING | 2010 COMBO BUILDING LLC | 16890 NE 21 AVE , NORTH MIAMI BEACH 33162 | 1591817 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed fire extinguisher on the first floor with no hammer to open the container. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2312228 | 54893 | 900 APARTMENTS | 900 APARTMENTS LLC | 900 NW 45 AVE , MIAMI 62492 | 1594396 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed in building 950 across unit 94; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303097 | 94817 | APARTAMENTOS MADRID | APARTAMENTOS MADRID LLC | 900 SW 27 AVE , MIAMI 33135 | 1596791 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Third floor east hallway. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301981 | 85449 | FORTUNE AT HIALEAH LLC | FORTUNE AT HIALEAH LLC | 980 W 29 ST , HIALEAH 33012 | 1584675 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329884 | 98741 | BROWNSVILLE TRANSIT VILLAGE IV LLC | BROWNSVILLE TRANSIT VILLAGE IV, LLC | 5185 NW 29 AVE , MIAMI 33142 | 1596920 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed in lobby entrance. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329917 | 99116 | PLAZA AT THE LYRIC | LYRIC HOUSING LTD | 159 NW 9 ST , MIAMI 33136 | 1591786 | 05/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330332 | 105254 | ART PLAZA | ART PLAZA LLC | 58 NE 14 ST , MIAMI 33132 | 1597265 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330365 | 105477 | CAOBA MIAMI WORLDCENTER | BLOCK G PHASE 1 LLC | 698 NE 1 AVE , MIAMI 33132 | 1583354 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329941 | 99586 | AIRPORT MANOR | AIRPORT MANOR LLC | 4351 NW 9 ST , MIAMI 33126 | 1591086 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330866 | 112813 | VANDAR INVESTMENTS LLC | VANDAR INVESTMENTS LLC | 851 SW 3 ST , MIAMI 33130 | 1597804 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Landing to exit stairs is blocked. For reporting purposes only. Observed an accumulation of chairs tables blocking the path of the second floor landing. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2325104 | 55977 | APARTMENTS OF SWALLOW DR | MARTINEZ THOMAS | 403 SWALLOW DR , MIAMI SPGS 64493 | 1584469 | 05/06/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed Extinguisher located in front of Unit 103. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329541 | 90181 | RED ROAD RENTALS | RED ROAD RENTALS LLC | 282 NW 57 AVE , MIAMI 33126 | 1598397 | 05/06/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2613192 | 19057 | METRO INN & SUITES | GOLFAIR INVESTMENTS LLC | 1055 GOLFAIR BLVD , JACKSONVILLE 32209 | 1241441 | 05/09/2025 | Complaint Full | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hearing impaired detector beeping but not flashing . Room 105 maintenance had to connect to hard wired electrical, working properly now **Corrected On-Site** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2610156 | 19571 | JAX AIRPORT MOTEL | SHRI SRIMAD LLC | 1181 AIRPORT RD , JACKSONVILLE 32218 | 1241328 | 05/07/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. On second floor, extinguisher in box between rooms 207 and 209 has needle in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2612826 | 9031 | HYATT REGENCY JACKSONVILLE RIVERFRONT | MCSW JAC HOSPITALITY LLC | 225 E COASTLINE DR , JACKSONVILLE 32202 | 1182831 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. No boiler certificate at all, a few expired in January 2025 and a couple on 2023 per fire marshal website | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3913618 | 17444 | PIRATE'S POINTE RESORT LLC | PIRATE'S POINTE RESORT LLC | 1800 KOFRESI CT , RUSKIN 33570 | 1234994 | 05/02/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Across from unit 1815. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3906797 | 76659 | WALDEN LAKEWOOD APTS | CNC INVESTMENTS | 602 E ALEXANDER ST , PLANT CITY 33563 | 1586643 | 05/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Observed grill with propane tank on balcony in front of building 900 to the far left side on second floor | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3910558 | 9624 | TAMPA PALMS GOLF & CC | TAMPA PALMS CLUB INC | 5811 TAMPA PALMS BLVD , TAMPA 71090 | 1235935 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 4/19/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3911366 | 14866 | RUSKIN INN | DREAM HOSPITALITY LLC | 3113 E COLLEGE AVE , RUSKIN 33570 | 1240844 | 05/02/2025 | Routine - Lodging | Administrative complaint recommended | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hearing impaired smoke detector not working in room 101, manager states they have 2 more rooms with hearing impaired smoke detectors but they are currently occupied. Due 7/2/2025. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2001 | Lodging | 4602772 | 10705 | LA QUINTA INN AND SUITES | LAXMI OF SANIBEL LLC | 20091 SUMMERLIN RD , FORT MYERS 33908 | 1183716 | 05/06/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. 137013 expired 02/10/23, 137014 expired 02/10/23 Educated operator on updating boiler certifications. Establishment has work order in place and in the process of fixing. **Corrective Action Taken** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2003 | Lodging | 4702048 | 59852 | OAKS AT UNIVERSITY VILLAGE | ROYAL TALLAHASSEE PARTNERSHIP | 100 STADIUM DR , TALLAHASSEE 44912 | 1601772 | 05/05/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. -Observed expose electrical wiring on a AC unit next to rear parking lot. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2003 | Lodging | 4701793 | 113380 | ACASA PLANTATIONS AT PINE LAKE | AHPC PLANTATIONS AT PINE LAKE 2021 LLC | 1833 HALSTEAD BLVD , TALLAHASSEE 32309 | 1585968 | 05/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Observed exposed wiring with wire cover not secured at electrical box outside building 5. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2003 | Lodging | 4703221 | 110155 | DWELLINGS | FLORESTA LLC | 5100 BLOUNTSTOWN HWY , TALLAHASSEE 32304 | 1587752 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-02-4 | Frayed electrical wire(s). For reporting purposes only. Observed electrical box with frayed wiring outside of unit 114, 26 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2003 | Lodging | 4702075 | 59864 | AVALON APARTMENTS | LANGSTON FRANK L & ELIZABETH A | 1601 W PENSACOLA ST , TALLAHASSEE 43659 | 1585050 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. -Observed walls electrical outlets missing water proof covering. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2003 | Lodging | 4703194 | 106494 | U CLUB ON WOODWARD | ACC OP (STUDIO GREEN) LLC | 700 N WOODWARD AVE , TALLAHASSEE 32304 | 1587512 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. -Observed electrical outlet missing protective cover at unit 322, 511,515, 520,511,209, 202 and others throughout property. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2002 | Lodging | 5202116 | 10106 | BUDGET INN | SHRI GAYATRI CORP | 2901 S PINE AVE , OCALA 34471 | 1240082 | 05/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Smoke alarm missing from wall inside room #108. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2003 | Lodging | 5201598 | 82118 | ORANGE LAKE COTTAGES | ORANGE LAKE COTTAGES LLC | 19020 N US HWY 441 , ORANGE LAKE 32681 | 1600948 | 05/02/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher on side of apartment 14. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okaloosa | 2002 | Lodging | 5603469 | 19473 | HAMPTON INN NICEVILLE | ANSLEY ROAD INVESTMENTS LLC | 4400 ANSLEY DR , NICEVILLE 32578 | 1240622 | 05/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detectors in hall ways to rooms are missing with exposed wiring due to renovations. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okaloosa | 2002 | Lodging | 5603469 | 19473 | HAMPTON INN NICEVILLE | ANSLEY ROAD INVESTMENTS LLC | 4400 ANSLEY DR , NICEVILLE 32578 | 1240622 | 05/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-02-4 | Frayed electrical wire(s) on outside of building at side entry door.For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okaloosa | 2001 | Lodging | 5603609 | 7630 | HOLIDAY INN RESORT FORT WALTON BEACH | MACQUEEN JULIAN B | 1299 MIRACLE STRIP PKWY , FORT WALTON BEACH 32548 | 1182492 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5801552 | 19011 | HOWARD JOHNSON BY WYNDHAM I DRIVE | RORE ORLANDO I DRIVE | 5858 INTERNATIONAL DR , ORLANDO 32819 | 1241357 | 05/07/2025 | Complaint Full | Warning Issued | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Room 114 and room 112 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5801552 | 19011 | HOWARD JOHNSON BY WYNDHAM I DRIVE | RORE ORLANDO I DRIVE | 5858 INTERNATIONAL DR , ORLANDO 32819 | 1241357 | 05/07/2025 | Complaint Full | Warning Issued | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Room 112 between beds. Outlet missing receptacle and cover. Wires exposed. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811115 | 9068 | HOMEWOOD SUITES BY HILTON | OSSA-LBV OWNER LLC | 11428 MARBELLA PALM CT , ORLANDO 32836 | 1183714 | 05/06/2025 | Complaint Full | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguishers is expired 4/2024 in the entire Hotel Assistant General Manager notify maintenance immediately, For reporting purposes only. **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5910145 | 7151 | GAYLORD PALMS RESORT AND CONVENTION CENTER | MARRIOTT HOTEL SERVICES LLC | 6000 W OSCEOLA PKWY , KISSIMMEE 64414 | 1182801 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 056622 exp 5-8-25 056623 exp 5-8-25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900617 | 17767 | RODEWAY INN | IB HOTELS LLC | 7455 W IRLO BRONSON HWY , KISSIMMEE 34747 | 1240733 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6011425 | 101693 | COVE AT BOYNTON BEACH | SCG ATLAS BOYNTON II LLC | 100 NEWLAKE DR , BOYNTON BEACH 33426 | 1591158 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge at unit 915. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014334 | 109791 | 500 OCEAN | AVANTI RESIDENTIAL 500 OCEAN TIC III | 101 S FEDERAL HWY , BOYNTON BEACH 33435 | 1595494 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. Fire extinguishers right of unit 114 and in between units 561 and 563 are undercharged. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6002627 | 98371 | 620 S BROADWAY | 620 S BROADWAY LLC | 620 S BROADWAY , LANTANA 33462 | 1589068 | 05/02/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge at unit 10. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6204885 | 16119 | BEST WESTERN PLUS YACHT HARBOR INN | AV FLORIDA HOLDINGS LLC | 150 MARINA PLAZA , DUNEDIN 34698 | 1240706 | 05/05/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Gentex hearing impaired smoke detector not flashing when tested. There is another Genex hearing impaired smoke detector that is working properly. Establishment has 52 rooms. Discussed with operator the need to have 1 per 50 rooms. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6208894 | 4323 | HOLIDAY INN ST. PETERSBURG N-CLEARWATER | ST PETE CLW AIRPORT ASSOC LTD | 3535 ULMERTON RD , CLEARWATER 33762 | 1182989 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Checked boiler website and no boiler found. Observed a boiler invoice paid for 30.00 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6207364 | 11156 | CRYSTAL INN | DHRUV LLC | 4600 S 34 ST , ST PETERSBURG 33711 | 1241201 | 05/08/2025 | Complaint Full | Call Back - Complied | 04-03-4 | - From initial inspection : Smoke alarms missing with wires hanging from ceiling in rooms 236,237,245 - From follow-up inspection 2025-05-08: 236 and 245 occupied observed smoke alarm replaced in unit 237. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6209700 | 17768 | SURE STAY BY BEST WESTERN | SASHA CLEARWATER LLC | 3655 HOSPITALITY LN , CLEARWATER 33762 | 1240605 | 05/02/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Per fire marshal's website 07/20/2023 2017 is posted in boiler room https://www.citizenserve.com/120/CAPFor120 **Repeat Violation** **Warning** - From follow-up inspection 2025-05-02: Will have boiler fire inspection completed by next routine inspection. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6215542 | 79680 | COQUINA COVE | FLORIDA L & L INC | 612 2 ST , INDIAN ROCKS BEACH 33785 | 1592502 | 05/08/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Across from unit 4. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2002 | Lodging | 6801207 | 16602 | A BEACH RETREAT | A BEACH RETREAT CONDOMINIUM ASSOCIATION INC | 108 CASEY KEY RD , NOKOMIS 34275 | 1240657 | 05/07/2025 | Routine - Lodging | Call Back - Extension given, pending | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge near dock 6. For reporting purposes only. - From follow-up inspection 2025-05-07: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2002 | Lodging | 6501499 | 16024 | REGENCY INN & SUITES | SHREYA HOSPITALITY INC | 331 A1A BEACH BLVD , SAINT AUGUSTINE 32080 | 1241409 | 05/02/2025 | Complaint Full | Call Back - Complied | 07-04-4 | - From initial inspection : Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Outlet missing cover near room 104. **Repeat Violation** - From follow-up inspection 2025-05-02: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602579 | 109437 | ATLANTIC PALMS AT TRADITION | GRANDE PALMS AT TRADITION II | 11349 SW DISCOVERY WAY , PORT SAINT LUCIE 34987 | 1597582 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Building 8 in front of apt. 108. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Taylor | 2003 | Lodging | 7200281 | 94069 | GIBB PERRY VILLAGE INC | GIBB PERRY VILLAGE INC | 800 STEPHENS CT , PERRY 32347 | 1584966 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-02-4 | Frayed electrical wire(s). For reporting purposes only. Observed uncovered electrical box in front of building 800 with frayed wiring | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400954 | 11784 | ATLANTIC BUDGET INN | PATEL MULTIBHAI M | 1233 N ATLANTIC AVE , DAYTONA BCH 83630 | 1240521 | 05/02/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -broken device used for gaining access to break box on wall next to 107 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7401140 | 116049 | ANABASIS REAL ESTATE INVESTMENT TRUST, LLC | ANABASIS REAL ESTATE INVESTMENT TRUST, LLC | 218-228 N. OLEANDER AVE. , DAYTONA BEACH 32118 | 1596056 | 05/08/2025 | Routine - Lodging | Warning Issued | 06-02-4 | Fire exit stairway is obstructed. For reporting purposes only. -chair in middle platform of stairway on north side of unit 218 -chair on fire escape platform in rear of establishment -gate blocking stairway at top of stairs at fire escape in rear of establishment | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400500 | 16446 | PERRY'S OCEAN EDGE RESORT | PACIFICA DAYTONA LLC | 2209 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1240188 | 05/02/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. -wiring to electrical component attached to water heater in south meter/boiler/trash room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400954 | 11784 | ATLANTIC BUDGET INN | PATEL MULTIBHAI M | 1233 N ATLANTIC AVE , DAYTONA BCH 83630 | 1240521 | 05/02/2025 | Routine - Lodging | Warning Issued | 11-03-4 | Gas water heater vent stack disconnected/in disrepair. For reporting purposes only. -vent stack, upper portion connecting to ceiling is partially hanging, seemingly allowing gaseous odor inside water heater/laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406605 | 103239 | COCONUT PALMS APARTMENTS | WALLACE LENA | 716 N HALIFAX AVE , DAYTONA BEACH 32118 | 1589384 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -inside breakable glass box, next to unit 7 - no breaking device | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406620 | 112844 | MARQUE ADAMS LLC | MARQUE ADAMS LLC | 321-323 S ADAMS ST , DAYTONA BEACH 32114 | 1591869 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | 2 small Propane/ like tank store on landing by apartment 6. Scooter under landing unable to determine if it is gas or electric. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406510 | 8858 | FAIRFIELD INN & SUITES DAYTONA BEACH SPEEDWAY/AIRPORT | DAYTONA HOTEL TWO LLC | 1820 CHECKERED FLAG BLVD , DAYTONA BEACH 32114 | 1183087 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -per manager has called tech | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406630 | 106440 | ICON ONE DAYTONA | DAYTONA APARTMENT HOLDINGS LLC | 1820 LEGENDS LN , DAYTONA BEACH 32114 | 1587507 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Building 6 -building 4 -Building 2 -building 1 Super Hero currently on site making repairs | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406694 | 111845 | ICON ONE DAYTONA | DAYTONA APARTMENT HOLDINGS LLC | 235 HIGHBANKS BLVD , DAYTONA BEACH 32114 | 1601454 | 05/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble light ,lobby and main panel -buzzer silence flashing , lobby and main panel Super hero is currently onsite, bids approved | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401068 | 11800 | SIDE O SEA MOTEL | SIDE O SEA MOTEL INC | 1451 N ATLANTIC AVE , DAYTONA BCH 83501 | 1240101 | 05/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Path to fire exit is obstructed. For reporting purposes only. -5 gallon bucket placed onto steps at upstairs unit located on south west end. Advised to free of any obstructions to egress from unit. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406510 | 8858 | FAIRFIELD INN & SUITES DAYTONA BEACH SPEEDWAY/AIRPORT | DAYTONA HOTEL TWO LLC | 1820 CHECKERED FLAG BLVD , DAYTONA BEACH 32114 | 1183087 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificates or insurance inspector's boiler report expired. For reporting purposes only. 135757,135758,11/30/24 -per manager waiting Co2 cut off/disconnected to be installed then inspected | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400555 | 15450 | HIRA NIR INC SKYWAY MOTEL | PATEL BHARATBHAI D | 906 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1240430 | 05/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 11-03-4 | Gas water heater in disrepair. For reporting purposes only. -rust at upper portion of water heater near vent stack | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406520 | 10076 | EXTENDED STAY AMERICA #9512 | ESA P PORTFOLIO OPERATING LESSEE LLC | 275 INTERCHANGE BLVD , ORMOND BEACH 32174 | 1176790 | 05/06/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. - From follow-up inspection 2025-05-06: | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7401253 | 89242 | PATRICIAN APARTMENTS 2 | MANMOHAN S SODHI | 147 BOYNTON BLVD , DAYTONA BEACH SHORES 32118 | 1599779 | 05/07/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-05-4 | - From initial inspection : Portable fire extinguisher obstructed/not accessible. For reporting purposes only. -breakaway panel box missing breaking device, 2nd floor on wall mounted unit - From follow-up inspection 2025-05-07: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.