## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2002 | Lodging | 1304429 | 17157 | LOLLYE ON THE BEACH/SUNNY SANDS | ERSHCO LLC | 8507 SURF DR , PANAMA CITY BEACH 32408 | 1241415 | 05/15/2025 | Complaint Full | Call Back - Extension given, pending | 07-01-4 | - From initial inspection : Building inspector states some service conductors are unfused and exposed. **Warning** - From follow-up inspection 2025-04-30: Operator states she's waiting on report from building inspector. **Time Extended** - From follow-up inspection 2025-05-07: Spoke with building official, operator is working with electricians to correct problems. **Time Extended** - From follow-up inspection 2025-05-15: Electricians on site working on electrical issues at time of inspection. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621971 | 116636 | ENVY AT POMPANO BEACH | ENVY TOWERS PB LLC | 425 and 475 SE 1 ST , POMPANO BEACH 33060 | 1598163 | 05/09/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed at elevator by unit 608 building A | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1605634 | 102006 | GOLDEN SUN PROPERTIES LLC | GOLDEN SUN PROPERTIES LLC | 3760 SW 61 AVE , DAVIE 33314 | 1597532 | 05/12/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Second floor extinguisher | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621625 | 108616 | MEDFORD PALMS | MEDFORD PALMS LLC | 2510 PIERCE ST , HOLLYWOOD 33020 | 1599959 | 05/15/2025 | Routine - Lodging | Warning Issued | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Observed at 6A stairwell | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620891 | 8523 | LYFE RESORT & RESIDENCES | SOHO OCEAN RESORT TRS LLC | 4111 S OCEAN DR , HOLLYWOOD 33019 | 1183740 | 05/12/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Per manager, New Insurance company provider, inspection schedule on June 6/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1620972 | 118709 | FIVE STAR PREMIER RESIDENCES OF POMPANO BEACH | POMPANO BEACH SLC TENANT LLC | 1371 S OCEAN BLVD , POMPANO BEACH 33062 | 1623773 | 05/14/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble alarm for elevator fifth floor, not cleared | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1606538 | 48208 | CLEVELAND ST APT | CLEVELAND STREET APARTMENTS | 6122 CLEVELAND ST , HOLLYWOOD 46072 | 1586815 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 1 building 6122. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621049 | 90291 | MONTERRA APARTMENTS | ZOM MONTERRA LP | 2601 SOLANO AVE , COOPER CITY 33024 | 1586890 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Extinguisher lower level building 11 by units 101-102. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1606678 | 90466 | ADVENIR AT SAN TROPEZ | ADVENIR AT SAN TROPEZ LLC | 7840 NW 3 ST , PEMBROKE PINES 33024 | 1595872 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. 1) By unit 1022 building 40 2) By unit 206 building 31 3) By unit 205 building 30 4) By unit 205 building 18 5) By unit 105 building 14 6) By unit 105 building 8 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1615065 | 91111 | LAKES AT PEMBROKE | STOCKBRIDGE LAP LLC | 9900 SHERIDAN ST , PEMBROKE PINES 33024 | 1592730 | 05/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Extinguisher at units 203-04 building 9880 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621426 | 104035 | BP AVENUE LLC | BP AVENUE LLC | 6220 REESE RD , DAVIE 33314 | 1587356 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Building 1 unit 213 Building 6 unit 313 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1603223 | 110594 | LOMAR APARTMENTS | LOMAR PROPERTY GROUP LLC | 532 S CRESCENT DR , HOLLYWOOD 33021 | 1597621 | 05/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at unit 114 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1619186 | 17902 | EXTENDED STAY AMERICA SUITES #9638 | ESA P PORTFOLIO OPERATING LESSEE LLC | 3873 W COMMERCIAL BLVD , TAMARAC 33309 | 1240388 | 05/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1610480 | 5231 | OCEAN MANOR RESORT | AFT MANAGEMENT CORP | 4040 GALT OCEAN DR , FORT LAUDERDALE 33308 | 1183457 | 05/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621368 | 111820 | ONE WORLD RENTALS LLC | ONE WORLD RENTALS LLC | 6219 SW 30 ST , MIRAMAR 33023 | 1593677 | 05/15/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside unit 3 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2100207 | 75719 | THOMAS HOUSE LLC | THOMAS HOUSE LLC | 865 S 3 ST , NAPLES 34102 | 1590506 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Near Unit 855 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2102710 | 103467 | TUSCAN ISLE APARTMENTS | SREIT TUSCAN ISLE LLC | 8650 WEIR DR , NAPLES 34104 | 1595307 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. unit 101 building 8600. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2102721 | 110172 | COVE AT NAPLES BAY | NAPLES 1400 LLC | 1400 5 AVE N , NAPLES 34102 | 1587793 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Unit 6B Fire extinguisher in overcharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2102745 | 107284 | VILLAS ISABEL | FL 6 INC | 618 -628 8TH ST N , NAPLES 34102 | 1583559 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguisher missing at Unit 1. Fire extinguisher missing from designated location in laundry room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2102768 | 115630 | VILLAS ON 16TH | 1900 SUNSHINE BLVD, LLC | 5451 16TH PLACE SW , NAPLES 34116 | 1593963 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. at building 5451 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2312779 | 92834 | OAK GROVE APARTMENTS | RYAN 15401 6TH AVE LLC | 15401 NE 6TH AVE , MIAMI 33162 | 1589431 | 05/15/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher in the recharge spooner by unit 213 in building D. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329795 | 99293 | DISTRICT WEST GABLES | WATERTON RESIDENTIAL LLC | 2101 LUDLAM RD , WEST MIAMI 33155 | 1591083 | 05/16/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed a fire extinguisher across from resident lounge on the second floor in the recharge zone . Observed fire extinguisher across from unit 232 in the recharge zone . | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330098 | 102177 | DISTRICT WEST GABLES | WATERTON RESIDENTIAL LLC | 2001 LUDLAM RD , WEST MIAMI 33155 | 1597093 | 05/16/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed a fire extinguisher between units, 350 and 348 in the recharge zone | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2312779 | 92834 | OAK GROVE APARTMENTS | RYAN 15401 6TH AVE LLC | 15401 NE 6TH AVE , MIAMI 33162 | 1589431 | 05/15/2025 | Routine - Lodging | Warning Issued | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed no hammers to access any fire extinguishers in building D. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304988 | 83969 | BESTEIRO | BESTEIRO RAUL | 410 NW 47 AVE , MIAMI 62179 | 1590601 | 05/13/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed in laundry area; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331084 | 116286 | SIP STREET ASSOC | CRUZ FRANCISCO | 295 NW 57 AVE , MIAMI 33126 | 1590178 | 05/09/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed on first floor; no hammer. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329795 | 99293 | DISTRICT WEST GABLES | WATERTON RESIDENTIAL LLC | 2101 LUDLAM RD , WEST MIAMI 33155 | 1591083 | 05/16/2025 | Routine - Lodging | Warning Issued | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. Observed fire panel alarm sounding screen stating pump failure. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329330 | 8216 | OCEANSIDE HOTEL | HARDING HOTEL LLC | 6084 COLLINS AVE , MIAMI BEACH 33140 | 1183758 | 05/16/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2320327 | 9179 | FAIRWAY INN | PATEL NAVNIT | 100 U S 1 , FLORIDA CITY 33034 | 1241470 | 05/15/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed troubled alarm light illuminated on the fire alarm control panel in main office **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331139 | 116260 | ALEA MIAMI | 230 4TH MIAMI OWNER LLC | 230 NE 4TH STREET , MIAMI 33132 | 1623959 | 05/12/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2305469 | 9641 | SHELBORNE SOUTH BEACH | SHELBORNE HOTEL PARTNERS WC, LP | 1801 COLLINS AVE , MIAMI BEACH 33139 | 1183711 | 05/12/2025 | Routine - Food | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2307376 | 53020 | MAINLAND APTS 2191 | MAINLAND APTS 2191 INC | 2191 NE 168 ST , NORTH MIAMI BEACH 23397 | 1596258 | 05/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. By unit 2.m | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308906 | 53675 | WALKER APARTMENTS | SHERWOOD SUSAN | 2090 NE 168 ST , NORTH MIAMI BEACH 23289 | 1584414 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher over charged by unit 4. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330902 | 113231 | WATERWAY PALM, LLC | WATERWAY PALM, LLC | 5327 PALM AVE , HIALEAH 33012 | 1589902 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed a fire extinguisher between units 107 and 108 discharged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2307246 | 52961 | AVON APARTMENTS | TEPERMAN HARRY & POLA | 1530 JEFFERSON AVE , MIAMI BEACH 93436 | 1596256 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed by apartment 7. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329195 | 82652 | YURIANI INVESTMENTS LLC | YURIANI INVESTMENTS LLC | 1885 NW 19 ST , MIAMI 33125 | 1596467 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher box with no breaking divice located at first floor near unit 2. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2312668 | 93896 | ODETTE APARTMENTS LLC | ODETTE APARTMENTS LLC | 2155 NW 19 TER , MIAMI 33125 | 1588950 | 05/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher box with no breaking device near unit 4 at second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304250 | 115752 | ST GEORGE APARTMENTS | 5200 NW 26 AVE I LLC | 5200 NW 26 AVE , MIAMI 33142 | 1593944 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device on multiple fire extinguishers on all 3 buildings. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300563 | 81099 | M & M INVESTMENT #1 LLC | M & M INVESTMENT #1 LLC | 2036 SW 7 ST , MIAMI 33135 | 1586621 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329804 | 96908 | CITY CROSSINGS LTD | CITY CROSSINGS LTD | 230 SW 12 ST , MIAMI 33130 | 1583085 | 05/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301611 | 97414 | MERDA DO MONE APTS | RODRIGUEZ CARLOS A & RUBALCABAL LUIS | 1552 SW 2 ST , MIAMI 33135 | 1599399 | 05/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation* First floor by the front entrance **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300550 | 98906 | 2020 APARTMENTS | 2020 APARTMENTS LLC | 2020 SW 6 ST , MIAMI 33135 | 1585147 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329696 | 109037 | MONTECASSINI APARTMENTS | MILTON GROUP SEVEN STREET LLC | 3930 NW 7 ST , MIAMI 33126 | 1597570 | 05/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330902 | 113231 | WATERWAY PALM, LLC | WATERWAY PALM, LLC | 5327 PALM AVE , HIALEAH 33012 | 1589902 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed system trouble lights on on fire alarm panel. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330866 | 112813 | VANDAR INVESTMENTS LLC | VANDAR INVESTMENTS LLC | 851 SW 3 ST , MIAMI 33130 | 1597804 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Landing to exit stairs is blocked. For reporting purposes only. Observed an accumulation of chairs tables blocking the path of the second floor landing. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329230 | 6742 | BEST WESTERN PLUS MIAMI INTERNATIONAL AIRPORT HOTEL & SUITES | FLAGLER 4100 PROPERTY LLC | 4100 W FLAGLER ST , MIAMI 33134 | 1178546 | 05/15/2025 | Routine - Lodging | Call Back - Extension given, pending | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. - From follow-up inspection 2025-05-15: As per management, the boilers have been replaced recently and new inspection to certified the new ones has been scheduled. Hartford Steam Boilers is the company in charge of conducting and issuing the certificates. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329377 | 104490 | SILVER BLUFF 5 LLC | SILVER BLUFF 5 LLC | 2320 SW 26 LN , MIAMI 33133 | 1552049 | 05/16/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. - From follow-up inspection 2025-05-16: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2305578 | 97725 | ITAL PLAZA OF PARK AVENUE, LLC | ITAL PLAZA OF PARK AVENUE LLC | 1935 PARK AVE , MIAMI BEACH 33139 | 1560333 | 05/16/2025 | Routine - Lodging | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed near unit 7. - From follow-up inspection 2025-05-16: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328182 | 10306 | MARRIOTT STANTON SOUTH BEACH | KOMAR INVESTMENTS LLC | 161 OCEAN DR , MIAMI BEACH 33139 | 1179089 | 05/16/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boilers certificates Fl 095287 expiration 2/15/2025 and FL 095288 expiration 2/15/2025. - From follow-up inspection 2025-05-16: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329040 | 5176 | BENTLEY BEACH HOTEL | HEAFY BENTLEY MANAGEMENT LLC | 101 OCEAN DRIVE , MIAMI BEACH 33139 | 1179319 | 05/14/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. - From follow-up inspection 2025-05-14: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304560 | 51926 | PROSPER APTS | OSME & GINETTE PROSPER | 3210 NW 22 AVE , MIAMI 28588 | 1552738 | 05/14/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher in rear of unit 6 missing breakage device - From follow-up inspection 2025-05-14: No breaking device on extinguisher. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329721 | 95414 | NORMANDY REAL ESTATE CORP | NORMANDY REAL ESTATE CORP | 1975 CALAIS DR , MIAMI BEACH 33141 | 1544391 | 05/14/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. Observed fire extinguisher with no breaking device located next to parking lot gate entrance. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-05-14: Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. Observed fire extinguisher with no breaking device located next to parking lot gate entrance. For reporting purposes only. **Repeat Violation** **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304560 | 51926 | PROSPER APTS | OSME & GINETTE PROSPER | 3210 NW 22 AVE , MIAMI 28588 | 1599642 | 05/14/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device on fire extinguisher on first floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310965 | 54551 | 2164 NW 28 ST APTS | LTC ENTERPRISES | 2164 NW 28 ST , MIAMI 25953 | 1592275 | 05/13/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking devices on both fire extinguishers on first and second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2613192 | 19057 | METRO INN & SUITES | GOLFAIR INVESTMENTS LLC | 1055 GOLFAIR BLVD , JACKSONVILLE 32209 | 1241441 | 05/09/2025 | Complaint Full | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hearing impaired detector beeping but not flashing . Room 105 maintenance had to connect to hard wired electrical, working properly now **Corrected On-Site** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2600745 | 17071 | BUDGET OF JAX | PATEL TRIBHUVAN | 6545 RAMONA BLVD , JACKSONVILLE 32205 | 1241471 | 05/15/2025 | Complaint Partial | Warning Issued | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Outlet damages with light fixture connected **Warning** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2612481 | 78750 | CREEKSIDE PARK APARTMENTS | MARYLAND MANAGEMENT COMPANY | 5900 TOWNSEND RD , JACKSONVILLE 32244 | 1595004 | 05/14/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher near apartment 1415 in red recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2600695 | 94702 | ATLANTIC PALM APARTMENTS | ATLANTIC CIRCLE PROPERTY TRUST | 10342 ATLANTIC CIR , JACKSONVILLE 32246 | 1589010 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Dial onFire extinguisher on exterior wall between apt 6 & 7 is in overcharged zone on dial. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613396 | 105012 | ORANGE PARK NORTH APARTMENTS | WESTSIDE RENTAL LLC | 7568 LA FONTAINE DR , JACKSONVILLE 32244 | 1597218 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in back of building 7580 in red recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2601596 | 114816 | WESTMOUNT | JJTA23 REAL PROPERTIES LLC | 5435 W NORDE DR , JACKSONVILLE 32244 | 1592037 | 05/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher next room 9 in red zone and need to be recharged. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2608252 | 16683 | RED ROOF INN | SUNSTAR ORANGEPARK INC | 6099 YOUNGERMAN CIR , JACKSONVILLE 32244 | 1240502 | 05/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Portable fire extinguisher missing from designated location at room 137. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2601596 | 114816 | WESTMOUNT | JJTA23 REAL PROPERTIES LLC | 5435 W NORDE DR , JACKSONVILLE 32244 | 1592037 | 05/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguisher missing from designated location outside of laundry room, inside laundry room, by room #40. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613232 | 10300 | COMFORT SUITES WEST JACKSONVILLE | SD HOSPITALITY LLC | 7019 COMMONWEALTH AVE , JACKSONVILLE 32220 | 1182955 | 05/14/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Showing trouble sign on fire panel in office, no code displayed. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2001 | Lodging | 2705383 | 3777 | HAMPTON INN - AIRPORT | PNS HOTEL GROUP | 2187 AIRPORT BLVD , PENSACOLA 32504 | 1182398 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificates expired 3/10/25. Manager provided documentation that inspection has been carried out but have not received invoice yet to receive new certificate. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913638 | 6840 | ECONO LODGE | MOSI OA TUNYA INC | 4139 E BUSCH BLVD , TAMPA 33617 | 1183688 | 05/12/2025 | Complaint Partial | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Observed a smoke detector being ripped off the ceiling in room 235. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4605635 | 103161 | REEF STUDENT LIVING | FORT MYERS REEF ACQUISITIONS LLC | 10121 SHEPHARD ST , FORT MYERS 33967 | 1587625 | 05/13/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. This is a repeat violation from previous inspection dated 05-14-2024 **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2001 | Lodging | 4602772 | 10705 | LA QUINTA INN AND SUITES | LAXMI OF SANIBEL LLC | 20091 SUMMERLIN RD , FORT MYERS 33908 | 1183746 | 05/16/2025 | Complaint Partial | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. 137013 expired 02/10/23, 137014 expired 02/10/23 Educated operator on updating boiler certifications. Establishment has work order in place and in the process of fixing. For reporting purposes only. **Corrective Action Taken** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2003 | Lodging | 4703194 | 106494 | U CLUB ON WOODWARD | ACC OP (STUDIO GREEN) LLC | 700 N WOODWARD AVE , TALLAHASSEE 32304 | 1587512 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. -Observed electrical outlet missing protective cover at unit 322, 511,515, 520,511,209, 202 and others throughout property. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2003 | Lodging | 5104085 | 102844 | CHAMPIONS WALK APARTMENTS | MERION CHAMPIONS WALK LP | 4148 53 AVE W , BRADENTON 34210 | 1624098 | 05/14/2025 | Complaint Full | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed missing hammers at fire extinguisher boxes on multiple buildings that have portable fire extinguishers. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2003 | Lodging | 5202515 | 115998 | LAMPLIGHTER LEGACY | LAMPLIGHTER LEGACY LLC | 900 SE 3 AVE , OCALA 34471 | 1599155 | 05/15/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in wall near unit #2108. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2003 | Lodging | 5202448 | 95354 | SUMMIT SQUARE 500 | 147 OCEAN CORP | 500 SW 13 ST , OCALA 34471 | 1594824 | 05/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Observed: under the stairway at 500-1, a propane tank is stored. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5402705 | 7750 | DOUBLETREE GRAND KEY RESORT | RLJ DBT KEY WEST LESSEE LLC | 3990 S ROOSEVELT BLVD , KEY WEST 33040 | 1183625 | 05/13/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2002 | Lodging | 5500868 | 19480 | SEA COTTAGES OF AMELIA | SEA COTTAGES OF FERNANDINA INC | 2528 SADLER RD , FERNANDINA BEACH 32034 | 1235412 | 05/13/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Operator unable to show that detectors are functioning correctly and does not have a satisfactory fire inspection report available. **Warning** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5804950 | 19610 | SUPER8 BY WYNDHAM NEAR FL MALL | 1850 HOSPITALITY LLC | 1850 W LANDSTREET RD , ORLANDO 32809 | 1241420 | 05/15/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811198 | 105681 | MAA CROSSWATER | PL CONSERVATION LLC | 7826 CROSSWATER TRL , WINDERMERE 34786 | 1583406 | 05/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5804763 | 4070 | LAKE NONA CLUB | LK NONA GOLF &COUNTRY CLUB INC | 9100 CHILTERN DR , ORLANDO 77029 | 1182953 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Alarm sounded but light did not flash. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811201 | 10059 | SPRINGHILL SUITES BY MARRIOTT- ORLANDO LAKE NONA | GREENWAY PARK HOTELS OPS, LLC | 13700 BOGGY CREEK RD , ORLANDO 32827 | 1182990 | 05/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Room 213. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5810160 | 4171 | DISNEY'S ANIMAL KINGDOM LODGE | WALT DISNEY WORLD HOSPITALITY | 2901 OSCEOLA PKWY , BAY LAKE 32830 | 1182722 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificates or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5913651 | 18472 | QUALITY INN | GOOD NEIGHBOR HOSPITALITY LLC | 2934 POLYNESIAN ISLE BLVD , KISSIMMEE 34746 | 1236805 | 05/15/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. In lobby next to entry door | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5912068 | 9318 | MM LAKE HOTEL LLC | MM LAKE HOTEL LLC | 4944 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 1179091 | 05/15/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Room 128 and room 129 with hard wired hearing impaired smoke detectors. Tested not functioning correctly. Lights do not flash. Has 3 other rooms they were occupied during inspection | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5910145 | 7151 | GAYLORD PALMS RESORT AND CONVENTION CENTER | MARRIOTT HOTEL SERVICES LLC | 6000 W OSCEOLA PKWY , KISSIMMEE 64414 | 1182801 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 056622 exp 5-8-25 056623 exp 5-8-25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5912079 | 10838 | SONDER CIRRUS | SONDER HOSPITALITY USA INC | 7888 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34747 | 1183112 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 06/18/24. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900617 | 17767 | RODEWAY INN | IB HOTELS LLC | 7455 W IRLO BRONSON HWY , KISSIMMEE 34747 | 1240733 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900700 | 19459 | IRLO | 5565 IRLO BRONSON LLC | 5565 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 1240665 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate expired 06/18/2022. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5908014 | 18611 | ANICETTE INN | S AND CD HOME CARE FLIPING LLC | 4657 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 1240718 | 05/16/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to room 7. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014388 | 107173 | VISIONS AT WILLOW POND | SERRAMAR APTS HOLDINGS LLC | 4860 SANDSTONE LN , WEST PALM BEACH 33417 | 1583552 | 05/13/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. At building 4719. - From follow-up inspection 2025-04-25: Same. **Time Extended** - From follow-up inspection 2025-05-13: Same. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216351 | 118606 | BAYCREST PROPERTIES K LLC | OASIS TIC 1 LLC | 1119 TUSKAWILLA DR , CLEARWATER 33756 | 1624070 | 05/12/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher is on the ground in between complexes 1117 and 1121. Missing from 1121. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216351 | 118606 | BAYCREST PROPERTIES K LLC | OASIS TIC 1 LLC | 1119 TUSKAWILLA DR , CLEARWATER 33756 | 1624070 | 05/12/2025 | Complaint Full | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguisher is on the ground in between complexes 1117 and 1121. Missing from 1121. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215812 | 10303 | RESIDENCE INN | DC CLEARWATER BEACH 1 OPERATIONS LLC | 309 CORONADO DRIVE , CLEARWATER 33767 | 1183750 | 05/14/2025 | Complaint Partial | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6203847 | 64445 | PRINCE OF WALES APTS | LENNOX F P | 2080 KINGS HWY/ 1390 ARBELIS ST , CLEARWATER 33755 | 1588734 | 05/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge near apartment 1390-4 . For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6207251 | 106334 | JEFFERSON APARTMENTS | CLEARWATER PROPERTIES LLC | 121 N JEFFERSON AVE , CLEARWATER 33755 | 1597321 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble and alarm light illuminated on the fire alarm control panel in the laundry room . For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6207251 | 106334 | JEFFERSON APARTMENTS | CLEARWATER PROPERTIES LLC | 121 N JEFFERSON AVE , CLEARWATER 33755 | 1597321 | 05/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). Light fixture hanging by wires in front of apartment 21 and stairway For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6212122 | 75543 | REGENCY OAKS | CCRC-REGENCY OAKS LLC | 2751 REGENCY OAKS BLVD , CLEARWATER 33759 | 1587248 | 05/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room for 070912,. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6215321 | 65613 | BRENTWOOD APTS | SEAN B BOSWELL | 1430 1432 SPRING LN , CLEARWATER 33755 | 1599944 | 05/10/2025 | Routine - Lodging | Administrative complaint recommended | 01-05-4 | Portable fire extinguishers obstructed by items stored along walkway on the first and second floor of the buildings . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Putnam | 2003 | Lodging | 6400732 | 114526 | PARTNERS REAL ESTATE | PARTNERS REAL ESTATE LLC | 313 LAUREL ST , PALATKA 32177 | 1595896 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Propane gas tank under balcony of unit 6. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2003 | Lodging | 6801684 | 66636 | APARTMENTS | SRODEK LESLAWS | 2608 LINDA ST , SARASOTA 15921 | 1584540 | 05/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed missing hammer for fire extinguisher box near unit 2616. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2003 | Lodging | 6800151 | 102386 | 2515 TERRY LLC | 2515 TERRY LLC | 2515 TERRY LANE , SARASOTA 34231 | 1585269 | 05/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed a missing access hammer for the extinguisher box near the 2519 storage room. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2003 | Lodging | 6804834 | 109160 | VENICE ISLES APARTMENTS | VIAD PHASE I, LLC | 2600 EXECUTIVE DR , VENICE 34292 | 1587662 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. 2604 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2003 | Lodging | 6804834 | 109160 | VENICE ISLES APARTMENTS | VIAD PHASE I, LLC | 2600 EXECUTIVE DR , VENICE 34292 | 1587662 | 05/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. 2620, 2624 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904035 | 112249 | PARK PLACE | PARK PLACE BLISS LLC | 940 CITY PLAZA WAY STE 122 , OVIEDO 32765 | 1600944 | 05/13/2025 | Routine - Lodging | Warning Issued | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. -control panel in leasing office, Trouble alarm -FACP room at restrooms on right side of leasing office | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602579 | 109437 | ATLANTIC PALMS AT TRADITION | GRANDE PALMS AT TRADITION II | 11349 SW DISCOVERY WAY , PORT SAINT LUCIE 34987 | 1597582 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Building 8 in front of apt. 108. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7401977 | 6070 | BEST WESTERN INTERNATIONAL SPEEDWAY | EMBASSY INVESTMENTS XI LLC | 2620 INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 1182434 | 05/13/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. -room 170 Do rent or occupy room 170 until a fully operational hearing impaired smoke detector is installed. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7401977 | 6070 | BEST WESTERN INTERNATIONAL SPEEDWAY | EMBASSY INVESTMENTS XI LLC | 2620 INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 1182434 | 05/13/2025 | Routine - Lodging | Warning Issued | 06-01-4 | Path to door marked as an exit is blocked. For reporting purposes only. -exit in laundry room partially blocked by crib and table | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406605 | 103239 | COCONUT PALMS APARTMENTS | WALLACE LENA | 716 N HALIFAX AVE , DAYTONA BEACH 32118 | 1589384 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -inside breakable glass box, next to unit 7 - no breaking device | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406510 | 8858 | FAIRFIELD INN & SUITES DAYTONA BEACH SPEEDWAY/AIRPORT | DAYTONA HOTEL TWO LLC | 1820 CHECKERED FLAG BLVD , DAYTONA BEACH 32114 | 1183087 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -per manager has called tech | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7401175 | 97106 | BALINESE COTTAGES | LUDELVA LLC | 600 OAKRIDGE BLVD , DAYTONA BEACH 32118 | 1589755 | 05/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Unprotected/damaged/disrepair state of electrical wire(s). For reporting purposes only. -line coming from building towards sign off oakridge blvd | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406510 | 8858 | FAIRFIELD INN & SUITES DAYTONA BEACH SPEEDWAY/AIRPORT | DAYTONA HOTEL TWO LLC | 1820 CHECKERED FLAG BLVD , DAYTONA BEACH 32114 | 1183087 | 05/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificates or insurance inspector's boiler report expired. For reporting purposes only. 135757,135758,11/30/24 -per manager waiting Co2 cut off/disconnected to be installed then inspected | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.