## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2001 | Lodging | 1305250 | 10192 | HILTON GARDEN INN PANAMA CITY AIRPORT | ST JOE RESORT OPERATIONS, LLC | 5625 VENTURE CROSSINGS BLVD , PANAMA CITY 32409 | 1183310 | 06/03/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificate with expiration date 11/2024 **Warning** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1505780 | 99735 | HOUSE RENTAL | HOUSE TIMOTHY | 421 MERCURY AVE SE , PALM BAY 32909 | 1601808 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Between unit 3 & 4 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1505783 | 101018 | DI PALERMO LLC | DI PALERMO LLC | 520 MONROE AVE , CAPE CANAVERAL 32920 | 1594031 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1500661 | 79559 | OCEANSIDE PALMS | OCEANSIDE PALMS LLC | 321 JOHNSON STREET , CAPE CANAVERAL 32920 | 1592466 | 06/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Next to unit A11 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1503747 | 111708 | MERCURY COVE APARTMENTS | MERCURY AVENUE TOO LLC | 497 499 MERCURY AVE SE , PALM BAY 32909 | 1597787 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-05-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Bldg 499/ unit 104 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1504935 | 101522 | ISLANDER APARTMENTS | LINDSEY RONALD | 840 S ORLANDO AVE , COCOA BEACH 32931 | 1597060 | 06/06/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Second floor building 830 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1504935 | 101522 | ISLANDER APARTMENTS | LINDSEY RONALD | 840 S ORLANDO AVE , COCOA BEACH 32931 | 1597060 | 06/06/2025 | Routine - Lodging | Administrative complaint recommended | 02-04-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored inside the building. For reporting purposes only. In laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1620008 | 96730 | ABL HOMES FORT LAUDERDALE LLC | ABL HOMES FORT LAUDERDALE LLC | 1441 NE 5 TER , FORT LAUDERDALE 33304 | 1598900 | 06/03/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Damaged wire(s) hanging down behind Bldg 510 & 516. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1622086 | 118447 | ACS 1400 LLC | ACS 1400 LLC | 1350-1400 NE 5 TERR , FORT LAUDERDALE 33304 | 1624163 | 05/30/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from its designated location (hangers present indicating designated location). For reporting purposes only. 1350 - between Apartments 2-3, 6-7, 9-10, 13-14. 1400 - between Apartments 2-3, 6-7, 9-10 13-14 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621809 | 112522 | VORTEX APARTMENTS | LRCC VENTURES LLC | 1335-1337 NE 5 AVE , FORT LAUDERDALE 33304 | 1591843 | 06/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Exposed electrical wire(s) - SW back yard by fence. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1607162 | 8757 | BEST WESTERN HALLANDALE INN | ROSE MANAGEMENT PROPERTIES INC | 101 ANSIN BLVD , HALLANDALE 93992 | 1241509 | 06/02/2025 | Complaint Full | Call Back - Extension given, pending | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at fire extinguisher at front desk - From follow-up inspection 2025-06-02: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1607162 | 8757 | BEST WESTERN HALLANDALE INN | ROSE MANAGEMENT PROPERTIES INC | 101 ANSIN BLVD , HALLANDALE 93992 | 1241509 | 06/02/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-06-02: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2003 | Lodging | 2001049 | 110896 | MILLSTONE | VR OAKLEAF LP | 4190 PLANTATION OAKS BLVD , ORANGE PARK 32065 | 1590051 | 06/06/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguishers at units #1614 and #1012 are in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102616 | 7988 | LA PLAYA BEACH RESORT | HAZEL LESSEE LLC | 9891 GULF SHORE DR , NAPLES 34108 | 1183674 | 05/30/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 120676 5-6-23. 130241 5-6-23. Boiler certificate expired. 8-6-24**Repeat Violation** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102695 | 7370 | HOLIDAY INN EXPRESS & SUITES NAPLES DOWNTOWN 5TH AVENUE | OPH HOTEL LP | 1785 5 AVE S , NAPLES 34102 | 1182879 | 06/03/2025 | Routine - Lodging | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. This is a repeat from previous inspection dated 12-03-2024 - From follow-up inspection 2025-06-03: Panel is still showing trouble. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328943 | 13926 | BEST WESTERN PLUS MIAMI DORAL | IRATEL PROPERTIES LLC | 3875 NW 107 AVE , MIAMI 33178 | 1241542 | 05/30/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311837 | 19162 | NORTH MIAMI BEACH GARDEN INN & SUITE | MIAMI BEACH GARDEN INN & SUITE LLC | 148 NW 167 ST , MIAMI 33169 | 1241519 | 06/03/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329751 | 95934 | AMISTAD APARTMENTS LTD | AMISTAD APARTMENTS LTD | 571 SW 9 ST , MIAMI 33130 | 1582991 | 05/30/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher and recharge zone across from unit 711. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300424 | 50266 | SIVILLE APTS | CASTILLO FIDEL | 1630 NW 18 ST , MIAMI 55714 | 1599166 | 06/04/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer; unit 12. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2309410 | 53866 | CREEK CLUB APTS INC | CREEK CLUB APTS INC | 1441 NW 19 ST , MIAMI 51584 | 1586373 | 05/30/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher near entrance of building and near unit 119 missing breaking utensils. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310197 | 54200 | 141 SW 14 AVE APTS | J J APTS INC | 141 SW 14 AVE , MIAMI 52365 | 1599179 | 06/03/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer; unit 15. Observed no hammer; outside elevator 1st floor. Observed no hammer; across unit 3. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2314619 | 79579 | LIZ APARTMENT CORP | LIZ APARTMENT CORPORATION | 134 SW 17 CT , MIAMI 33135 | 1596485 | 06/05/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer; unit 3. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304264 | 94815 | RED BAND LLC | RED BAND LLC | 2500 SW 18 ST , MIAMI 33145 | 1588967 | 05/30/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed outside of electrical room; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329717 | 95233 | 711 BEACOM APARTMENTS | MAATCHI INVESTMENTS LLC | 711 BEACOM BLVD , MIAMI 33135 | 1601248 | 06/04/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguishers locked in box with zip ties on first floor | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301886 | 83655 | GRAND FLAMINGO NORTH TOWER | MCZ CENTRUM FLAMINGO II LLC | 1508 BAY RD #1 , MIAMI BEACH 33139 | 1595047 | 06/05/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330169 | 102651 | OSPREY APARTMENTS LLC | OSPREY APARTMENTS LLC | 5329 NW 17 AVE , MIAMI 33142 | 1593108 | 06/06/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated/ Silenced on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303462 | 80939 | 77 SH INC | 77 SH INC. | 10 NW 77 ST , MIAMI 33150 | 1599263 | 06/05/2025 | Routine - Lodging | Warning Issued | 06-01-4 | Path to door marked as an exit is blocked. For reporting purposes only. Observed exit stairs blocked by rolling chair. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300795 | 118973 | 415 SW 32 AVENUE LLC | 415 SW 32 AVENUE LLC | 415 SW 32 AVE , MIAMI 33135 | 1624153 | 06/04/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed on first floor; no hammer. Observed on second floor; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300795 | 118973 | 415 SW 32 AVENUE LLC | 415 SW 32 AVENUE LLC | 415 SW 32 AVE , MIAMI 33135 | 1624153 | 06/04/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble alarm flashing red. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2307893 | 94403 | APARTAMENTOS VALENCIA LLC | APARTAMENTOS VALENCIA LLC | 1046-1060 NW 3 ST , MIAMI 33128 | 1588262 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. By unit 2 and B4. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308978 | 103319 | MALE 5 CORP | MALE 5 CORP | 60 W 25 ST , HIALEAH 33010 | 1591247 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2307660 | 88508 | YURIANI INVESTMENTS LLC | YURIANI INVESTMENTS LLC | 835 SW 7 ST , MIAMI 33130 | 1584776 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher in the recharge zone next to unit 9. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2005 | Lodging | 2328868 | 1506 | BARS B&B | JAC 711 | 711 LENOX AVE , MIAMI BEACH 33139 | 1096693 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at back building near water heater. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303311 | 92373 | METRO MCG PROPERTIES INC | METRO MCG PROPERTIES INC | 700 NW 15TH AVE , MIAMI 33125 | 1582914 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device at fire extinguisher located in front of unit 4. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329481 | 93588 | WEST BRICKELL TOWER APARTMENTS | WEST BRICKELL TOWER LTD | 1026 SW 2 AVE , MIAMI 33130 | 1589190 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher boxes locked. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329656 | 93805 | VISTA GRANDE APARTMENTS | VISTA GRANDE APARTMENTS LTD | 850 SW 2 AVE , MIAMI 33130 | 1593079 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. All fire extinguisher boxes are locked. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329659 | 93829 | WEST BRICKELL VIEW APARTMENTS | WEST BRICKELL VIEW LTD | 144 S W 8 ST , MIAMI 33130 | 1583229 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed all fire extinguishers boxes are locked. Operator opened it. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302973 | 96613 | NOELA APARTMENTS LLC | NOELA APARTMENTS LLC | 910 NW 36 AVE , MIAMI 33125 | 1589013 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at first and second floor fire extinguishers. Only one fire extinguisher per floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302538 | 100847 | JORGE PEREZ | SHENANDOAH GARDENS CORP | 1721 SW 19 ST , MIAMI 33145 | 1585206 | 06/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed the only 2 fire extinguishers locked; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2311092 | 105378 | RAAN PROPERTY BUILDINGS | RAAN PROPERTY BUILDINGS LLC | 318 E 21 ST , HIALEAH 33010 | 1591339 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher box broken next to unit 3 . For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330886 | 113182 | 3475 SAGO PALM | 3475 SAGO PALM LLC | 1860 NW 24 AVE 201 , MIAMI 33125 | 1587912 | 06/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed missing breaking device on extinguisher located next to the mailboxes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330697 | 115574 | BELLA INVESTMENT PROPERTY | BELLA INVESTMENT PROPERTY LLC | 1580 NW 2 ST , MIAMI 33125 | 1624270 | 06/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer; unit 1. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329272 | 85454 | GRAND FLAMINGO CENTER TOWER | MCZ CENTRUM FLAMINGO III LLC | 1504 BAY RD #1 , MIAMI BEACH 33139 | 1595048 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329313 | 86260 | LAFAYETTE PLAZA APARTMENTS | LAFAYETTE SQUARE II LTD | 145 NE 78 ST , MIAMI 33138 | 1592558 | 06/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329481 | 93588 | WEST BRICKELL TOWER APARTMENTS | WEST BRICKELL TOWER LTD | 1026 SW 2 AVE , MIAMI 33130 | 1589190 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at front entrance. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329656 | 93805 | VISTA GRANDE APARTMENTS | VISTA GRANDE APARTMENTS LTD | 850 SW 2 AVE , MIAMI 33130 | 1593079 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the lobby. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329659 | 93829 | WEST BRICKELL VIEW APARTMENTS | WEST BRICKELL VIEW LTD | 144 S W 8 ST , MIAMI 33130 | 1583229 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the electrical room first floor. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329873 | 98621 | JOE MORETTI | JOE MORETTI PRESERVATION PHASE ONE LLC | 240 SW 9 ST , MIAMI 33130 | 1596917 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the central panel located in the employee lounge. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2317416 | 101572 | LUMMUS PARK MANOR | SP MANOR LLC | 350 NW 2ND STREET , MIAMI 33128 | 1601338 | 06/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330114 | 102229 | PINNACLE HEIGHTS APARTMENTS | PINNACLE HEIGHTS LLC | 3530 NW 36 ST , MIAMI 33142 | 1597200 | 06/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330222 | 103686 | WAGNER CREEK | HTG MIAMI DADE 5 LLC | 1501 NW 13 CRT , MIAMI 33125 | 1593141 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the panel located at the entrance by the room door. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330628 | 109339 | REFLECTIONS | UNITED PROPERTY MANAGEMENT | 1000 NW 7 ST , MIAMI 33136 | 1595513 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331089 | 116104 | GROVE CENTRAL RESIDENCES | GRP GROVE METRO STATION, LLC | 2800 SW 27 TERRACE , MIAMI 33133 | 1588169 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2327160 | 111636 | PUCHERO APTS | PUCHERO CORP | 255 E 6 ST , HIALEAH 33010 | 1587853 | 06/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330005 | 111904 | MIDTOWN FIVE | SE MIDTOWN 5 LLC | 125 NE 32 ST , MIAMI 33137 | 1585908 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed certificates expired 5/23/24. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330635 | 109500 | ROBERT KING HIGH, LLC | ROBERT KING HIGH, LLC | 1407 NW 7 ST , MIAMI 33125 | 1595538 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330169 | 102651 | OSPREY APARTMENTS LLC | OSPREY APARTMENTS LLC | 5329 NW 17 AVE , MIAMI 33142 | 1546530 | 06/06/2025 | Routine - Lodging | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-06-06: Trouble/alarm light illuminated on the fire alarm control panel. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328167 | 86354 | CAMDEN DORAL VILLAS | CAMDEN SUMMIT PARTNERSHIP | 4600 NW 114 AVE , MIAMI 33178 | 1588695 | 06/06/2025 | Routine - Lodging | Call Back - Complied | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed at fire extinguisher near unit 601 at building 4648. - From follow-up inspection 2025-06-06: Observed at fire extinguisher near unit 601 at building 4648. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2305156 | 107485 | 2097LLC | 2097 LLC | 2097 NW 22 CT , MIAMI 33142 | 1589742 | 06/02/2025 | Routine - Lodging | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device on any fire extinguisher throughout property. - From follow-up inspection 2025-06-02: Observed no breaking device on fire extinguishers. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2322921 | 10756 | LA QUINTA BY WYNDHAM AIRPORT EAST | RORE MANAGEMENT 3501 LLC | 3501 NW 42 AVE , MIAMI 33142 | 1176512 | 06/05/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired certificate for boiler. Observed 135426 7/1/2024 & 135427 7/1/24. EXPIRED. As per operator, they have an inspection set for the ending of this month. **Repeat Violation** - From follow-up inspection 2025-06-05: Observed expired certificate for boiler. Observed 135426 7/1/2024 & 135427 7/1/24. EXPIRED. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330723 | 110977 | MANSIONS | MIAMI BEACH COMMUNITY KOLLEL INC | 1001 W 46 ST , MIAMI BEACH 33140 | 1600486 | 05/30/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-03-4 | - From initial inspection : Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed missing fire extinguisher on the backside of the property at the end of the left alley . **Repeat Violation** - From follow-up inspection 2025-05-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329600 | 91703 | GRAND BAHAMAS DEVELOPMENT OF VILLAGE WEST CORPORATION | GRAND BAHAMAS DEVELOPMENT OF VILLAGE WEST CORPORATION | 3375 GRAND AVE , MIAMI 33133 | 1576395 | 06/02/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 06-01-4 | - From initial inspection : Path to door marked as an exit is blocked. For reporting purposes only. Observed on second floor, pathway to stair ways are blocked by chairs and plants. - From follow-up inspection 2025-06-02: At time of callback inspection still observed pathway to stair ways are blocked by chairs and plants. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329600 | 91703 | GRAND BAHAMAS DEVELOPMENT OF VILLAGE WEST CORPORATION | GRAND BAHAMAS DEVELOPMENT OF VILLAGE WEST CORPORATION | 3375 GRAND AVE , MIAMI 33133 | 1581758 | 06/02/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 06-01-4 | - From initial inspection : Path to door marked as an exit is blocked. For reporting purposes only. Observed on second floor, pathway to stair ways are blocked by chairs and plants. - From follow-up inspection 2025-06-02: At time of callback inspection still observed pathway to stair ways are blocked by chairs and plants. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330763 | 111345 | FORDOME INC | FORDOME INC | 330 NE 70 ST , MIAMI 33138 | 1600488 | 06/06/2025 | Routine - Lodging | Administrative complaint recommended | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed between apt 5 and 6. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2312099 | 99287 | MILPORT ENTERPRISES LLLP | MILPORT ENTERPRISES LLLP | 435 NE 23 ST , MIAMI 33137 | 1596952 | 06/02/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed next to unit 306 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308279 | 53410 | JOHNSON APTS | JOHNSON CARY | 5000 NW 2 AVE , MIAMI 72176 | 1601076 | 06/05/2025 | Routine - Lodging | Administrative complaint recommended | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. Observed no portable fire extinguishers near unit 1 and unit 6 and no breaking devices. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2306642 | 75912 | URVEL INVESTMENTS INC | URVEL INVESTMENTS INC | 451 SW 3 ST , MIAMI 33130 | 1588559 | 06/05/2025 | Routine - Lodging | Administrative complaint recommended | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302908 | 51255 | ALPERT STONE APARTMENTS | 3600 GOLDEN PANTHER INC | 3600 SW 17 TERR , MIAMI 51751 | 1592301 | 05/30/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed outside of unit 3; no hammer. Observed outside unit 6; no hammer. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2307468 | 53058 | 1004 SW 3RD ST APTS | RAMON BETANCOURT 2001 TR | 1004 SW 3 ST , MIAMI 02118 | 1594154 | 06/04/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only, next to apt 01 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301509 | 85799 | MIAMI PROPERTY MANAGEMENT | SUAREZ-NODARSE MAGALY | 454 NW 25 AVE , MIAMI 33125 | 1599745 | 06/03/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguisher next to unit 5 at rear building on west side of property. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330504 | 107652 | WATERLINE MIAMI RIVER | M-VII SOUTH RIVER P1, OWNER,LLC | 1001 NW 7 ST , MIAMI 33136 | 1587554 | 06/03/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2315623 | 108859 | SAN LORENZO APARTMENTS | EBIS INVERSIONES LLC | 1554 SW 5TH ST , MIAMI 33135 | 1599092 | 05/30/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329600 | 91703 | GRAND BAHAMAS DEVELOPMENT OF VILLAGE WEST CORPORATION | GRAND BAHAMAS DEVELOPMENT OF VILLAGE WEST CORPORATION | 3375 GRAND AVE , MIAMI 33133 | 1599348 | 06/02/2025 | Routine - Lodging | Administrative complaint recommended | 06-01-4 | Path to door marked as an exit is blocked. For reporting purposes only. Observed on second floor, pathway to stair ways are blocked by chairs and plants. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613270 | 118767 | CAMELLIA AT DEERWOOD | VOP CAMELLIA DEERWOOD LLC | 10061 SWEETWATER PARKWAY , JACKSONVILLE 32256 | 1624038 | 06/02/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated during inspection. Person in charge states has Cintas making repairs during inspection. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613270 | 118767 | CAMELLIA AT DEERWOOD | VOP CAMELLIA DEERWOOD LLC | 10061 SWEETWATER PARKWAY , JACKSONVILLE 32256 | 1624038 | 06/02/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificates expired 2.2025. Also, missing one boiler certificate in boiler room. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613289 | 10722 | WOODSPRING SUITES JACKSONVILLE CAMPFIELD COMMONS | CONCORD WP COL CAMPFIELD LLC | 11250 LAMBTAIL LN , JACKSONVILLE 32256 | 1183298 | 06/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated on fire alarm panel in office area. Operator stated there was a power surge awhile ago and the project to be repaired is in the process of being done in stages. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613294 | 105460 | PINE MEADOWS APARTMENTS | AT OWNER 11, L.P. | 3451 SALAND WAY , JACKSONVILLE 32246 | 1583402 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Wires on Exit light at building #9 exposed/ hanging. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2002 | Lodging | 3800190 | 17985 | SUNSET BEACH APARTMENTS | 1025 SUNSET LLC | 1001 LAKEVIEW DR , SEBRING 33870 | 1241531 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher by unit 167. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2002 | Lodging | 3800190 | 17985 | SUNSET BEACH APARTMENTS | 1025 SUNSET LLC | 1001 LAKEVIEW DR , SEBRING 33870 | 1236233 | 06/03/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher by unit 167. - From follow-up inspection 2025-06-03: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2001 | Lodging | 4703075 | 10735 | HAMPTON INN &SUITES TALLAHASSEE | CAPITAL HOTEL INVESTMENT GROUP LLC | 3388 LONNBLADH RD , TALLAHASSEE 32308 | 1182045 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No portable smoke detector provided in guest room/unit. For reporting purposes only. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2001 | Lodging | 4703118 | 11103 | DRURY PLAZA HOTEL - TALLAHASSEE | DRURY DEVELOPMENT CORPORATION | 1690 RAYMOND DIEHL RD , TALLAHASSEE 32303 | 1178848 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2003 | Lodging | 4702125 | 80056 | DARDEN NESTING SITE AT MIDTOWN | DARDEN PATRICK | 735 E 7 AVE , TALLAHASSEE 35751 | 1598879 | 06/02/2025 | Routine - Lodging | Administrative complaint recommended | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. -Observed tree branches fell on electrical wires leading to building 735. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okeechobee | 2002 | Lodging | 5700590 | 10411 | BEST WESTERN LAKE OKEECHOBEE | LUV KUSH ENTERPRISES LLC | 3975 S HWY 441 , OKEECHOBEE 46221 | 1241128 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2003 | Lodging | 5913628 | 112076 | VIVO LIVING KISSIMMEE | VIVO LIVING KISSIMME, LLC | 4018 W VINE ST , KISSIMMEE 34741 | 1587834 | 06/04/2025 | Routine - Lodging | Administrative complaint recommended | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014268 | 103579 | BOCA CITY WALK | BOCA CITY WALK PROJECT OWNER LLC | 33 SE 8 ST , BOCA RATON 33432 | 1585321 | 05/30/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Floor 6 near 627-628 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014567 | 113726 | CORTLAND PORTOFINO PLACE II | PORTOFINO PLACE OWNER II LLC | 4600 PORTOFINO WAY , WEST PALM BEACH 33409 | 1624296 | 06/06/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. At Building 34/4740. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014567 | 113726 | CORTLAND PORTOFINO PLACE II | PORTOFINO PLACE OWNER II LLC | 4600 PORTOFINO WAY , WEST PALM BEACH 33409 | 1624296 | 06/06/2025 | Complaint Full | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. At Building 34/4740. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6209940 | 65021 | HAMPTON AT CLW RETIREMENT CTR | CLEARWATER HOUSING AUTHORITY | 1099 MCMULLEN BOOTH RD , CLEARWATER 33759 | 1583397 | 06/02/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. Expired 1/10/2025 Boilers were inspected on 1/23/2025 . Deficiencies noted . Establishment working to address these deficiencies For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6215788 | 19297 | TROPICAL BREEZE | TROPICAL BREEZE HOTEL LLC | 333 HAMDEN DR HAMDEN DR, CLEARWATER 33767 | 1241203 | 06/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to room 110. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6209656 | 79066 | BELL APTS | BRODERICK ROGER | 4015 N 76 AVE , PINELLAS PARK 33781 | 1590533 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Out front of laundry room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6200519 | 93879 | COLISEUM APARTMENTS LLC | COLISEUM APARTMENTS LLC | 440 6 ST N , ST. PETERSBURG 33701 | 1590935 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed the fire alarm panel in laundry room beeping and flashing trouble. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6205300 | 106010 | OCEANAIRE APARTMENTS, LLC | OCEANAIRE APARTMENTS, LLC | 2045 E BAY DRIVE , LARGO 33771 | 1591436 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Yellow trouble light illuminated and flashing on fire panel near unit 208 building A. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6200519 | 93879 | COLISEUM APARTMENTS LLC | COLISEUM APARTMENTS LLC | 440 6 ST N , ST. PETERSBURG 33701 | 1590935 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Observed exit sign hanging off the wall on level 3. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6200452 | 115318 | RAVEN AT MONTEREY APARTMENTS LLC | RAVEN AT MONTEREY APARTMENTS LLC | 5701 21ST AVE N , ST PETERSBURG 33710 | 1596008 | 06/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Damaged outlet with exposed wired protruding from pavers in pool area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6201541 | 19063 | UPTOWN SUITES | DTSP URBAN CORE LLC | 1501 9 ST N , ST. PETERSBURG 33704 | 1237245 | 05/30/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired on 2-16-2025 - From follow-up inspection 2025-05-30: Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired on 2-16-2025 **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6203498 | 19051 | JAMBU TREE SUITS | REIT4 RETAIL 1 LLC | 1466 GULF TO BAY BLVD , CLEARWATER 33755 | 1240916 | 05/30/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher - missing tool near unit 10 . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2003 | Lodging | 6804825 | 106439 | BOLD LOFTS | JMB PARENT LLC | 1697 2 ST , SARASOTA 34236 | 1597315 | 06/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Portable fire extinguisher in the hallway outside unit 522 and 625 in the red zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904094 | 116472 | NOVEL PARKWAY | CC PARKWAY OWNER, LLC | 1464 LAUREL SOUND LN , SANFORD 32771 | 1624225 | 06/03/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Site 1 Alarm Panel | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904074 | 111103 | VIRIDIAN RESERVE | TMP SANFORD PROJECT LLC | 5038 BROADSTONE RESERVE CIR , SANFORD 32771 | 1583939 | 06/03/2025 | Routine - Lodging | Warning Issued | 02-04-4 | Gas powered equipment stored inside the building. For reporting purposes only. -maintenance facility | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6900039 | 104764 | BELAIR APARTMENTS | BELAIR INVESTORS LLC | 900 E AIRPORT BLVD , SANFORD 32773 | 1591358 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. - fire extinguisher near unit 45 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6902421 | 66908 | REGATTA SHORES APTS | UDR INC | 2335 W SEMINOLE BLVD , SANFORD 17930 | 1590488 | 06/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-04-4 | Gas powered pressure washer and gasoline cans stored inside the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6903930 | 66997 | CHARLESTON CLUB APTS | CHARLESTON CLUB PARTNERS LTD | 500 FOX QUARRY LN , SANFORD 32773 | 1587596 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904037 | 101854 | STATION HOUSE AT LAKE MARY | STATION HOUSE AT LAKE MARY LLC | 188 E CRYSTAL LAKE AVE , LAKE MARY 32746 | 1591355 | 06/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904058 | 105775 | DRAKE MIDTOWN | RAR2 252 WHEELHOUSE LLC | 252 WHEELHOUSE LN , LAKE MARY 32746 | 1597336 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2002 | Lodging | 6500838 | 17340 | QUALITY INN | HANSA K LLC | 2625 SR 207 , ELKTON 32033 | 1241404 | 05/30/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. In fire extinguisher box by unit 226 extinguisher is overcharged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2001 | Lodging | 6500060 | 4373 | PONTE VEDRA INN & CLUB | PONTE VEDRA CORP | 200 PONTE VEDRA BLVD , PONTE VEDRA BEACH 32082 | 1182884 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report. Expired certificate from March 2025 in boiler room. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602540 | 96624 | BLAZIE PROPERTIES | BLAZIE PROPERTIES | 1206 N 16 ST , FORT PIERCE 34950 | 1589012 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Near apartment 1 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602354 | 80474 | JOE AND GINA NOELKE LLC | JOE AND GINA NOELKE, LLC | 1102 N 7TH ST , FT PIERCE 34950 | 1598328 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602534 | 87053 | MADISON CAY LTD | MADISON CAY LTD | 1655 N 29TH STREET , FORT PIERCE 34947 | 1589450 | 05/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. System power supply positive earth ground. Management has called to be fixed. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602415 | 79586 | CITRUS AVE APARTMENTS | MCVEIGH THOMAS | 1233 CITRUS AVE , FT PIERCE 34950 | 1590543 | 06/06/2025 | Routine - Lodging | Administrative complaint recommended | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406705 | 117024 | SOUTH DAYTONA APARTMENTS | SOUTH DAYTONA APARTMENTS LLC | 1648 S PALMETTO AVE , SOUTH DAYTONA 32119 | 1588290 | 06/06/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Outside of laundry room door facing courtyard | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7403599 | 67358 | VICTORIA GARDENS APTS | UNATIN JEROME | 5609 VICTORIA GARDENS BLVD , PORT ORANGE 78975 | 1591599 | 06/05/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -break panel box - breaking device missing from box on wall inside laundry room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7400062 | 10845 | LEGACY DAYTONA SUITES | KBI INVESTMENTS LLC | 209 S RIDGEWOOD AVE , DAYTONA BEACH 32114 | 1182986 | 06/05/2025 | Routine - Lodging | Warning Issued | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. -smoke alarm third floor beeping | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406702 | 112531 | CENTURY DUNES | CENTENNIAL DUNES LLC | 100 INTEGRA DUNES CIR , DELAND 32724 | 1591824 | 05/30/2025 | Routine - Lodging | Warning Issued | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. Struck by lightning, tagged . **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406727 | 114035 | E-OLA ENTERPRISE | E-OLA ENTERPRISE | 124 / 126 S OLEANDER AVE , DAYTONA BEACH 32118 | 1591950 | 05/30/2025 | Routine - Lodging | Warning Issued | 06-01-4 | Path to fire escape/exit is blocked. For reporting purposes only. -gated bottom of fire escape stairway from entrance to unit 4 **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405449 | 11957 | ROYAL INN OF RIDGEWOOD | YOGESHWAR INC OF DAYTONA | 810 S RIDGEWOOD AVE , DAYTONA BEACH 32114 | 1240852 | 06/05/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Exit light hanging by wires by room 229. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406705 | 117024 | SOUTH DAYTONA APARTMENTS | SOUTH DAYTONA APARTMENTS LLC | 1648 S PALMETTO AVE , SOUTH DAYTONA 32119 | 1588290 | 06/06/2025 | Routine - Lodging | Warning Issued | 07-02-4 | Frayed electrical wire(s). For reporting purposes only. Exposed wires from electrical box, coming out of pvc pipe at far end of maintenance/storage room next to laundry | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401000 | 18613 | BEST WESTERN AKU TIKI INN | JK DAYTONA LLC | 2225 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1241552 | 06/02/2025 | Complaint Full | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. -posted fire watch for establishment at entrances to lobby | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406783 | 119026 | TEN60 HALIFAX | DAYTONA BEACH SPE II LLC | 1060 HALIFAX MEDICAL CENTER DR , DAYTONA BEACH 32114 | 1624236 | 06/06/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 02-04-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored inside the building. For reporting purposes only. -maintenance room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406731 | 114523 | ONSHORE DAYTONA | EAGLE APARTMENT INVESTORS LLC | 1100 HALIFAX MEDICAL CENTER DR ONSHORE LEASING OFFICE, DAYTONA BEACH 32114 | 1590060 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | Building 6 gas can under balcony apartment 6109. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406555 | 96390 | WHITEPALM APARTMENTS | FINPAR WHITEPALM/PORT ORANGE LLC | 5400 S WILLIAMSON BLVD , PORT ORANGE 32128 | 1592903 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -office building, operator states repairs are ongoing **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406446 | 96692 | NORTHLAND GRANDEVILLE LLC | NORTHLAND GRANDEVILLE LLC | 741 SAXON BLVD , ORANGE CITY 32763 | 1587463 | 06/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406651 | 106737 | RESERVE AT ORANGE CITY, LLC. | FL TAX HOLDINGS 2010, LTD. | 2500 JUNIOR STREET , ORANGE CITY 32763 | 1585534 | 06/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7403431 | 111309 | NORDICA LANDING | NORDICA LANDING | 1756 S CLYDE MORRIS BLVD , DAYTONA BEACH 32119 | 1583825 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Building 3 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406731 | 114523 | ONSHORE DAYTONA | EAGLE APARTMENT INVESTORS LLC | 1100 HALIFAX MEDICAL CENTER DR ONSHORE LEASING OFFICE, DAYTONA BEACH 32114 | 1590060 | 06/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -lobby -main panel trouble wet system waterflow invvrep. Per manager on fire watch and waiting on tech to schedule repairs. Manager stated there was a lightning strike. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406650 | 106730 | PARC HILL SENIOR LIVING | PARC HILL SENIOR LIVING PARTNERS, LTD. | 1010 SKYLINE LOOP , ORANGE CITY 32763 | 1591465 | 06/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. 3rd floor exit by Apt 301 is locked. **Corrected On-Site** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405884 | 15568 | HOST INN | KRISHNA OF DAYTONA INC | 315 BELLEVUE AVE , DAYTONA BEACH 32114 | 1241490 | 06/05/2025 | Complaint Full | Call Back - Complied | 07-01-4 | - From initial inspection : Expose wired at light in bath room in room 206. For reporting purposes only. - From follow-up inspection 2025-06-05: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7400186 | 94439 | SEABREEZE RESIDENCES | MARSTON 46 LLC | 732 N HALIFAX AVE , DAYTONA BEACH 32118 | 1593250 | 06/03/2025 | Routine - Lodging | Administrative complaint recommended | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. -extinguisher on wall inside common area hallway on level 4, 3 near fire exits is showing meter in overcharge | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406606 | 103338 | VIRGIL AND ELLEN ROSENFELD FAMILY TRUST | VIRGIL AND ELLEN ROSENFELD FAMILY TRUST | 419 N WILD OLIVE AVE , DAYTONA BEACH 32118 | 1595423 | 06/02/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -inside common area main entry on wall | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406588 | 102389 | 411-413 NORTH OLEANDER AVENUE LLC | 411-413 NORTH OLEANDER AVENUE LLC | 411 413 N OLEANDER AVE , DAYTONA BEACH 32118 | 1591217 | 06/06/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -break panel box missing breaking device, unit on wall at unit 2 & upstairs unit | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406737 | 115114 | FL LAND TRUST H612 | FL LAND TRUST H612 | 612 NORTH HALIFAX AVE , DAYTONA BEACH 32118 | 1579452 | 06/02/2025 | Routine - Lodging | Administrative complaint recommended | 06-01-4 | Path to fire escape/exit is blocked/otherwise obstructed. For reporting purposes only. -backside of building, stairway upstairs porch obstructed by crates -main entrance stairway blocked by cable stretched across stairway. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7403685 | 97324 | MAPLE STREET APARTMENTS | RODIN GROUP LLC | 304 MAPLE ST , DAYTONA BEACH 32114 | 1594906 | 06/02/2025 | Routine - Lodging | Administrative complaint recommended | 07-01-4 | Exit sign sitting on top of fir extinguisher box by apartment 16.For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406756 | 116537 | LARS HOMES LLC | LARS HOMES LLC | 420 AUBURN DR , DAYTONA BEACH 32118 | 1592221 | 06/03/2025 | Routine - Lodging | Administrative complaint recommended | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. -from box behind main building | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.