## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2003 | Lodging | 1103127 | 116620 | UFORA GAINESVILLE | 12TH AND 5TH LLC | 1218 SW 5 AVE , GAINESVILLE 32601 | 1586296 | 06/09/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside of unit 216. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2003 | Lodging | 1103127 | 116620 | UFORA GAINESVILLE | 12TH AND 5TH LLC | 1218 SW 5 AVE , GAINESVILLE 32601 | 1586296 | 06/09/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. In front of unit 316. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2003 | Lodging | 1103127 | 116620 | UFORA GAINESVILLE | 12TH AND 5TH LLC | 1218 SW 5 AVE , GAINESVILLE 32601 | 1586296 | 06/09/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Wires hanging down by exit signs in front of 221 and between 323-324. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2003 | Lodging | 1101257 | 96395 | CEDAR RIDGE APTS | IVO RABELL LIVING TRUST | 7012 SW 6 PL , GAINESVILLE 32607 | 1599827 | 06/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Needle of extinguisher next to mailboxes in red recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2001 | Lodging | 1305243 | 8684 | HAMPTON INN AND SUITES PANAMA CITY BEACH BEACHFRONT | CRIMSON TIDE 1 LLC | 15505 FRONT BEACH RD , PANAMA CITY BEACH 32413 | 1183822 | 06/10/2025 | Complaint Partial | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed water heaters with btu rating of 500,000. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1300325 | 19398 | SEA FOAM SUITES | 2803 N OCEAN BLVD LLC | 6010 THOMAS DR , PANAMA CITY BEACH 32408 | 1240646 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Extinguisher by laundry room. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1305152 | 19370 | BAHAMA BREEZE SUITES | 2803 N OCEAN BLVD LLC | 618 EVERGREEN STREET , PANAMA CITY 32407 | 1240765 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-03-4 | Scorch/burn mark on the front of the water heater in laundry room. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1303765 | 8253 | HOLIDAY INN SUNSPREE | HILTON INC | 11127 W FRONT BCH RD , PANAMA CITY BCH 73529 | 1240692 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1500486 | 106180 | ATLANTIC SURF | LEGACY COCOA BEACH, LLC | 494 S. ATLANTIC AVE. OFFICE, COCOA BEACH 32931 | 1585483 | 06/12/2025 | Routine - Lodging | Warning Issued | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. Southeast stairwell is blocked | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1504857 | 77191 | OCEAN WALK APTS | VILLAGESIDE FLATS INC | 208 PIERCE AVE , CAPE CANAVERAL 32920 | 1599251 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. At base of stairs on east side | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607221 | 8939 | FORT LAUDERDALE GRAND HOTEL | 4900 POWERLINE LLC | 4900 POWERLINE ROAD , OAKLAND PARK 33309 | 1183813 | 06/13/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1600943 | 119097 | GLADES 2037 MADISON | GLADES 2037 MADISON, LLC | 2037 MADISON ST , HOLLYWOOD 33020 | 1624361 | 06/12/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed next to 19 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1605685 | 118956 | TOVA REALTY LLC | TOVA REALTY LLC | 4933 HOLLYWOOD BLVD , HOLLYWOOD 33021 | 1624388 | 06/12/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621414 | 115354 | 808 VIC PARK LLC | 808 VIC PARK LLC | 808-812 NE 16 TERRACE STE 1-4 , FORT LAUDERDALE 33304 | 1601494 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620891 | 8523 | LYFE RESORT & RESIDENCES | SOHO OCEAN RESORT TRS LLC | 4111 S OCEAN DR , HOLLYWOOD 33019 | 1182162 | 06/11/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. - From follow-up inspection 2025-06-11: Observed same. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102695 | 7370 | HOLIDAY INN EXPRESS & SUITES NAPLES DOWNTOWN 5TH AVENUE | OPH HOTEL LP | 1785 5 AVE S , NAPLES 34102 | 1182879 | 06/10/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. This is a repeat from previous inspection dated 12-03-2024 - From follow-up inspection 2025-06-03: Panel is still showing trouble. **Time Extended** - From follow-up inspection 2025-06-10: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329180 | 82417 | SISTO 1545 NW 1 STREET APARTMENTS | OMAR SISTO AND DONNA | 1545 NW 1 STREET , MIAMI 33125 | 1594435 | 06/10/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed locked with no hammer; unit 2. Observed locked with no hammer; unit 20. Observed locked with no hammer; unit 14. Observed locked with no hammer; unit 24. Observed locked with no hammer; unit 30. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2327152 | 95374 | ASPR CORPORATION | ASPR CORPORATION | 1850 NW 22 CT , MIAMI 33125 | 1598546 | 06/12/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed locked with no hammer; 1st floor outside A. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329180 | 82417 | SISTO 1545 NW 1 STREET APARTMENTS | OMAR SISTO AND DONNA | 1545 NW 1 STREET , MIAMI 33125 | 1594435 | 06/10/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble lights on monitor. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2325784 | 100768 | RIO PALMA | 1228 APARTMENTS LLC | 1228 NW 4TH ST , MIAMI 33125 | 1596991 | 06/09/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330826 | 112778 | WATERMARC | 2150 N BAYSHORE LLC | 2150 N BAYSHORE DR , MIAMI 33137 | 1597829 | 06/11/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329398 | 8631 | GENERATOR | G 3120 COLLINS LLC | 3120 COLLINS AVENUE , MIAMI BEACH 33140 | 1183815 | 06/13/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL 135551 and 135552. As per Director of Engineering documentation was already sent to obtain the boiler certificate ps **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2322921 | 10756 | LA QUINTA BY WYNDHAM AIRPORT EAST | RORE MANAGEMENT 3501 LLC | 3501 NW 42 AVE , MIAMI 33142 | 1183823 | 06/11/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificates for 35426 & 135427, expired on 7-1-24. Operator has form with completed inspection from insurance company, operator waiting on certificates. **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329698 | 94859 | CITY HEIGHTS APARTMENTS LTD | CITY HEIGHTS APARTMENTS LTD | 145 SW 8 ST , MIAMI 33130 | 1586965 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed throughout the property. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2301695 | 105252 | LHC COLONIAL APARTMENTS LLC | LHC COLONIAL APARTMENTS LLC | 218 NW 15 AVE , MIAMI 33125 | 1591361 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer; unit 209. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2304130 | 51741 | FRANCY E RAMOS | FRANYC E RAMOS | 1575 NW 2 ST , MIAMI 55549 | 1596237 | 06/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329503 | 89539 | SAM ED INVESTMENT | SAM ED INVESTMENT INC | 2390 W 12 AVE , HIALEAH 33010 | 1582833 | 06/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Located at building B, near unit B7. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329698 | 94859 | CITY HEIGHTS APARTMENTS LTD | CITY HEIGHTS APARTMENTS LTD | 145 SW 8 ST , MIAMI 33130 | 1586965 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the lobby. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329753 | 96085 | FSL DEVELOPMENT LLC | FSL DEVELOPMENT LLC | 1657 N MIAMI AVE , MIAMI 33136 | 1583685 | 06/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329876 | 98693 | ST MARTINS PLACE | BHG ST MARTINS PL LTD | 1128 NW 7 AVE , MIAMI 33136 | 1583123 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2313311 | 118004 | ALIRO | ALIRO RESERVE LLC | 14000 BISCAYNE BLVD , NORTH MIAMI BEACH 33181 | 1622717 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329545 | 90275 | GIBSON PLAZA | ROYAL AMERICAN MGMT INC | 3160 MUNDY ST , MIAMI 33133 | 1596656 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329531 | 11227 | CITIZENM HOTELS | MIAMI SOUTH BEACH OPERATIONS, LLC | 1200 LINCOLN RD , MIAMI BEACH 33139 | 1178438 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329866 | 98370 | JACK ORR PLAZA | JACK ORR PLAZA PRESERVATION PHASE ONE LLC | 550 NW 5 ST , MIAMI 33128 | 1591060 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330560 | 107489 | RIVER LANDING SHOPS AND RESIDENCES | RL MIAMI LP | 1500 NW N RIVER DR , MIAMI 33125 | 1601904 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Boilers 137815, 137814 , 137812, 137813, 137809, 137811 were inspected but with Exp 10/ 2024 without certification. **Admin Complaint** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311837 | 19162 | NORTH MIAMI BEACH GARDEN INN & SUITE | MIAMI BEACH GARDEN INN & SUITE LLC | 148 NW 167 ST , MIAMI 33169 | 1241519 | 06/12/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-06-12: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330021 | 101075 | 3015 PARTNERS | 3015 PARTNERS LLC | 3015 NW 8 AVE , MIAMI 33127 | 1562392 | 06/11/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher inside unit 9 in recharge zone. - From follow-up inspection 2025-06-11: Unit 9 not available to visit. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331084 | 116286 | SIP STREET ASSOC | CRUZ FRANCISCO | 295 NW 57 AVE , MIAMI 33126 | 1590178 | 06/13/2025 | Routine - Lodging | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed on first floor; no hammer. **Repeat Violation** - From follow-up inspection 2025-06-13: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329497 | 10386 | RITZ CARLTON, SOUTH BEACH | DI LIDO BEACH RESORT LLC | 1 LINCOLN RD , MIAMI BEACH 33139 | 1182517 | 06/11/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-06-11: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2325784 | 100768 | RIO PALMA | 1228 APARTMENTS LLC | 1228 NW 4TH ST , MIAMI 33125 | 1596991 | 06/13/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-06-13: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330021 | 101075 | 3015 PARTNERS | 3015 PARTNERS LLC | 3015 NW 8 AVE , MIAMI 33127 | 1562392 | 06/11/2025 | Routine - Lodging | Call Back - Complied | 04-05-4 | - From initial inspection : No smoke detector provided in guest room/unit. For reporting purposes only. Observed no smoke alarm inside unit #9. - From follow-up inspection 2025-06-11: Unit 9 not available to visit. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329179 | 110229 | GRASSHOPPER PROPERTIES LLC | GRASSHOPPER PROPERTIES LLC | 427 NE 62 ST , MIAMI 33138 | 1576624 | 06/10/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-06-10: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329179 | 110229 | GRASSHOPPER PROPERTIES LLC | GRASSHOPPER PROPERTIES LLC | 427 NE 62 ST , MIAMI 33138 | 1581926 | 06/10/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-06-10: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2309064 | 53745 | 6700 BUILDING | CARRILLO LEONARDO | 6700 NW 17 AVE , MIAMI 77474 | 1601524 | 06/12/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2326956 | 90109 | ORANGETREE ENT | NARANJO HUMBERTO | 431 E 28 ST , HIALEAH 33013 | 1598402 | 06/13/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer; outside unit 1. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329915 | 99326 | ALVAREZ RENTAL | MARIA ALVAREZ | 1636 NW 16 ST , MIAMI 33125 | 1600323 | 06/11/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed locked with no hammer; 1st floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329963 | 99125 | 1250 WEST, LLC | 1250 WEST, LLC | 1250 W AVE , MIAMI BEACH 33139 | 1600792 | 06/12/2025 | Routine - Lodging | Administrative complaint recommended | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329964 | 99126 | SOUTH BEACH WEST, LLC | SOUTH BEACH WEST, LLC | 1250 W AVE , MIAMI BEACH 33139 | 1598486 | 06/12/2025 | Routine - Lodging | Administrative complaint recommended | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
DeSoto | 2005 | Lodging | 2400235 | 1692 | OAK PARK INN | JAI 785 ARCADIA LLC | 2 W OAK ST , ARCADIA 34266 | 1096823 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher next to laundry room and the fire extinguisher next to front desk in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2610754 | 98361 | PARK AT POTENZA | HAMPSHIRE PLACE PROPERTY HOLDINGS LLC | 10023 BELLE RIVE BLVD , JACKSONVILLE 32256 | 1595006 | 06/11/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Exit light hanging by exposed wires near apts 1422-1424 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2609446 | 112051 | WESTCREEK II | JJTA18 REAL PROPERTIES LLC | 5601 CALIFORNIA AVE , JACKSONVILLE 32244 | 1585879 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in laundry room is in the recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613374 | 102143 | INTEGRA RIVER RUN | INTEGRA RIVERSIDE LLC | 14050 INTEGRA DR , JACKSONVILLE 32218 | 1591225 | 06/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Extinguisher missing in box next to apartment 917. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2611652 | 106272 | 122 WEST | JJTA10 REAL PROPERTIES LLC | 5537 FIRESTONE RD , JACKSONVILLE 32244 | 1590047 | 06/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguishers missing from designated locations near unit #A2, #3B, #4A, #4D, #A5, on at building numbered 5537. None of the designated boxes have signs present indicating fire extinguisher location. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2612318 | 5818 | SONESTA SIMPLY SUITES JACKSONVILLE | HPT TRS IHG-2 INC | 4990 BELFORT RD , JACKSONVILLE 32256 | 1183245 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. No way to access fire extinguishers at both outside gazebos. In locked box with glass panel. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613384 | 103618 | LUXOR CLUB | LUXOR CLUB RENTAL COMMUNITY LLC | 13800 EGRETS NEST DR , JACKSONVILLE 32258 | 1595140 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-04-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored inside the building. For reporting purposes only. Multiple large LP tanks in maintenance room. About 10. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613474 | 110405 | FOUNTAINHEAD | FOUNTAINHEAD APARTMENTS, LLC | 7237 CORKLAN DR , JACKSONVILLE 32258 | 1593925 | 06/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-04-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored inside the building. For reporting purposes only. 4 LP Tanks in maintenance shed. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200090 | 9437 | LITTLE BIG MAN MARINA | CLARK LEON J | 3100 CR 721 LOOP , LAKEPORT 33471 | 1241184 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only in unit two. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200090 | 9437 | LITTLE BIG MAN MARINA | CLARK LEON J | 3100 CR 721 LOOP , LAKEPORT 33471 | 1241184 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only in unit two. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200090 | 9437 | LITTLE BIG MAN MARINA | CLARK LEON J | 3100 CR 721 LOOP , LAKEPORT 33471 | 1234826 | 06/09/2025 | Routine - Lodging | Call Back - Complied | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged in unit two. For reporting purposes only . - From follow-up inspection 2025-06-09: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200090 | 9437 | LITTLE BIG MAN MARINA | CLARK LEON J | 3100 CR 721 LOOP , LAKEPORT 33471 | 1234826 | 06/09/2025 | Routine - Lodging | Call Back - Complied | 04-03-4 | - From initial inspection : Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable in unit two, with no cover. For reporting purposes only. - From follow-up inspection 2025-06-09: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hardee | 2003 | Lodging | 3500219 | 100241 | STENSTROM ROAD SENIOR VILLAGE | NRP MANAGEMENT | 338 STENSTROM RD , WAUCHULA 33873 | 1585220 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed by room 228, fire extinguisher is in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hardee | 2003 | Lodging | 3500219 | 100241 | STENSTROM ROAD SENIOR VILLAGE | NRP MANAGEMENT | 338 STENSTROM RD , WAUCHULA 33873 | 1585220 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed light blinking on the fire box panel by the front lobby doors. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2001 | Lodging | 3600013 | 10602 | AMERICAS BEST VALUE INN | BHAGYAWAN LLC | 108 ROYAL PALM AVE , CLEWISTON 33440 | 1183804 | 06/10/2025 | Complaint Partial | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room 210. For reporting purposes only. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3911404 | 7238 | EXTENDED STAY AMERICA | ESA P PORTFOLIO LLC | 5401 BEAUMONT CTR BLVD E , TAMPA 33634 | 1177524 | 06/11/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. United Fire Service provided service this day with a follow up date scheduled for June 13 per letter provided by property manager . For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913621 | 11163 | TOWNEPLACE SUITES BY MARRIOTT TAMPA WESTSHORE | TAMPA AVION HOSPITALITY, LLC | 5302 AVION PARK DRIVE , TAMPA 33607 | 1178923 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3913619 | 15602 | COMFORT SUITES | SHIV SHRADDHA LLC | 5421 W WATERS AVE , TAMPA 33634 | 1240732 | 06/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. Reviewed with manager . For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3906241 | 10818 | DOUBLETREE BY HILTON TAMPA ROCKY POINT WATERFRONT | TAMPA HOTEL OPERATING COMPANY, LLC | 3050 N ROCKY POINT DR , TAMPA 33607 | 1182348 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 1 boiler certificate 139531 expired on 03/22/205 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3910835 | 11296 | HYATT PLACE TAMPA AIRPORT/WESTSHORE | WESTSHORE LODGING, LLC | 4811 W MAIN ST , TAMPA 33607 | 1182733 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3913618 | 17444 | PIRATE'S POINTE RESORT LLC | PIRATE'S POINTE RESORT LLC | 1800 KOFRESI CT , RUSKIN 33570 | 1234994 | 06/12/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Across from unit 1815. - From follow-up inspection 2025-06-12: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3913736 | 100556 | LANTOWER WESTSHORE | WESTSHORE MULTIFAMILY TAMPA LP | 4504 W SPRUCE ST , TAMPA 33607 | 1623727 | 06/10/2025 | Complaint Full | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-06-10: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4604935 | 93570 | L.D.A. INVESTMENTS LLC | L D A INVESTMENTS LLC | 86 4 ST , FORT MYERS 33907 | 1584949 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge at laundry room. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4601147 | 109567 | THEE BOARDWALK | PARK PLACE APARTMENTS OWNER, LLC | 4637 DELEON ST , FORT MYERS 33907 | 1595527 | 06/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from its designated location at where three units located ; m170, m171 and m172. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4601147 | 109567 | THEE BOARDWALK | PARK PLACE APARTMENTS OWNER, LLC | 4637 DELEON ST , FORT MYERS 33907 | 1595527 | 06/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguishers not accessible near by units; I158, I258, I156, g150, e133, e131, e120.For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4604604 | 110421 | CYPRESS BEND VILLAGE APARTMENTS | SUNMAX HOLDINGS LLC | 7206 CYPRESS DR STE 53 , FORT MYERS 33907 | 1595574 | 06/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher not accessible near by unit 14, 62 and unit 44. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4600131 | 113942 | PALM VILLAS | SD - PALM VILLAS LLC | 8372 BEACON BLVD , FORT MYERS 33907 | 1591940 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher not accessible near by unit 402. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4604640 | 114453 | MAR BELLA FT MYERS III LLC | MAR BELLA FT MYERS III LLC | 4610 DELEON ST , FORT MYERS 33907 | 1597984 | 06/12/2025 | Routine - Lodging | Administrative complaint recommended | 01-05-4 | Portable fire extinguisher not accessible near by unit 103. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Manatee | 2002 | Lodging | 5102841 | 18691 | MOTEL 6 - BRADENTON | SHIV BRADENTON HOTEL LLC | 660 67TH ST CIR E , BRADENTON 34208 | 1240764 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only by room 205 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5800169 | 10421 | HOTEL BELAIR | PATEL JAYANT C & KUSUM J | 6119 S ORANGE BLOSSOM TRL , ORLANDO 94609 | 1239813 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. - near unit 106 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5800312 | 61204 | MAGNOLIA TOWERS | MAGNOLIA TOWERS INC | 100 E ANDERSON ST , ORLANDO 13756 | 1582523 | 06/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5804487 | 76235 | MCKINLEY AT WESTWOOD SUITES | VILLAS AT MONTEREY LLC | 6800 VILLA DE COSTA DR. , ORLANDO 32821 | 1585800 | 06/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2003 | Lodging | 5913639 | 114324 | WEST BAY VILLAGE | WEST BAY VILLAGE PARTNERS I, LLC | 3010 W BAY CIR , KISSIMMEE 34747 | 1597995 | 06/13/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Inspected 2006 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6010515 | 114781 | 4885 ARJAR0 2021 LLC | 4885 ARJARO 2021 LLC | 4889 LAKE ARJARO DR , WEST PALM BEACH 33407 | 1593846 | 06/09/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Building G first floor - From follow-up inspection 2025-06-09: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6208876 | 109483 | SAWGRASS APARTMENTS | BRICKELLBODY, LLC | 4150 78TH AVE N , PINELLAS PARK 33781 | 1587681 | 06/10/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Outside of unit 207 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6208876 | 109483 | SAWGRASS APARTMENTS | BRICKELLBODY, LLC | 4150 78TH AVE N , PINELLAS PARK 33781 | 1587681 | 06/10/2025 | Routine - Lodging | Warning Issued | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. Outside of leasing office. Beeping | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6209451 | 98367 | HARBOUR CAY APARTMENTS | 12001 BELCHER RD LLC | 12001 BELCHER RD S , LARGO 33773 | 1593446 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside unit F92 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216191 | 109120 | RIDGE LINE ESTATES LLC | RIDGE LINE ESTATES LLC | 720 7TH AVE N , ST. PETERSBURG 33701 | 1589643 | 06/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Portable fire extinguisher pressure gauge in the red between apartments 9 and 10. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216201 | 109794 | 626 12TH LLC | 626 12TH LLC | 626 12 AVE NE , ST PETERSBURG 33701 | 1591596 | 06/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Portable fire extinguisher pressure gauge in the red, between units 2 and 3. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6208725 | 15947 | BAY WAY INN | LONAC INC | 4400 34 ST S , ST. PETERSBURG 33711 | 1240629 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location located near room 225 (sign present indicating designated location). For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6205619 | 64780 | LAKE STARCREST VILLAGE | RUBAL MGMT | 200 STARCREST DR , CLEARWATER 33765 | 1582539 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Observed: Portable fire extinguisher locked in a box with no means of access to the fire extinguisher near apartment 153, 239 - missing tool to break glass .For reporting purposes only. Priority: Reporting | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6215842 | 88020 | LAKE STARCREST VILLAGE APARTMENTS | LAKE STARCREST VILLAGE APARTMENTS/RUBAL MANAGEMENT | 200 STARCREST DR , CLEARWATER 33765 | 1590671 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher - tool missing from glass covered box at building 25. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6203703 | 17621 | BLIND PASS RESORT | COASTAL HOTEL PROPERTIES | 7901 BLIND PASS RD , ST.PETE BEACH 33706 | 1241341 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated in fire panel in office. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6200321 | 94398 | SNELL ISLE APARTMENTS | BCM SNELL LLC | 1515 EDEN ISLE BLVD , ST. PETERSBURG 33704 | 1591241 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only.Observed trouble in lobby fire panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216114 | 106140 | AVANTI | 4TH STREET SOUTH RESIDENTS II LLC | 201 4 ST S , ST. PETERSBURG 33701 | 1597350 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216104 | 105822 | 5TH AVE COURTYARD APARTMENTS | AKGP LLC | 865 5TH AVE N , ST. PETERSBURG 33701 | 1587494 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6209445 | 103011 | ELISON OF PINECREST | ELISON SENIOR LIVING COMMUNITY OF PINECREST | 1150 8 AVE SW , LARGO 33770 | 1583737 | 06/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL 053045,124971,124979135924 all expired 2/8/2024 134093 expired 10/10/2021 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6208876 | 109483 | SAWGRASS APARTMENTS | BRICKELLBODY, LLC | 4150 78TH AVE N , PINELLAS PARK 33781 | 1587681 | 06/11/2025 | Routine - Lodging | Call Back - Extension given, pending | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Outside of unit 207 - From follow-up inspection 2025-06-11: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6208876 | 109483 | SAWGRASS APARTMENTS | BRICKELLBODY, LLC | 4150 78TH AVE N , PINELLAS PARK 33781 | 1587681 | 06/11/2025 | Routine - Lodging | Call Back - Extension given, pending | 04-06-4 | - From initial inspection : Fire alarm control panel emitting an audible alarm. For reporting purposes only. Outside of leasing office. Beeping - From follow-up inspection 2025-06-11: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6215903 | 93264 | AVENTINE AT FOREST LAKES | PACIFICA FOREST LAKES LLC | 100 OLD VILLAGE WAY , OLDSMAR 34677 | 1622868 | 06/09/2025 | Complaint Partial | Call Back - Admin. complaint recommended | 07-01-4 | - From initial inspection : Damaged electrical meter box Building 43 electrical meter propped up with a 2x4 . Reported to city of Oldsmar fire Marshall's office. - From follow-up inspection 2024-12-10: Wooden plank holding up meter box up **Time Extended** - From follow-up inspection 2024-12-18: Electrical meter is being propped up with a wooden plank. Area is blocked off with caution tape. **Admin Complaint** - From follow-up inspection 2025-01-23: Electrical box is being held up by a wooden plank. **Admin Complaint** - From follow-up inspection 2025-03-31: Damaged electrical meter box Building 43 electrical meter propped up with a 2x4 . Caution tape around area. **Admin Complaint** - From follow-up inspection 2025-06-09: Damaged electrical meter box Building 43 electrical meter propped up with a 2x4 . Reported to city of Oldsmar fire Marshall's office at last inspection. **Admin Complaint** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216239 | 109770 | PARK 29 APARTMENTS | PINELLAS 56 LLC | 4249 76 AVE N , PINELLAS PARK 33781 | 1600907 | 06/11/2025 | Routine - Lodging | Administrative complaint recommended | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Outside of unit 109B | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6213573 | 105810 | GSE PROPERTIES OF SEMINOLE LLC | GSE PROPERTIES OF SEMINOLE LLC | 10501 67 AVE , SEMINOLE 33772 | 1591500 | 06/09/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Extinguishers missing from designated boxes next to units 6728 and 6752 **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Polk | 2002 | Lodging | 6300728 | 18695 | SUNSET MOTEL | SAISHIV SHAKTI LLC | 2301 NEW TAMPA HWY , LAKELAND 33815 | 1241576 | 06/11/2025 | Complaint Partial | Call Back - Extension given, pending | 07-01-4 | - From initial inspection : Observed electrical power cord from laundry room to unit 108. For reporting purposes only. - From follow-up inspection 2025-06-11: Observed electrical power cord from laundry room to unit 108. For reporting purposes only. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Polk | 2002 | Lodging | 6300728 | 18695 | SUNSET MOTEL | SAISHIV SHAKTI LLC | 2301 NEW TAMPA HWY , LAKELAND 33815 | 1241576 | 06/10/2025 | Complaint Partial | Administrative complaint recommended | 07-01-4 | Observed electrical power cord from laundry room to unit 108. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904086 | 118715 | HENRY APARTMENTS | RAILSIDE LOOP OWNER LLC | 2995 RAILSIDE LOOP , SANFORD 32771 | 1623781 | 06/12/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 02-04-4 | Gas powered blowers stored inside the maintenance building, employee removed. For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904094 | 116472 | NOVEL PARKWAY | CC PARKWAY OWNER, LLC | 1464 LAUREL SOUND LN , SANFORD 32771 | 1624225 | 06/11/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Site 1 Alarm Panel - From follow-up inspection 2025-06-11: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2001 | Lodging | 6501421 | 4385 | HILTON GARDEN INN | EMBASSY INVESTMENT ST AUG BCH | 401 AIA BEACH BLVD , ST AUGUSTINE 32080 | 1183562 | 06/11/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. In room 332 is not sounding or flashing. **Warning** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2003 | Lodging | 6501642 | 106525 | ELYSIAN | ELYSIAN AL LP | 65 SENTOSA DR , ST. JOHNS 32259 | 1591483 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher at unit #412-106 has extinguisher in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602014 | 96688 | COLLEGE PARK APARTMENTS | LAND TRUST # 2703VA | 2703 VIRGINIA AVE , FORT PIERCE 34981 | 1589025 | 06/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602550 | 89187 | JAMES E HATFIELD | HATFIELD JAMES E | 503 - 601 ROSELYN AVE , FORT PIERCE 34982 | 1598384 | 06/11/2025 | Routine - Lodging | Administrative complaint recommended | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602574 | 114631 | CAROL SUSAN LANE LLC | CAROL SUSAN LANE LLC | 125 CAROL SUSAN LN , FORT PIERCE 34982 | 1584030 | 06/11/2025 | Routine - Lodging | Administrative complaint recommended | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406039 | 110845 | HUNTERS CREEK APRTMENTS | SAS SPRING ARBOR MANGERSS LLC | 930 HUNTERS CREEK DR , DELAND 32720 | 1587794 | 06/10/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Building 5 trouble light. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406367 | 114178 | 100 CAROLINA LAKE DRIVE FL OWNER LLC | BREIT OPERATING PARTNERSHIP LLC | 100 CAROLINA LAKE DR , DAYTONA BEACH 32114 | 1597959 | 06/09/2025 | Routine - Lodging | Warning Issued | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. -132-206 detector beeping. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7401716 | 105975 | STESATA INVESTMENTS LLC | STESATA INVESTMENTS LLC | 801 GROVE AVE , HOLLY HILL 32117 | 1595300 | 06/12/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Exposed wires on exterior wall at back of building 801. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406367 | 114178 | 100 CAROLINA LAKE DRIVE FL OWNER LLC | BREIT OPERATING PARTNERSHIP LLC | 100 CAROLINA LAKE DR , DAYTONA BEACH 32114 | 1597959 | 06/09/2025 | Routine - Lodging | Warning Issued | 07-02-4 | Light handing from wires by 116-107. Exit light handing from wires 116-207 and 128-202. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401632 | 17446 | HOLIDAY INN RESORT DAYTONA BEACH OCEAN FRONT | HIR DB OPCP LLC | 1615 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1241592 | 06/12/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. -1 certificate shows expired 2022 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7400710 | 95855 | 407 GRANDVIEW LLC | 407 GRANDVIEW LLC | 407 N GRANDVIEW AVE , DAYTONA BEACH 32118 | 1590989 | 06/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -breaking device missing from break panel box on wall in front of unit 2 facing grandview | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7405463 | 99163 | WEDGEWOOD APARTMENTS | SPT WAH WEDGEWOOD LLC | 1717 MASON AVE , DAYTONA BEACH 32117 | 1587944 | 06/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -buildings 400, 200, 100. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7403599 | 67358 | VICTORIA GARDENS APTS | UNATIN JEROME | 5609 VICTORIA GARDENS BLVD , PORT ORANGE 78975 | 1591599 | 06/09/2025 | Routine - Lodging | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -break panel box - breaking device missing from box on wall inside laundry room. - From follow-up inspection 2025-06-09: Unable to observe, off site compliance **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7404230 | 96304 | INDIGO PLANTATION APARTMENTS | INDIGO DEKALB TIC LLC | 100 POWELL BLVD , DAYTONA BEACH 32114 | 1583029 | 06/10/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -building 16 ,zone disable,system trouble - From follow-up inspection 2025-06-10: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7400063 | 89507 | PALMETTO ONE INC | PALMETTO ONE INC | 2150 SOUTH PALMETTO AVE , SOUTH DAYTONA 32119 | 1585863 | 06/13/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Outside 14b, 15 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402767 | 104451 | PALMETTO SQUARE APARTMENTS | JPOPS PROPERTIES LLC | 1620 S PALMETTO AVE , SOUTH DAYTONA 32119 | 1585504 | 06/12/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Missing hammer, outside 111 and 112 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7400243 | 105160 | RK PALMETTO LLC | RK PALMETTO LLC | 623 S PALMETTO AVE , DAYTONA BEACH 32114 | 1601353 | 06/10/2025 | Routine - Lodging | Administrative complaint recommended | 02-04-4 | Scooter stored in hallway by apartment 1. Unable to determine if electric or gas powered. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7404230 | 96304 | INDIGO PLANTATION APARTMENTS | INDIGO DEKALB TIC LLC | 100 POWELL BLVD , DAYTONA BEACH 32114 | 1583029 | 06/09/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -building 16 ,zone disable,system trouble | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7404230 | 96304 | INDIGO PLANTATION APARTMENTS | INDIGO DEKALB TIC LLC | 100 POWELL BLVD , DAYTONA BEACH 32114 | 1583029 | 06/09/2025 | Routine - Lodging | Administrative complaint recommended | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. - Building 10 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7400243 | 105160 | RK PALMETTO LLC | RK PALMETTO LLC | 623 S PALMETTO AVE , DAYTONA BEACH 32114 | 1601353 | 06/10/2025 | Routine - Lodging | Administrative complaint recommended | 07-01-4 | Emergency light handing by wire by apartment 2. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.