## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2003 | Lodging | 1305316 | 111098 | PALM COVE APARTMENTS | PALM COVE APARTMENTS I LLC | 1409 FLORIDA AVE , LYNN HAVEN 32444 | 1597657 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. Did not observed fire extinguishers next to apartments A and C. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2003 | Lodging | 1304616 | 106857 | MAGNOLIA POINTE APARTMENTS | APARTMENT ADVANTAGE GROUP LLC | 2437 E 11 ST , PANAMA CITY 32401 | 1585543 | 06/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Multiple wires hanging out of box on left side of building C. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1505267 | 99279 | SCB PROPERTIES OF BREVARD | SCB PROPERTIES OF BREVARD | 3550 S ATLANTIC AVE , COCOA BEACH 32931 | 1587608 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Breaking device missing for box next to unit 10 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1602778 | 18138 | SILVER SPRAY | ASTRID 4 LLC | 2115 OCEAN DR , HOLLYWOOD 33019 | 1241634 | 06/26/2025 | Complaint Full | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. No green light .For reporting purposes only. Manager is changing batteries | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1183886 | 06/27/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1603357 | 119172 | TODAY HOMES INVEST LLC | TODAY HOMES INVEST LLC | 1180 SW 25 AVE , FORT LAUDERDALE 33312 | 1624472 | 06/24/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher between units 5 and 6 in recharge zone | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1608975 | 91973 | 2950 GRIFFIN RD LLC | 2950 GRIFFIN RD LLC | 4801 29 WAY STE 6 , DANIA BEACH 33312 | 1590848 | 06/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). Next to unit 5. Fire extinguisher on the ground not in its designated box. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1620931 | 19396 | HOTOLOS FORT LAUDERDALE | 3001 HOTEL LLC | 3001 N FEDERAL HWY , FORT LAUDERDALE 33306 | 1239555 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619051 | 8184 | HOMETOWNE STUDIOS - FORT LAUDERDALE 3512 | CL OPCO LLC | 3031 W COMMERCIAL BLVD , FORT LAUDERDALE 33309 | 1183682 | 06/25/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light illuminated - From follow-up inspection 2025-06-25: At time of callback inspection still observed **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621625 | 108616 | MEDFORD PALMS | MEDFORD PALMS LLC | 2510 PIERCE ST , HOLLYWOOD 33020 | 1599959 | 06/27/2025 | Routine - Lodging | Call Back - Complied | 02-08-4 | - From initial inspection : Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Observed at 6A stairwell - From follow-up inspection 2025-06-27: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621708 | 109397 | BELL SUNRISE | BELL FUND VII SUNRISE LLC | 1020 NE 12 AVE , FT. LAUDERDALE 33304 | 1597563 | 06/25/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Bldg 1111. Inspection report will be emailed to fire Marshall for review. - From follow-up inspection 2025-06-25: Observed same. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1604523 | 96794 | TAHITI GARDENS APARTMENT LLC | NW 50TH AVENUE LLC | 3460 NE 50 AVE , LAUDERDALE LAKES 33319 | 1596828 | 06/25/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Between apt 114b and 115 b - From follow-up inspection 2025-06-25: At time of callback inspection still observed **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328969 | 6973 | CADILLAC HOTEL & BEACH CLUB, AUTOGRAPH COLLECTION | HHLP MIAMI BEACH LESSEE LLC | 3925 COLLINS AVE , MIAMI BEACH 33140 | 1183880 | 06/27/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light flashing panel located behind front desk. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328969 | 6973 | CADILLAC HOTEL & BEACH CLUB, AUTOGRAPH COLLECTION | HHLP MIAMI BEACH LESSEE LLC | 3925 COLLINS AVE , MIAMI BEACH 33140 | 1183880 | 06/27/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired boiler certificate since 3/2/2025 (FL 134078, 134079, 134080 , 134081, 130305, 130306, 130304). Priority: Reporting. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2303535 | 7837 | BROADMOOR MIAMI BEACH | 7450 OCEAN TERRACE LLC | 7450 OCEAN TER , MIAMI BEACH 33141 | 1183865 | 06/27/2025 | Complaint Full | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking devices on extinguishers located on second and third floor. Breaking devices were installed. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2302711 | 16288 | SUNNY | NEWPORT HOSPITALITY LLC | 16701 COLLINS AVE , SUNNY ISLES BEACH 33160 | 1241630 | 06/26/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed maintenance currently working to mitigate. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2302711 | 16288 | SUNNY | NEWPORT HOSPITALITY LLC | 16701 COLLINS AVE , SUNNY ISLES BEACH 33160 | 1241630 | 06/26/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificates 055203 & 097488 expired as of 6/22/25. Maintenance is working with the city and state to schedule inspection. **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331349 | 117549 | PAYSSE PROPERTIES, LLC | PAYSSE PROPERTIES, LLC | 77 NW 77TH ST , MIAMI 33150 | 1602240 | 06/23/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed by Unit 6, and 10. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2306115 | 103307 | FOREST PLACE APARTMENTS | FOREST PLACE LLC | 1600 NE 135 ST , NORTH MIAMI 33181 | 1591258 | 06/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303039 | 98358 | JBR PROPERTIES 3330 LLC | JBR PROPERTIES 3330 LLC | 3330 NW 48 TERRACE , MIAMI 33142 | 1579904 | 06/26/2025 | Complaint Full | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at fire extinguisher next to unit 210. - From follow-up inspection 2025-06-26: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303039 | 98358 | JBR PROPERTIES 3330 LLC | JBR PROPERTIES 3330 LLC | 3330 NW 48 TERRACE , MIAMI 33142 | 1579904 | 06/26/2025 | Complaint Full | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. At the time of the inspection observed fire extinguisher near unit missing breaking device. - From follow-up inspection 2025-06-26: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303039 | 98358 | JBR PROPERTIES 3330 LLC | JBR PROPERTIES 3330 LLC | 3330 NW 48 TERRACE , MIAMI 33142 | 1579904 | 06/26/2025 | Complaint Full | Call Back - Complied | 07-04-4 | - From initial inspection : Electrical outlet damaged. For reporting purposes only. Observed in living room of unit 106. - From follow-up inspection 2025-06-26: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2311172 | 54643 | 1725 APTS | MUJICA INVESTMENTS | 1725 NW 18 TERR , MIAMI 52341 | 1554835 | 06/24/2025 | Routine - Lodging | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher near unit 6 at second floor and unit 2 at first floor. . For reporting purposes only. - From follow-up inspection 2025-06-24: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302413 | 87657 | BIG LEAGUE VENTURES LLC | BIG LEAGUE VENTURES LLC | 1231 NW 58 TERR , MIAMI 33142 | 1477585 | 06/24/2025 | Routine - Lodging | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device/ access to fire extinguishers located on the 2nd and 3rd floors of apartment complex. - From follow-up inspection 2025-06-24: Observed no breaking device/ access to fire extinguishers located on the 2nd and 3rd floors. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329214 | 11446 | GRAYSON MIAMI | 1100 BISCAYNE OPCO LLC | 1100 BISCAYNE BLVD , MIAMI 33132 | 1183441 | 06/24/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-06-24: Still observed Trouble/alarm light illuminated on. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2307080 | 52901 | ST THOMAS APTS | JIMENEZ ENRIQUE & AURIA | 4385 NW 9 ST , MIAMI 63583 | 1596192 | 06/20/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-06-20: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2325489 | 103836 | EDISON TERRACES | EDISON TERRACES LLC | 655 NW 56 ST , MIAMI 33127 | 1554612 | 06/26/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no means of access to the. Fire extinguisher at the laundry room Located at the first floor. - From follow-up inspection 2025-06-26: Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no means of access to the. Fire extinguisher at the laundry room Located at the first floor. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2610622 | 103231 | PARADISE ISLAND RENTAL COMMUNITIES | G&I IX PARADISE ISLAND LLC | 7651 PARADISE ISLAND BLVD , JACKSONVILLE 32256 | 1589565 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in red recharge zone near units #3606, #6311, #6101. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613454 | 109447 | SUR SOUTHSIDE QUARTER | SUR JAX LLC | 7385 PARK VILLAGE DR , JACKSONVILLE 32256 | 1584167 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher near garage DG-204 in red recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2610622 | 103231 | PARADISE ISLAND RENTAL COMMUNITIES | G&I IX PARADISE ISLAND LLC | 7651 PARADISE ISLAND BLVD , JACKSONVILLE 32256 | 1589565 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated on fire panel in building 27 reading "pull station zone 1 open fault". | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2610622 | 103231 | PARADISE ISLAND RENTAL COMMUNITIES | G&I IX PARADISE ISLAND LLC | 7651 PARADISE ISLAND BLVD , JACKSONVILLE 32256 | 1589565 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. No power to fire panel in building 30. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2003 | Lodging | 2705212 | 107532 | OVERLOOK AT PENSACOLA BAY | LURIN REAL ESTATE HOLDINGS XXV LLC | 1200 SCENIC HWY , PENSACOLA 32503 | 1599498 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to Apartment A14. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2003 | Lodging | 2705256 | 112835 | CRESTVIEW AT OAKLEIGH | PENSACOLA- OAKLEIGH LLC | 8990 N DAVIS HWY , PENSACOLA 32514 | 1593731 | 06/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only: observed the fire extinguisher on the second floor in the breezeway is in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913532 | 11531 | LA QUINTA INN AND SUITES BRANDON REGENCY PARK | HD CENTURY LLC | 310 GRAND REGENCY BLVD , BRANDON 33510 | 1183854 | 06/27/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 2/10/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3906179 | 17670 | BAY INN | DK HOSPITALITY | 2307 E BUSCH BLVD , TAMPA 33612 | 1234459 | 06/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguisher missing from far right side building second floor of building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3913874 | 100541 | BROOKVIEW CITRUS PARK | BROOKVIEW CITRUS PARK LLC | 12780 OLIVE JONES RD , TAMPA 33625 | 1595049 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3912062 | 105184 | ROCKY CREEK APARTMENTS | ROCKY CREEK APARTMENTS OWNER LLC | 6820 W HILLSBOROUGH AVE , TAMPA 33634 | 1585394 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2003 | Lodging | 3902787 | 88956 | WOODRIDGE AT CARROLLWOOD | WOODRIDGE TAMPA LLC | 8609 POSTWOOD CIR , TAMPA 33614 | 1586780 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Observed on the ground at the end of bldg 8603. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3912768 | 17918 | SPRINGHILL SUITES BY MARRIOTT TAMPA/ WESTSHORE | SLEEP OVER LLC | 4835 W CYPRESS ST , TAMPA 33607 | 1240213 | 06/27/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired on 03/07/2025. - From follow-up inspection 2025-06-27: | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5202244 | 11418 | FAIRFIELD INN AND SUITES OCALA | OM 4101 OCALA INN | 4101 SW 38 CT , OCALA 34474 | 1183830 | 06/20/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. For one boiler 058208(expired 11/16/2024). | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5202244 | 11418 | FAIRFIELD INN AND SUITES OCALA | OM 4101 OCALA INN | 4101 SW 38 CT , OCALA 34474 | 1183830 | 06/20/2025 | Complaint Full | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Missing current certification at the boiler room. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okaloosa | 2003 | Lodging | 5600066 | 110448 | GREENS ON 5TH | FWB GREENS, LLC | 5 MOONEY RD NE , FORT WALTON BEACH 32547 | 1587721 | 06/20/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only: observed the Fire Extinguisher adjacent to Apartment G4 is missing from the designated box. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okaloosa | 2003 | Lodging | 5600649 | 60998 | WALTON SOUTH APTS | WALTON STEVE L & DANA L | 303 SOUTH AVE , FT WALTON BCH 73744 | 1600142 | 06/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only: observed the fire extinguisher is missing from the box adjacent to Apartment 3. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okaloosa | 2003 | Lodging | 5603625 | 111972 | AMERICAN HOUSE BLUEWATER BAY | MADISON AMERICAN BLUE WATER BAY TRS LLC | 4595 EAST HWY 20 , NICEVILLE 32578 | 1595721 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 130209 and 130210 5/18/23-5/18/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5809339 | 17663 | COMFORT INN INTERNATIONAL DRIVE | AD1 ORLANDO HOTELS 2 LLC | 8134 INTERNATIONAL DR , ORLANDO 32819 | 1241629 | 06/24/2025 | Complaint Full | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested room 117. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809240 | 10252 | HOLIDAY INN RESORT ORLANDO SUITES - WATERPARK | EAGLE TRS 9 LLC | 14500 CONTINENTAL GATEWAY , ORLANDO 32821 | 1183872 | 06/24/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5801519 | 111314 | SOUTHERN OAKS RESIDENCES | SOUTHERN OAKS RESIDENCES LLC | 5900 PARK HAMILTON BLVD , ORLANDO 32808 | 1585798 | 06/26/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. - unit 5952-243 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5808699 | 87596 | ROSE APARTMENTS | DSS & ASSOCIATES | 1702 ROSE BLVD , ORLANDO 32839 | 1596548 | 06/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed portable fire extinguisher dated 7/2020 near apartment #C and D fire extinguisher is expired. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5809562 | 104163 | HIDDEN CREEK VILLAS | SPT DOLPHIN HIDDEN CREEK LLC | 2001 RIVERTREE CIR , ORLANDO 32839 | 1587332 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher expired 4/2024 in apartment #103 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5807994 | 94549 | NASSAU BAY APARTMENTS | ORLANDO LEASED HOUSING ASSOCIATES I LIMITED PARTNERSHIP | 5200 N ORANGE BLOSSOM TRL , ORLANDO 32810 | 1592830 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811258 | 106358 | COURTNEY AT LAKE SHADOW | CUMBERLAND AT LAKE SHADOW, LLC | 545 SOUTH KELLER ROAD , ORLANDO 32810 | 1597342 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Building 1 trouble, silenced | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811418 | 110627 | FUSION APARTMENTS | L-H FUSION ASSOCIATES LLC | 2603 SILKWOOD CIRCLE , ORLANDO 32818 | 1593627 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - main control panel at office | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811418 | 110627 | FUSION APARTMENTS | L-H FUSION ASSOCIATES LLC | 2603 SILKWOOD CIRCLE , ORLANDO 32818 | 1593627 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. - bldg 2712 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811516 | 116369 | SOCIETY ORLANDO | 434 N ORANGE INVESTMENT, LLC | 410 N ORANGE AVE , ORLANDO 32801 | 1594004 | 06/27/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. - From follow-up inspection 2025-06-27: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pasco | 2001 | Lodging | 6102931 | 10813 | WOODSPRING SUITES HUDSON | BAYONET POINT HOTEL LLC | 12407 US HWY 19 N , HUDSON 34667 | 1169137 | 06/23/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Operator has been in contact with service company and they are waiting on parts for repair. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6202010 | 64163 | PARKSIDE APTS | WARD JOHN & CARRINGTON L | 165 112 AVE , TREASURE ISLAND 33706 | 1599236 | 06/20/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. 3rd floor fire extinguisher missing from box near unit 5. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216156 | 113278 | FALLEGUR HOMES LLC | FALLEGUR HOMES LLC | 111 N LADY MARY DR , CLEARWATER 33755 | 1601487 | 06/23/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher . Missing tools for Break panel on the first and second floors . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216156 | 113278 | FALLEGUR HOMES LLC | FALLEGUR HOMES LLC | 111 N LADY MARY DR , CLEARWATER 33755 | 1601487 | 06/23/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel located in laundry room . For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6214089 | 93616 | OAKS OF CLEARWATER | OAKS ON THE BAY LLC | 420 BAY AVE , CLEARWATER 33756 | 1582947 | 06/27/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 2-7-21 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6204782 | 64616 | BREEZEWAY APARTMENTS | SHEHATA KAMAL & VENUS | 11875 3 ST E , TREASURE ISLAND 64578 | 1590474 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher near unit 7 in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6202848 | 101003 | CM LAND 22 LLC | CM LAND 22 LLC | 105 110TH AVE , TREASURE ISLAND 33706 | 1585523 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher near unit 6 in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6205799 | 102206 | HIBISCUS PLACE APARTMENTS | SUNNY ACRES PARK LLC | 7025 7029 HIBISCUS AVE S , SOUTH PASADENA 33707 | 1593121 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher between units 2 and 3 building 7029 in recharge zone at time of inspection. Service tag reads recharged 11/2021 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216119 | 106258 | SAME | BELLEAIR PROPERTIES GROUP LLC | 1441 GULF TO BAY , CLEARWATER 33755 | 1591419 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge near apartment 3 building 1437 . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6201490 | 107007 | BRIAR HILL APARTMENTS | ARENA NG LLC | 5323 W 59 CIR , KENNETH CITY 33709 | 1589483 | 06/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed extinguisher in laundry room in recharge zone at time of inspection. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216125 | 113839 | INVESTIT | 2025 7TH ST S LLC | 2025 7TH ST S , ST. PETERSBURG 33705 | 1592066 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher near unit 1 pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216066 | 116307 | CASADOVA APARTMENTS | CASADOVA APARTMENTS LLC | 4190 58 ST N , KENNETH CITY 33709 | 1590183 | 06/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed extinguisher by laundry room in recharge zone at time of inspection. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6201188 | 101764 | FAIR FIELD APTS LLC | FAIRFIELD APTS LLC | 2023 & 2029 ALPINE RD , CLEARWATER 33755 | 1587229 | 06/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from its designated location (sign present indicating designated location) near unit A2 .For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6201179 | 64022 | LENNOX COURT | LENNOX F P | 2035 KINGS HWY , CLEARWATER 33755 | 1594634 | 06/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher - missing tool for break panel at first and second floors . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6203782 | 84822 | 1414 CLEVELAND STREET LLC | 1414 CLEVELAND STREET LLC | 1414 CLEVELAND STREET , CLEARWATER 33755 | 1586675 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. Missing tool at break panel cover near unit 7 and near unit 12 . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6201188 | 101764 | FAIR FIELD APTS LLC | FAIRFIELD APTS LLC | 2023 & 2029 ALPINE RD , CLEARWATER 33755 | 1587229 | 06/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher - tool missing for lock box break panel building 2029 . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6208830 | 111779 | GENESIS APARTMENTS | GENESIS APARTMENTS LLC | 575 FAIRWOOD AVE , CLEARWATER 33759 | 1583907 | 06/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. Tool missing at break panel near units 225, 222 . For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6204295 | 64533 | PHILIP BENJAMIN TOWER | MENORAH CENTER INC | 250 N 58 ST , ST PETERSBURG 07904 | 1594871 | 06/27/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired on 2/1/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6209012 | 64965 | MEASE LIFE INC. | MEASE MANOR INC | 700 MEASE PLZ , DUNEDIN 86680 | 1593183 | 06/24/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. 2 boilers in the boiler room. Operator states that they are new. They have been inspected but are waiting for the carbon monoxide recertification before they are able to get the boiler certificate. Boilers 577245 & 577246. - From follow-up inspection 2025-06-24: HVAC company's have been contacted. Operator is going to put new CO2 detectors so that they are able to get the 2 new boilers certified. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216282 | 114756 | KYLAH SQUARE APARTMENTS | INS EQUITY GROUP LLC | 2169 OAKLEY AVE S , ST. PETERSBURG 33712 | 1600535 | 06/25/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Between units 8, and 9. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6209012 | 64965 | MEASE LIFE INC. | MEASE MANOR INC | 700 MEASE PLZ , DUNEDIN 86680 | 1593183 | 06/20/2025 | Routine - Lodging | Administrative complaint recommended | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. 2 boilers in the boiler room. Operator states that they are new. They have been inspected but are waiting for the carbon monoxide recertification before they are able to get the boiler certificate. Boilers 577245 & 577246. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904056 | 102583 | CORTLAND VERA SANFORD | DD SANFORD 22.65 LLC | 4856 VERACITY POINT , SANFORD 32771 | 1587466 | 06/24/2025 | Routine - Lodging | Warning Issued | 02-04-4 | Gasoline powered blowers and pressure washer stored inside the maintenance building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904063 | 107216 | WARLEY PARK LTD | WARLEY PARK LTD | 1500 W 25 ST , SANFORD 32771 | 1591523 | 06/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-04-4 | Gasoline powered blowers, trimmer, and chain saw stored inside the maintenance room inside of main building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904062 | 108350 | VUE ON LAKE MONROE | VUE ON LAKE MONROE LLC | 800 MARBELLA LN , SANFORD 32771 | 1583645 | 06/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-04-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored inside the building. For reporting purposes only. -two 15 lb propane tanks, gas powered pressure washer, and a gas powered blower stored in maintenance facility, operator removed items from maintenance building **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904094 | 116472 | NOVEL PARKWAY | CC PARKWAY OWNER, LLC | 1464 LAUREL SOUND LN , SANFORD 32771 | 1624225 | 06/26/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Site 1 Alarm Panel - From follow-up inspection 2025-06-11: **Time Extended** - From follow-up inspection 2025-06-26: -operator states the facility was struck by lightning again and repairs are ongoing **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904050 | 112180 | LOFTS AT EDEN | 1840 RINEHART RD, LLC | 1840 RINEHART RD , SANFORD 32771 | 1592157 | 06/23/2025 | Routine - Lodging | Administrative complaint recommended | 02-04-4 | Gasoline powered motorcycle stored inside the maintenance shop in the building. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6903814 | 96348 | WESTLAKE APARTMENTS | BRE PIPER MF HOLDINGS LLC | 1000 CARDINAL COVE CIR , SANFORD 32771 | 1592909 | 06/20/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -main office building | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406507 | 11451 | STREAMLINE HOTEL | DOMEO NASA INVESTMENT GROUP, LLC | 140 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1183876 | 06/24/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. -across from 401, manager states replacement on site being replaced | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406647 | 111245 | MADISON POINTE | NIC DAYTONA APARTMENTS LLC | 1310 TOMOKA TOWN CENTER DR , DAYTONA BEACH 32117 | 1589874 | 06/20/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406516 | 85240 | LAKESIDE VILLAGE APARTMENTS | LAKESIDE VILLAGE HOUSING LTD LLLP | 155 ONTARIO CT , DAYTONA BEACH 32114 | 1594511 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble and silence light ,screen says slc loop shorted | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406627 | 114863 | BELLAMY DAYTONA | GREEN EAGLE DAYTONA PROPERTY LLC | 601 BELLAMY CRT , DAYTONA BEACH 32114 | 1584068 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -lobby and main panel trouble light and silenced per manager tech has already been here and waiting on parts. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406627 | 114863 | BELLAMY DAYTONA | GREEN EAGLE DAYTONA PROPERTY LLC | 601 BELLAMY CRT , DAYTONA BEACH 32114 | 1584068 | 06/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. -building 1,2,3,4,5 per manager waiting on a part. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406597 | 102295 | 1381 APARTMENT LLC | 1381 APARTMENT LLC | 1381 VIRGINIA AVE , DAYTONA BEACH 32114 | 1591227 | 06/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Wires hanging out from ext sign by apartment 10.For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400367 | 19266 | BOARDWALK INN & SUITES | BOARDWALK HOTEL HOLDINGS LLC | 301 S. ATLANTIC AVE , DAYTONA BEACH 32118 | 1241403 | 06/26/2025 | Complaint Full | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-04-28: **Time Extended** - From follow-up inspection 2025-06-26: . Manager stated unit being replaced **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400367 | 19266 | BOARDWALK INN & SUITES | BOARDWALK HOTEL HOLDINGS LLC | 301 S. ATLANTIC AVE , DAYTONA BEACH 32118 | 1241403 | 06/26/2025 | Complaint Full | Call Back - Complied | 11-03-4 | - From initial inspection : Gas water heater holding tank in disrepair. For reporting purposes only. - From follow-up inspection 2025-04-28: **Time Extended** - From follow-up inspection 2025-06-26: Manager stated unit being replaced **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7403476 | 112957 | OASIS APARTMENTS | WF WOODCREST, LLLP | 1250 WOODCREST DRIVE , DAYTONA BEACH 32114 | 1595827 | 06/24/2025 | Routine - Lodging | Administrative complaint recommended | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. -building 2,7per manager tech was at location yesterday. Viewed stickers with 6/23 date | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7403476 | 112957 | OASIS APARTMENTS | WF WOODCREST, LLLP | 1250 WOODCREST DRIVE , DAYTONA BEACH 32114 | 1595827 | 06/24/2025 | Routine - Lodging | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.