## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2002 | Lodging | 1100015 | 17525 | QUALITY INN | GATOR HOTEL VENTURES LLC | 7516 W NEWBERRY RD , GAINESVILLE 32606 | 1243440 | 07/17/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in front of room 129. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1502749 | 18303 | DAYS INN | UN MANAGMENT LLC | 5600 SR 524 , COCOA 32926 | 1243947 | 07/15/2025 | Complaint Full | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. Unable to test hearing smoke detector in room 131, detector not working on rooms. 112 . 13 1For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1500078 | 19533 | SIESTA MOTOR INN | JPM HOSPITALITY LLC | 2006 S WASHINGTON AVE , TITUSVILLE 32780 | 1243938 | 07/14/2025 | Complaint Full | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607221 | 8939 | FORT LAUDERDALE GRAND HOTEL | 4900 POWERLINE LLC | 4900 POWERLINE ROAD , OAKLAND PARK 33309 | 1186547 | 07/16/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2003 | Lodging | 2102780 | 119192 | EKOS CADENZA | MHP FL VII LLLP | 8368 CADENZA RD , NAPLES 34114 | 1624511 | 07/11/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329325 | 107777 | WESTCHESTER APARTMENTS | MBCDC WESTCHESTER APARTMENTS LLC | 516 15 ST , MIAMI BEACH 33139 | 1642261 | 07/11/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed fire alarm panel at the front entrance with trouble alarm light on. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329378 | 10060 | ALTAIR HOTEL | PPG BAY HARBOR OWNER LLC | 9540 W BAY HARBOR DR , BAY HARBOR ISLANDS 33154 | 1186298 | 07/15/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed balcony certificates expired for FL 134356, 134355 as of 08/26/2022. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310038 | 92260 | KATH APARTMENTS | ALBERTO ROMAN | 528 SW 1 ST , MIAMI 33130 | 1641094 | 07/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguisher on second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328337 | 104447 | INTERNATIONAL CLUB APARTMENTS | INTERNATIONAL APARTMENT TRUST LLC | 1900 SW 122 AVE , MIAMI 33175 | 1636146 | 07/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher next laundry at fourth floor missing breaking device at building 1850. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2314099 | 117834 | 1556 CP LLC | 1556 CP LLC | 560 SW 2 ST , MIAMI 01351 | 1627745 | 07/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed at fire extinguisher at first and second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329221 | 6721 | SOHO HOUSE | SOHO HOUSE BEACH HOUSE LLC | 4385 COLLINS AVE , MIAMI BEACH 33140 | 1185960 | 07/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329442 | 9577 | WYNDHAM GARDEN MIAMI INTERNATIONAL AIRPORT | SUCRE LLC | 4909 NW 36 ST , MIAMI SPRINGS 33166 | 1185849 | 07/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329450 | 9702 | HOME2 SUITES BY HILTON DORAL | DORAL HOSPITALITY INC | 8852 NW 26 ST , DORAL 33172 | 1184910 | 07/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329531 | 11227 | CITIZENM HOTELS | MIAMI SOUTH BEACH OPERATIONS, LLC | 1200 LINCOLN RD , MIAMI BEACH 33139 | 1184196 | 07/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2319921 | 3587 | COURTYARD BY MARRIOTT HOTEL | COURTYARD MANAGEMENT CORPORATION | 3929 NW 79 AVE , MIAMI 33166 | 1186339 | 07/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed Jurisdiction #058983, 058984, expired 9/8/2024. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329221 | 6721 | SOHO HOUSE | SOHO HOUSE BEACH HOUSE LLC | 4385 COLLINS AVE , MIAMI BEACH 33140 | 1185960 | 07/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Inspection was already done, but certificates are in process. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327153 | 10653 | LA QUINTA INN & SUITES MIAMI AIRPORT WEST #980 | MIA 27TH STREET HOSPITALITY LLC | 8730 NW 27 ST , MIAMI 33172 | 1186001 | 07/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired #123871-03/01/2025. #055354-03/01/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329531 | 11227 | CITIZENM HOTELS | MIAMI SOUTH BEACH OPERATIONS, LLC | 1200 LINCOLN RD , MIAMI BEACH 33139 | 1184196 | 07/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2301170 | 14590 | COURTYARD BY MARRIOTT MIAMI CORAL GABLES | JHM FLORIDA HOTEL MANAGEMENT INC | 2051 S LEJEUNE RD , MIAMI 33134 | 1243197 | 07/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boilers certificate expired 3-2024. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2313981 | 19443 | COURTYARD BY MARRIOTT | AVR MIAMI CONVENTION HOTEL LLC | 200 SE 2 AVE , MIAMI 33131 | 1243877 | 07/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 1-3-2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329531 | 11227 | CITIZENM HOTELS | MIAMI SOUTH BEACH OPERATIONS, LLC | 1200 LINCOLN RD , MIAMI BEACH 33139 | 1184196 | 07/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2309410 | 53866 | CREEK CLUB APTS INC | CREEK CLUB APTS INC | 1441 NW 19 ST , MIAMI 51584 | 1586373 | 07/16/2025 | Routine - Lodging | Call Back - Extension given, pending | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher near entrance of building and near unit 119 missing breaking utensils. - From follow-up inspection 2025-07-16: Observed fire extinguisher near entrance of building and near unit 119 missing breaking utensils. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328943 | 13926 | BEST WESTERN PLUS MIAMI DORAL | IRATEL PROPERTIES LLC | 3875 NW 107 AVE , MIAMI 33178 | 1241542 | 07/15/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-07-15: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328969 | 6973 | CADILLAC HOTEL & BEACH CLUB, AUTOGRAPH COLLECTION | HHLP MIAMI BEACH LESSEE LLC | 3925 COLLINS AVE , MIAMI BEACH 33140 | 1183880 | 07/14/2025 | Complaint Full | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light flashing panel located behind front desk. - From follow-up inspection 2025-07-14: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328969 | 6973 | CADILLAC HOTEL & BEACH CLUB, AUTOGRAPH COLLECTION | HHLP MIAMI BEACH LESSEE LLC | 3925 COLLINS AVE , MIAMI BEACH 33140 | 1183880 | 07/14/2025 | Complaint Full | Call Back - Admin. complaint recommended | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired boiler certificate since 3/2/2025 (FL 134078, 134079, 134080 , 134081, 130305, 130306, 130304). Priority: Reporting. - From follow-up inspection 2025-07-14: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329171 | 6132 | Z OCEAN | DE SOLEIL MANAGEMENT LLC | 1437 COLLINS AVE , MIAMI BEACH 33139 | 1184112 | 07/15/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613260 | 10436 | ALOFT JACKSONVILLE AIRPORT | TMGOC 751 JACKSONVILLE LLC | 751 SKYMARKS DR , JACKSONVILLE 32218 | 1186051 | 07/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. In boiler room, both certificates expired 3/6/2025. Jurisdiction numbers 098657 and 139281. Found one current certificate in binder in managers office, jurisdiction number 140542. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2001 | Lodging | 4605599 | 8617 | DRURY INN & SUITES FT MYERS | DDC HOTELS INC | 9950 UNIVERSITY PLAZA DR , FORT MYERS 33913 | 1186330 | 07/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 124540 - 05/18/2023, 124539 - 07/02/2021 both expired. Operator showed boilers are in the process of inspection and bringing up to date. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2002 | Lodging | 4701621 | 18856 | LOYALTY INN & SUITES | FLA TALLAHASSEE WEST LLC | 2738 N. MONROE , TALLAHASSEE 32303 | 1241597 | 07/11/2025 | Complaint Full | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Room 122, 322, and a few more room missing smoke alarms. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5401654 | 7839 | LA CONCHA KEY WEST | ASHFORD TRS FIVE LLC | 430 DUVAL ST , KEY WEST 33040 | 1185161 | 07/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811179 | 9484 | COURTYARD LAKE BUENA VISTA | CLBV ASSOCIATES LLC | 8501 PALM PKWY , ORLANDO 32836 | 1186262 | 07/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher inspected 6/2024 expired on the second floor hallway. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5801498 | 8447 | WYNDHAM AVANTI PALMS RESORT AND CONFERENCE CENTER | 6515 IDRIVE RESORT LLC | 6515 INTERNATIONAL DR , ORLANDO 32819 | 1186124 | 07/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. By front desk Company called and on the way **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5804711 | 18940 | HOME INN & SUITES | SHREE RAM DEV LLC | 1440 W ORANGE BLOSSOM TRAIL , APOPKA 32712 | 1243206 | 07/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. 2 detectors at desk,alarm sounds, could not get light to flash | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5801498 | 8447 | WYNDHAM AVANTI PALMS RESORT AND CONFERENCE CENTER | 6515 IDRIVE RESORT LLC | 6515 INTERNATIONAL DR , ORLANDO 32819 | 1186124 | 07/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL 131968, FL 096827, FL 135118, FL 099997, FL 121919, FL 121926, expired 12/14/24 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5912082 | 11422 | HOME 1 SUITES EXTENDED STAYS | ORLANDO LODGING GROUP LLC | 4156 W VINE ST , KISSIMMEE 34741 | 1186486 | 07/15/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6002978 | 11319 | PALM BEACH MARRIOTT SINGER ISLAND BEACH RESORT & SPA | UH-SI LLC | 3800 N OCEAN DR , SINGER ISLAND 33404 | 1186505 | 07/14/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 088713 expired 4/4/25 , 088743 expired 4/4/25 , 135287 expired 4/4/25. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6014088 | 11405 | PALM HOUSE | LR PALM HOUSE LLC | 160 ROYAL PALM WAY , PALM BEACH 33480 | 1184496 | 07/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6206107 | 108224 | INFINITY THE STANDARD LLC | INFINITY THE STANDARD LLC | 2690 DREW ST , CLEARWATER 33759 | 1644753 | 07/15/2025 | Complaint Full | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. Tool missing at break panel .For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6206107 | 108224 | INFINITY THE STANDARD LLC | INFINITY THE STANDARD LLC | 2690 DREW ST , CLEARWATER 33759 | 1644753 | 07/15/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel near unit 427 . For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215812 | 10303 | RESIDENCE INN | DC CLEARWATER BEACH 1 OPERATIONS LLC | 309 CORONADO DRIVE , CLEARWATER 33767 | 1185847 | 07/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215813 | 10304 | SPRINGHILL SUITES | DC CLEARWATER BEACH 1 OPERATIONS LLC | 309 CORONADO DR , CLEARWATER 33767 | 1185745 | 07/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2001 | Lodging | 6804033 | 10506 | QUALITY INN | SHREE SAI LLC | 5778 CLARK RD , SARASOTA 34233 | 1184598 | 07/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only.Observed trouble code on fire system. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904094 | 116472 | NOVEL PARKWAY | CC PARKWAY OWNER, LLC | 1464 LAUREL SOUND LN , SANFORD 32771 | 1624225 | 07/11/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Site 1 Alarm Panel - From follow-up inspection 2025-06-11: **Time Extended** - From follow-up inspection 2025-06-26: -operator states the facility was struck by lightning again and repairs are ongoing **Time Extended** - From follow-up inspection 2025-07-11: -operator provided proof of new hardware needing to be replaced, operator stated that the new hardware has been ordered **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405255 | 19238 | ARABELLA INN | TYLER AVE LLC | 300` S VOLUSIA AVE , ORANGE CITY 32763 | 1243965 | 07/16/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400051 | 16608 | DAYS INN SPEEDWAY | EXECUTIVE EAGLES INVESTMENT GROUP LLC | 2904 W INTL SPEEDWAY BLVD , DAYTONA BEACH 32124 | 1243925 | 07/11/2025 | Complaint Full | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Outside 290, outside 189, 169, 268, 246, 147. - From follow-up inspection 2025-07-11: Some boxes with no break devices **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400051 | 16608 | DAYS INN SPEEDWAY | EXECUTIVE EAGLES INVESTMENT GROUP LLC | 2904 W INTL SPEEDWAY BLVD , DAYTONA BEACH 32124 | 1243925 | 07/11/2025 | Complaint Full | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 11/10/23 131933 - From follow-up inspection 2025-07-11: Per manager waiting for inspection **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.