## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2001 | Lodging | 1305244 | 10713 | SPRINGHILL SUITS PANAMA CITY BEACH BEACHFRONT | PALMETTO HOSPITALITY OF PCB II LLC | 12513 FRONT BEACH RD , PANAMA CITY BEACH 32407 | 1186336 | 07/30/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1502749 | 18303 | DAYS INN | UN MANAGMENT LLC | 5600 SR 524 , COCOA 32926 | 1243947 | 07/30/2025 | Complaint Full | Call Back - Extension given, pending | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. Unable to test hearing smoke detector in room 131, detector not working on rooms. 112 . 13 1For reporting purposes only. - From follow-up inspection 2025-07-30: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607221 | 8939 | FORT LAUDERDALE GRAND HOTEL | 4900 POWERLINE LLC | 4900 POWERLINE ROAD , OAKLAND PARK 33309 | 1186609 | 07/25/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607221 | 8939 | FORT LAUDERDALE GRAND HOTEL | 4900 POWERLINE LLC | 4900 POWERLINE ROAD , OAKLAND PARK 33309 | 1186751 | 07/29/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607221 | 8939 | FORT LAUDERDALE GRAND HOTEL | 4900 POWERLINE LLC | 4900 POWERLINE ROAD , OAKLAND PARK 33309 | 1186609 | 07/25/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607221 | 8939 | FORT LAUDERDALE GRAND HOTEL | 4900 POWERLINE LLC | 4900 POWERLINE ROAD , OAKLAND PARK 33309 | 1186751 | 07/29/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1613418 | 7657 | GALLERYONE - A DOUBLETREE SUITES BY HILTON HOTELS | DEJ HOTELS LLC | 2670 E SUNRISE BLVD , FORT LAUDERDALE 33304 | 1185554 | 07/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Operator provided Boiler - Field Pressure Vessel Report of Inspection dated 1-30-2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102703 | 9606 | WOODSPRING SUITES NAPLES WEST | GOLD COAST PREMIER PROPERTIES VII LLC | 2600 TAMIAMI TRL E , NAPLES 34112 | 1184524 | 07/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102616 | 7988 | LA PLAYA BEACH RESORT | HAZEL LESSEE LLC | 9891 GULF SHORE DR , NAPLES 34108 | 1183674 | 07/31/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 120676 5-6-23. 130241 5-6-23. Boiler certificate expired. 8-6-24**Repeat Violation** **Repeat Violation** - From follow-up inspection 2025-07-31: Unable to view certificate at time of inspection. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2321970 | 9562 | DORAL INN AND SUITES | IMG MANAGEMENT DORAL LLC | 1212 NW 82 AVE , MIAMI 33126 | 1186000 | 07/25/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2304248 | 10193 | DECO MODE HOTEL | HARRISON HOTEL, INC | 411 WASHINGTON AVE , MIAMI BEACH 33139 | 1185483 | 07/25/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329524 | 11226 | GARDEN INN HOTEL | GLS 770 LLC | 656 E DR , MIAMI SPRINGS 33166 | 1185994 | 07/30/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311837 | 19162 | NORTH MIAMI BEACH GARDEN INN & SUITE | MIAMI BEACH GARDEN INN & SUITE LLC | 148 NW 167 ST , MIAMI 33169 | 1243147 | 07/25/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed behind front desk. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2309277 | 88753 | APARTAMENTOS BIRD ROAD | APARTMENTOS BIRD ROAD | 3900 SW 78 CT , MIAMI 33155 | 1640491 | 07/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher in laundry room overcharged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2312425 | 93980 | MINOR HOLDINGS LLC | MINOR HOLDINGS LLC | 2620 NW 22 AVE , MIAMI 33142 | 1640457 | 07/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device on fire extinguisher next to unit #102. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330383 | 105411 | AGVEST LLC | AGVEST LLC | 2550 NW 23 AVE SINGLE FAMILY AND APTS 1-4, MIAMI 33142 | 1634666 | 07/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device on fire extinguisher next to unit #2. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302357 | 51049 | 85 APARTMENTS | BLANCO BRAULIO AND MARTA | 85 NW 47 AVE , MIAMI 65281 | 1632064 | 07/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Observed all tank under stairs by unit 1 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2325795 | 5067 | EXECUTIVE PALACE HOTEL | EXECUTIVE PALACE HOTEL INC | 2125 W OKEECHOBEE RD , HIALEAH 33010 | 1183965 | 07/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble alarm light illuminated on the fire alarm control panel at office. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329538 | 11393 | W SOUTH BEACH | 2201 COLLINS PROPCO LLC | 2201 COLLINS AVE , MIAMI BEACH 33139 | 1185163 | 07/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328950 | 16118 | EL PARAISO MOTEL | GLOBAL RESORTS GROUP CORP | 1615 W OKEECHOBEE RD , HIALEAH 33010 | 1241681 | 07/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble alarm light illuminated on the fire alarm control panel at office | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2326446 | 3648 | RADISSON HOTEL MIAMI BEACH | CHARLES BERNARD LTD | 4343 COLLINS AVE , MIAMI BEACH 33140 | 1186175 | 07/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired certificates since 4/12/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329302 | 7918 | ELEMENT MIAMI DORAL | MIAMI HOTEL ENTERPRISE LLC | 3285 NW 107 AVE , MIAMI 33172 | 1184995 | 07/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327022 | 9570 | HOLIDAY INN MIAMI/DORAL AREA | DRE REIT OPCO LLC | 3255 NW 87 AVE , MIAMI 33172 | 1185352 | 07/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329302 | 7918 | ELEMENT MIAMI DORAL | MIAMI HOTEL ENTERPRISE LLC | 3285 NW 107 AVE , MIAMI 33172 | 1184995 | 07/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2304248 | 10193 | DECO MODE HOTEL | HARRISON HOTEL, INC | 411 WASHINGTON AVE , MIAMI BEACH 33139 | 1183768 | 07/25/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-07-25: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2311837 | 19162 | NORTH MIAMI BEACH GARDEN INN & SUITE | MIAMI BEACH GARDEN INN & SUITE LLC | 148 NW 167 ST , MIAMI 33169 | 1243147 | 07/29/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed behind front desk. - From follow-up inspection 2025-07-29: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2309588 | 53947 | SARRIA APTS | SARRIA FEDERICO & MARIA DELCAR | 3981 NW 11 ST , MIAMI 63653 | 1586699 | 07/29/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-03-4 | - From initial inspection : Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed missing extinguisher outside unit 3; building 3991 E. - From follow-up inspection 2025-07-29: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2309588 | 53947 | SARRIA APTS | SARRIA FEDERICO & MARIA DELCAR | 3981 NW 11 ST , MIAMI 63653 | 1586699 | 07/29/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed all extinguishers locked with no access, at all 6 buildings. - From follow-up inspection 2025-07-29: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2312934 | 55037 | 1780 APARTMENTS | CONTRERAS GILBERT & MIRIAM | 1780 SW 3 ST , MIAMI 52049 | 1600093 | 07/30/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer; unit 5. - From follow-up inspection 2025-07-30: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2327790 | 56385 | LYNDALE APARTMENTS | LYNDALE APARTMENTS INC | 3175 SW 17 ST , MIAMI 33145 | 1599667 | 07/31/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed all 4 extinguishers locked; no hammer. - From follow-up inspection 2025-07-31: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613288 | 10234 | WOODSPRING SUITES JACKSONVILLE | GOLD COAST PREMIER PROPERTIES X, LLC | 7125 BONNEVAL RD , JACKSONVILLE 32216 | 1185110 | 07/29/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated during inspection. Person in charge states has called for service for repair. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613281 | 10688 | STUDIO 6 BAYMEADOWS | BHAVANI JACKSONVILLE LLC | 8765 BAYMEADOWS RD , JACKSONVILLE 32256 | 1183790 | 07/28/2025 | Complaint Full | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. No way to access locked fire extinguishers by units 201, 151, 167. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613236 | 9762 | HAMPTON INN | LRP HOTELS OF JACKSONVILLE LLC | 8127 POINT MEADOWS DR , JACKSONVILLE 32256 | 1186460 | 07/29/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light illuminated at Fire Panel. Person in charge states on currently on Fire watch. Currently working on wiring. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2612950 | 17294 | INTOWN SUITES JACKSONVILLE BAYMEADOWS | SCG LH GP LLC | 8555 BAYMEADOWS WAY , JACKSONVILLE 32256 | 1243496 | 07/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated at fire panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2613196 | 17486 | QUALITY INN OF ORANGE PARK | SHREEJI HOSPITALITY LLC | 6135 YOUNGERMAN CIR , JACKSONVILLE 32244 | 1241698 | 08/01/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Portable fire extinguisher missing from location near room #125 and room #107 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613222 | 6250 | HOMEWOOD SUITES | APPLE EIGHT HOSPITALITY MANAGEMENT INC | 10434 MIDTOWN PKWY , JACKSONVILLE 32246 | 1186296 | 07/29/2025 | Routine - Lodging | Administrative complaint recommended | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Operator unable to provide boiler certificate during this inspection. Verified active boilers on webpage. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2001 | Lodging | 2705814 | 6773 | HOLIDAY INN RESORT | SUNRISE HOSPITALITY OF PENSACOLA BEACH LLC | 14 VIA DE LUNA DR , PENSACOLA BEACH 32561 | 1185090 | 07/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. 10th floor facing exit door left side. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hardee | 2002 | Lodging | 3500063 | 18567 | TROPICANA MOTEL | SAI AMBE LLC | 1211 U S 17 N , WAUCHULA 33873 | 1241806 | 07/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Observed in room 108, the smoke detector, the batteries have been removed and the owner stated it does not work. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3911434 | 11018 | FAIRFIELD INN & SUITES TAMPA BRANDON | CS17 FLORIDA HOTELS LLC | 10150 PALM RIVER RD , TAMPA 33619 | 1184384 | 07/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 122068 8/15/24 122075 8/12/22 **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5400573 | 10183 | AMARA CAY RESORT | AMARA CAY RESORT LLC | 80001 OVERSEAS HGWY , ISLAMORADA 33036 | 1185735 | 07/30/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400362 | 18093 | HAMPTON INN | KEY WEST HOTELS LLC | 3755 S ROOSEVELT BLVD , KEY WEST 33040 | 1243700 | 07/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5403064 | 18841 | BLUE FLAMINGO RESORT | BCORE KEY WEST TRS LLC | 3824 N ROOSEVELT BLVD , KEY WEST 33040 | 1242889 | 07/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2005 | Lodging | 5402630 | 1879 | CURRY MANSION INN | ONE OF ONE CURRY MANSION LLC | 512 CAROLINE ST , KEY WEST 33040 | 1097079 | 07/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-08-4 | Water heater in disrepair. Observed water heater in disrepair ( completely rusted) For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809240 | 10252 | HOLIDAY INN RESORT ORLANDO SUITES - WATERPARK | EAGLE TRS 9 LLC | 14500 CONTINENTAL GATEWAY , ORLANDO 32821 | 1186626 | 07/28/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809860 | 11431 | HOMEWOOD SUITES BY HILTON MAITLAND | MAITLAND HOTEL OPERATORS LLC | 290 SOUTHHALL LN , MAITLAND 32751 | 1184670 | 08/01/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811197 | 10620 | ALOFT ORLANDO LAKE BUENA VISTA | 7950 PALM PARKWAY TRS LLC | 7950 PALM PKWY , ORLANDO 32836 | 1184774 | 07/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher tag 4/2024 expired floor #6. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809051 | 10529 | EMBASSY SUITES HOTEL | ASHFORD TRS LEE VISTA LLC | 5835 T G LEE BLVD , ORLANDO 32822 | 1184525 | 07/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. All 4-11-25 Operator had inspection done previous week **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811220 | 11224 | PESTANA ORLANDO SUITES LAKE BUENA VISTA | PESTANA ORLANDO LLC | 11942 RAVALLO RESORT DR , ORLANDO 32836 | 1186013 | 07/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed no boiler certificate for the boilers Spoke to General Manager will find out the status. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809240 | 10252 | HOLIDAY INN RESORT ORLANDO SUITES - WATERPARK | EAGLE TRS 9 LLC | 14500 CONTINENTAL GATEWAY , ORLANDO 32821 | 1186626 | 07/29/2025 | Complaint Full | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-07-29: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1186697 | 07/25/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Multiple boiler certificates expired | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5912068 | 9318 | MM LAKE HOTEL LLC | MM LAKE HOTEL LLC | 4944 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 1186645 | 07/25/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Per operator, this is a new boiler purchased two months ago and they have an inspection set up. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2003 | Lodging | 5913639 | 114324 | WEST BAY VILLAGE | WEST BAY VILLAGE PARTNERS I, LLC | 3010 W BAY CIR , KISSIMMEE 34747 | 1597995 | 07/30/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Inspected 2006 - From follow-up inspection 2025-07-29: **Time Extended** - From follow-up inspection 2025-07-30: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2003 | Lodging | 5913639 | 114324 | WEST BAY VILLAGE | WEST BAY VILLAGE PARTNERS I, LLC | 3010 W BAY CIR , KISSIMMEE 34747 | 1597995 | 07/29/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Inspected 2006 - From follow-up inspection 2025-07-29: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215855 | 11455 | OPAL SOL | TRIPROP CLEARWATER LLC | 400 CORONADO DR , CLEARWATER BEACH 33767 | 1184011 | 07/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. New boiler no certificates. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602457 | 7129 | HAMPTON INN & SUITES | SHIVAM PROPERTIES LLC | 155 SW PEACOCK BLVD , PORT ST. LUCIE 34986 | 1184347 | 07/28/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Panel reads Supervisory Duct. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602521 | 9495 | RESIDENCE INN BY MARRIOTT PORT ST LUCIE | WARAMAUG PSL LLC | 1920 SW FOUNTAINVIEW BLVD , PORT ST LUCIE 34986 | 1186019 | 07/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. 602 Smoke - per staff, no guest in room when alarm went off and the appropriate parties have been contacted. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602521 | 9495 | RESIDENCE INN BY MARRIOTT PORT ST LUCIE | WARAMAUG PSL LLC | 1920 SW FOUNTAINVIEW BLVD , PORT ST LUCIE 34986 | 1186019 | 07/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 130519 6/27/24, 138687 6/21/24 **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401000 | 18613 | BEST WESTERN AKU TIKI INN | JK DAYTONA LLC | 2225 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1244115 | 08/01/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. 1st fl hall east | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400503 | 19501 | BAYMONT BY WYNDHAM | 2725 HOSPITALITY LLC | 2725 W INTERNATIONAL SPWY BLVD , DAYTONA BEACH 32114 | 1244090 | 07/31/2025 | Complaint Full | Warning Issued | 11-03-4 | Gas water heater vent stack disconnected/in disrepair. For reporting purposes only. -screen on water heater states Blower operation error . Plumber on site. Per plumber no water in tank | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402719 | 113253 | ATLANTIC VILLAS | DAYTON1 ENTERPRISE LLC | 1901 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1638266 | 07/30/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. -needle on wall mounted unit on side near unit 7 is showing slightly in overcharge | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406116 | 4470 | HILTON GRDN INN DAYTONA AIRPRT | EMBASSY INVESTMENT V | 189 MIDWAY AVE , DAYTONA BCH 32114 | 1184088 | 07/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -supervisor light,signal light . Per manager on fire watch. Tech is scheduled for 3:30 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405788 | 8629 | EXTENDED STAY AMERICA #1564 | ESA P PORTFOLIO OPERATING LESSEE LLC | 255 BILL FRANCE BLVD , DAYTONA BEACH 32114 | 1185570 | 07/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -supervisory,system trouble,signal light on -maintenance reset then only trouble light on | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401756 | 19295 | ECONO INN | BABA HOSPITALITY LLC | 1567 N US HWY 1 , ORMOND BEACH 32174 | 1242033 | 07/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. -room 210. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406702 | 112531 | CENTURY DUNES | CENTENNIAL DUNES LLC | 100 INTEGRA DUNES CIR , DELAND 32724 | 1591824 | 07/29/2025 | Routine - Lodging | Call Back - Extension given, pending | 04-04-4 | - From initial inspection : Fire alarm control panel has no power. For reporting purposes only. Struck by lightning, tagged . **Corrective Action Taken** - From follow-up inspection 2025-07-29: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405564 | 10599 | HAMPTON INN DEBARY | NOVA DEBARY HOTELS LLC | 308 SUNRISE BLVD , DEBARY 32713 | 1186819 | 08/01/2025 | Complaint Full | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Walton | 2002 | Lodging | 7601614 | 16756 | ECONO LODGE | KARINA,INC | 90 BUSINESS PARK RD , DEFUNIAK SPRINGS 32435 | 1241872 | 07/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed fire extinguisher missing from designated location/holding cabinet between rooms 114 and 115. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.