## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2001 | Lodging | 1102962 | 10687 | AC HOTEL BY MARRIOTT GAINESVILLE | NF V GAINESVILLE OPCO LLC | 151 NW 14 ST , GAINESVILLE 32603 | 1183983 | 08/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed : the three boiler certificates expired on 6-30-2025. 136410-136411-136412 all expired. Inspections were done on 6-23-2025(Inspection reports were provided, waiting on the State to issue the certificates.) Per the manager, the renewals are in the works. **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505681 | 6647 | HOLIDAY INN TITUSVILLE | TITUSVILLE LODGING ASSOCIATES LLP | 4715 HELEN HAUSER BLVD , TITUSVILLE 32780 | 1186002 | 08/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505681 | 6647 | HOLIDAY INN TITUSVILLE | TITUSVILLE LODGING ASSOCIATES LLP | 4715 HELEN HAUSER BLVD , TITUSVILLE 32780 | 1186002 | 08/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 139546, 139547 expired 4/6/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620938 | 11421 | FAIRFIELD INN SUITES FLL NORTHWEST | REIT 6800 LLC | 6800 NW 88 AVE , TAMARAC 33321 | 1186320 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. 1st) 5th floor next to room 525 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1609861 | 7823 | WESTIN BEACH RESORT FORT LAUDERDALE | DIAMONDROCK FL TENANT LLC | 321 N FORT LAUDERDALE BEACH BLVD , FORT LAUDERDALE 33304 | 1184819 | 08/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Advised operator to post in boiler room. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Citrus | 2002 | Lodging | 1900004 | 13741 | DAYS INN | DEVJER INC | 2380 N US HWY 19 , CRYSTAL RIVER 34428 | 1244171 | 08/13/2025 | Complaint Full | Warning Issued | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. Operator stated parts have been ordered to restore control panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2002 | Lodging | 2100275 | 8920 | MOTEL 82 | BLOCKER KENNETH J | 1700 STATE RD 82 , IMMOKALEE 34142 | 1242364 | 08/08/2025 | Routine - Lodging | Warning Issued | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Smoke alarm missing in room 115. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2002 | Lodging | 2101761 | 8944 | COMFORT INN & EXECUTIVE SUITES | GOLDEN GATE INN & COUNTRY CLUB | 3860 TOLL GATE BLVD , NAPLES 34114 | 1242223 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. The trouble light is on at the fire control panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2322921 | 10756 | LA QUINTA BY WYNDHAM AIRPORT EAST | RORE MANAGEMENT 3501 LLC | 3501 NW 42 AVE , MIAMI 33142 | 1186926 | 08/13/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificates for 35426 & 135427, expired on 7-1-24. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329365 | 8372 | WINGATE BY WYNDHAM MIAMI AIRPORT | 3755 PROPERTY HOLDINGS LLC | 3755 NW 78 AVE , DORAL 33166 | 1185397 | 08/11/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed Extinguisher in recharge zone located by Room 505. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329365 | 8372 | WINGATE BY WYNDHAM MIAMI AIRPORT | 3755 PROPERTY HOLDINGS LLC | 3755 NW 78 AVE , DORAL 33166 | 1185397 | 08/11/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329257 | 7227 | ALOFT MARY BRICKELL | MARY BRICKELL VILLAGE HOTEL LLC | 1001 SW 2 AVE , MIAMI 33130 | 1184895 | 08/08/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. Observed 3 199k BTUs tankless units connected to a 200 gallons water storage unit. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2320150 | 5105 | CATALINA HOTEL / DORSET HOTEL / MAXINE HOTEL | CATALINA HOTEL LLC | 1720-1756 COLLINS AVENUE BUILDINGS 1720,1732, 1756, MIAMI BEACH 33139 | 1186851 | 08/08/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2321990 | 9509 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 1186990 | 08/15/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2321990 | 9509 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 1186990 | 08/15/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2321990 | 9509 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 1186990 | 08/15/2025 | Complaint Full | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310667 | 96611 | NOELA APARTMENTS LLC | NOELA APARTMENTS LLC | 2240 SW 67 AVE , MIAMI 33155 | 1639585 | 08/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher located next to Unit 22 over charged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329985 | 100417 | AZURA | RICHMAN THREE LAKES DEVELOPMENT PARTNERS LLC | 12755 SW 136 ST , KENDALL 33186 | 1635179 | 08/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher between units 4303 and 4304 in the overcharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310667 | 96611 | NOELA APARTMENTS LLC | NOELA APARTMENTS LLC | 2240 SW 67 AVE , MIAMI 33155 | 1639585 | 08/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher located next to Unit 7 in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310518 | 98988 | 1235 JADE | 1235 JADE INC | 1235 SW 3 ST , MIAMI 33135 | 1640380 | 08/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed outside of unit 2 and unit 5; no hammer. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302132 | 102407 | MERLIN APTS LLC | MERLIN APTS LLC | 1245 NW 58 ST , MIAMI 33142 | 1631769 | 08/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device on fire extinguisher on 2nd floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2308033 | 110562 | KEREM NORTH BEACH APTS LLC | KEREM NORTH BEACH APTS LLC | 321-333 84 ST , MIAMI BEACH 33141 | 1641218 | 08/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher on right side of building 321 missing breaking utensil. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329100 | 7884 | SETAI HOTEL | SETAI HOTEL ACQUISITION LLC | 2001 COLLINS AVE , MIAMI BEACH 33139 | 1183953 | 08/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2317485 | 8204 | SONESTA MIAMI AIRPORT | HPT TRS IHG-2 INC | 950 NW LEJEUNE RD , MIAMI 33126 | 1185148 | 08/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2317199 | 8726 | INTERCONTINENTAL HOTEL MIAMI | DTRS INTERCONTINENTAL MIAMI LLC | 100 CHOPIN PLAZA , MIAMI 33131 | 1185900 | 08/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2304345 | 9595 | HOLIDAY INN MIAMI BEACH OCEANFRONT | FRU MANAGEMENT INC | 4333 COLLINS AVE , MIAMI BEACH 33140 | 1185258 | 08/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the main panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329308 | 11392 | GATES HOTEL SOUTH BEACH | DEAN MB PROPCO LLC | 2360 COLLINS AVE , MIAMI BEACH 33139 | 1184838 | 08/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328084 | 3680 | INTER CONTINENTAL DORAL MIAMI | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 1186359 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed Boiler # 142919 # 021243 and not current boiler certificate available, as per chief engineer due to a delay with the state. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329419 | 9433 | LENNOX MIAMI | LENNOX MIAMI CORP | 1900 COLLINS AVE , MIAMI BEACH 33139 | 1185467 | 08/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Jurisdiction number 095921 and 095920 both expired on 12-03-2022. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2326398 | 11089 | HAMPTON INN MIAMI - AIRPORT WEST | VISTA MYRTLE BEACH HOTEL LP | 3620 NW 79 AVE , DORAL 33166 | 1183974 | 08/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed Boiler Jurisdiction 055306, 1/5/2025. EXPIRED. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329308 | 11392 | GATES HOTEL SOUTH BEACH | DEAN MB PROPCO LLC | 2360 COLLINS AVE , MIAMI BEACH 33139 | 1184838 | 08/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Laundry room 138177, expires on 09-06-2024, In 501-1134 and IN 501-1145 newly installed. 499,999 BTU's water temperature 210&deg;F. Expires on 09-06-2024. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2327152 | 95374 | ASPR CORPORATION | ASPR CORPORATION | 1850 NW 22 CT , MIAMI 33125 | 1598546 | 08/15/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed locked with no hammer; 1st floor outside A. - From follow-up inspection 2025-08-15: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329180 | 82417 | SISTO 1545 NW 1 STREET APARTMENTS | OMAR SISTO AND DONNA | 1545 NW 1 STREET , MIAMI 33125 | 1594435 | 08/12/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble lights on monitor. - From follow-up inspection 2025-08-12: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329325 | 107777 | WESTCHESTER APARTMENTS | MBCDC WESTCHESTER APARTMENTS LLC | 516 15 ST , MIAMI BEACH 33139 | 1642261 | 08/11/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed fire alarm panel at the front entrance with trouble alarm light on. - From follow-up inspection 2025-08-11: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2609107 | 11283 | DAYS INN | SAI GANESH JACKSONVILLE | 1170 AIRPORT RD , JACKSONVILLE 32218 | 1184136 | 08/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. In room 102, hearing impaired smoke detector not working. Only one battery installed. Operator placed second battery in unit and tested, functioning properly. **Corrected On-Site** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2001 | Lodging | 4502678 | 10712 | HOME2 SUITES BY HILTON | CLERMONT OPERATORS LLC | 1450 CHAMPIONS WAY , CLERMONT 34711 | 1184569 | 08/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400316 | 16301 | LARGO | LARGO ECO RESORT LLC | 101740 OVERSEAS HWY , KEY LARGO 33037 | 1244173 | 08/08/2025 | Complaint Full | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5403058 | 16992 | PARROT KEY HOTEL & VILLAS | HHLP KEY WEST ONE LESSEE LLC | 2801 N ROOSEVELT BLVD , KEY WEST 33040 | 1241701 | 08/13/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5402581 | 10304 | HYATT BEACH HOUSE RESORT | HYATT VACATION MGMT CORP | 5051 OVERSEAS HWY , KEY WEST 33040 | 1243750 | 08/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400459 | 17074 | HAVANA CABANA | DIAMONDROCK KEY WEST NORTH TENANT LLC | 3420 N ROOSEVELT BLVD , KEY WEST 33040 | 1242662 | 08/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400316 | 16301 | LARGO | LARGO ECO RESORT LLC | 101740 OVERSEAS HWY , KEY LARGO 33037 | 1244173 | 08/11/2025 | Complaint Full | Call Back - Complied | 04-02-4 | - From initial inspection : No smoke detector provided in guest room/unit. For reporting purposes only. - From follow-up inspection 2025-08-11: **Time Extended** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5803620 | 8018 | HOLIDAY INN ORLANDO AIRPORT | SARONA ORLANDO LEE LLC | 5750 T G LEE BLVD , ORLANDO 32822 | 1185349 | 08/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 092044 and 096850 expired **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805056 | 10582 | QUALITY INN ORLANDO NEAR INTERNATIONAL DR | JK JAMAICAN CT LLC | 8342 JAMAICAN CT , ORLANDO 32819 | 1186366 | 08/11/2025 | Routine - Lodging | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL135771. Exp 11/2/23 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5912071 | 9259 | MARGARITAVILLE RESORT ORLANDO | HORIZON HOTEL OWNER LLC | 8000 FINS UP CIR , KISSIMMEE 34747 | 1186906 | 08/13/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6006819 | 9584 | EMBASSY SUITES BOCA RATON | GREEN SAPPHIRE HOSPITALITY LLC | 661 NW 53 ST , BOCA RATON 33487 | 1186952 | 08/12/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6006819 | 9584 | EMBASSY SUITES BOCA RATON | GREEN SAPPHIRE HOSPITALITY LLC | 661 NW 53 ST , BOCA RATON 33487 | 3655491 | 08/11/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215809 | 8566 | EDGE HOTEL | DECADE GULFCOAST HOTEL PARTNERS LTD | 505 S GULFVIEW BLVD , CLEARWATER BEACH 33767 | 1185202 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216064 | 110541 | ELEMENTS ON THIRD | LURIN REAL ESTATE HOLDINGS XLII, LLC | 3201 3RD AVE N , ST. PETERSBURG 33713 | 1645057 | 08/13/2025 | Complaint Full | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble alarm sounding and light illuminated on fire panel in steel lofts building 4. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2002 | Lodging | 6800602 | 18752 | CASEY KEY RESORTS - MAINLAND | CK RESORTS JV LLC | 1660 S TAMIAMI TRAIL , OSPREY 34229 | 1242892 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge between rooms 263 and 265. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904094 | 116472 | NOVEL PARKWAY | CC PARKWAY OWNER, LLC | 1464 LAUREL SOUND LN , SANFORD 32771 | 1624225 | 08/15/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Site 1 Alarm Panel - From follow-up inspection 2025-06-11: **Time Extended** - From follow-up inspection 2025-06-26: -operator states the facility was struck by lightning again and repairs are ongoing **Time Extended** - From follow-up inspection 2025-07-11: -operator provided proof of new hardware needing to be replaced, operator stated that the new hardware has been ordered **Time Extended** - From follow-up inspection 2025-08-15: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602519 | 6242 | LA QUINTA | MORNING STAR MANAGEMENT LLC | 2655 CROSS ROADS PKWY , FORT PIERCE 34945 | 1185102 | 08/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Floor 4 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406662 | 119453 | STARLITE 360 LLC | STARLITE 360 LLC | 534 S SEGRAVE ST , DAYTONA BEACH 32114 | 1644909 | 08/15/2025 | Lodging-Licensing Inspection | Warning Issued | 07-01-4 | Per operator wire hanging to building 558 is a cable wire and other wires by pole where cut by fire department. reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406662 | 119453 | STARLITE 360 LLC | STARLITE 360 LLC | 534 S SEGRAVE ST , DAYTONA BEACH 32114 | 1644909 | 08/15/2025 | Lodging-Licensing Inspection | Warning Issued | 08-07-4 | Water heater not properly vented Building 550 . Water heater located on exterior building in small building For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7405578 | 119583 | 111 S GRANDVIEW AV CORP | 111 S GRANDVIEW | 111 S GRANDVIEW AVE , DAYTONA BEACH 32118 | 1645054 | 08/12/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 06-01-4 | Path to fire exit is blocked. For reporting purposes only. -fire escape stairway from unit in back building partially obstructed by stored items on middle platform to ground | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406367 | 114178 | 100 CAROLINA LAKE DRIVE FL OWNER LLC | BREIT OPERATING PARTNERSHIP LLC | 100 CAROLINA LAKE DR , DAYTONA BEACH 32114 | 1597959 | 08/11/2025 | Routine - Lodging | Call Back - Extension given, pending | 04-03-4 | - From initial inspection : Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. -132-206 detector beeping. - From follow-up inspection 2025-08-11: Currently occupied Per maintenance has been repaired **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405564 | 10599 | HAMPTON INN DEBARY | NOVA DEBARY HOTELS LLC | 308 SUNRISE BLVD , DEBARY 32713 | 1186819 | 08/08/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-08-04: **Time Extended** - From follow-up inspection 2025-08-08: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402764 | 67300 | WOODCREST TOWNHOUSES | WOODCREST PARTNERSHIP | 1628 WOODCREST DR , DAYTONA BCH 91413 | 1589614 | 08/14/2025 | Routine - Lodging | Call Back - Complied | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only.front of 1624 - From follow-up inspection 2025-08-14: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402764 | 67300 | WOODCREST TOWNHOUSES | WOODCREST PARTNERSHIP | 1628 WOODCREST DR , DAYTONA BCH 91413 | 1589614 | 08/14/2025 | Routine - Lodging | Call Back - Complied | 01-05-4 | - From initial inspection : Portable fire extinguisher obstructed/not accessible. For reporting purposes only. blocked by foliage : Front of building across from 1624 (unmarked) Front of 1620 - From follow-up inspection 2025-08-14: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406702 | 112531 | CENTURY DUNES | CENTENNIAL DUNES LLC | 100 INTEGRA DUNES CIR , DELAND 32724 | 1591824 | 08/15/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-04-4 | - From initial inspection : Fire alarm control panel has no power. For reporting purposes only. Struck by lightning, tagged . **Corrective Action Taken** - From follow-up inspection 2025-07-29: **Time Extended** - From follow-up inspection 2025-08-15: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.