## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Brevard | 2001 | Lodging | 1505703 | 10101 | EXTENDED STAY AMERICA #9514 | ESA P PORTFOLIO OPERATING LESSEE LLC | 2265 COASTAL LANE , WEST MELBOURNE 32904 | 1184552 | 08/22/2025 | Routine - Lodging | Warning Issued | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Last inspection stated the boiler was inspected in March of 2025. There is still currently no inspection posted. **Corrected On-Site** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505676 | 7604 | CANDLEWOOD SUITES | GANPATI HOSPITALITY, LLC | 2930 PINEDA PLAZA WAY , MELBOURNE 32940 | 1184745 | 08/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fired extinguisher next to room 107 is reading in the red | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1505700 | 115738 | MERI PALM BAY | MOGRA CIRCLE, LLC | 1880 MOGRA CIRCLE , PALM BAY 32905 | 1627347 | 08/22/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble in bldg 1820. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619392 | 10928 | COURTYARD BY MARRIOTT CORAL SPRINGS | CORAL SPRINGS HOSPITALITY LLC | 620 N. UNIVERSITY DRIVE , CORAL SPRINGS 33071 | 1185795 | 08/20/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. 2nd Floor next to room 205 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1601880 | 16164 | ROYAL PALMS RESORT & SPA | ROYAL PALMS RESORT & SPA LLC | 717 BREAKERS AVE , FORT LAUDERDALE 33304 | 1242299 | 08/22/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Damaged electrical fixture(s). 3 "bullet" style outdoor light fixtures handing by the electrical wire - third floor catwalk. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619392 | 10928 | COURTYARD BY MARRIOTT CORAL SPRINGS | CORAL SPRINGS HOSPITALITY LLC | 620 N. UNIVERSITY DRIVE , CORAL SPRINGS 33071 | 1185795 | 08/20/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Operator unable to locate | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620938 | 11421 | FAIRFIELD INN SUITES FLL NORTHWEST | REIT 6800 LLC | 6800 NW 88 AVE , TAMARAC 33321 | 1186320 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. 1st) 5th floor next to room 525 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1612599 | 10798 | LA QUINTA INN & SUITES BY WYNDHAM CORAL SPRINGS SOUTH | RORE MANAGEMENT 3100 LLC | 3100 N UNIVERSITY DR , CORAL SPRINGS 33065 | 1186009 | 08/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed at second story by room 209 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1620897 | 85881 | ORDER MY STEPS CORP | COPELAND SHALONDA L | 2229 NW 8 ST , FORT LAUDERDALE 33311 | 1636215 | 08/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed missing between Units# 2&3. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2002 | Lodging | 2101761 | 8944 | COMFORT INN & EXECUTIVE SUITES | GOLDEN GATE INN & COUNTRY CLUB | 3860 TOLL GATE BLVD , NAPLES 34114 | 1242223 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. The trouble light is on at the fire control panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328318 | 3695 | BEST WESTERN PLUS ATLANTIC BEACH RRSORT | SOKOLOV LTD | 4101 COLLINS AVE , MIAMI BEACH 33140 | 1187042 | 08/19/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the main panel behind the front desk. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330505 | 110045 | BAY VILLAGE 1 | WESTDALE BAY VILLAGE LLC | 18301 S DIXIE HWY , MIAMI 33157 | 1644073 | 08/21/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2313311 | 118004 | ALIRO | ALIRO RESERVE LLC | 14000 BISCAYNE BLVD , NORTH MIAMI BEACH 33181 | 1628369 | 08/21/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2321990 | 9509 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 1186990 | 08/15/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2321990 | 9509 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 1186990 | 08/15/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2321990 | 9509 | QUALITY INN MIAMI AIRPORT | 3959 PROPERTY HOLDING LLC | 3959 NW 79 AVE , MIAMI 33166 | 1186990 | 08/15/2025 | Complaint Full | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2314953 | 113213 | BAYWEST ISLES | BAYWEST ISLES LLC | 2011 BAY DR , MIAMI BEACH 33141 | 1636663 | 08/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher in overcharge zone at entrance of parking lot. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327833 | 10636 | CANDLEWOOD SUITES MIAMI-DORAL | PALMA HOTEL OPERATOR LLC | 10505 NW 36 ST , MIAMI 33178 | 1185594 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher next to room 424 in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329620 | 117330 | POINT AT LAKESIDE | PP EVERGLADES 41 INVESTORS LLC | 11481 NW 41ST STREET , DORAL 33178 | 1640511 | 08/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher next to unit 2207 In the recharge zone building 11441. Observed fire extinguisher next to unit 8105 in the recharge zone at building 11601 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2310374 | 17450 | JULIA MOTEL | O O INVESTMENTS LLC | 3030 W FLAGLER ST , MIAMI 33135 | 1243528 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. By room 202, back door of 110 and 106 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329460 | 9720 | 17 WEST | SONDER USA INC | 1220 17TH STREET , MIAMI BEACH 33139 | 1185297 | 08/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327833 | 10636 | CANDLEWOOD SUITES MIAMI-DORAL | PALMA HOTEL OPERATOR LLC | 10505 NW 36 ST , MIAMI 33178 | 1185594 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. Observed fire panel at lobby with a trouble light illuminated. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328084 | 3680 | INTER CONTINENTAL DORAL MIAMI | HOTEL GENPAR LTD | 2505 NW 87 AVE , MIAMI 21610 | 1186359 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed Boiler # 142919 # 021243 and not current boiler certificate available, as per chief engineer due to a delay with the state. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329717 | 95233 | 711 BEACOM APARTMENTS | MAATCHI INVESTMENTS LLC | 711 BEACOM BLVD , MIAMI 33135 | 1601248 | 08/21/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguishers locked in box with zip ties on first floor - From follow-up inspection 2025-08-21: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2327152 | 95374 | ASPR CORPORATION | ASPR CORPORATION | 1850 NW 22 CT , MIAMI 33125 | 1598546 | 08/15/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed locked with no hammer; 1st floor outside A. - From follow-up inspection 2025-08-15: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331063 | 115971 | HOLLY HOUSE PARTNERS LLC | HOLLY HOUSE PARTNERS LLC | 11950 NE 2 AVE , NORTH MIAMI 33161 | 1584176 | 08/18/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-08-18: On 8/18/2025 at the time of the callback inspection e/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331063 | 115971 | HOLLY HOUSE PARTNERS LLC | HOLLY HOUSE PARTNERS LLC | 11950 NE 2 AVE , NORTH MIAMI 33161 | 1584176 | 08/18/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-06-4 | - From initial inspection : Fire alarm control panel emitting an audible alarm. For reporting purposes only. - From follow-up inspection 2025-08-18: On 8/18/2025 at the time of the callback inspection Fire alarm control panel emitting an audible alarm. For reporting purposes only. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2612092 | 19013 | MOTEL 6/STUDIO 6 JACKSONVILLE SOUTH | HARE KRISHNA JACKSONVILLE HOTEL LLC | 8285 PHILIPS HWY , JACKSONVILLE 32256 | 1244287 | 08/20/2025 | Complaint Full | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. No way to access fire extinguisher closest to unit 206. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613608 | 118409 | AVION APARTMENTS | AVION MF PARTNERS, LLC | 12525 TIBBETS LN , JACKSONVILLE 32218 | 1640499 | 08/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher between apartments 7101 and 7103 has needle in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613286 | 10176 | ELEMENT BY WESTIN JACKSONVILLE BEACH | SHIVAM PROPERTIES II LLC | 208 BEACH BLVD , JACKSONVILLE BEACH 32250 | 1185692 | 08/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light at the front desk fire alarm control panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613268 | 11162 | COMFORT SUITES | AARMON V LLC | 1180 AIRPORT RD , JACKSONVILLE 32218 | 1184110 | 08/19/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. On third floor, fire extinguisher by room 302 has needle in recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2001 | Lodging | 2800569 | 7214 | BEST WESTERN PLUS | JAY MAA AMBE LLC | 200 FLAGLER PLAZA DR , PALM COAST 32137 | 1186374 | 08/19/2025 | Routine - Lodging | Administrative complaint recommended | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hearing impaired detector in room 225 is not flashing. . V **Warning** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200101 | 16507 | LAKEPORT HUNTING & FISHING LODGE | BONNIE R. DRIGGERS, INVEST. | 1077 LAKEPORT PLAZA , LAKEPORT 33471 | 1243004 | 08/20/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only: between units 107 and 106, also at unit 126 **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3906561 | 8370 | SHERATON TAMPA EAST | LCP TAMPA EAST INVESTMENT LLC | 10221 PRINCESS PALM AVE , TAMPA 33610 | 1186131 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Jurisdiction 135491, exp. 05/04/2023. #2 Jurisdiction 120576, exp. 03/07/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3907679 | 10938 | OASIS BAY SUITES | INVESTMENTS MANAGEMENT LLC | 3001 UNIVERSITY CENTER DR , TAMPA 33612 | 1185344 | 08/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lake | 2001 | Lodging | 4502668 | 10817 | FAIRFIELD BY MARRIOTT CLERMONT | EMMANUEL HOSPITALITY | 1750 HUNT TRACE BLVD , CLERMONT 34711 | 1184507 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel behind front desk is not operational . For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4605786 | 119130 | 2670 BROADWAY LLC | 2670 BROADWAY LLC | 2670 BROADWAY , FORT MYERS 33901 | 1645008 | 08/19/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher on first level needs to be recharged. Observed fully charged fire extinguisher on second level. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400327 | 10187 | MATECUMBE RESORT | MATECUMBE RESORT OWNER ASSOC | MM 76 HWY ONE , MATECUMBE KEY 33036 | 1243705 | 08/21/2025 | Routine - Lodging | Warning Issued | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. 203 smoke alarm is hanging off the wall. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5401622 | 8502 | REACH KEY WEST CURIO COLLECTION BY HILTON | KEY WEST REACH LESSEE LLC | 1435 SIMONTON ST , KEY WEST 33040 | 1185393 | 08/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed inside Room 420. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811292 | 106264 | ZEN | CPUS ZEN LP | 9835 NAMASTE LOOP , ORLANDO 32836 | 1630628 | 08/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | portable fire extinguisher present on the premises. For reporting purposes only. Observed fire extinguishers expired 7/2024 in all apartment inspected #2406, #2411, #2203 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811255 | 112643 | SANCERRE AT SAND LAKE | SAND LAKE 2 ACQUISITION LLC | 7118 ALTIS WAY , ORLANDO 32836 | 1632120 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | portable fire extinguisher present on the premises. For reporting purposes only. Observed fire extinguisher expired 5/2024 spoke with Luis from maintenance must notify fire extinguisher company immediately. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5807207 | 61725 | LANDINGS AT TIMBERLEAF (THE) | LANDINGS AT TIMBERLEAF LTD | 5435 W TIMBERLEAF BLVD , ORLANDO 12152 | 1640724 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -in maintenance room in office | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811238 | 102331 | ART AVENUE APARTMENTS | ART AVENUE OWNER LLC | 10201 LEE VISTA BLVD , ORLANDO 32829 | 1632116 | 08/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809882 | 5101 | COURTYARD ORLANDO LK BUENA VISTA | COURTYARD MANAGEMENT CORPORATION | 8623 VINELAND AVE , ORLANDO 32821 | 1185238 | 08/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809128 | 7941 | ORLANDO COURTYARD DOWNTOWN | TURNBERRY HOTEL GROUP OF ORLANDO LTD | 730 N MAGNOLIA AVE , ORLANDO 32803 | 1183938 | 08/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 3/7/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809868 | 8221 | EMBASSY SUITES ORLANDO DOWNTOWN | PARADISE AMERICA LLC | 191 E PINE ST , ORLANDO 32801 | 1184436 | 08/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811148 | 9129 | RESIDENCE INN BY MARRIOTT ORLANDO DOWNTOWN | ORANGE RI HOTEL VENTURE LLC | 680 N ORANGE AVE , ORLANDO 32801 | 1185384 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5805604 | 100331 | AMALFI APARTMENTS | AMALFI APARTMENTS, LLC | 4860 CYPRESS WOODS DR , ORLANDO 32811 | 1644807 | 08/18/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -System Trouble on fire system panel in leasing office - From follow-up inspection 2025-08-18: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811329 | 103831 | MARDEN RIDGE APARTMENTS | MRAD PHASE I LLC | 1595 MARDEN RIDGE LOOP , APOPKA 32703 | 1591291 | 08/18/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-08-18: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811500 | 116388 | NOVO AVIAN POINTE APARTMENTS | TCD 236 AVIAN POINTE PROPERTY, LLC | 2500 CONSERVE CIR , APOPKA 32703 | 1590168 | 08/18/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-08-18: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5810213 | 10396 | FAIRFIELD INN & SUITES ORLANDO INT'L | ICON HOTEL OPERATING COMPANY LLC | 8214 UNIVERSAL BLVD , ORLANDO 32819 | 1184740 | 08/21/2025 | Routine - Lodging | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Fl 121401 3/31/23 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900617 | 17767 | RODEWAY INN | IB HOTELS LLC | 7455 W IRLO BRONSON HWY , KISSIMMEE 34747 | 1243138 | 08/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 9/20/24, per operator waiting for new boiler certificate to arrive. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6002504 | 16594 | SILVER PALM LODGE | INDENPENDENT HOTELS, LLC | 7211 S DIXIE HWY , WEST PALM BEACH 33405 | 1242934 | 08/22/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6013901 | 4889 | ATLANTIC SUITES ON THE AVE. | TALLMAR INC | 1111 E ATLANTIC AVE , DELRAY BEACH 33483 | 1184543 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215809 | 8566 | EDGE HOTEL | DECADE GULFCOAST HOTEL PARTNERS LTD | 505 S GULFVIEW BLVD , CLEARWATER BEACH 33767 | 1185202 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216063 | 103363 | WAVERLY APARTMENTS | LC SQUARED GULFPORT LLC | 4601 22ND AVE S , ST. PETERSBURG 33711 | 1645110 | 08/20/2025 | Complaint Full | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Breaking device missing from fire extinguisher box in front of units 110, 203, 207 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Polk | 2001 | Lodging | 6309169 | 6209 | HAMPTON INN & SUITES LAKELAND-SOUTH POLK PARKWAY | COLUMBIA HOSPITALITY INC | 3630 LAKESIDE VILLAGE BLVD , LAKELAND 33803 | 1185951 | 08/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2002 | Lodging | 6802428 | 18264 | DAYS INN SARASOTA BAY | GITA DINESH LLC | 5000 N TAMIAMI TRL , SARASOTA 34234 | 1244266 | 08/19/2025 | Complaint Full | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed the fire extinguisher in the laundry room in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2002 | Lodging | 6803597 | 16006 | SIESTA INN | RUSHIKESH LLC | 4807 - 4847 N TAMIAMI TRL , SARASOTA 34234 | 1241953 | 08/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed the portable fire extinguisher on the far right of the office in the red. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2002 | Lodging | 6800602 | 18752 | CASEY KEY RESORTS - MAINLAND | CK RESORTS JV LLC | 1660 S TAMIAMI TRAIL , OSPREY 34229 | 1242892 | 08/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge between rooms 263 and 265. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904102 | 119367 | CYPRESS LONGWOOD | DTR MF OWNER LLC | 375 SUMMER CYPRESS COVE , LONGWOOD 32750 | 1644981 | 08/18/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2002 | Lodging | 6902879 | 18989 | DAYS INN | LD HOSPITALITY INC | 8245 S US HWY 17-92 , FERN PARK 32730 | 1241658 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -next to room 306. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904068 | 108661 | ALTA LONGWOOD | PR II/WOOD LONGWOOD, LLC | 881 W WARREN AVE #111 , LONGWOOD 32750 | 1627317 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2002 | Lodging | 6902879 | 18989 | DAYS INN | LD HOSPITALITY INC | 8245 S US HWY 17-92 , FERN PARK 32730 | 1241658 | 08/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. -090433 expired 11/2024. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904094 | 116472 | NOVEL PARKWAY | CC PARKWAY OWNER, LLC | 1464 LAUREL SOUND LN , SANFORD 32771 | 1624225 | 08/15/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Site 1 Alarm Panel - From follow-up inspection 2025-06-11: **Time Extended** - From follow-up inspection 2025-06-26: -operator states the facility was struck by lightning again and repairs are ongoing **Time Extended** - From follow-up inspection 2025-07-11: -operator provided proof of new hardware needing to be replaced, operator stated that the new hardware has been ordered **Time Extended** - From follow-up inspection 2025-08-15: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Johns | 2001 | Lodging | 6501650 | 11521 | TRU BY HILTON ST AUGUSTINE I-95 | AMBAMA INVESTMENT LLC | 2505 COUNTY RD 208 , SAINT AUGUSTINE 32092 | 1183777 | 08/18/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated due to box being unlocked. Per person in charge are scheduled to come out and lock. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2003 | Lodging | 6602527 | 83953 | GERMAN-AMERICAN TRADING &TOURISM | GERMAN-AMERICAN TRADING & TOURISM INC | 2510 TAMARIND DR , FT PIERCE 34949 | 1645088 | 08/18/2025 | Complaint Full | Inspection Completed - No Further Action | 07-02-4 | Frayed electrical wire(s). For reporting purposes only. In back of building. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2001 | Lodging | 6602531 | 11233 | WOODSPRING SUITES PORT ST LUCIE | TGC PORT ST LUCIE LLC | 11600 SW VILLAGE PKWY , PORT ST LUCIE 34953 | 1184963 | 08/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble room 130. Per Manager, hotel was struck by lighting yesterday and affected the fire panel system. Fire department and Summit was here. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6600742 | 16233 | AMERICAS BEST VALUE INN | AANJALI LLC | 6651 DARTER CT , FORT PIERCE 34945 | 1241756 | 08/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Exit sign missing near east side of building top floor wires hanging. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6600774 | 11469 | BEST WESTERN PORT ST LUCIE | WYNNE BUILDING CORPORATION | 7900 S US #1 , PORT SAINT LUCIE 34952 | 1242827 | 08/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406694 | 111845 | ICON ONE DAYTONA | DAYTONA APARTMENT HOLDINGS LLC | 235 HIGHBANKS BLVD , DAYTONA BEACH 32114 | 1645072 | 08/18/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -lobby panel Alarm light,trouble and signal lights on -main panel alarm,signal,trouble lights on Per manager tech return today **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402312 | 106566 | NOVA 1400 | SOUTH NOVA PARTNERS LLC | 1400 S NOVA RD , DAYTONA BEACH 32114 | 1645102 | 08/18/2025 | Complaint Full | Warning Issued | 06-02-4 | Door marked as an exit is blocked and locked rear door in maintenance garage . For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402312 | 106566 | NOVA 1400 | SOUTH NOVA PARTNERS LLC | 1400 S NOVA RD , DAYTONA BEACH 32114 | 1645102 | 08/18/2025 | Complaint Full | Warning Issued | 07-01-4 | Exit light not functioning at rear door in maintenance garage. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406662 | 119453 | STARLITE 360 LLC | STARLITE 360 LLC | 534 S SEGRAVE ST , DAYTONA BEACH 32114 | 1644909 | 08/15/2025 | Lodging-Licensing Inspection | Warning Issued | 07-01-4 | Per operator wire hanging to building 558 is a cable wire and other wires by pole where cut by fire department. reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406662 | 119453 | STARLITE 360 LLC | STARLITE 360 LLC | 534 S SEGRAVE ST , DAYTONA BEACH 32114 | 1644909 | 08/15/2025 | Lodging-Licensing Inspection | Warning Issued | 08-07-4 | Water heater not properly vented Building 550 . Water heater located on exterior building in small building For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406631 | 110477 | INTEGRA 289 EXCHANGE | AUTUMN LAKES ASSOCIATES LP | 115 INTEGRA RESERVE LN , DEBARY 32713 | 1627531 | 08/21/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Building 165. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406752 | 119584 | 307 311 SGV CORP | 307 311 SGV CORP | 307 311 S GRANDVIEW AVE , DAYTONA BEACH 32118 | 1645117 | 08/19/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -top floor common area hallway inside mounted box on wall | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406752 | 119584 | 307 311 SGV CORP | 307 311 SGV CORP | 307 311 S GRANDVIEW AVE , DAYTONA BEACH 32118 | 1645117 | 08/19/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -breakable glass panel mounted box without a breaking device, next to unit 7 inside common area hallway | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401324 | 11846 | HOLIDAY INN SUITES | DAYTONA HOSPITALITY II INC | 930 N ATLANTIC AVE , DAYTONA BCH 83718 | 1242941 | 08/18/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -main panel, ground fault system trouble | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401770 | 19375 | SPARK ORMOND BEACH OCEANFRONT | SOUTHATLANTIC OPERATING VIII LLC | 205 S ATLANTIC AVE , ORMOND BEACH 32176 | 1243060 | 08/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406632 | 106235 | SEGRAVE APARTMENTS CASA LLC | SEGRAVE APARTMENTS CASA LLC | 411-413 ARROYO LN & 340 S SEGRAVE , DAYTONA BEACH 32114 | 1583463 | 08/19/2025 | Routine - Lodging | Call Back - Complied | 02-08-4 | - From initial inspection : Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. -stored under landing building 340 **Corrected On-Site** - From follow-up inspection 2025-08-19: Next to stairway building 413 **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406702 | 112531 | CENTURY DUNES | CENTENNIAL DUNES LLC | 100 INTEGRA DUNES CIR , DELAND 32724 | 1591824 | 08/15/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-04-4 | - From initial inspection : Fire alarm control panel has no power. For reporting purposes only. Struck by lightning, tagged . **Corrective Action Taken** - From follow-up inspection 2025-07-29: **Time Extended** - From follow-up inspection 2025-08-15: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406168 | 96312 | KHEMARA HOLDINGS LLC | KHEMARA HOLDINGS LLC | 421 SILVER BEACH AVE , DAYTONA BEACH 32118 | 1626154 | 08/19/2025 | Routine - Lodging | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. -missing from mounted box on wall inside laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.