## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2002 | Lodging | 1102123 | 18159 | BAYMONT INN & SUITES | GAINESVILLE HOTEL INVESTMENT LLC | 6901 NW 4 BLVD , GAINESVILLE 32607 | 1242250 | 08/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Smoke alarm in room 234 missing 9volt battery. Employee placed battery in unit **Corrected On-Site** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2002 | Lodging | 1102123 | 18159 | BAYMONT INN & SUITES | GAINESVILLE HOTEL INVESTMENT LLC | 6901 NW 4 BLVD , GAINESVILLE 32607 | 1242250 | 08/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Boiler inspection report dated 6/19/2025. Not posted in boiler room. Employee posted report in boiler room **Corrected On-Site** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2003 | Lodging | 1305237 | 84185 | EMERALD BAY APARTMENTS | CARR CLEZE LARKIN JR | 258 S ARNOLD RD HWY 79 , PANAMA CITY BEACH 32133 | 1644506 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. On front of unit 104. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1500941 | 18320 | ISLAND HOTEL OF SPACE COAST | JAY SRIAMBE LLC | 260 E MERRITT ISLAND CSWY , MERRITT ISLAND 32952 | 1242456 | 08/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1605018 | 17033 | 925 OCEAN RESORT | 925 OCEAN PLACE LLC | 925 SE 20 AVE , DEERFIELD BEACH 33441 | 1243216 | 08/29/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble light illuminated on the fire alarm control panel, in front office. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1612878 | 18663 | HOTOLOS HOLLYWOOD | HOTOLOS HOLLYWOOD LLC | 2520 STIRLING RD , HOLLYWOOD 33020 | 1243007 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed at 411 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620867 | 6573 | CAMBRIA SUITES FT LAUDERDALE | D2 HM INVESTMENTS LLC | 141 SW 19 CT , DANIA 33004 | 1185583 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1604522 | 47574 | 2449-2501 NE 11 ST APTS | HIPPELE R | 2449 NE 11 ST , FORT LAUDERDALE 44548 | 1601189 | 08/26/2025 | Routine - Lodging | Call Back - Complied | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Across from 2501-Apt 2 - From follow-up inspection 2025-08-26: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2101115 | 10511 | INN OF NAPLES | MHH NAPLES OPERATING LLC | 4055 TAMIAMI TRAIL N , NAPLES 34103 | 1184414 | 08/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Jurisdiction number 124345 expiration date 7/18/202. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330927 | 112821 | MILINE | LUDLAM TRAIL PHASE I LLC | 6970 SW 40 ST , MIAMI 33155 | 1632610 | 08/27/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331204 | 117659 | RESIDENCES AT SAWYER'S WALK | BLOCK 55 RESIDENTIAL, LP | 249 NW 6TH STREET SUITE 801, MIAMI 33136 | 1645169 | 08/26/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329284 | 9403 | BEDS N DRINKS HOTEL | BEDS N DRINKS HOSTEL LLC | 1676 JAMES AVE UNITS 101, 206, 211, 214, 216, 217, MIAMI BEACH 33139 | 1187116 | 08/25/2025 | Complaint Full | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331373 | 119676 | FORMA MIAMI | OZPC NO. 1 2900 BISCAYNE BLVD LLC | 2900 BISCAYNE BLVD , MIAMI 33137 | 1645173 | 08/28/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2327840 | 3673 | BAYMONT INN & SUITES | B & I PROPERTIES LTD | 3805 NW 107 AVE , MIAMI 33178 | 1186234 | 08/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher at fourth floor laundry room in the overcharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329335 | 8154 | FLAGLER STATION RESIDENCE INN | DVI CARDEL FLAGLER RESIDENCE LLC | 11500 NW 105 ST , MIAMI 33178 | 1186107 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher next to room 404 in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329211 | 6462 | MIAMI MANSION MOTEL | 611 OKEECHOBEE LLC | 611 E OKEECHOBEE RD , HIALEAH 33010 | 1184900 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed two fire extinguishers locked in a box with no means of access to the fire extinguisher at parking. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2311334 | 54688 | ATHENA APARTMENTS | WALTON EDWARD H | 6775 SW 44 ST , MIAMI 54783 | 1635965 | 08/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no break in device for fire extinguisher in between unit 23 and 24. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329211 | 6462 | MIAMI MANSION MOTEL | 611 OKEECHOBEE LLC | 611 E OKEECHOBEE RD , HIALEAH 33010 | 1184900 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at main office. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329193 | 7593 | SOUTH RIVER SUITES | SOUTH RIVER SUITES LTD | 12484 NW SOUTH RIVER DR , MEDLEY 33178 | 1185388 | 08/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed fire panel at front desk system troubleshooting light flashing. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329208 | 7982 | GRAND BEACH HOTEL | MB FLORIDA LIMITED LLC | 4835 COLLINS AVE , MIAMI BEACH 33140 | 1185752 | 08/27/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329443 | 9699 | WOODSPRING SUITES DORAL MIAMI AIRPORT | GOLD COAST PREMIER PROPERTIES II LLC | 7500 NW 41ST STREET , MIAMI 33166 | 1185237 | 08/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329393 | 10348 | ALOFT MIAMI AVENTURA | PDOF AVENTURA 2910 LLC | 2910 NE 207 ST , AVENTURA 33180 | 1184185 | 08/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328943 | 13926 | BEST WESTERN PLUS MIAMI DORAL | IRATEL PROPERTIES LLC | 3875 NW 107 AVE , MIAMI 33178 | 1242591 | 08/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at front desk.**Repeat Violation** **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330977 | 114461 | LANAI LANDINGS APARTMENTS | LANAI LANDINGS LLC | 26511 SW 146 CT , PRINCETON 33032 | 1637663 | 08/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Located by meter room. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329242 | 7003 | COURTYARD BY MARRIOTT SOUTH HOMESTEAD | HOMESTEAD VPE HOTEL LLC | 2905 NE 9 ST , HOMESTEAD 33033 | 1185527 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed 130160,130161. 12/13/2024. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329193 | 7593 | SOUTH RIVER SUITES | SOUTH RIVER SUITES LTD | 12484 NW SOUTH RIVER DR , MEDLEY 33178 | 1185388 | 08/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed no boiler certificate available. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300489 | 114339 | GENESIS PROPERTY INVESTMENTS | GENESIS PROPERTY INVESTMENTS LLC | 1442 SW 3 ST , MIAMI 33135 | 1644846 | 08/29/2025 | Complaint Full | Call Back - Extension given, pending | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5. - From follow-up inspection 2025-08-29: Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2322921 | 10756 | LA QUINTA BY WYNDHAM AIRPORT EAST | RORE MANAGEMENT 3501 LLC | 3501 NW 42 AVE , MIAMI 33142 | 1186926 | 08/26/2025 | Complaint Full | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificates for 35426 & 135427, expired on 7-1-24. **Repeat Violation** - From follow-up inspection 2025-08-26: Observed Boiler Certificate for 135427 EXP: 8-9-2026, 135426 EXP: 7-1-24. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2322395 | 55688 | 6055 CORP APTS | 6055 CORP INC | 6345 W 22 CT , HIALEAH 63995 | 1601563 | 08/28/2025 | Routine - Lodging | Call Back - Complied | 01-06-4 | - From initial inspection : Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. By the laundry area. - From follow-up inspection 2025-08-28: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2322395 | 55688 | 6055 CORP APTS | 6055 CORP INC | 6345 W 22 CT , HIALEAH 63995 | 1601563 | 08/28/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-08-28: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330505 | 110045 | BAY VILLAGE 1 | WESTDALE BAY VILLAGE LLC | 18301 S DIXIE HWY , MIAMI 33157 | 1644073 | 08/27/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-08-27: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329342 | 86751 | COURTNEY REALTY LLC | COURTNEY REALTY LLC | 576 NE 63 ST , MIAMI 33138 | 1623752 | 08/28/2025 | Complaint Full | Call Back - Admin. complaint recommended | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher is in need of recharge at entrance of building first floor. - From follow-up inspection 2025-08-28: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329342 | 86751 | COURTNEY REALTY LLC | COURTNEY REALTY LLC | 576 NE 63 ST , MIAMI 33138 | 1623752 | 08/28/2025 | Complaint Full | Call Back - Admin. complaint recommended | 04-04-4 | - From initial inspection : Fire alarm control panel has no power. For reporting purposes only. Observed no power at FACP located at back exit door entrance of the building. - From follow-up inspection 2025-08-28: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2309668 | 53974 | PEREZ APTS | PEREZ REMIGIO | 93 W 16 ST , HIALEAH 03053 | 1598266 | 08/25/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-03-4 | - From initial inspection : Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed missing fire extinguishers from units 2 and 4 at building #93 - From follow-up inspection 2025-08-25: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329541 | 90181 | RED ROAD RENTALS | RED ROAD RENTALS LLC | 282 NW 57 AVE , MIAMI 33126 | 1598397 | 08/29/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-08-29: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2303462 | 80939 | 77 SH INC | 77 SH INC. | 10 NW 77 ST , MIAMI 33150 | 1599263 | 08/27/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 06-01-4 | - From initial inspection : Path to door marked as an exit is blocked. For reporting purposes only. Observed exit stairs blocked by rolling chair. - From follow-up inspection 2025-08-27: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329325 | 107777 | WESTCHESTER APARTMENTS | MBCDC WESTCHESTER APARTMENTS LLC | 516 15 ST , MIAMI BEACH 33139 | 1645177 | 08/27/2025 | Complaint Full | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2002 | Lodging | 4603014 | 16100 | SUPER 8 FORT MYERS | INFINITE 2717 LLC | 2717 COLONIAL BLVD , FORT MYERS 33907 | 1242682 | 08/27/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-03-4 | Scorch marks around an electrical outlet behind the laundry machine at guest laundry. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5201252 | 3955 | OCALA HILTON | MJ OCALA HOTEL ASSOC LTD | 3600 SW 36 AVE , OCALA 44474 | 1185490 | 08/25/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate expired on 08/16/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Martin | 2001 | Lodging | 5300993 | 6207 | PIRATE'S COVE RESORT & MARINA | PAPA SIERRA LLLP | 4307 SE BAYVIEW ST , STUART 34997 | 1185722 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Martin | 2001 | Lodging | 5300742 | 10168 | HUTCHINSON ISLAND MARRIOTT BEACH RESORT & MARINA | MENSA II OCEAN HOTEL TRS LLC | 555 NE OCEAN BLVD , STUART 34996 | 1186352 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5401753 | 16241 | CHEECA LODGE & SPA | NWCL LLC | 81801 OVERSEAS HWY MM82 , ISLAMORADA 33036 | 1241745 | 08/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5401753 | 16241 | CHEECA LODGE & SPA | NWCL LLC | 81801 OVERSEAS HWY MM82 , ISLAMORADA 33036 | 1241745 | 08/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6013279 | 11132 | COURTYARD BY MARRIOTT WEST PALM BEACH AIRPORT | HOTELS OF WEST PALM BEACH LLC | 1800 CENTRE DR. E. , WEST PALM BEACH 33401 | 1184719 | 08/29/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Warning** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6012557 | 108992 | RESERVE AND PARK AT RIVERBRIDGE (RESERVE) | UDR OKEEHEELEE LLC | 50 OLIVE TREE CIR , GREENACRES 33413 | 3659450 | 08/25/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Building 10 first floor fire extinguisher in the red to recharge, discussed with property manager. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6005626 | 16666 | ROYAL PALM MOTEL | SAI AKSHAR 2 LLC | 5445 LAKE WORTH RD , GREENACRES 33463 | 1243477 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Portable Fire extinguisher next to room 102 in recharge zone, discussed with operator. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6001961 | 10700 | ECONOMY INN OF LAKE WORTH | AMISHA INC | 1104 S DIXIE HWY , LAKE WORTH 05232 | 1242745 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Room 214, no smoke detector in room. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6005777 | 16217 | LAGO MOTOR INN | BARON RICHARD | 714 S DIXIE HWY , LAKE WORTH 33460 | 1241712 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. The portable hearing impaired smoke detector light does not illuminate. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405788 | 8629 | EXTENDED STAY AMERICA #1564 | ESA P PORTFOLIO OPERATING LESSEE LLC | 255 BILL FRANCE BLVD , DAYTONA BEACH 32114 | 1187256 | 08/29/2025 | Complaint Partial | Warning Issued | 07-01-4 | Exit light broken by guest laundry. For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405788 | 8629 | EXTENDED STAY AMERICA #1564 | ESA P PORTFOLIO OPERATING LESSEE LLC | 255 BILL FRANCE BLVD , DAYTONA BEACH 32114 | 1187256 | 08/29/2025 | Complaint Partial | Warning Issued | 11-03-4 | Gas water heater disrepair. For reporting purposes only. -per manager 1 water heater is completely not working and the other is waiting on parts | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401228 | 19464 | COVE MOTEL | AMERICANO COVE LLC | 1306 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1241948 | 08/28/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. 500k+ BTU **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7403303 | 19642 | DAYS INN- TROPICAL SEAS | IMPERIUM HOTELS INC. | 3357 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1244009 | 08/28/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -hanging in walk inside commercial laundry room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401092 | 16793 | QUALITY INN | SHRI DAYAVANT LLC | 700 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1242518 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -break rite box , no breaking device, next to 328 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401092 | 16793 | QUALITY INN | SHRI DAYAVANT LLC | 700 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1242518 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405603 | 18382 | SLEEP INN ORMOND BEACH | SOUTHERN SIX HOSPITALITY LLC | 170 WILLIAMSON BOULEVARD , ORMOND BEACH 32174 | 1243624 | 08/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401419 | 15840 | RANCH MOTEL | SHRI DWARKADHISH INC | 1028 RIDGEWOOD AVE , HOLLY HILL 32117 | 1241935 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. -room 6. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406514 | 9332 | DAYTONA AUTOGRAPH COLLECTION | DAYTONA HOTEL ONE LLC | 1870 VICTORY CIR , DAYTONA BEACH 32114 | 1185355 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. -per operator changed insurance company's and waiting for inspection | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406521 | 10218 | DAYTONA GRANDE HOTEL | PROTOGROUP SOUTH TOWER LLC | 422 N. ATLANTIC AVE. , DAYTONA BEACH 32118 | 1185157 | 08/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. -fire marshall database shows suspended boiler certification for establishment for deficiencies noted in chief boiler inspector report, engineer stated read | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402312 | 106566 | NOVA 1400 | SOUTH NOVA PARTNERS LLC | 1400 S NOVA RD , DAYTONA BEACH 32114 | 1645102 | 08/27/2025 | Complaint Full | Call Back - Extension given, pending | 06-02-4 | - From initial inspection : Door marked as an exit is blocked and locked rear door in maintenance garage . For reporting purposes only. - From follow-up inspection 2025-08-27: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402312 | 106566 | NOVA 1400 | SOUTH NOVA PARTNERS LLC | 1400 S NOVA RD , DAYTONA BEACH 32114 | 1645102 | 08/27/2025 | Complaint Full | Call Back - Extension given, pending | 07-01-4 | - From initial inspection : Exit light not functioning at rear door in maintenance garage. For reporting purposes only. - From follow-up inspection 2025-08-27: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406694 | 111845 | ICON ONE DAYTONA | DAYTONA APARTMENT HOLDINGS LLC | 235 HIGHBANKS BLVD , DAYTONA BEACH 32114 | 1645072 | 08/26/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -lobby panel Alarm light,trouble and signal lights on -main panel alarm,signal,trouble lights on Per manager tech return today **Repeat Violation** - From follow-up inspection 2025-08-26: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401228 | 19464 | COVE MOTEL | AMERICANO COVE LLC | 1306 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1241948 | 08/28/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. 500k+ BTU **Repeat Violation** - From follow-up inspection 2025-08-28: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406299 | 117429 | DRIFTWOOD VILLAGE | DIRECT CAPITAL EDGEWATER LLC | 1709 S RIDGEWOOD AVE , EDGEWATER 32132 | 1626271 | 08/25/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Between unit 1 and 2 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.