## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2002 | Lodging | 1100097 | 8030 | TRAVELER'S INN | JAI MA OF GAINESVILLE, INC | 3103 NW 13 ST , GAINESVILLE 92176 | 1241710 | 09/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. No smoke detector in guestroom 225 | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Baker | 2002 | Lodging | 1200071 | 14720 | MOTEL 6 | R K BROTHERS INC | 1499 S 6 ST , MACCLENNY 32063 | 1243589 | 09/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in storage location by unit 110 in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2003 | Lodging | 1305237 | 84185 | EMERALD BAY APARTMENTS | CARR CLEZE LARKIN JR | 258 S ARNOLD RD HWY 79 , PANAMA CITY BEACH 32133 | 1644506 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. On front of unit 104. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1605018 | 17033 | 925 OCEAN RESORT | 925 OCEAN PLACE LLC | 925 SE 20 AVE , DEERFIELD BEACH 33441 | 1243216 | 08/29/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble light illuminated on the fire alarm control panel, in front office. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1612878 | 18663 | HOTOLOS HOLLYWOOD | HOTOLOS HOLLYWOOD LLC | 2520 STIRLING RD , HOLLYWOOD 33020 | 1243007 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed at 411 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620867 | 6573 | CAMBRIA SUITES FT LAUDERDALE | D2 HM INVESTMENTS LLC | 141 SW 19 CT , DANIA 33004 | 1185583 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1619186 | 17902 | EXTENDED STAY AMERICA SUITES #9638 | ESA P PORTFOLIO OPERATING LESSEE LLC | 3873 W COMMERCIAL BLVD , TAMARAC 33309 | 1244104 | 09/02/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-09-02: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Charlotte | 2001 | Lodging | 1801529 | 10371 | HOLIDAY INN EXPRESS AND SUITES PUNTA GORDA | PG HEX LLC | 9075 MAC DR , PUNTA GORDA 33950 | 1185709 | 09/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expiration Date: 01/19/2023. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2003 | Lodging | 2001045 | 115409 | HUNTERS RUN | 1535 BLANDING BLVD (FL) OWNER LLC | 1535 BLANDING BLVD , MIDDLEBURG 32068 | 1645230 | 09/03/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguishers near units 101,1307,1202,1102,907 and 808 are in the recharge zone. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2003 | Lodging | 2001045 | 115409 | HUNTERS RUN | 1535 BLANDING BLVD (FL) OWNER LLC | 1535 BLANDING BLVD , MIDDLEBURG 32068 | 1645230 | 09/03/2025 | Complaint Full | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Fire extinguishers are missing from boxes near units 401,601,508,1108 and 707. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2001 | Lodging | 2000962 | 9529 | HAMPTON INN & SUITES | SAGE MIDDLEBURG HOSPITALITY LLC | 1735 JEREMIAH ST , MIDDLEBURG 32068 | 1185257 | 09/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light showing on fire panel. Manager states a part is needed and due to be replaced/repaired today. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329214 | 11446 | GRAYSON MIAMI | 1100 BISCAYNE OPCO LLC | 1100 BISCAYNE BLVD , MIAMI 33132 | 1185213 | 09/05/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302407 | 119481 | UHLENHAUT INC | UHLENHAUT INC | 265 E 7 ST , HIALEAH 33010 | 1645079 | 09/05/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble alarm illuminated on the fire alarm control panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331238 | 119247 | 2000 BISCAYNE | 2000 BISCAYNE LEASEHOLD LLC | 251 NE 20 ST , MIAMI 33137 | 1644682 | 09/04/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329498 | 10577 | TRU BY HILTON MIAMI WEST BRICKELL | IRAS BRICKELL HOSPITALITY LLC | 1931 SW 3 AVE , MIAMI 33129 | 1184618 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed at third floor next to unit 318. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329335 | 8154 | FLAGLER STATION RESIDENCE INN | DVI CARDEL FLAGLER RESIDENCE LLC | 11500 NW 105 ST , MIAMI 33178 | 1186107 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher next to room 404 in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329211 | 6462 | MIAMI MANSION MOTEL | 611 OKEECHOBEE LLC | 611 E OKEECHOBEE RD , HIALEAH 33010 | 1184900 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed two fire extinguishers locked in a box with no means of access to the fire extinguisher at parking. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2314364 | 91348 | AIJDE WANOUNOU III | ALIJDE WANOUNOU III INC | 1330 NW 2 ST , MIAMI 33130 | 1632178 | 09/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed both fire extinguishers with no means to access the fire extinguishers near to unit 5 and next to mailboxes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329211 | 6462 | MIAMI MANSION MOTEL | 611 OKEECHOBEE LLC | 611 E OKEECHOBEE RD , HIALEAH 33010 | 1184900 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at main office. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329207 | 11576 | SPRINGHILL SUITES MIAMI ARTS/HEALTH DISTRICT | HEALTH DISTRICT HOTEL PARTNERS, LLC | 1311 NW 10TH AVE , MIAMI 33136 | 1187011 | 09/02/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329242 | 7003 | COURTYARD BY MARRIOTT SOUTH HOMESTEAD | HOMESTEAD VPE HOTEL LLC | 2905 NE 9 ST , HOMESTEAD 33033 | 1185527 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed 130160,130161. 12/13/2024. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329326 | 8219 | HOLIDAY INN EXPRESS AND SUITES MIAMI AIRPORT EAST | 2601 MIA LLC | 2601 NW 42 AVE , MIAMI 33142 | 1185668 | 09/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificate 137058 and 137057 both expired on 01-09-2025. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300489 | 114339 | GENESIS PROPERTY INVESTMENTS | GENESIS PROPERTY INVESTMENTS LLC | 1442 SW 3 ST , MIAMI 33135 | 1644846 | 08/29/2025 | Complaint Full | Call Back - Extension given, pending | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5. - From follow-up inspection 2025-08-29: Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300489 | 114339 | GENESIS PROPERTY INVESTMENTS | GENESIS PROPERTY INVESTMENTS LLC | 1442 SW 3 ST , MIAMI 33135 | 1644846 | 09/05/2025 | Complaint Full | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5. - From follow-up inspection 2025-08-29: Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5. **Time Extended** - From follow-up inspection 2025-09-05: Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5 **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329378 | 10060 | ALTAIR HOTEL | PPG BAY HARBOR OWNER LLC | 9540 W BAY HARBOR DR , BAY HARBOR ISLANDS 33154 | 1186298 | 09/04/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed balcony certificates expired for FL 134356, 134355 as of 08/26/2022. - From follow-up inspection 2025-09-04: Observed balcony certificates expired for FL 134356, 134355 as of 08/26/2022. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329541 | 90181 | RED ROAD RENTALS | RED ROAD RENTALS LLC | 282 NW 57 AVE , MIAMI 33126 | 1598397 | 08/29/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-08-29: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613245 | 9212 | SHERATON JACKSONVILLE HOTEL | RBHV JACKSONVILLE LLC | 10605 DEERWOOD PARK BLVD , JACKSONVILLE 32256 | 1185518 | 09/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. One boiler certificate expired 8.25.25. Also, one boiler certificate missing from boiler room. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200101 | 16507 | LAKEPORT HUNTING & FISHING LODGE | BONNIE R. DRIGGERS, INVEST. | 1077 LAKEPORT PLAZA , LAKEPORT 33471 | 1243004 | 09/05/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only: between units 107 and 106, also at unit 126 **Repeat Violation** - From follow-up inspection 2025-09-05: Operator has contacted them to recharge but it has not been recharged. **Time Extended** **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3905670 | 9093 | EMBASSY SUITES BY HILTON TAMPA AIRPORT WESTSHORE | WESTSHORE HOTEL OWNER LLC | 555 N WESTSHORE BLVD , TAMPA 33609 | 1184792 | 09/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2002 | Lodging | 4100202 | 16887 | OCEAN BREEZE INN VERO BEACH | VELOGAN INC | 3384 OCEAN DR , VERO BEACH 32963 | 1243277 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. System trouble alerted- battery charger trouble | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5202478 | 9293 | SPRINGHILL SUITES OCALA | M & S CAPITAL PARTNERS LLC | 4100 SW 40 ST , OCALA 34474 | 1184714 | 09/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. On 7th floor near room 702. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Martin | 2001 | Lodging | 5300993 | 6207 | PIRATE'S COVE RESORT & MARINA | PAPA SIERRA LLLP | 4307 SE BAYVIEW ST , STUART 34997 | 1185722 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Martin | 2001 | Lodging | 5300742 | 10168 | HUTCHINSON ISLAND MARRIOTT BEACH RESORT & MARINA | MENSA II OCEAN HOTEL TRS LLC | 555 NE OCEAN BLVD , STUART 34996 | 1186352 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5403195 | 8172 | MARRIOTT COURTYARD | MARATHON HOSPITALITY LLC | 2146 OVERSEAS HWY , MARATHON 33050 | 1185166 | 09/02/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5403212 | 9773 | BLUE WATER RESORT HOSPITALITY LLC | BLUE WATER RESORT HOSPITALITY LLC | 2222 OVERSEAS HWY , MARATHON 33050 | 1183940 | 09/02/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5403195 | 8172 | MARRIOTT COURTYARD | MARATHON HOSPITALITY LLC | 2146 OVERSEAS HWY , MARATHON 33050 | 1185166 | 09/02/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5403212 | 9773 | BLUE WATER RESORT HOSPITALITY LLC | BLUE WATER RESORT HOSPITALITY LLC | 2222 OVERSEAS HWY , MARATHON 33050 | 1183940 | 09/02/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only.FL 131814 3/22/24 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400075 | 18737 | ANGLER (BLDG 1), ATLANTIC SUNRISE (BLDG 2), MIRAMAR (BLDG 3) | PC INN RESORT, LLC | 84001 OVERSEAS HWY , ISLAMORADA 33036 | 1242374 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400007 | 18738 | THREE WATERS RESORT MARINA - SCARLET CORAL COTTAGES | PC INN RESORT, LLC | 84001 OVERSEAS HWY , ISLAMORADA 33036 | 1242325 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400679 | 18739 | THREE WATERS RESORT MARINA - ISLA (B4), WINDLEY (B5) | PC INN RESORT, LLC | 84001 OVERSEAS HWY , ISLAMORADA 33036 | 1243376 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809240 | 10252 | HOLIDAY INN RESORT ORLANDO SUITES - WATERPARK | EAGLE TRS 9 LLC | 14500 CONTINENTAL GATEWAY , ORLANDO 32821 | 1187234 | 09/02/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5810516 | 9105 | COUNTRY INN & SUITES ORLANDO AIRPORT | CNI THL OPS LLC | 5440 FORBES PL , ORLANDO 32812 | 1184603 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. (#133807 #133808#131555 expired 4-10-2025) | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809240 | 10252 | HOLIDAY INN RESORT ORLANDO SUITES - WATERPARK | EAGLE TRS 9 LLC | 14500 CONTINENTAL GATEWAY , ORLANDO 32821 | 1183872 | 09/02/2025 | Complaint Full | Call Back - Extension given, pending | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-09-02: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1187351 | 09/02/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6013279 | 11132 | COURTYARD BY MARRIOTT WEST PALM BEACH AIRPORT | HOTELS OF WEST PALM BEACH LLC | 1800 CENTRE DR. E. , WEST PALM BEACH 33401 | 1184719 | 08/29/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Warning** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6005626 | 16666 | ROYAL PALM MOTEL | SAI AKSHAR 2 LLC | 5445 LAKE WORTH RD , GREENACRES 33463 | 1243477 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Portable Fire extinguisher next to room 102 in recharge zone, discussed with operator. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6001961 | 10700 | ECONOMY INN OF LAKE WORTH | AMISHA INC | 1104 S DIXIE HWY , LAKE WORTH 05232 | 1242745 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Room 214, no smoke detector in room. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2002 | Lodging | 6005777 | 16217 | LAGO MOTOR INN | BARON RICHARD | 714 S DIXIE HWY , LAKE WORTH 33460 | 1241712 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. The portable hearing impaired smoke detector light does not illuminate. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6201769 | 5219 | SAFETY HARBOR RESORT | SHS RESORTS LLC | 105 N BAYSHORE DR , SAFETY HARBOR 34695 | 1187257 | 09/04/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boilers were inspected by the fire marshal on 10/7/24. Establishment had attempted to to get certificate from the state and are being told that they are behind in issuing certificates. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215767 | 11580 | HILTON HOTEL ST. PETERSBURG CARILLON PARK | HOSP STPFL CAR LLC | 950 LAKE CARILLON DR , ST. PETERSBURG 33716 | 1187159 | 09/02/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2001 | Lodging | 6804763 | 8845 | ART OVATION HOTEL | PALM AVENUE HOSPITALITY HOLDINGS LLC | 1255 N PALM AVE , SARASOTA 34236 | 1183961 | 09/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903392 | 11510 | COURTYARD LAKE MARY | YOURWAY HOSPITALITY LAKE MARY LLC | 135 INTERNATIONAL PKWY , LAKE MARY 32746 | 1185573 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406039 | 110845 | HUNTERS CREEK APRTMENTS | SAS SPRING ARBOR MANGERSS LLC | 930 HUNTERS CREEK DR , DELAND 32720 | 1645168 | 09/02/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405788 | 8629 | EXTENDED STAY AMERICA #1564 | ESA P PORTFOLIO OPERATING LESSEE LLC | 255 BILL FRANCE BLVD , DAYTONA BEACH 32114 | 1187256 | 08/29/2025 | Complaint Partial | Warning Issued | 07-01-4 | Exit light broken by guest laundry. For reporting purposes only. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405788 | 8629 | EXTENDED STAY AMERICA #1564 | ESA P PORTFOLIO OPERATING LESSEE LLC | 255 BILL FRANCE BLVD , DAYTONA BEACH 32114 | 1187256 | 08/29/2025 | Complaint Partial | Warning Issued | 11-03-4 | Gas water heater disrepair. For reporting purposes only. -per manager 1 water heater is completely not working and the other is waiting on parts | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406515 | 19006 | STUDIO ONE | 1700 ATLANTIC AVE LLC | 1700 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1242085 | 09/03/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -breaking device missing on box behind unit 21 on backside | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401092 | 16793 | QUALITY INN | SHRI DAYAVANT LLC | 700 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1242518 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -break rite box , no breaking device, next to 328 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406516 | 9779 | COMFORT SUITES SPEEDWAY | SILVER EAGLES 2011 LLC | 2900 W. INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32124 | 1184169 | 09/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -Supervisory and silenced light on | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401092 | 16793 | QUALITY INN | SHRI DAYAVANT LLC | 700 N ATLANTIC AVE , DAYTONA BEACH 32118 | 1242518 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401419 | 15840 | RANCH MOTEL | SHRI DWARKADHISH INC | 1028 RIDGEWOOD AVE , HOLLY HILL 32117 | 1241935 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. -room 6. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405753 | 17704 | ECONOLODGE | N3 CAPITAL GROUP LLC | 1614 N US 1 , ORMOND BEACH 32174 | 1241798 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet detached from wall. For reporting purposes only. -room 147. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406514 | 9332 | DAYTONA AUTOGRAPH COLLECTION | DAYTONA HOTEL ONE LLC | 1870 VICTORY CIR , DAYTONA BEACH 32114 | 1185355 | 08/29/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. -per operator changed insurance company's and waiting for inspection | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406516 | 9779 | COMFORT SUITES SPEEDWAY | SILVER EAGLES 2011 LLC | 2900 W. INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32124 | 1184169 | 09/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-07-4 | Gas water not properly vented. For reporting purposes only. -screen on middle water states Blocked Exhaust | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402312 | 106566 | NOVA 1400 | SOUTH NOVA PARTNERS LLC | 1400 S NOVA RD , DAYTONA BEACH 32114 | 1645102 | 09/04/2025 | Complaint Full | Call Back - Complied | 06-02-4 | - From initial inspection : Door marked as an exit is blocked and locked rear door in maintenance garage . For reporting purposes only. - From follow-up inspection 2025-08-27: **Time Extended** - From follow-up inspection 2025-09-04: Gate in front of door unlocked. 2 slide locks on door | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405788 | 8629 | EXTENDED STAY AMERICA #1564 | ESA P PORTFOLIO OPERATING LESSEE LLC | 255 BILL FRANCE BLVD , DAYTONA BEACH 32114 | 1187256 | 09/02/2025 | Complaint Partial | Call Back - Complied | 11-03-4 | - From initial inspection : Gas water heater disrepair. For reporting purposes only. -per manager 1 water heater is completely not working and the other is waiting on parts - From follow-up inspection 2025-09-02: Per manager repaired one water heater. The other needs to be replaced. Per manager there is hot water to building **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.