## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Brevard | 2003 | Lodging | 1505700 | 115738 | MERI PALM BAY | MOGRA CIRCLE, LLC | 1880 MOGRA CIRCLE , PALM BAY 32905 | 1645263 | 09/10/2025 | Complaint Full | Administrative complaint recommended | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. Scheduled to be repaired next week. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1618108 | 118642 | PALM HAVEN | DD DEERCREEK JV LLC | 500 JEFFERSON DR , DEERFIELD BEACH 33442 | 1645246 | 09/08/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Alarm building 18 Supervsry AR | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Clay | 2003 | Lodging | 2000491 | 112186 | ALEXANDER POINTE | 2121 BURWICK OWNER, LLC | 2121 BURWICK AVE , ORANGE PARK 32073 | 1645282 | 09/10/2025 | Complaint Full | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet/electrical pole damaged to indicate a malfunction. For reporting purposes only. Community light poles between buildings 26/27,25/24,23/22,17/18,16/17 and 14/15 are leaning. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102708 | 11202 | GREAT WOLF LODGE SOUTHWEST FLORIDA | GWR NAPLES LLC | 3900 CITY GATE BLVD N , NAPLES 34117 | 1186553 | 09/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble alarm on fire panel. Operator stated new speakers being installed for system. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329254 | 10122 | ROAMI | ILDAR VENTURES LLC | 1701 SW 2ND AVE , MIAMI 33129 | 1185478 | 09/12/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed fire alarm located at pump equipment room | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329214 | 11446 | GRAYSON MIAMI | 1100 BISCAYNE OPCO LLC | 1100 BISCAYNE BLVD , MIAMI 33132 | 1185213 | 09/05/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329688 | 119265 | EASYINVEST 4 | EASYINVEST 4 LLC | 136 NE 60 ST , MIAMI 33137 | 1644820 | 09/11/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302407 | 119481 | UHLENHAUT INC | UHLENHAUT INC | 265 E 7 ST , HIALEAH 33010 | 1645079 | 09/05/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble alarm illuminated on the fire alarm control panel. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329498 | 10577 | TRU BY HILTON MIAMI WEST BRICKELL | IRAS BRICKELL HOSPITALITY LLC | 1931 SW 3 AVE , MIAMI 33129 | 1184618 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed at third floor next to unit 318. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2320410 | 18920 | YES MOTEL | DIXIE MOTEL MANAGEMENT LLC | 28475 S DIXIE HWY , HOMESTEAD 33033 | 1242982 | 09/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed by rooms 38 and 36. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329200 | 6369 | OCEAN REEF HOTEL | 1130 COLLINS LLC | 1130 COLLINS AVE , MIAMI BEACH 33139 | 1185769 | 09/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2304612 | 7230 | SOUTH BEACH HOTEL | COLLINS PARK HOTEL LLC | 236 21 ST , MIAMI BEACH 33139 | 1184854 | 09/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328390 | 8275 | SAGAMORE MIAMI BEACH | EBJ/INSITE SAGAMORE LLC | 1671 COLLINS AVE , MIAMI BEACH 33139 | 1184195 | 09/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329373 | 8830 | HAMPTON INN MIAMI AIRPORT EAST | MIAMI AIRPORT LODGING LLC | 3449 NW 42 AVE , MIAMI 33142 | 1184393 | 09/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329295 | 9189 | BOULAN HOTEL | THINK PROPERTIES LLC | 220 21 ST , MIAMI BEACH 33139 | 1184458 | 09/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329303 | 9307 | 1 HOTEL SOUTH BEACH | 1 SB LESSEE LLC | 2341 COLLINS AVE , MIAMI BEACH 33139 | 1185309 | 09/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2312664 | 54976 | 13380 PORT SAID RD. APARTMENTS | QVH CORP (THE) | 13380 PORT SAID RD , OPA LOCKA 44895 | 1641292 | 09/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-06-4 | Door marked as an exit locked with a lock that requires a key. For reporting purposes only. Backyard gate closed with padlock. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328390 | 8275 | SAGAMORE MIAMI BEACH | EBJ/INSITE SAGAMORE LLC | 1671 COLLINS AVE , MIAMI BEACH 33139 | 1184195 | 09/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed the boiler certificate expired 09-07-2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329527 | 11264 | GALE MIAMI HOTEL AND RESIDENCES | 601 HOTEL PROPCO, LLC | 601 NE 1 AVE , MIAMI 33132 | 1185566 | 09/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300489 | 114339 | GENESIS PROPERTY INVESTMENTS | GENESIS PROPERTY INVESTMENTS LLC | 1442 SW 3 ST , MIAMI 33135 | 1644846 | 09/05/2025 | Complaint Full | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5. - From follow-up inspection 2025-08-29: Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5. **Time Extended** - From follow-up inspection 2025-09-05: Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By unit 5 **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
DeSoto | 2005 | Lodging | - | 2105 | OAK TREE HOTEL | OAK TREE HOTEL LLC | 6 WEST OAK ST STE 6 , ARCADIA 63912 | 1097248 | 09/05/2025 | Complaint Full | Warning Issued | 01-02-4 | Observed: Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed two fire extinguishers, one by front desk and one by the front entrance. Priority: Reporting | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613244 | 104989 | MEZZA | MEZZA LP | 11701 PALM LAKE DR , JACKSONVILLE 32218 | 1642696 | 09/08/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. In office, fire panel flashing trouble message. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2603661 | 19203 | BAYMONT BY WYNDHAM JACKSONVILLE AIRPORT | DEVELOPER HOTELS JAX | 1153 AIRPORT RD , JACKSONVILLE 32218 | 1241641 | 09/10/2025 | Complaint Full | Call Back - Extension given, pending | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. In room 203, hearing impaired smoke detector does not activate when test button pushed. **Warning** - From follow-up inspection 2025-09-10: Room 203 occupied at time of callback. Manager stated occupants are checking out tomorrow. Inspector will return tomorrow, do not rent room until it has been inspected. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2001 | Lodging | 2705805 | 11271 | COURTYARD BY MARRIOTT DOWTOWN PENSACOLA | PNS HOTEL PARTNERS LLC I | 700 E CHASE ST , PENSACOLA 32502 | 1185274 | 09/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed expired boiler certificates 3-10-25 and 3-10-25. Operator stated they have had an inspection but not yet received their updated certificate from the state. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Glades | 2002 | Lodging | 3200101 | 16507 | LAKEPORT HUNTING & FISHING LODGE | BONNIE R. DRIGGERS, INVEST. | 1077 LAKEPORT PLAZA , LAKEPORT 33471 | 1243004 | 09/05/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only: between units 107 and 106, also at unit 126 **Repeat Violation** - From follow-up inspection 2025-09-05: Operator has contacted them to recharge but it has not been recharged. **Time Extended** **Corrective Action Taken** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3905679 | 10312 | WESTSHORE GRAND | GPIF A7 WESTSHORE OPERATOR LLC | 4860 W KENNEDY BLVD , TAMPA 33609 | 1184150 | 09/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2002 | Lodging | 4100202 | 16887 | OCEAN BREEZE INN VERO BEACH | VELOGAN INC | 3384 OCEAN DR , VERO BEACH 32963 | 1243277 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. System trouble alerted- battery charger trouble | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5400696 | 11463 | HAWKS CAY RESORT | KEYS HOTEL OPERATOR LLC | 61 HAWKS CAY BLVD , DUCK KEY 33050 | 1184155 | 09/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400075 | 18737 | ANGLER (BLDG 1), ATLANTIC SUNRISE (BLDG 2), MIRAMAR (BLDG 3) | PC INN RESORT, LLC | 84001 OVERSEAS HWY , ISLAMORADA 33036 | 1242374 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400007 | 18738 | THREE WATERS RESORT MARINA - SCARLET CORAL COTTAGES | PC INN RESORT, LLC | 84001 OVERSEAS HWY , ISLAMORADA 33036 | 1242325 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2002 | Lodging | 5400679 | 18739 | THREE WATERS RESORT MARINA - ISLA (B4), WINDLEY (B5) | PC INN RESORT, LLC | 84001 OVERSEAS HWY , ISLAMORADA 33036 | 1243376 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5400696 | 11463 | HAWKS CAY RESORT | KEYS HOTEL OPERATOR LLC | 61 HAWKS CAY BLVD , DUCK KEY 33050 | 1184155 | 09/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5810505 | 101884 | DEBRA METROWEST | BR METROWEST LLC | 2450 LAKE DEBRA DR , ORLANDO 32835 | 1636691 | 09/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -panel in lobby | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5810943 | 114567 | ESTATES AT PARK AVENUE | PARK AVE MULTIFAMILY PARTNERS LLC | 2801 BILTMORE PARK DR , ORLANDO 32835 | 1643330 | 09/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -panel in main lobby at front door | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5810516 | 9105 | COUNTRY INN & SUITES ORLANDO AIRPORT | CNI THL OPS LLC | 5440 FORBES PL , ORLANDO 32812 | 1184603 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. (#133807 #133808#131555 expired 4-10-2025) | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215803 | 8242 | OPAL SANDS RESORT | CLEARMAR LLC | 430 S GULFVIEW BLVD , CLEARWATER 33767 | 1184477 | 09/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215810 | 8568 | FAIRFIELD INN AND SUITES BY MARRIOTT | BAY ESPLANADE PROJECT LLC | 650 BAY ESPLANADE , CLEARWATER BEACH 33767 | 1184216 | 09/11/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215851 | 11096 | HIATUS CLEARWATER | GULFVIEW LODGING LLP | 385 S GULFVIEW BLVD , CLEARWATER 33767 | 1186215 | 09/11/2025 | Routine - Lodging | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Fl 136340, fl 136336, fl 136339, expired 4/3/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2001 | Lodging | 6804748 | 8345 | SLEEP INN | D & K HOTEL INVESTMENT LLC | 900 UNIVERSITY PKWY , SARASOTA 34234 | 1184903 | 09/10/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed the front desk extinguisher in the recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903392 | 11510 | COURTYARD LAKE MARY | YOURWAY HOSPITALITY LAKE MARY LLC | 135 INTERNATIONAL PKWY , LAKE MARY 32746 | 1185573 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406604 | 112587 | RCH REALTY LLC | RCH REALTY LLC | 805 LOUISVILLE STREET , PORT ORANGE 32129 | 1629599 | 09/12/2025 | Routine - Lodging | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -breaking device missing from chain at glass panel box behind front building -breaking device missing from unit on backside id 2nd building -breaking device missing from unit on wall next to door to 8 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406606 | 103338 | VIRGIL AND ELLEN ROSENFELD FAMILY TRUST | VIRGIL AND ELLEN ROSENFELD FAMILY TRUST | 419 N WILD OLIVE AVE , DAYTONA BEACH 32118 | 1627419 | 09/12/2025 | Routine - Lodging | Warning Issued | 06-01-4 | Path to fire escape exit is blocked. For reporting purposes only. -stairway obstructed by large refrigerator on steps | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401632 | 17446 | HOLIDAY INN RESORT DAYTONA BEACH OCEAN FRONT | HIR DB OPCP LLC | 1615 S ATLANTIC AVE , DAYTONA BEACH 32118 | 1242137 | 09/10/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405753 | 17704 | ECONOLODGE | N3 CAPITAL GROUP LLC | 1614 N US 1 , ORMOND BEACH 32174 | 1241798 | 09/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet detached from wall. For reporting purposes only. -room 147. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406520 | 10076 | EXTENDED STAY AMERICA #9512 | ESA P PORTFOLIO OPERATING LESSEE LLC | 275 INTERCHANGE BLVD , ORMOND BEACH 32174 | 1186023 | 09/09/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406367 | 114178 | 100 CAROLINA LAKE DRIVE FL OWNER LLC | BREIT OPERATING PARTNERSHIP LLC | 100 CAROLINA LAKE DR , DAYTONA BEACH 32114 | 1597959 | 09/11/2025 | Routine - Lodging | Call Back - Complied | 04-03-4 | - From initial inspection : Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. -132-206 detector beeping. - From follow-up inspection 2025-08-11: Currently occupied Per maintenance has been repaired **Time Extended** - From follow-up inspection 2025-09-11: Currently occupied **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.