## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2001 | Lodging | 1102967 | 8612 | STAYBRIDGE SUITES/HOLIDAY INN EXPRESS | K3 GAINESVILLE LLC | 3370 SW 42ND ST , GAINESVILLE 32608 | 1185171 | 09/22/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed the Fire extinguisher in laundry is not fully charged. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1303765 | 8253 | HOLIDAY INN SUNSPREE | HILTON INC | 11127 W FRONT BCH RD , PANAMA CITY BCH 73529 | 1243665 | 09/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619591 | 3301 | COMFORT INN | DHM INVESTMENTS INC | 3551 W COMMERCIAL BLVD , FORT LAUDERDALE 33309 | 1184759 | 09/24/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1620651 | 76016 | FALL AT MARINA BAY APARTMENTS | FALLS AT MARINA BAY LP | 2600 MARINA BAY DR EAST , FORT LAUDERDALE 33312 | 1641323 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Next to unit 4-103 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1620651 | 76016 | FALL AT MARINA BAY APARTMENTS | FALLS AT MARINA BAY LP | 2600 MARINA BAY DR EAST , FORT LAUDERDALE 33312 | 1641323 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Outside stairwell near 4-110 First floor lobby 5-107 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1603868 | 96287 | FLOYD AFFORDABLE RENTALS | SADAKCA INC | 915 NW 5 ST , FORT LAUDERDALE 33311 | 1634844 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed two (2) missing, by Units# 5 & 4. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Charlotte | 2003 | Lodging | 1800016 | 49735 | FLAMINGO MOTEL & APTS | GUMMO RONALD | 12420 TAMIAMI TRL , PUNTA GORDA 52401 | 1625094 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Observed no smoke detector at unit 8. Operator in the process of installing it. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2002 | Lodging | 2100275 | 8920 | MOTEL 82 | BLOCKER KENNETH J | 1700 STATE RD 82 , IMMOKALEE 34142 | 1242364 | 09/24/2025 | Routine - Lodging | Call Back - Complied | 04-03-4 | - From initial inspection : Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. Smoke alarm missing in room 115. - From follow-up inspection 2025-09-24: Observed smoke detector missing in room 115. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329375 | 8850 | RESIDENCE INN BY MARRIOTT (SUNNY ISLES) | 17700 COLLINS AVENUE OWNER LLC | 17700 COLLINS AVENUE , SUNNY ISLES 33160 | 1184911 | 09/22/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329486 | 10337 | ESMÈ MIAMI BEACH | INFINITY ESPANOLA HOTEL VENTURE LLC | 1434-1438 WASHINGTON AVE , MIAMI BEACH 33139 | 1185813 | 09/24/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329428 | 10749 | VENEZIA AT MINE | VENEZIA AT MINE LLC | 3865 INDIAN CREEK DR , MIAMI BEACH 33140 | 1186244 | 09/24/2025 | Routine - Lodging | Warning Issued | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. As per person in charge, there is a scheduled fire inspection next week. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331384 | 118081 | AVIDA | AVENTURA OWNERS LLC | 19401 W DIXIE HWY , AVENTURA 33180 | 1622826 | 09/23/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331386 | 119603 | MAGNUS BRICKELL | GALLERY AT WEST BRICKELL LLC | 201 SW 10 ST , MIAMI 33130 | 1645135 | 09/25/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2331386 | 119603 | MAGNUS BRICKELL | GALLERY AT WEST BRICKELL LLC | 201 SW 10 ST , MIAMI 33130 | 1645135 | 09/25/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329526 | 11234 | BLU VACATION RENTAL | BLU VACATION RENTALS LLC | 5445 COLLINS AVE CU20 , MIAMI BEACH 33140 | 1185098 | 09/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. ort has been provided electronically as requested by the person in charge at the time of inspection. Observed fire extinguisher located at the side of the office with no means of access, no breaking device. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2305718 | 18584 | UNIQUE MOTEL | MIAMI MOTEL LLC | 511-555 E OKEECHOBEE RD , HIALEAH 33010 | 1243320 | 09/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed fire extinguishers next to rooms 203, 209 and and ne t had been tapped making it unable to access. Operator removed the tapes. **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329526 | 11234 | BLU VACATION RENTAL | BLU VACATION RENTALS LLC | 5445 COLLINS AVE CU20 , MIAMI BEACH 33140 | 1185098 | 09/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300246 | 105705 | RALGO 3 APTS LLC | RALGO 3 APARTMENTS LLC | 6437 WEST FLAGLER ST , MIAMI 33144 | 1635565 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed on first floor across from unit #4. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328934 | 4923 | RESIDENCE INN AT AVENTURA MALL | N SITE LIMITED PARTNERSHIP | 19900 W COUNTRY CLUB DR , AVENTURA 33180 | 1186090 | 09/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2305549 | 7380 | PLYMOUTH HOTEL | PLYMOUTH HOTEL LLC | 336 21 ST , MIAMI BEACH 33139 | 1184473 | 09/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329270 | 7429 | GRAND BEACH HOTEL SURFSIDE | BEACH HOUSE HOTEL LLC | 9449 COLLINS AVE , SURFSIDE 33154 | 1184207 | 09/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2301413 | 9650 | CASA MATANZA | INFINITY ESPANOLA HOTEL VENTURE LLC | 506 ESPANOLA WAY , MIAMI BEACH 33139 | 1184987 | 09/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328942 | 10222 | FOUR SEASONS HOTEL MIAMI | FSM HOTEL OWNER LLC | 1435 BRICKELL AVE , MIAMI 33131 | 1184102 | 09/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329331 | 10350 | RESIDENCE INN MIAMI BEACH SURFSIDE | CONTINENTAL SURFSIDE LLC | 9200 COLLINS AVE , SURFSIDE 33154 | 1183964 | 09/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329509 | 10810 | FOUND HOTEL MIAMI BEACH | 2925 INDIAN CREEK DR LLC | 2925 INDIAN CREEK DR , MIAMI BEACH 33140 | 1185578 | 09/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light on in the panel located behind the front desk. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329514 | 10857 | SONDER HOSPITALITY USA INC | SONDER HOSPITALITY USA INC | 2925 INDIAN CREEK DR , MIAMI BEACH 33140 | 1186344 | 09/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329293 | 11288 | 6345 ACTIVATE MB LLC | 6345 ACTIVATE MB LLC | 6345 COLLINS AVE , MIAMI BEACH 33141 | 1184123 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329896 | 99079 | MELODY TOWER | OPERA PLAZA LLC | 245 NE 14 ST MANAGEMENT OFFICE , MIAMI 33132 | 1633483 | 09/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329388 | 8888 | MONTE CARLO | KEY MONTE CARLO LLC | 6551 COLLINS AVE STE 100 , MIAMI BEACH 33141 | 1186141 | 09/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329062 | 79484 | CALUSA COVE | WATERSIDE APARTMENTS LTD | 8000 SW 210 ST , MIAMI 33189 | 1642837 | 09/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. Observed fire alarm paneling showing the system trouble and system silence is triggered. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329270 | 7429 | GRAND BEACH HOTEL SURFSIDE | BEACH HOUSE HOTEL LLC | 9449 COLLINS AVE , SURFSIDE 33154 | 1184207 | 09/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329293 | 11288 | 6345 ACTIVATE MB LLC | 6345 ACTIVATE MB LLC | 6345 COLLINS AVE , MIAMI BEACH 33141 | 1184123 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310740 | 54454 | BISCAYNE GARDENS APTS | B&J PROPERTY MANAGEMENT | 15555 NW 2 AVE , MIAMI 96783 | 1592270 | 09/22/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-01-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. By apartment 102. - From follow-up inspection 2025-09-22: Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. By apartment 102. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310740 | 54454 | BISCAYNE GARDENS APTS | B&J PROPERTY MANAGEMENT | 15555 NW 2 AVE , MIAMI 96783 | 1592270 | 09/22/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By apartment 105. - From follow-up inspection 2025-09-22: Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By apartment 105. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302263 | 95301 | 430 SW 3RD ST APARTMENTS | 430 SW 3RD ST LLC | 430 SW 3 ST , MIAMI 33130 | 1634130 | 09/25/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-03-4 | - From initial inspection : Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed missing fire extinguisher on first level at building 436. - From follow-up inspection 2025-09-25: Observed missing fire extinguisher on first level at building 436. **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2304248 | 10193 | DECO MODE HOTEL | HARRISON HOTEL, INC | 411 WASHINGTON AVE , MIAMI BEACH 33139 | 1185483 | 09/26/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-09-26: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2608252 | 16683 | RED ROOF INN | SUNSTAR ORANGEPARK INC | 6099 YOUNGERMAN CIR , JACKSONVILLE 32244 | 1243314 | 09/19/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Portable fire extinguishers missing from red boxes near unit #137 and #111. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2608182 | 15832 | KNIGHTS INN | SHIRDI LLC | 8285 DIX ELLIS TRAIL , JACKSONVILLE 32256 | 1243831 | 09/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher by 313 in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613267 | 10874 | EXTENDED STAY AMERICA SELECT SUITES | TIGER HOTEL TERM TRS SUB LLC | 10520 BALMORAL CIR W , JACKSONVILLE 32218 | 1184420 | 09/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. At front desk area, trouble light lite on fire alarm control panel, FS Trouble on screen. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2613193 | 5048 | FAIRFIELD INN & SUITES | JELMS HOTEL COMPANY LP | 1616 1 ST N , JACKSONVILLE BEACH 32250 | 1185039 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed Boiler certificate expired Jurisdiction #140596-expiration date 5-11-2025,Jurisdiction #140595 -expiration date 5-11-2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2607032 | 107167 | PEOPLES CHOICE APARTMENTS | JJTA 19 REAL PROPERTIES LLC | 1661 RYAR RD , JACKSONVILLE 32216 | 1645374 | 09/19/2025 | Complaint Full | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher by 1661 in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2001 | Lodging | 2705810 | 6294 | SOLE' INN AND SUITES | GULF BREEZE HOTEL GROUP INC | 200 N PALAFOX STREET , PENSACOLA 32502 | 1184665 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate provided was expired. Jan 2010. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2001 | Lodging | 2705427 | 11272 | RESIDENCE INN PENSACOLA DOWNTOWN | PNS HOTEL PARTNERS - II, LLC | 601 E CHASE ST , PENSACOLA 32502 | 1184298 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Certificate expired 3-9-2023. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Gilchrist | 2002 | Lodging | 3100004 | 18450 | CADILLAC MOTEL | JANVI AND KRISH LLC | 7490 N HWY 19 , FANNING SPRINGS 32693 | 1241907 | 09/22/2025 | Routine - Lodging | Administrative complaint recommended | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Smoke detector missing inside room #129. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2001 | Lodging | 3600462 | 5540 | HOLIDAY INN EXPRESS HOTEL & SUITES | SHELINI HOSPITALITY | 1024 W SUGARLAND HWY , CLEWISTON 33440 | 1185834 | 09/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Jurisdiction FL136106 7/12/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2001 | Lodging | 3800040 | 3796 | JACARANDA HOTEL | SOUTH FLORIDA COMM COLLEGE | 19 E MAIN ST , AVON PARK 53942 | 1185770 | 09/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only in laundry room. Operator has called for repair. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2001 | Lodging | 3800996 | 11376 | ROANOKE HOTEL | ROANOKE HOTEL, INC. | 211 CIR PARK DR , SEBRING 33870 | 1185147 | 09/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2001 | Lodging | 3800040 | 3796 | JACARANDA HOTEL | SOUTH FLORIDA COMM COLLEGE | 19 E MAIN ST , AVON PARK 53942 | 1185770 | 09/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Jurisdiction 097865 3/22/25, 057118 3/22/25 Operator called State Fire and they will send the most current report. **Corrective Action Taken** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913635 | 6557 | HAMPTON INN BY HILTON TAMPA FAIRGROUNDS CASINO | TAMPA BAY HOTELS LLC | 4506 OAK FAIR BLVD , TAMPA 33610 | 1185954 | 09/26/2025 | Routine - Lodging | Warning Issued | 06-02-4 | Door marked as an exit is blocked. For reporting purposes only. Observed exit door inside of laundry room blocked by trash wheelbarrow. Employee removed. **Corrected On-Site** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5810160 | 4171 | DISNEY'S ANIMAL KINGDOM LODGE | WALT DISNEY WORLD HOSPITALITY | 2901 OSCEOLA PKWY , BAY LAKE 32830 | 1187505 | 09/22/2025 | Complaint Full | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificates or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-09-22: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811119 | 111370 | ARIUM CROWNTREE LAKES | CTL PROPERTY OWNER LLC | 5759 CROWNTREE LN , ORLANDO 32829 | 1631592 | 09/20/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-09-20: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2003 | Lodging | 5811119 | 111370 | ARIUM CROWNTREE LAKES | CTL PROPERTY OWNER LLC | 5759 CROWNTREE LN , ORLANDO 32829 | 1631592 | 09/19/2025 | Routine - Lodging | Administrative complaint recommended | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6006372 | 89927 | BOCA COLONY | BOCA COLONY ACQUISTIONS LTD | 6061 BOCA COLONY DR , BOCA RATON 33433 | 1630646 | 09/26/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Outside of unit 311 Outside of unit 214 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6216043 | 107490 | GULL HARBOR APARTMENTS | GLHF LLC | 17105 GULF BLVD , NORTH REDINGTON BEAC 33708 | 1645362 | 09/22/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Active alarm observed on FACP in laundry room | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Santa Rosa | 2003 | Lodging | 6700064 | 119763 | BREEZE APARTMENTS | BREEZE APARTMENTS LLC | 75 NIGHTINGALE LN , GULF BREEZE 32561 | 1645391 | 09/23/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Apartment 112-111 Apartment 110-09 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6900416 | 101491 | GOLDELM AT CHARTER POINTE APARTMENTS | GOLDELM AT CHARTER POINTE LLC | 919 BALLARD ST , ALTAMONTE SPRINGS 32701 | 1645363 | 09/22/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble light and alarm, FACP box by 869C. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2002 | Lodging | 6902879 | 18989 | DAYS INN | LD HOSPITALITY INC | 8245 S US HWY 17-92 , FERN PARK 32730 | 1244746 | 09/23/2025 | Complaint Full | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406503 | 7628 | RESIDENCE INN DAYTONA OCEANFRONT | AVISTA PROPERTIES II LLC | 3209 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1186193 | 09/22/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -slave panel at front entrance | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406503 | 7628 | RESIDENCE INN DAYTONA OCEANFRONT | AVISTA PROPERTIES II LLC | 3209 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1186193 | 09/22/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. -2 water heaters inside boiler room are 130 gallon capacity tanks. Provided boiler safety bulletin via email. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401634 | 18380 | DAYS INN | STARR HOSPITALITY LLC | 1608 N US HWY 1 , ORMOND BEACH 32174 | 1244721 | 09/22/2025 | Complaint Full | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. -room 109. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401634 | 18380 | DAYS INN | STARR HOSPITALITY LLC | 1608 N US HWY 1 , ORMOND BEACH 32174 | 1244721 | 09/22/2025 | Complaint Full | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. -smoke detector covered with plastic in room 210. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406676 | 109923 | GRANDVIEW APARTMENTS | PINTO ARTHUR A | 927 N GRAND VIEW AVE , DAYTONA BEACH 32118 | 1640838 | 09/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. -inside tenant laundry room mounted to wall in back building | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401437 | 11864 | SAN MARINA MOTEL | JAY PRABHU INC | 1001 N ATLANTIC AVE , DAYTONA BCH 83626 | 1243184 | 09/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. -breaking device missing from break panel box mounted next to 113 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406483 | 5502 | DAYTONA BEACH RESIDENCE INN | OCEANSIDE TWO LLC | 1725 RICHARD PETTY BLVD , DAYTONA BEACH 32114 | 1185895 | 09/25/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -signals silenced | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7406512 | 16344 | LOTUS INN & SUITES | PADMAVATI TWO LLC | 505 S ATLANTIC AVE , ORMOND BEACH 32176 | 1243784 | 09/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7402606 | 67286 | SEAGULL APTS | BAILEY MARTHA M | 401 AUBURN DR , DAYTONA BCH 83221 | 1637647 | 09/19/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Path to fire escape exit is obstructed. For reporting purposes only. -table in front of entryway to fire escape from unit 5, location of table obstructs access | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400500 | 16446 | PERRY'S OCEAN EDGE RESORT | PACIFICA DAYTONA LLC | 2209 S ATLANTIC AVE , DAYTONA BEACH SHORES 32118 | 1240188 | 09/22/2025 | Routine - Lodging | Call Back - Complied | 07-01-4 | - From initial inspection : Damaged electrical wire(s). For reporting purposes only. -wiring to electrical component attached to water heater in south meter/boiler/trash room - From follow-up inspection 2025-07-18: Time extended Unable to access on 7/18 **Time Extended** - From follow-up inspection 2025-09-22: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.