## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2001 | Lodging | 1305250 | 10192 | HILTON GARDEN INN PANAMA CITY AIRPORT | ST JOE RESORT OPERATIONS, LLC | 5625 VENTURE CROSSINGS BLVD , PANAMA CITY 32409 | 1184484 | 10/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 11-2024 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2001 | Lodging | 1305252 | 10479 | HOMEWOOD SUITES BY HILTON | ST JOE RESORT OPERATIONS, LLC | 47 CHIP SEAL PKWY , PANAMA CITY BEACH 32407 | 1184527 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed water heaters with max input BTU of 751,000. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1500427 | 14415 | DAYS INN | GIRNAR LLC | 4500 W NEW HAVEN AVE , MELBOURNE 32904 | 1243790 | 10/13/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Two boilers installed in the last few months, no boiler inspection certificate on site. Boilers are under on BTU's 199,000/ under on temp of 125F/ but over on gallons of 232. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1505937 | 119814 | P&P MERCURY GROUP LLC | P&P MERCURY GROUP LLC | 441 SE MERCURY AVE , PALM BAY 32909 | 1645568 | 10/15/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 04-05-4 | No smoke detector in building 451 unit 104 requires battery replacement. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1504985 | 3171 | HAMPTON INN | OCEAN PARTNERS ASSOC LTD | 3425 N ATLANTIC AVE , COCOA BCH 32931 | 1184942 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505220 | 5216 | COMFORT INN & SUITES | GIRNAR LLC | 4510 W NEW HAVEN AVE , MELBOURNE 32904 | 1185337 | 10/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. No boiler inspection report on site. For boiler on roof. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1500427 | 14415 | DAYS INN | GIRNAR LLC | 4500 W NEW HAVEN AVE , MELBOURNE 32904 | 1243790 | 10/14/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Two boilers installed in the last few months, no boiler inspection certificate on site. Boilers are under on BTU's 199,000/ under on temp of 125F/ but over on gallons of 232. - From follow-up inspection 2025-10-14: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620846 | 7645 | DOUBLETREE BY HILTON SUNRISE - SAWGRASS MILLS | SWVP SAWGRASS MILLS LLC | 13400 W SUNRISE BLVD , SUNRISE 33323 | 1188052 | 10/15/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. -Observed boiler certification expired on 08/07/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1622114 | 119957 | LUZ INVESTMENTS 16, LLC | LUZ INVESTMENTS 16, LLC | 16 NE 20 AVE , POMPANO BEACH 33060 | 1645606 | 10/17/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguishers indicates over charged by apt 14 and 9. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621926 | 115825 | AVISAR LLC | AVISAR LLC | 5657 GRANT ST #1-5 , HOLLYWOOD 33021 | 1598084 | 10/16/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed at apartment #5. - From follow-up inspection 2025-10-16: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620894 | 8813 | CONRAD FORT LAUDERDALE BEACH | FLB HOTEL LLC | 551 N FORT LAUDERDALE BEACH BLVD , FORT LAUDERDALE 33304 | 1188022 | 10/14/2025 | Complaint Full | Administrative complaint recommended | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329057 | 89994 | NEW HORIZONS APARTMENTS | NEW HORIZONS PRESERVATION ASSOCIATES LLLP | 690 NW 60 ST , MIAMI 33127 | 1645561 | 10/16/2025 | Complaint Full | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329456 | 9798 | WEST AVENUE | WEST AVE 2327 LLC | 1323-1327 WEST AVE , MIAMI BEACH 33139 | 1185873 | 10/17/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher on second floor in between units 9 and 10 in the over charge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329316 | 10661 | HILTON GARDEN INN MIAMI SOUTH BEACH | TMGOC MIA 2940 COLLINS LLC | 2940 COLLINS AVE , MIAMI BEACH 33140 | 1184332 | 10/17/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at lobby panel. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329503 | 10742 | ARLO WYNWOOD | WYNWOOD DC PROPCO LLC | 2217 NW MIAMI CT , MIAMI 33127 | 1184610 | 10/17/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Observed hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329503 | 10742 | ARLO WYNWOOD | WYNWOOD DC PROPCO LLC | 2217 NW MIAMI CT , MIAMI 33127 | 1184610 | 10/17/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed no boiler certificate provided. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329394 | 9021 | CASITA 76 | EOLO LLC | 7610 HARDING AV , MIAMI BEACH 33141 | 1184626 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher near unit 3 missing breaking utensil. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300455 | 50278 | HIALEAH BUILDING CORP APTS | HIALEAH BUILDING CORP | 182 W 8 ST APT. , HIALEAH 04337 | 1625943 | 10/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed next to unit 5 at second floor. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2323484 | 7957 | MARLIN HOTEL | MRK 1200 COLLINS AVENUE LLC | 1200 COLLINS AVE , MIAMI BEACH 33139 | 1184992 | 10/16/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed fire panel with blinking trouble light indicating an issue with the system. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329401 | 9112 | UPTOWN SUITES - HOMESTEAD | ITS HOMESTEAD LP | 1071 NE 28 AVE , HOMESTEAD 33033 | 1185033 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2316974 | 10158 | HYATT REGENCY MIAMI | HRM OWNER, LLC | 400 SE 2 AVE , MIAMI 33131 | 1185186 | 10/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329440 | 11121 | NEW CENTURY GARDENS, LLC | NEW CENTURY GARDENS, LLC | 8143 HARDING AVE , MIAMI BEACH 33141 | 1184699 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329286 | 11270 | (THE) DAYDRIFT | 2216 PARK AVE LLC | 2216 PARK AVE , MIAMI BEACH 33139 | 1183997 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330526 | 106541 | RESERVE AT THE PLAZA | SEVILLA RESIDENCES LLC | 122 SEVILLA AVE , CORAL GABLES 33134 | 1643721 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at main panel at lobby entrance. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330952 | 113793 | DORSEY | WECK 29TH LLC | 286 NW 29TH ST , MIAMI 33127 | 1631908 | 10/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328158 | 116304 | NORTH MIAMI WEST HOLDINGS, LLC | NORTH MIAMI WEST HOLDINGS LLC | 771 NE 126 ST , NORTH MIAMI 33161 | 1640854 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. Exit back door is locked on hallway. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2314753 | 6974 | HILTON MIAMI DOWNTOWN | RESORTS WORLD OMNI LLC | 1601 BISCAYNE BLVD , MIAMI 33132 | 1185890 | 10/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. #135409, 135410, 099970 Exp. 06-23-2024. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329438 | 8222 | TOWNEPLACE SUITES BY MARRIOTT | HOMESTEAD HOLDINGS II LLC | 935 NE 30 TER , HOMESTEAD 33033 | 1185107 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boilers FL 132462 expired on 06/06/2025 FL 132463 expired on 06/06/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2316974 | 10158 | HYATT REGENCY MIAMI | HRM OWNER, LLC | 400 SE 2 AVE , MIAMI 33131 | 1185186 | 10/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 05-19-2024 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2305990 | 88661 | BCC APARTMENTS | SP BCC LP | 21160 SW 112 AVE , CUTLER BAY 33189 | 1642489 | 10/17/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-10-17: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329428 | 10749 | VENEZIA AT MINE | VENEZIA AT MINE LLC | 3865 INDIAN CREEK DR , MIAMI BEACH 33140 | 1186244 | 10/14/2025 | Routine - Lodging | Call Back - Complied | 04-04-4 | - From initial inspection : Fire alarm control panel has no power. For reporting purposes only. As per person in charge, there is a scheduled fire inspection next week. - From follow-up inspection 2025-10-14: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330256 | 104257 | 735 SW2 LLC | 735 SW2 LLC | 735 SW 2 ST , MIAMI 33130 | 1638631 | 10/13/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 04-06-4 | - From initial inspection : Fire alarm control panel emitting an audible alarm. For reporting purposes only. - From follow-up inspection 2025-10-13: Fire alarm control panel emitting an audible alarm. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329257 | 7227 | ALOFT MARY BRICKELL | MARY BRICKELL VILLAGE HOTEL LLC | 1001 SW 2 AVE , MIAMI 33130 | 1184895 | 10/10/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. Observed 3 199k BTUs tankless units connected to a 200 gallons water storage unit. For reporting purposes only. - From follow-up inspection 2025-10-10: Observed 3 199k BTUs tankless units connected to a 200 gallons water storage unit. **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2612497 | 11006 | FAIRFIELD INN AND SUITES JACKSONVILLE AIRPORT | MAN JUNIOR LLC | 1300 AIRPORT RD , JACKSONVILLE 32218 | 1185703 | 10/14/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate expired 6/8/2025. Manager stated she has spoken to owner to get inspection completed. **Corrective Action Taken** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2609598 | 17574 | RED ROOF INN | SAINATH HOSPITALITY CORP | 1088 HWY 301 S , BALDWIN 32234 | 1242479 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Portable fire extinguisher in red recharge zone near unit #145. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2602332 | 18037 | MONTEREY MOTEL | RAJA RANCHHOD LLC | 5214 NEW KINGS RD , JACKSONVILLE 32209 | 1243808 | 10/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher with dial in recharge zone by room 128. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2603121 | 18885 | APM INN & SUITES JACKSONVILLE | A&S HOSPITALITY GROUP LLC | 510 LN AVE S , JACKSONVILLE 32254 | 1242049 | 10/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher in recharge zone near room 106. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2603121 | 18885 | APM INN & SUITES JACKSONVILLE | A&S HOSPITALITY GROUP LLC | 510 LN AVE S , JACKSONVILLE 32254 | 1242049 | 10/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. Observed no fire extinguisher in designated location near room 340. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2612318 | 5818 | SONESTA SIMPLY SUITES JACKSONVILLE | HPT TRS IHG-2 INC | 4990 BELFORT RD , JACKSONVILLE 32256 | 1185763 | 10/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Missing hammer from fire extinguishers in locked box by outside pavilions. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2613187 | 19304 | JAX INN | RUDRA HOSPITALITY LLC | 460 LANE AVE S , JACKSONVILLE 32254 | 1243289 | 10/13/2025 | Routine - Lodging | Administrative complaint recommended | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. Observed no fire extinguisher by room 130. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2613187 | 19304 | JAX INN | RUDRA HOSPITALITY LLC | 460 LANE AVE S , JACKSONVILLE 32254 | 1243289 | 10/13/2025 | Routine - Lodging | Administrative complaint recommended | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed 3 fire extinguishers with no means of access by rooms 105, 205, and 215. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2001 | Lodging | 2705193 | 4903 | COMFORT INN PENSACOLA | SSP PENSACOLA LODGING LLC | 8080 NORTH DAVIS HIGHWAY , PENSACOLA 32514 | 1185249 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. Exit door in Stairwell B does not open without large force. Upon showing owner, it was found that catch for door latch is rubbing on push bar, making it difficult to push door open. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2002 | Lodging | 3900037 | 18079 | TAMPA INN | SHIVA TAMPA LLC | 2901 E BUSCH BLVD , TAMPA 33612 | 1245007 | 10/14/2025 | Complaint Full | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Observed damaged wire located in parking lot on backside of property. Wire is buried under parking lot running to grass area behind building. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2003 | Lodging | 4101361 | 116927 | HERON POINT INDEPENDENT LIVING OF VERO BEACH | 910 REGENCY SQUARE TENANT LLC | 910 REGENCY SQUARE , VERO BEACH 32967 | 1636479 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2002 | Lodging | 4100080 | 16369 | VEROTOWN LLC | VEROTOWN LLC | 3901 26 ST , VERO BEACH 32960 | 1243036 | 10/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 071785 and 071786 expired 5/18/25, | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2001 | Lodging | 4605517 | 5683 | PINK SHELL BEACH RESORT AND MARINA | BOYKIN MANAGEMENT LLC | 200 ESTERO BLVD , FT MYERS BEACH 33931 | 1184386 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. FACP panel is in supervisory mode. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5202244 | 11418 | FAIRFIELD INN AND SUITES OCALA | OM 4101 OCALA INN | 4101 SW 38 CT , OCALA 34474 | 1185396 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Expired certificates posted, manager replace with current certification. **Corrected On-Site** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809119 | 8980 | EXTENDED STAYAMERICA #1613 | ESA P PORTFOLIO OPERATING LESSEE LLC | 5620 MAJOR BLVD , ORLANDO 32819 | 1188019 | 10/13/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5806250 | 7540 | FOUR POINTS BY SHERATON | GVL HOSPITALITY LLC | 6435 WESTWOOD BLVD , ORLANDO 32821 | 1188021 | 10/14/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 8/4/25. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900204 | 16068 | RAMADA PLAZA HOTEL & INN GATEWAY | 7470 HIGHWAY 530 LLC | 7470 HWY 192 W , KISSIMMEE 34747 | 1243651 | 10/16/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900682 | 15281 | SUPER 8 MOTEL MAINGATE | RAMBHAI KISHORKUMAR V | 5875 W IRLO BRONSON HWY , KISSIMMEE 34746 | 1242368 | 10/15/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 9/10/23 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6207364 | 11156 | CRYSTAL INN | DHRUV LLC | 4600 S 34 ST , ST PETERSBURG 33711 | 1242516 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher in the upstairs electrical room in the recharge room | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215773 | 6967 | SANDPEARL RESORT | SANDPEARL RESORT LLC | 500 MANDALAY AVE , CLEARWATER BEACH 33767 | 1184898 | 10/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2001 | Lodging | 6215773 | 6967 | SANDPEARL RESORT | SANDPEARL RESORT LLC | 500 MANDALAY AVE , CLEARWATER BEACH 33767 | 1184898 | 10/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL139654,098759,136232,136231 all expired 3/8/2025 **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6904056 | 119848 | WALTON | KV VERA SANFORD APARTMENTS, LLC | 4856 VERACITY POINT , SANFORD 32771 | 1645517 | 10/10/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 02-04-4 | Gas powered equipment stored inside maintenance shop, maintenance staff removed **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2002 | Lodging | 6903762 | 18442 | SPRINGHILL SUITES SANFORD | YOURWAY HOSPITALITY LLC | 201 N TOWNE RD , SANFORD 32771 | 1242512 | 10/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -operator states that trouble is due to ongoing renovations and the local fire authority was on property yesterday **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903999 | 10077 | EXTENDED STAY AMERICA #9513 | ESA P PORTFOLIO OPERATING LESSEE LLC | 1437 RINEHART RD , SANFORD 32771 | 1184432 | 10/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. -boiler certificates expired 2/21/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1242175 | 10/13/2025 | Routine - Lodging | Call Back - Extension given, pending | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-10-13: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406714 | 113041 | AVENTINE AT DELAND | DELAND LAND HOLDINGS LLC | 400 E HOWRY AVE , DELAND 32724 | 1645474 | 10/14/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7406714 | 113041 | AVENTINE AT DELAND | DELAND LAND HOLDINGS LLC | 400 E HOWRY AVE , DELAND 32724 | 1645474 | 10/14/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired 10-11-2020. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.