## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Alachua | 2003 | Lodging | 1103125 | 113505 | THEORY GAINESVILLE APARTMENTS | NW FIFTH AVENUE PROPERTY LLC | 1210 NW 5TH AVE , GAINESVILLE 32601 | 1626707 | 10/20/2025 | Routine - Lodging | Administrative complaint recommended | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Extinguisher in hallway near mail boxes. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Alachua | 2003 | Lodging | 1103125 | 113505 | THEORY GAINESVILLE APARTMENTS | NW FIFTH AVENUE PROPERTY LLC | 1210 NW 5TH AVE , GAINESVILLE 32601 | 1626707 | 10/20/2025 | Routine - Lodging | Administrative complaint recommended | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Exposed wires hanging down by 527. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1622114 | 119957 | LUZ INVESTMENTS 16, LLC | LUZ INVESTMENTS 16, LLC | 16 NE 20 AVE , POMPANO BEACH 33060 | 1645606 | 10/17/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Fire extinguishers indicates over charged by apt 14 and 9. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2002 | Lodging | 1601880 | 16164 | ROYAL PALMS RESORT & SPA | ROYAL PALMS RESORT & SPA LLC | 717 BREAKERS AVE , FORT LAUDERDALE 33304 | 1242299 | 10/22/2025 | Routine - Lodging | Call Back - Complied | 07-01-4 | - From initial inspection : Damaged electrical fixture(s). 3 "bullet" style outdoor light fixtures handing by the electrical wire - third floor catwalk. For reporting purposes only. - From follow-up inspection 2025-10-22: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1188164 | 10/22/2025 | Complaint Full | Administrative complaint recommended | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328948 | 19114 | MOTEL 6 CUTLER BAY | HARE KRISHNA CUTLER BAY LLC | 10775 CARIBBEAN BLVD , CUTLER BAY 33189 | 1245086 | 10/21/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble lights at the front desk. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328948 | 19114 | MOTEL 6 CUTLER BAY | HARE KRISHNA CUTLER BAY LLC | 10775 CARIBBEAN BLVD , CUTLER BAY 33189 | 1245086 | 10/21/2025 | Complaint Full | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Observed hearing impaired in room 319 no working. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329456 | 9798 | WEST AVENUE | WEST AVE 2327 LLC | 1323-1327 WEST AVE , MIAMI BEACH 33139 | 1185873 | 10/17/2025 | Routine - Lodging | Warning Issued | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed fire extinguisher on second floor in between units 9 and 10 in the over charge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330668 | 110002 | DOWNTOWN VILLAS I | DOWNTOWN VILLAS I, LLC | 439 NW 8 ST , MIAMI 33136 | 1640803 | 10/21/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. By 203 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329316 | 10661 | HILTON GARDEN INN MIAMI SOUTH BEACH | TMGOC MIA 2940 COLLINS LLC | 2940 COLLINS AVE , MIAMI BEACH 33140 | 1184332 | 10/17/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at lobby panel. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329503 | 10742 | ARLO WYNWOOD | WYNWOOD DC PROPCO LLC | 2217 NW MIAMI CT , MIAMI 33127 | 1184610 | 10/17/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Observed hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329503 | 10742 | ARLO WYNWOOD | WYNWOOD DC PROPCO LLC | 2217 NW MIAMI CT , MIAMI 33127 | 1184610 | 10/17/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed no boiler certificate provided. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330764 | 113287 | VIBE | LJ 700 MIAMI | 700 SW 1 ST , MIAMI 33130 | 1645593 | 10/24/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329394 | 9021 | CASITA 76 | EOLO LLC | 7610 HARDING AV , MIAMI BEACH 33141 | 1184626 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed fire extinguisher near unit 3 missing breaking utensil. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329204 | 6471 | HAMPTON INN & SUITES MIAMI-SOUTH/HOMESTEAD | PRIME HOTEL GROUP OF HOMESTEAD LLC | 2855 NE 9 ST , HOMESTEAD 33033 | 1185084 | 10/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329312 | 10726 | CLAREMONT HOTEL | RED 1700 LLC | 1700 COLLINS AVE , MIAMI BEACH 33139 | 1185619 | 10/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329440 | 11121 | NEW CENTURY GARDENS, LLC | NEW CENTURY GARDENS, LLC | 8143 HARDING AVE , MIAMI BEACH 33141 | 1184699 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329286 | 11270 | (THE) DAYDRIFT | 2216 PARK AVE LLC | 2216 PARK AVE , MIAMI BEACH 33139 | 1183997 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2313981 | 19443 | COURTYARD BY MARRIOTT | AVR MIAMI CONVENTION HOTEL LLC | 200 SE 2 AVE , MIAMI 33131 | 1243949 | 10/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329505 | 10767 | ELSER HOTEL | 398 NE 5TH ST MANAGEMENT LLC | 398 NE 5 ST , MIAMI 33132 | 1184798 | 10/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-07-4 | Trouble/alarm light illuminated on the smoke detector panel connected to the fire alarm system. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2328158 | 116304 | NORTH MIAMI WEST HOLDINGS, LLC | NORTH MIAMI WEST HOLDINGS LLC | 771 NE 126 ST , NORTH MIAMI 33161 | 1640854 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. Exit back door is locked on hallway. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329505 | 10767 | ELSER HOTEL | 398 NE 5TH ST MANAGEMENT LLC | 398 NE 5 ST , MIAMI 33132 | 1184798 | 10/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed Boiler certificate #85054, 85055, 85056, 85057, 85058, Expires on 07/31/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329204 | 6471 | HAMPTON INN & SUITES MIAMI-SOUTH/HOMESTEAD | PRIME HOTEL GROUP OF HOMESTEAD LLC | 2855 NE 9 ST , HOMESTEAD 33033 | 1185084 | 10/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Boiler FL 124614 expired 10/10/2025, FL124611 expired 10/10/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329489 | 10630 | AC & ELEMENT HOTEL BRICKELL MIAMI | SUMMIT BRICKELL JV TRS LLC | 115 SW 8 ST , MIAMI 33130 | 1184483 | 10/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Operator provided an expired boiler certificate dated on 10/09/25. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329519 | 11091 | SMART BRICKELL LODGING I CONDOMINIUM ASSOCIATION | SMART BRICKELL LODGING I CONDOMINIUM ASSOCIATION | 239 SW 9 ST , MIAMI 33130 | 1185432 | 10/24/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. Observed that serial number mentioned on certificates do not match serial numbers shown on boilers. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2328318 | 3695 | BEST WESTERN PLUS ATLANTIC BEACH RRSORT | SOKOLOV LTD | 4101 COLLINS AVE , MIAMI BEACH 33140 | 1187042 | 10/24/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at the main panel behind the front desk. - From follow-up inspection 2025-10-24: Observed still with troubles. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2305990 | 88661 | BCC APARTMENTS | SP BCC LP | 21160 SW 112 AVE , CUTLER BAY 33189 | 1642489 | 10/17/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-10-17: Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329201 | 82666 | GOLDEN TOWERS | GOLDEN TOWERS LLC | 5545 NW 17 AVE 5545-55 , MIAMI 33142 | 1645673 | 10/24/2025 | Complaint Full | Administrative complaint recommended | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed 5 designated fire extinguisher locations without fire extinguishers. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2002 | Lodging | 2609598 | 17574 | RED ROOF INN | SAINATH HOSPITALITY CORP | 1088 HWY 301 S , BALDWIN 32234 | 1242479 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Portable fire extinguisher in red recharge zone near unit #145. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2612657 | 9587 | JACKSONVILLE SPRINGHILL SUITES | GT SHS JACKSONVILLE LP | 4385 SOUTHSIDE BLVD , JACKSONVILLE 32216 | 1184409 | 10/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 02-07-4 | Flammable chemicals stored near a source of ignition. For reporting purposes only. Portable gas generator stored inside boiler room area | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613221 | 105443 | LANDINGS AT LAKE GRAY | LANDINGS (JACKSONVILLE) OWNER LLC | 6500 LAKE GRAY BLVD , JACKSONVILLE 32244 | 1640799 | 10/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. On fire alarm control panel in lobby of office Trouble 1 message displayed. Work order already in for it. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2612657 | 9587 | JACKSONVILLE SPRINGHILL SUITES | GT SHS JACKSONVILLE LP | 4385 SOUTHSIDE BLVD , JACKSONVILLE 32216 | 1184409 | 10/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Jurisdiction 135005 exp 04/17/2025 & Jurisdiction 135006 exp 04/17/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2001 | Lodging | 2705193 | 4903 | COMFORT INN PENSACOLA | SSP PENSACOLA LODGING LLC | 8080 NORTH DAVIS HIGHWAY , PENSACOLA 32514 | 1185249 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-03-4 | Marked exit is inaccessible. For reporting purposes only. Exit door in Stairwell B does not open without large force. Upon showing owner, it was found that catch for door latch is rubbing on push bar, making it difficult to push door open. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Flagler | 2001 | Lodging | 2800569 | 7214 | BEST WESTERN PLUS | JAY MAA AMBE LLC | 200 FLAGLER PLAZA DR , PALM COAST 32137 | 1186374 | 10/23/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Hearing impaired detector in room 225 is not flashing. . V **Warning** - From follow-up inspection 2025-10-23: Still not repaired. **Admin Complaint** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4605803 | 119865 | 3753-3761 BELMONT STREET LLC | HEATH PA LLC | 3753-3761 BELMONT ST , FORT MYERS 33916 | 1645491 | 10/24/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher not accessible near apartment 3771-A. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2003 | Lodging | 4605803 | 119865 | 3753-3761 BELMONT STREET LLC | HEATH PA LLC | 3753-3761 BELMONT ST , FORT MYERS 33916 | 1645491 | 10/24/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wires near 3761-A. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Lee | 2001 | Lodging | 4605517 | 5683 | PINK SHELL BEACH RESORT AND MARINA | BOYKIN MANAGEMENT LLC | 200 ESTERO BLVD , FT MYERS BEACH 33931 | 1184386 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. FACP panel is in supervisory mode. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Leon | 2002 | Lodging | 4701568 | 19528 | MOTEL AND STUDIO 6 | MATAJI HOTEL LLC | 2801 N MONROE ST , TALLAHASSEE 32303 | 1244994 | 10/22/2025 | Complaint Full | Inspection Completed - No Further Action | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Room 211. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5202244 | 11418 | FAIRFIELD INN AND SUITES OCALA | OM 4101 OCALA INN | 4101 SW 38 CT , OCALA 34474 | 1185396 | 10/17/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Expired certificates posted, manager replace with current certification. **Corrected On-Site** | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Okeechobee | 2002 | Lodging | 5700407 | 18209 | DAYS INN & SUITES LAKE OKEECHOBEE | FLORIDA PROPERTY TRUST LLC | 2200 HWY 441 E , OKEECHOBEE 34974 | 1243458 | 10/20/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only in unit 143. Maintenance will repair. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5807936 | 8286 | GRAND HOTEL ORLANDO | EXLNT HOTLZ LLC | 7825 UNIVERSAL BLVD , ORLANDO 32819 | 1188152 | 10/22/2025 | Complaint Full | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside room 249 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5806974 | 9469 | DASKK HOTELS & RESORTS ORLANDO | 7400 CANADA AVENUE LLC | 7400 CANADA AVE , ORLANDO 32819 | 1184080 | 10/24/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Fire Pump . They are currently using temp pump. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5807128 | 4096 | BUENA VISTA SUITES | SIERRA LODGINGS INC | 8203 WORLD CENTER DRIVE , ORLANDO 15403 | 1186098 | 10/23/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 1/18/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5801498 | 8447 | WYNDHAM AVANTI PALMS RESORT AND CONFERENCE CENTER | 6515 IDRIVE RESORT LLC | 6515 INTERNATIONAL DR , ORLANDO 32819 | 1188099 | 10/23/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. By front desk Vendor coming out tomorrow and fixing **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809563 | 11301 | BAYMONT BY WYNDHAM | PINICALE GROUP LLC | 7531 CANADA AVE , ORLANDO 32819 | 1185662 | 10/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Has 3 hearing impaired detectors but lights not blinking | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5803594 | 8324 | ORLANDO AIRPORT MARRIOTT LAKESIDE | CP ORLANDO LAKESIDE LLC | 7499 AUGUSTA NATIONAL DR , ORLANDO 32822 | 1184560 | 10/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 010559 8-22-25 Boiler reinspected July 2025 waiting on certificate. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5800323 | 19008 | ZADA HOTEL | SAN JUAN VENTURES LLC | 3842 S ORANGE BLOSSOM TR , ORLANDO 32839 | 1242542 | 10/22/2025 | Routine - Lodging | Call Back - Extension given, pending | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Only beeps and doesn't flash. from 4-3-25 **Repeat Violation** **Admin Complaint** - From follow-up inspection 2025-10-22: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5807936 | 8286 | GRAND HOTEL ORLANDO | EXLNT HOTLZ LLC | 7825 UNIVERSAL BLVD , ORLANDO 32819 | 1188152 | 10/24/2025 | Complaint Full | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside room 249 - From follow-up inspection 2025-10-24: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2002 | Lodging | 5800323 | 19008 | ZADA HOTEL | SAN JUAN VENTURES LLC | 3842 S ORANGE BLOSSOM TR , ORLANDO 32839 | 1242542 | 10/21/2025 | Routine - Lodging | Administrative complaint recommended | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. Only beeps and doesn't flash. from 4-3-25 **Repeat Violation** **Admin Complaint** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2003 | Lodging | 6014021 | 108943 | MALIBU BAY APARTMENTS | MALIBU BAY PRESERVATION, LTD | 750 MALIBU BAY DR , WEST PALM BEACH 33401 | 1645694 | 10/24/2025 | Complaint Full | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Observed at 106 building 775 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6200241 | 17752 | DAYS INN/SUPER 8 | DI ST PETERSBURG LLC | 5005 34TH ST N , ST. PETERSBURG 33714 | 1243779 | 10/22/2025 | Routine - Lodging | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher next to room 133 in recharge zone | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6200241 | 17752 | DAYS INN/SUPER 8 | DI ST PETERSBURG LLC | 5005 34TH ST N , ST. PETERSBURG 33714 | 1243779 | 10/22/2025 | Routine - Lodging | Warning Issued | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Next to room 225, fire extinguisher missing from its location, evident by mounting screws and an outline of paint from where it once was located. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Polk | 2003 | Lodging | 6302032 | 119221 | WI 740 E PEARL | WI 740 E PEARL LLC | 740 E PEARL ST , BARTOW 33830 | 1624536 | 10/21/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. Electrical outlets missing cover plates in both upstairs bedrooms in Apartment E. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2003 | Lodging | 6804826 | 111976 | RESERVE AT VENICE | JLLX RESERVE AT VENICE MASTER TENANT LLC | 2300 LAUREL RD E , NORTH VENICE 34275 | 1645615 | 10/21/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel at building 1. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903650 | 8982 | EXTENDED STAY AMERICA #9634 | ESA P PORTFOLIO OPERATING LESSEE LLC | 302 NORTHLAKE BLVD , ALTAMONTE SPRINGS 32701 | 1184339 | 10/23/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2003 | Lodging | 6900416 | 101491 | GOLDELM AT CHARTER POINTE APARTMENTS | GOLDELM AT CHARTER POINTE LLC | 919 BALLARD ST , ALTAMONTE SPRINGS 32701 | 1645363 | 10/23/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble light and alarm, FACP box by 869C. - From follow-up inspection 2025-10-23: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7401977 | 6070 | BEST WESTERN INTERNATIONAL SPEEDWAY | EMBASSY INVESTMENTS XI LLC | 2620 INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 1188121 | 10/20/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble and disable light on | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7405603 | 18382 | SLEEP INN ORMOND BEACH | SOUTHERN SIX HOSPITALITY LLC | 170 WILLIAMSON BOULEVARD , ORMOND BEACH 32174 | 1245075 | 10/20/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7401977 | 6070 | BEST WESTERN INTERNATIONAL SPEEDWAY | EMBASSY INVESTMENTS XI LLC | 2620 INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 1188121 | 10/20/2025 | Complaint Full | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. -Room 175 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7401977 | 6070 | BEST WESTERN INTERNATIONAL SPEEDWAY | EMBASSY INVESTMENTS XI LLC | 2620 INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 1188121 | 10/20/2025 | Complaint Full | Warning Issued | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. -wires hanging from tube by stairway by room 101 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7400247 | 117538 | NAH HOLDINGS LLC | NAH HOLDINGS LLC | 420 N OLEANDER AVE , DAYTONA BEACH 32118 | 1645670 | 10/21/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7400247 | 117538 | NAH HOLDINGS LLC | NAH HOLDINGS LLC | 420 N OLEANDER AVE , DAYTONA BEACH 32118 | 1645670 | 10/21/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. -upstairs next to door to unit 7, glass panel box without breaking device -fire extinguisher on bottom level appears in significant disrepair due to rusted pin/other components | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401143 | 16129 | MAINSAIL INN & SUITES | PADMAVATI ONE LLC | 281 S ATLANTIC AVE , ORMOND BEACH 32176 | 1241730 | 10/21/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406453 | 9475 | SUPER 8 | JAI SANTOSHI LLC | 1242 S RIDGEWOOD AVE , DAYTONA BEACH 32114 | 1185493 | 10/22/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Exit sign hanging from wires by room 226. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.