## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Brevard | 2003 | Lodging | 1500489 | 120017 | COCOA VILLAGE APARTMENTS LLC LODGING2 | COCOA VILLAGE APARTMENTS LLC | 7521 MAGNOLIA AVE , CAPE CANAVERAL 32920 | 1645707 | 11/07/2025 | Lodging-Licensing Inspection | Warning Issued | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Operator moved **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505689 | 8956 | TOWNEPLACE SUITES | RH COASTAL LLC | 4815 HELEN HAUSER BLVD , TITUSVILLE 32780 | 1186223 | 11/07/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1501161 | 19374 | SPACE COAST HOTEL | 3500 CHENEY LLC | 3500 CHENEY HWY , TITUSVILLE 32780 | 1245282 | 11/05/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1500097 | 8303 | FLORIDANA BEACH MOTEL | DESANTIS ERNEST A | 6580 S HWY A1A , MELBOURNE BCH 13859 | 1242290 | 10/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. In front room 4 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1619117 | 8455 | EXTENDED STAY AMERICA SUITES #1561 | ESA P PORTFOLIO OPERATING LESSEE LLC | 1450 SE 17 ST CSWY , FORT LAUDERDALE 33316 | 1188373 | 11/06/2025 | Complaint Full | Inspection Completed - No Further Action | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. No fire extinguisher between rooms 216 and 214 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2003 | Lodging | 1621239 | 101570 | MIRAMAR PARK | BELDORE REALTY CORPORATION | 11000 MIRAMAR BLVD , MIRAMAR 33025 | 1625345 | 11/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-04-4 | Electrical outlet damaged to indicate a malfunction. For reporting purposes only. -Observed an electrical box at office building missing cover. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1188164 | 11/05/2025 | Complaint Full | Call Back - Extension given, pending | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. - From follow-up inspection 2025-11-05: Observed at callback no boiler certification provided **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1188164 | 11/06/2025 | Complaint Full | Call Back - Extension given, pending | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. - From follow-up inspection 2025-11-05: Observed at callback no boiler certification provided **Time Extended** - From follow-up inspection 2025-11-06: Observed at callback same **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329482 | 10219 | SEASTAYS | MYCITY INC | 5445 COLLINS AVENUE CU 9 , MIAMI BEACH 33140 | 1188300 | 11/04/2025 | Complaint Full | Warning Issued | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no breaking device for extinguisher located next to suite 20. Extinguishers belong to Condo Association where the hotel is. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329201 | 6505 | METROPOLE HOTEL | METROPOLE HOTEL APARTMENTS LLC | 635 COLLINS AVE , MIAMI BEACH 33139 | 1185210 | 11/03/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed fire panel with trouble light. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2328961 | 19674 | EVERGLADES MOTEL | LAVESH LLC | 605 SOUTH KROME AVENUE , HOMESTEAD 33030 | 1245210 | 11/03/2025 | Lodging-Licensing Inspection | Inspection Completed - No Further Action | 01-05-4 | Portable fire extinguisher obstructed/not accessible. For reporting purposes only. Observed no broken device on fire extinguisher next to unit #9. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310919 | 117978 | 155 NE 80 TER | 155 NE 80 TER, LLC | 155 NE 80 TERRACE , MIAMI 33138 | 1638754 | 10/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-01-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is overcharged. For reporting purposes only. Observed between units 2 and 3. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2002 | Lodging | 2310374 | 17450 | JULIA MOTEL | O O INVESTMENTS LLC | 3030 W FLAGLER ST , MIAMI 33135 | 1244319 | 11/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Room 202 front door and 110, 214, 210 and 106 back door . **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2322400 | 85076 | PANAMERICAN APARTMENTS | GARCIA CARMELO | 2316 W 56 ST , HIALEAH 33016 | 1637038 | 11/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer to break glass between units 5 and 6 of building 2300. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2310919 | 117978 | 155 NE 80 TER | 155 NE 80 TER, LLC | 155 NE 80 TERRACE , MIAMI 33138 | 1638754 | 10/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed no hammer for extinguisher between units 6 and 7. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329400 | 9180 | HENROSA HOTEL | VENTURA WAY ONE LLC | 1435 COLLINS AVE , MIAMI BEACH 33139 | 1185675 | 11/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329497 | 10386 | RITZ CARLTON, SOUTH BEACH | DI LIDO BEACH RESORT LLC | 1 LINCOLN RD , MIAMI BEACH 33139 | 1184205 | 11/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329189 | 6284 | RIVIERA HOTEL & SUITES | PHILLARD APARTMENTS HOTEL LLC | 2000 LIBERTY AVE , MIAMI BEACH 33139 | 1185239 | 11/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329240 | 7052 | RIVIERA HOTEL & SUITES | RIVIERA LOFTS HOTEL LLC | 318 20 ST , MIAMI BEACH 33139 | 1185695 | 11/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329188 | 6333 | TRUMP INTL BEACH RESORT | 18001 HOLDINGS LLC | 18001 COLLINS AVE , SUNNY ISLES BEACH 33160 | 1184960 | 11/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. 099320, 139645, 009319, 139644 Exp 12/23/24 022035& 023870 Exp 11/27/24 055823, 022035, 005188 & 055822 Exp 12/24/24. For reporting purposes only. All boilers were inspected on 6/10/24. Hotel is currently waiting on certificate from the State of Florida. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329795 | 99293 | DISTRICT WEST GABLES | WATERTON RESIDENTIAL LLC | 2101 LUDLAM RD , WEST MIAMI 33155 | 1591083 | 11/04/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed a fire extinguisher across from resident lounge on the second floor in the recharge zone . Observed fire extinguisher across from unit 232 in the recharge zone . - From follow-up inspection 2025-11-04: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330098 | 102177 | DISTRICT WEST GABLES | WATERTON RESIDENTIAL LLC | 2001 LUDLAM RD , WEST MIAMI 33155 | 1597093 | 11/04/2025 | Routine - Lodging | Call Back - Complied | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed a fire extinguisher between units, 350 and 348 in the recharge zone - From follow-up inspection 2025-11-04: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2329795 | 99293 | DISTRICT WEST GABLES | WATERTON RESIDENTIAL LLC | 2101 LUDLAM RD , WEST MIAMI 33155 | 1591083 | 11/04/2025 | Routine - Lodging | Call Back - Complied | 04-06-4 | - From initial inspection : Fire alarm control panel emitting an audible alarm. For reporting purposes only. Observed fire panel alarm sounding screen stating pump failure. - From follow-up inspection 2025-11-04: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329398 | 8631 | GENERATOR | G 3120 COLLINS LLC | 3120 COLLINS AVENUE , MIAMI BEACH 33140 | 1185034 | 11/07/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boilers FL 135551 and 135552. Observed report from Travelers Risk Control notifying Fire Marshal about boilers in compliance with the regulations with status already closed on 2/28/2025. - From follow-up inspection 2025-11-07: | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2302539 | 101832 | SAHA BUILDINGS CORP | SAHA BUILDINGS CORP | 7001 NW 15 AVE UNIT 23 , MIAMI 33147 | 1645555 | 11/03/2025 | Complaint Full | Administrative complaint recommended | 01-04-4 | No portable fire extinguisher present on the premises. For reporting purposes only. Observed &ire extinguisher missing next to unit 38. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2001 | Lodging | 2609795 | 7136 | WYNDHAM GARDEN | AFRIDI AND PIETERSE INVESTMENTS, LP | 4660 SALISBURY RD , JACKSONVILLE 32256 | 1185465 | 11/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher by Sawgrass Room in recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613379 | 103576 | PORTIVA APARTMENTS | MAG PORTIVA LLC | 6898 AC SKINNER PKWY , JACKSONVILLE 32256 | 1640496 | 10/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Trouble light illuminated at fire panel. Person in charge states has had repair service on site this week to address. **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613553 | 116309 | COLLINS PRESERVE | CRP REPUBLIC OWNER LLC | 5258 COLLINS PRESERVE LN , JACKSONVILLE 45635 | 1633669 | 11/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Fire alarm panel showing orange trouble light. Message on screen says "trouble 1" "mac" in riser room building #9. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Duval | 2003 | Lodging | 2613553 | 116309 | COLLINS PRESERVE | CRP REPUBLIC OWNER LLC | 5258 COLLINS PRESERVE LN , JACKSONVILLE 45635 | 1633669 | 11/05/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-06-4 | Fire alarm control panel emitting an audible alarm. For reporting purposes only. Beeping alarm going off from fire alarm control panel in riser rooms on building #6 and building #9. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Highlands | 2002 | Lodging | 3800190 | 17985 | SUNSET BEACH APARTMENTS | 1025 SUNSET LLC | 1001 LAKEVIEW DR , SEBRING 33870 | 1241856 | 11/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Observed fire extinguisher by room 167, in recharge. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3911727 | 7328 | HOLIDAY INN EXPRESS- ROCKY POINT | ROCKY POINT INVESTMENT TAMPA LLC | 3025 N ROCKY POINT DR , TAMPA 33607 | 1186167 | 11/07/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913665 | 10424 | CURRENT HOTEL, AUTOGRAPH COLLECTION | CURRENT ROCKY POINT LLC | 2545 N ROCKY POINT DR , TAMPA 33607 | 1185894 | 10/31/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3911727 | 7328 | HOLIDAY INN EXPRESS- ROCKY POINT | ROCKY POINT INVESTMENT TAMPA LLC | 3025 N ROCKY POINT DR , TAMPA 33607 | 1186167 | 11/07/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. 2 boilers: Max temp 210F, Capacity 200 gallons. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913646 | 8168 | FAIRFIELD INN & SUITES TAMPA WESTSHORE/AIRPORT | TAMPA HOSPITALITY LLC | 2215 N LOIS AVE , TAMPA 33607 | 1184579 | 11/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3906480 | 9491 | GRAND HYATT TAMPA BAY | GVI-IP TAMPA HOTEL TENANT LLC | 2900 BAYPORT DR , TAMPA 33607 | 1185253 | 11/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired: 138504-7/18/2025;138503-7/18/2025; | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3913665 | 10424 | CURRENT HOTEL, AUTOGRAPH COLLECTION | CURRENT ROCKY POINT LLC | 2545 N ROCKY POINT DR , TAMPA 33607 | 1185894 | 11/03/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-11-03: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2003 | Lodging | 4101354 | 117633 | SEBASTIAN GARDENS INN & SUITE LLC | SEBASTIAN GARDENS INN & SUITE LLC | 14415 US HWY 1 , SEBASTIAN 32958 | 1645778 | 11/07/2025 | Complaint Partial | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Unit 146 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2002 | Lodging | 4100582 | 18810 | HOWARD JOHNSON , VERO BEACH | ARYANERI LLC | 1985 90TH AVE , VERO BEACH 32966 | 1242623 | 11/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. At front desk | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Marion | 2001 | Lodging | 5202485 | 11167 | RIDING ACADEMY | ARENA HORSE SHOWS OF OCALA LLC | 1615 NW 81 TERR RD , OCALA 34482 | 1184878 | 11/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. No boiler certificate available. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5402153 | 8035 | MARGARITAVILLE BEACH HOUSE KEY WEST | DIAMONDROCK KW SOUTH TENANT LLC | 2001 ROOSEVELT BLVD , KEY WEST 33040 | 1184534 | 11/04/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5402153 | 8035 | MARGARITAVILLE BEACH HOUSE KEY WEST | DIAMONDROCK KW SOUTH TENANT LLC | 2001 ROOSEVELT BLVD , KEY WEST 33040 | 1184534 | 11/04/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed 134735/10/13/2024-134749/10/13/2024. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500966 | 9596 | HOME2 SUITES | FERNANDINA INVESTMENTS LLC | 2246 SADLER RD , FERNANDINA BEACH 32034 | 1184848 | 10/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Portable fire extinguisher near rooms #223 and #113 in red recharge zone. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805056 | 10582 | QUALITY INN ORLANDO NEAR INTERNATIONAL DR | JK JAMAICAN CT LLC | 8342 JAMAICAN CT , ORLANDO 32819 | 1188347 | 11/04/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. 1FL room 111 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805056 | 10582 | QUALITY INN ORLANDO NEAR INTERNATIONAL DR | JK JAMAICAN CT LLC | 8342 JAMAICAN CT , ORLANDO 32819 | 1188347 | 11/04/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL135771, FL135772 expired 10/10/25 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811196 | 10017 | HOME2 SUITES BY HILTON FLAMINGO CROSSINGS | ORLANDO HOTEL GROUP, LLC | 341 FLAGLER AVE , WINTER GARDEN 34787 | 1184736 | 10/31/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificates or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5809300 | 10801 | LA QUINTA BY WYNDAM ORLANDO I DRIVE CONVENTION CENTER | EHP ORLANDO HOTEL | 8504 UNIVERSAL BLVD , ORLANDO 32819 | 1186022 | 11/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL 131444, 131445/both expired 10/11/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Palm Beach | 2001 | Lodging | 6007452 | 9592 | BOCA RATON MARRIOTT HOTEL | AVR BOCA CENTER HOTEL LLC | 5150 TOWN CENTER CIR , BOCA RATON 33486 | 1185976 | 11/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6215904 | 91920 | AMALFI APARTMENTS | APARTMENTS AT LAKESIDE LLC | 106 HAMPTON RD , CLEARWATER 33759 | 1645553 | 11/07/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge in front of building 118 apartment 301. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6203469 | 19287 | SKYBEACH HOTEL | SKY OPERATIONS LLC | 6800 SUNSHINE SKYWAY LN , ST. PETERSBURG 33711 | 1242493 | 11/04/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. Expired boiler certificate posted in boiler room. Inspector verified current inspection through Division of State Fire Marshal public portal. Jurisdiction #087194 Expiration: 05/02/2026 | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6200241 | 17752 | DAYS INN/SUPER 8 | DI ST PETERSBURG LLC | 5005 34TH ST N , ST. PETERSBURG 33714 | 1243779 | 11/07/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher next to room 133 in recharge zone - From follow-up inspection 2025-11-07: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6200241 | 17752 | DAYS INN/SUPER 8 | DI ST PETERSBURG LLC | 5005 34TH ST N , ST. PETERSBURG 33714 | 1243779 | 11/07/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-03-4 | - From initial inspection : Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Next to room 225, fire extinguisher missing from its location, evident by mounting screws and an outline of paint from where it once was located. - From follow-up inspection 2025-11-07: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Sarasota | 2001 | Lodging | 6804756 | 8406 | SIESTA KEY PALMS HOTEL | SARASOTAVILLE OF SIESTA KEY LLC | 1800 STICKNEY POINT RD , SARASOTA 34231 | 1184446 | 11/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-06-4 | Portable fire extinguisher locked in a box with no means of access to the fire extinguisher. For reporting purposes only. Observed a missing hammer to break glass between units 20 and 21. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903955 | 4435 | ORLANDO MARRIOTT LAKE MARY | HEATHROW HOTEL OWNERS LLC | 1501 INTERNATIONAL PKWY , LAKE MARY 32746 | 1185590 | 10/31/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Warning** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903955 | 4435 | ORLANDO MARRIOTT LAKE MARY | HEATHROW HOTEL OWNERS LLC | 1501 INTERNATIONAL PKWY , LAKE MARY 32746 | 1185590 | 10/31/2025 | Routine - Lodging | Warning Issued | 05-02-5 | Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. - strobe light not functioning **Warning** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903955 | 4435 | ORLANDO MARRIOTT LAKE MARY | HEATHROW HOTEL OWNERS LLC | 1501 INTERNATIONAL PKWY , LAKE MARY 32746 | 1185590 | 10/31/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. - 135754 exp 11/9/24, - 131387 exp 11/9/24, - 143125 no cert, - 136948 exp 11/9/24 **Warning** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Seminole | 2001 | Lodging | 6903992 | 8258 | WESTIN LAKE MARY, ORLANDO NORTH | YRG HOTEL GROUP III LLC | 2974 INTERNATIONAL PKWY , LAKE MARY 32746 | 1184079 | 11/03/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. - four boiler certificates expired - From follow-up inspection 2025-11-03: **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405564 | 10599 | HAMPTON INN DEBARY | NOVA DEBARY HOTELS LLC | 308 SUNRISE BLVD , DEBARY 32713 | 1188349 | 11/04/2025 | Complaint Full | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401130 | 11812 | RAINTREE MOTEL | SAI INVESTMENT INC | 530 S RIDGEWOOD AVE , DAYTONA BCH 44930 | 1242216 | 11/07/2025 | Routine - Lodging | Warning Issued | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. -bag over smoke detector in room 22 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7406511 | 10944 | COURTYARD DELAND HISTORIC DOWNTOWN | M4 DELAND TENANT LLC | 308 N WOODLAND BLVD , DELAND 32720 | 1184445 | 11/03/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7401977 | 6070 | BEST WESTERN INTERNATIONAL SPEEDWAY | EMBASSY INVESTMENTS XI LLC | 2620 INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 1188121 | 11/04/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble and disable light on - From follow-up inspection 2025-11-04: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7401977 | 6070 | BEST WESTERN INTERNATIONAL SPEEDWAY | EMBASSY INVESTMENTS XI LLC | 2620 INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 1188121 | 11/05/2025 | Complaint Full | Call Back - Extension given, pending | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. -trouble and disable light on - From follow-up inspection 2025-11-04: - From follow-up inspection 2025-11-05: Per manager waiting n a smoke detector is replaced. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7401977 | 6070 | BEST WESTERN INTERNATIONAL SPEEDWAY | EMBASSY INVESTMENTS XI LLC | 2620 INTERNATIONAL SPEEDWAY BLVD , DAYTONA BEACH 32114 | 1188121 | 11/04/2025 | Complaint Full | Call Back - Extension given, pending | 05-02-5 | - From initial inspection : Hearing-impaired smoke detector is not functioning when tested. For reporting purposes only. -Room 175 - From follow-up inspection 2025-11-04: Room currently occupied **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2001 | Lodging | 7405564 | 10599 | HAMPTON INN DEBARY | NOVA DEBARY HOTELS LLC | 308 SUNRISE BLVD , DEBARY 32713 | 1188349 | 11/06/2025 | Complaint Full | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-11-06: **Time Extended** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400503 | 19501 | BAYMONT BY WYNDHAM | 2725 HOSPITALITY LLC | 2725 W INTERNATIONAL SPWY BLVD , DAYTONA BEACH 32114 | 1245240 | 11/04/2025 | Complaint Full | Call Back - Complied | 06-01-4 | - From initial inspection : Path to door marked as an exit is blocked. For reporting purposes only. -storage area old office next to laundry room , mattress in front of marked exit, boxes partial blocking exits. Mattress moved **Corrective Action Taken** - From follow-up inspection 2025-11-04: Mattress removed . Boxes of desk partial blocking path | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400009 | 18315 | MOTEL 6 | SHUBHLAKSHMIMOTELS LLC | 2992 W INTERNATIONAL SPDWY BLVD , DAYTONA BEACH 32124 | 1242461 | 11/03/2025 | Routine - Lodging | Call Back - Complied | 04-03-4 | - From initial inspection : Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. -smoke alarm is chirping in water heater room above laundry room. - From follow-up inspection 2025-11-03: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400009 | 18315 | MOTEL 6 | SHUBHLAKSHMIMOTELS LLC | 2992 W INTERNATIONAL SPDWY BLVD , DAYTONA BEACH 32124 | 1242461 | 11/03/2025 | Routine - Lodging | Call Back - Complied | 08-08-4 | - From initial inspection : Vent stack for gas water heater disconnected/in disrepair. For reporting purposes only. -vent stack missing on water heater in water heater room above laundry room. There is a new water heater next to it. Person in charge does not know if water heater is operational. - From follow-up inspection 2025-11-03: | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400503 | 19501 | BAYMONT BY WYNDHAM | 2725 HOSPITALITY LLC | 2725 W INTERNATIONAL SPWY BLVD , DAYTONA BEACH 32114 | 1245240 | 11/03/2025 | Complaint Full | Administrative complaint recommended | 06-01-4 | Path to door marked as an exit is blocked. For reporting purposes only. -storage area old office next to laundry room , mattress in front of marked exit, boxes partial blocking exits. Mattress moved **Corrective Action Taken** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7400503 | 19501 | BAYMONT BY WYNDHAM | 2725 HOSPITALITY LLC | 2725 W INTERNATIONAL SPWY BLVD , DAYTONA BEACH 32114 | 1245240 | 11/03/2025 | Complaint Full | Administrative complaint recommended | 11-03-4 | Gas water heater vent stack disconnected/in disrepair. For reporting purposes only. -water heater screen states Blower operation error. Blower pressure switch may have failed closed. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Walton | 2001 | Lodging | 7601853 | 7640 | WATERCOLOR INN AND RESORT | ST JOE RESORT OPERATIONS LLC | 34 GOLDENROD CIR , SANTA ROSA BEACH 32459 | 1184225 | 11/06/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. 135382 3/2025 | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.