## Sheet1
County | Client Code | Category | License # | File # | DBA Name | Owner Name | Location Address | Insp Number | Insp Date | Inspection Type | Inspection Disposition | Violation # | Observation | Statute Citation
Bay | 2002 | Lodging | 1303989 | 8257 | CASTLE MOTEL | ZEITVOGEL BETTY & RICK | 20417 BACK BEACH RD , PANAMA CITY BCH 33718 | 1242194 | 11/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Outside units 4 and 10 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2002 | Lodging | 1300212 | 18143 | AQUA VIEW MOTEL | VIHAR 4021 LLC | 4909 HISPANIOLA ST , PANAMA CITY BEACH 32408 | 1241879 | 11/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Missing from box outside 205 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Bay | 2001 | Lodging | 1305234 | 6081 | REDROOF INN | JDH HOSPITALITY LLC | 217 HWY 231 , PANAMA CITY 32405 | 1188508 | 11/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-02-4 | Smoke detector in 319 beeping in indicate an issue with the smoke detector. For exporting purposes only. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1500489 | 120017 | COCOA VILLAGE APARTMENTS LLC LODGING2 | COCOA VILLAGE APARTMENTS LLC | 7521 MAGNOLIA AVE , CAPE CANAVERAL 32920 | 1645707 | 11/07/2025 | Lodging-Licensing Inspection | Warning Issued | 02-08-4 | Propane (LP gas) tank having a water capacity greater than 2.7 lbs. stored under a stairwell. For reporting purposes only. Operator moved **Corrected On-Site** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505678 | 7852 | FAIRFIELD INN & SUITES | AHIP FL TITUSVILLE ENTERPRISES LLC | 4735 HELEN HAUSER BLVD , TITUSVILLE 32780 | 1184790 | 11/13/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505689 | 8956 | TOWNEPLACE SUITES | RH COASTAL LLC | 4815 HELEN HAUSER BLVD , TITUSVILLE 32780 | 1186223 | 11/07/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2001 | Lodging | 1505695 | 9786 | EXTENDED STAY AMERICA #9505 | ESA P PORTFOLIO OPERATING LESSEE LLC | 4835 HELEN HAUSER BLVD , TITUSVILLE 32780 | 1184522 | 11/10/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2002 | Lodging | 1500418 | 19193 | ANTHONY'S ON THE BEACH | LKN SAGE GROUP LLC | 3499 S ATLANTIC AVE , COCOA BEACH 32931 | 1242327 | 11/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Between units 118 and 119 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Brevard | 2003 | Lodging | 1503153 | 110978 | TURTLE RUN SUITES | MELBOURNE BEACH PROP LLC | 4945 S HWY A1A , MELBOURNE BEACH 32951 | 1637889 | 11/13/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-03-4 | Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. At apartment B outside | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1620887 | 10580 | MARGARITAVILLE HOLLYWOOD BEACH RESORT | HAPPY HOUR LESSEE LLC | 1111 N OCEAN DR , HOLLYWOOD 33019 | 1186006 | 11/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired on October 2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Broward | 2001 | Lodging | 1607305 | 9184 | PLAZA HOTEL FORT LAUDERDALE | 5100 N STATE RD 7 FLL INC | 5100 N SR 7 , FORT LAUDERDALE 33319 | 1188164 | 11/10/2025 | Complaint Full | Call Back - Extension given, pending | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. - From follow-up inspection 2025-11-05: Observed at callback no boiler certification provided **Time Extended** - From follow-up inspection 2025-11-06: Observed at callback same **Time Extended** - From follow-up inspection 2025-11-10: Observed at callback same **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2002 | Lodging | 2102299 | 8954 | BEST WESTERN HOTEL & SUITES | VOCISANO ROBERT & MARIO CO TRU | 6400 DUDLEY DR , NAPLES 34105 | 1243558 | 11/12/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Jurisdiction 133060, Expired on 1/5/25. Operator stated they are waiting on the division of state fire Marshall for new certificate due to a new requirement that is needed. Remote shutdown switch needed. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2100459 | 8315 | RED ROOF FLUS +& SUITES | BW RRI III LLC | 1925 DAVIS BLVD , NAPLES 34104 | 1185661 | 11/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. This is a repeat violation from the previous inspection dated 04-16-2025 **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Collier | 2001 | Lodging | 2102616 | 7988 | LA PLAYA BEACH RESORT | HAZEL LESSEE LLC | 9891 GULF SHORE DR , NAPLES 34108 | 1185987 | 11/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-04-4 | Boiler certificate not posted in the boiler room. For reporting purposes only. | Reporting: 61C-1.004(10) The insurance inspector's boiler report shall be posted in the boiler room. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2301957 | 3381 | BEACH PARK HOTEL | MERUELO HOMERO & BELINDA | 600 OCEAN DR , MIAMI BEACH 96219 | 1183934 | 11/12/2025 | Routine - Lodging | Warning Issued | 07-01-4 | Exposed electrical wire(s). For reporting purposes only. Observed exposed electrical wiring in hallway in front of room 129. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2319933 | 7488 | EMBASSY SUITES HOTEL MIAMI AIRPORT | DJONT/JPM HOSPITALITY LEASING (SPE) LLC | 3974 NW SOUTH RIVER DR , MIAMI 33142 | 1185095 | 11/14/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329235 | 7542 | ST REGIS RESORT AND RESIDENCES - BAL HARBOUR | SELDAR MIAMI HOLDING LLC | 9703 COLLINS AVE , BAL HARBOUR 33154 | 1184739 | 11/10/2025 | Routine - Lodging | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Observed boiler certificates are expired as of 02/09/2025. | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329282 | 7596 | HOTEL CROYDON | 3720 CROYDON LLC | 3720 COLLINS AVE , MIAMI BEACH 33140 | 1184964 | 11/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed trouble light on for fire panel near elevator. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329396 | 8767 | STAYBRIDGE MIAMI INTERNATIONAL AIRPORT | GRAPELAND HOSPITALITY DEVELOPMENT LLC | 3651 NW 25 ST , MIAMI 33142 | 1185188 | 11/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329478 | 10238 | GABRIEL SOUTH BEACH | CGI 640 OCEAN MANAGEMENT, LP | 620-650 OCEAN DRIVE , MIAMI BEACH 33139 | 1184652 | 11/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329481 | 11443 | KOMPOSE BOUTIQUE HOTEL MIAMI AIRPORT | MIAMI K AIRPORT HOTEL LLC | 3401 NW 25 ST , MIAMI 33142 | 1185167 | 11/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329207 | 11576 | SPRINGHILL SUITES MIAMI ARTS/HEALTH DISTRICT | HEALTH DISTRICT HOTEL PARTNERS, LLC | 1311 NW 10TH AVE , MIAMI 33136 | 1187363 | 11/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2330594 | 110716 | PALMER DADELAND APARTMENTS | METRO DADELAND OWNER LLC | 8215 SW 72 AVE , MIAMI 33143 | 1634444 | 11/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Observed at front office. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329189 | 6284 | RIVIERA HOTEL & SUITES | PHILLARD APARTMENTS HOTEL LLC | 2000 LIBERTY AVE , MIAMI BEACH 33139 | 1185239 | 11/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329240 | 7052 | RIVIERA HOTEL & SUITES | RIVIERA LOFTS HOTEL LLC | 318 20 ST , MIAMI BEACH 33139 | 1185695 | 11/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-04-4 | Fire alarm control panel has no power. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2003 | Lodging | 2300899 | 93658 | 1948 BLDG LLC | 1948 BLDG LLC | 1948 NW 2 CT , MIAMI 33136 | 1636799 | 11/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 06-01-4 | Path to door marked as an exit is blocked. For reporting purposes only. Furniture and shares plants. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Dade | 2001 | Lodging | 2329398 | 8631 | GENERATOR | G 3120 COLLINS LLC | 3120 COLLINS AVENUE , MIAMI BEACH 33140 | 1185034 | 11/07/2025 | Routine - Lodging | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boilers FL 135551 and 135552. Observed report from Travelers Risk Control notifying Fire Marshal about boilers in compliance with the regulations with status already closed on 2/28/2025. - From follow-up inspection 2025-11-07: | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2003 | Lodging | 2705433 | 97344 | PENSACOLA STATE COLLEGE FOUNDATION | PENSACOLA STATE COLLEGE FOUNDATION | 2383 METZGER DR , PENSACOLA 32504 | 1643671 | 11/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Wires from utility pole going across the ground to unit 2391. **Repeat Violation** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Escambia | 2003 | Lodging | 2705868 | 117871 | COLONY PARK | COLONY PARK OF NORTHWEST FLORIDA LLC | 1445 TONI ST UNIT B , PENSACOLA 32504 | 1630921 | 11/10/2025 | Routine - Lodging | Inspection Completed - No Further Action | 07-01-4 | Damaged electrical wire(s). For reporting purposes only. Light on roof of unit 1420. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hendry | 2001 | Lodging | 3600449 | 3794 | BEST WESTERN OF CLEWISTON | SAAJAN HOSPITALITY INC | 1020 SUGARLAND HWY , CLEWISTON 33440 | 1184429 | 11/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3911727 | 7328 | HOLIDAY INN EXPRESS- ROCKY POINT | ROCKY POINT INVESTMENT TAMPA LLC | 3025 N ROCKY POINT DR , TAMPA 33607 | 1186167 | 11/07/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3911727 | 7328 | HOLIDAY INN EXPRESS- ROCKY POINT | ROCKY POINT INVESTMENT TAMPA LLC | 3025 N ROCKY POINT DR , TAMPA 33607 | 1186167 | 11/07/2025 | Routine - Lodging | Warning Issued | 08-03-4 | No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. 2 boilers: Max temp 210F, Capacity 200 gallons. **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3906480 | 9491 | GRAND HYATT TAMPA BAY | GVI-IP TAMPA HOTEL TENANT LLC | 2900 BAYPORT DR , TAMPA 33607 | 1185253 | 11/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Expired: 138504-7/18/2025;138503-7/18/2025; | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3911727 | 7328 | HOLIDAY INN EXPRESS- ROCKY POINT | ROCKY POINT INVESTMENT TAMPA LLC | 3025 N ROCKY POINT DR , TAMPA 33607 | 1186167 | 11/10/2025 | Routine - Lodging | Call Back - Complied | 04-01-4 | - From initial inspection : Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. - From follow-up inspection 2025-11-10: | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Hillsborough | 2001 | Lodging | 3911727 | 7328 | HOLIDAY INN EXPRESS- ROCKY POINT | ROCKY POINT INVESTMENT TAMPA LLC | 3025 N ROCKY POINT DR , TAMPA 33607 | 1186167 | 11/10/2025 | Routine - Lodging | Call Back - Complied | 08-03-4 | - From initial inspection : No boiler certificate or insurance inspector's boiler report available. For reporting purposes only. 2 boilers: Max temp 210F, Capacity 200 gallons. **Repeat Violation** - From follow-up inspection 2025-11-10: | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2003 | Lodging | 4101354 | 117633 | SEBASTIAN GARDENS INN & SUITE LLC | SEBASTIAN GARDENS INN & SUITE LLC | 14415 US HWY 1 , SEBASTIAN 32958 | 1645778 | 11/07/2025 | Complaint Partial | Warning Issued | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Unit 146 | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Indian River | 2002 | Lodging | 4100582 | 18810 | HOWARD JOHNSON , VERO BEACH | ARYANERI LLC | 1985 90TH AVE , VERO BEACH 32966 | 1242623 | 11/07/2025 | Routine - Lodging | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. At front desk | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2001 | Lodging | 5401654 | 7839 | LA CONCHA KEY WEST | ASHFORD TRS FIVE LLC | 430 DUVAL ST , KEY WEST 33040 | 1186568 | 11/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2005 | Lodging | 5402413 | 865 | WEATHERSTATION INN | 57 FRONT ST INC | 57 FRONT ST , KEY WEST 08309 | 1096966 | 11/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Monroe | 2005 | Lodging | 5401411 | 1476 | DEWEY HOUSE | SUNSET CITY LESSEE LLC | 504 SOUTH ST , KEY WEST 33040 | 1097148 | 11/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500875 | 4847 | HAMPTON INN & SUITES | AMELIA HARBOR VIEW LLC | 19 SOUTH 2 STREET , FERNANDINA BEACH 32034 | 1184059 | 11/12/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificate posted in broiler room expired 3/10/2022. Operator stated inspections had just been preformed on 8/10/2025 and passed. They are awaiting the certificates. **Corrective Action Taken** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Nassau | 2001 | Lodging | 5500968 | 10087 | COURTYARD AMELIA ISLAND | INNISFREE HOTELS, INC. | 2700 ATLANTIC AVE STE 1 , AMELIA ISLAND 32034 | 1183963 | 11/14/2025 | Routine - Lodging | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. Boiler certificates displayed in boiler room expired. General manager stated the inspection was already preformed but they received the wrong certificate in the mail so they are working to get correct ones. **Corrective Action Taken** **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5811137 | 9100 | HOLIDAY INN INTERNATIONAL DRIVE CONVENTION CENTER | SUN VISTA HOTELS IV LLC | 8368 JAMAICAN COURT , ORLANDO 99329 | 1187119 | 11/13/2025 | Routine - Lodging | Warning Issued | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Building 2 by entrance | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805056 | 10582 | QUALITY INN ORLANDO NEAR INTERNATIONAL DR | JK JAMAICAN CT LLC | 8342 JAMAICAN CT , ORLANDO 32819 | 1188454 | 11/12/2025 | Complaint Full | Inspection Completed - No Further Action | 04-01-4 | Trouble/alarm light illuminated on the fire alarm control panel. For reporting purposes only. Room 111 on panel by front door **Repeat Violation** | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Orange | 2001 | Lodging | 5805056 | 10582 | QUALITY INN ORLANDO NEAR INTERNATIONAL DR | JK JAMAICAN CT LLC | 8342 JAMAICAN CT , ORLANDO 32819 | 1188454 | 11/12/2025 | Complaint Full | Inspection Completed - No Further Action | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. FL135771, FL135772 expired 10/10/25 **Repeat Violation** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2002 | Lodging | 5900683 | 17069 | RED CARPET INN | ANKM INC | 4700 W IRLO BRONSON MEMORIAL HWY , KISSIMMEE 34746 | 1245399 | 11/13/2025 | Complaint Full | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. Room 105, missing smoke detector. Per operator room is down for maintenance. | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Osceola | 2001 | Lodging | 5900233 | 5081 | MAINGATE LAKESIDE RESORT | LAKESIDE OPERATING PARTNERSHIP LP | 7769 W. IRLO BRONSON MEMORIAL HWY. , KISSIMMEE 34747 | 1187351 | 11/12/2025 | Complaint Full | Call Back - Complied | 08-01-4 | - From initial inspection : Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** - From follow-up inspection 2025-11-12: Facility has 18+ boilers on site, unable to provide certificates for any boilers **Time Extended** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2003 | Lodging | 6215904 | 91920 | AMALFI APARTMENTS | APARTMENTS AT LAKESIDE LLC | 106 HAMPTON RD , CLEARWATER 33759 | 1645553 | 11/07/2025 | Complaint Full | Inspection Completed - No Further Action | 01-02-4 | Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge in front of building 118 apartment 301. For reporting purposes only. | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6200241 | 17752 | DAYS INN/SUPER 8 | DI ST PETERSBURG LLC | 5005 34TH ST N , ST. PETERSBURG 33714 | 1243779 | 11/07/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-02-4 | - From initial inspection : Portable fire extinguisher pressure gauge indicates the extinguisher is in need of recharge. For reporting purposes only. Fire extinguisher next to room 133 in recharge zone - From follow-up inspection 2025-11-07: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Pinellas | 2002 | Lodging | 6200241 | 17752 | DAYS INN/SUPER 8 | DI ST PETERSBURG LLC | 5005 34TH ST N , ST. PETERSBURG 33714 | 1243779 | 11/07/2025 | Routine - Lodging | Call Back - Admin. complaint recommended | 01-03-4 | - From initial inspection : Portable fire extinguisher missing from it's designated location (sign present indicating designated location). For reporting purposes only. Next to room 225, fire extinguisher missing from its location, evident by mounting screws and an outline of paint from where it once was located. - From follow-up inspection 2025-11-07: **Time Extended** | Reporting: (d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1245350 | 11/10/2025 | Complaint Full | Warning Issued | 04-02-4 | No smoke detector provided in guest room/unit. For reporting purposes only. In room 220 **Warning** | Reporting: 509.215(1) Each guest room shall be equipped with an approved listed single-station smoke detector meeting the minimum requirements of NFPA-74 Standards for the Installation, Maintenance and Use of Household Fire Warning Equipment. (2) The building has smoke detectors in each guest room individually annunciating to a panel at a supervised location. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
St. Lucie | 2002 | Lodging | 6601920 | 18692 | MOTEL 6 - FT PIERCE | SHIV FT PIERCE HOTEL LLC | 2500 PETERS RD , FORT PIERCE 34945 | 1245350 | 11/10/2025 | Complaint Full | Warning Issued | 08-01-4 | Boiler certificate or insurance inspector's boiler report expired. For reporting purposes only. **Repeat Violation** **Warning** | Reporting: 61C-1.004(10) The insurance inspector's boiler report is required annually for power boilers and high pressure/high temperature boilers and biannually for low pressure steam or vapor heating boilers. 509.032(2)(d) The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2002 | Lodging | 7401130 | 11812 | RAINTREE MOTEL | SAI INVESTMENT INC | 530 S RIDGEWOOD AVE , DAYTONA BCH 44930 | 1242216 | 11/07/2025 | Routine - Lodging | Warning Issued | 04-03-4 | Smoke detector/alarm in guest room/unit damaged as to appear to be inoperable. For reporting purposes only. -bag over smoke detector in room 22 | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.
Volusia | 2003 | Lodging | 7401031 | 104155 | PERALTA APARTMENT INC | PERALTA APARTMENT INC | 859 DR MARY MCLEOD BETHUNE BLVD , DAYTONA BEACH 32114 | 1625213 | 11/13/2025 | Routine - Lodging | Administrative complaint recommended | 06-05-4 | Door marked as an exit locked with a lock that would require special knowledge/tool to unlock. For reporting purposes only. -metal security door locked at rear of building | Reporting: The division, or its agent, shall notify the local firesafety authority or the State Fire Marshal of any readily observable violation of a rule adopted under chapter 633 which relates to public lodging establishments or public food establishments, and the identification of such violation does not require any firesafety inspection certification. For reporting purposes only.